## Slide 1
engineering type: 3.15Q76 (“8 cm”)
SLAC drawing number: SA-902-272-01
SLAC magnet bar-code: 4785
AEC serial number: 24081
when measured: 21-May-2025 10:32:23
when analyzed: 28-May-2025
MAD assignment: Q38 (A-Line)

## Slide 2
Imain = 100 A
BL(X) – GL * X

## Slide 3
Imain = 200 A
BL(X) – GL * X

## Slide 4
Imain = 300 A
BL(X) – GL * X

## Slide 5
Imain = 300 A
BL(X) – GL * X

## Slide 6
Lpole / 2
Leff = 1.9887 m
Lcore / 2
measured
extrapolated
magnet
center