## Slide 1
Carrier 1, Quadrant 2 on CMM
(S/N 03)

## Slide 2
Y
X
Nominal distance Magnetic Axis to magnet = 3.3mm.
Radius of magnet surface = 3.8mm.
Fit a circle of 7.6mm diameter. Shift the center by 0.5mm in –Y.
0.5mm
Magnetic axis