## Slide 1
Label
X
Y
Z
+ theta
- theta
Mxy Magnetic Moment Orientation
Z
Y
X
+ theta
- theta
Myz Magnetic Moment Orientation
Label
Helmholtz Coil Measurement Orientation
All the Delta 3 PM block magnets for were measured in the same orientation. Each magnet was laid flat with the top of magnet is pointed toward the 0 angle of the Helmholtz coil and the label was pointed to the left if looking from above. The North magnets should have a 0 angle in the Mxy (X-Y orientation) measurement and the South magnets should have a 180 degree angle. The numbered magnets have the primary field in the Myz orientation and the angle should be 180 degrees.