## 00_I1Y_x+-03000_y+00000_ufint_i
SLAC | Magnetic | Measurements
Date: | 2012-10-16
Time: | 11:39
Project: | LCLS
Device | Type: | Undulator
Data | Type:
Serial | Number: | ECKO7-55
DATASET | Number: | 2
Tuning | Stage: | Fine | Tuning
Run | Number: | 3
Measurement | Type: | Long | Coil | Scans
Operator: | YL
Comment: | final
Temperature: | ECKO7-55:--> | T1 | 20.06 | --> | T2 | 19.95 | --> | T5 | 20.05 | --> | T3 | 19.96 | --> | Air | 20.01 | --> | T4 | 19.95
-------------------------------------------------------------
| Scan | Position | Raw | value | Integral
| number | m | Volt*sec | T*m
-------------------------------------------------------------
|  |  |  | By |  |  |  |  | Bx
| 3 | -0.0025 | -7.519e-06 | -0.00010022 | -2.5 | -2.217 |  | -0.0025 | -2.5 | 4.49e-05 | 4.9 |  | -0.000187 | -15 |  | 7.91e-05 | 13.1
| 4 | -0.0025 | -7.493e-06 | -9.9878e-05 | -2.5 | -1.878 |  | -0.0025 | -2.5 | 4.55e-05 | 5.5 |  | -0.00019 | -12 |  | 7.61e-05 | 10.1
| 5 | -0.0025 | -7.481e-06 | -9.9718e-05 | -2.5 | -1.718 |  | -0.0025 | -2.5 | 4.46e-05 | 4.6 |  | -0.000189 | -17 |  | 7.74e-05 | 11.4
| 6 | -0.002 | -7.668e-06 | -0.00010223 | -2 | -4.226 |  | -0.002 | -2 | 4.51e-05 | 5.1 |  | -0.000194 | -14 |  | 7.41e-05 | 8.1
| 7 | -0.002 | -7.683e-06 | -0.00010242 | -2 | -4.421 |  | -0.002 | -2 | 4.51e-05 | 5.1 |  | -0.000191 | -21 |  | 7.45e-05 | 8.5
| 8 | -0.002 | -7.626e-06 | -0.00010166 | -2 | -3.661 |  | -0.002 | -2 | 4.64e-05 | 6.4 |  | -0.000196 | -20 |  | 7.82e-05 | 12.2
| 9 | -0.0015 | -7.649e-06 | -0.00010196 | -1.5 | -3.962 |  | -0.0015 | -1.5 | 4.5e-05 | 5 |  | -0.000193 | -16 |  | 7.35e-05 | 7.5
| 10 | -0.0015 | -7.707e-06 | -0.00010273 | -1.5 | -4.727 |  | -0.0015 | -1.5 | 4.53e-05 | 5.3 |  | -0.0002 | -23 |  | 7.65e-05 | 10.5
| 11 | -0.0015 | -7.681e-06 | -0.00010238 | -1.5 | -4.378 |  | -0.0015 | -1.5 | 4.39e-05 | 3.9 |  | -0.000199 | -19 |  | 7.24e-05 | 6.4
| 12 | -0.001 | -7.679e-06 | -0.00010235 | -1 | -4.351 |  | -0.001 | -1 | 4.56e-05 | 5.6 |  | -0.000195 | -22 |  | 7.79e-05 | 11.9
| 13 | -0.001 | -7.689e-06 | -0.00010249 | -1 | -4.492 |  | -0.001 | -1 | 4.54e-05 | 5.4 |  | -0.000202 | -19 |  | 8e-05 | 14
| 14 | -0.001 | -7.722e-06 | -0.00010292 | -1 | -4.925 |  | -0.001 | -1 | 4.35e-05 | 3.5 |  | -0.000198 | -24 |  | 7.6e-05 | 10
| 15 | -0.0005 | -7.773e-06 | -0.0001036 | -0.5 | -5.604 |  | -0.0005 | -0.5 | 4.46e-05 | 4.6 |  | -0.000201 | -17 |  | 7.6e-05 | 10
| 16 | -0.0005 | -7.846e-06 | -0.00010458 | -0.5 | -6.576 |  | -0.0005 | -0.5 | 4.47e-05 | 4.7 |  | -0.000198 | -24 |  | 7.46e-05 | 8.6
| 18 | 0 | -7.879e-06 | -0.00010503 | 0 | -7.035 |  |  | -0.5 | 4.52e-05 | 5.2 |  | -0.000203 | -23 |  | 7.45e-05 | 8.5
| 19 | 0 | -7.956e-06 | -0.00010606 | 0 | -8.065 |  | 0 | 0 | 4.37e-05 | 3.7 |  | -0.000196 | -18 |  | 7.46e-05 | 8.6
| 20 | 0 | -7.868e-06 | -0.00010488 | 0 | -6.882 |  | 0 | 0 | 4.43e-05 | 4.3 |  | -0.000203 | -19 |  | 7.91e-05 | 13.1
| 21 | 0.0005 | -7.859e-06 | -0.00010475 | 0.5 | -6.749 |  | 0 | 0 | 4.22e-05 | 2.2 |  | -0.000202 | -22 |  | 7.47e-05 | 8.7
| 22 | 0.0005 | -7.988e-06 | -0.00010647 | 0.5 | -8.475 |  | 0.0005 | 0.5 | 4.41e-05 | 4.1 |  | -0.000197 | -18 |  | 7.15e-05 | 5.5
| 23 | 0.0005 | -7.948e-06 | -0.00010595 | 0.5 | -7.945 |  | 0.0005 | 0.5 | 4.31e-05 | 3.1 |  | -0.000198 | -20 |  | 7.53e-05 | 9.3
| 25 | 0.001 | -7.909e-06 | -0.00010542 | 1 | -7.418 |  | 0.0005 | 0.5 | 4.23e-05 | 2.3 |  | -0.000201 | -20 |  | 6.69e-05 | 0.9
| 26 | 0.001 | -7.847e-06 | -0.0001046 | 1 | -6.597 |  | 0.001 | 1 | 4.31e-05 | 3.1 |  | -0.000197 | -19 |  | 8.29e-05 | 16.9
| 27 | 0.0015 | -8.2e-06 | -0.0001093 | 1.5 | -11.299 |  | 0.001 | 1 | 4.18e-05 | 1.8 |  | -0.000199 | -22 |  | 7.3e-05 | 7
| 28 | 0.0015 | -7.891e-06 | -0.00010518 | 1.5 | -7.184 |  |  | 1 | 4.37e-05 | 3.7 |  | -0.000199 | -20 |  | 7.25e-05 | 6.5
| 29 | 0.0015 | -8.023e-06 | -0.00010694 | 1.5 | -8.935 |  | 0.0015 | 1.5 | 4.56e-05 | 5.6 |  | -0.000198 | -22 |  | 7.15e-05 | 5.5
| 30 | 0.002 | -7.94e-06 | -0.00010584 | 2 | -7.842 |  | 0.0015 | 1.5 | 4.26e-05 | 2.6 |  | -0.000201 | -22 |  | 7.46e-05 | 8.6
| 31 | 0.002 | -7.892e-06 | -0.0001052 | 2 | -7.204 |  | 0.0015 | 1.5 | 4.14e-05 | 1.4 |  | -0.000199 | -24 |  | 7.57e-05 | 9.7
| 32 | 0.002 | -7.957e-06 | -0.00010607 | 2 | -8.073 |  | 0.002 | 2 | 4.1e-05 | 1 |  | -0.000201 | -20 |  | 7.47e-05 | 8.7
| 33 | 0.0025 | -7.869e-06 | -0.0001049 | 2.5 | -6.897 |  | 0.002 | 2 | 4.08e-05 | 0.8 |  | -0.000201 | -21 |  | 6.75e-05 | 1.5
| 34 | 0.0025 | -7.962e-06 | -0.00010613 | 2.5 | -8.134 |  | 0.002 | 2 | 4.02e-05 | 0.2 |  | -0.000203 | -20 |  | 6.71e-05 | 1.1
| 35 | 0.0025 | -7.89e-06 | -0.00010517 | 2.5 | -7.172 |  | 0.0025 | 2.5 | 4.17e-05 | 1.7 |  | -0.000199 | 179 |  | 5.75e-05 | -8.5
[8 empty] | 0.0025 | 2.5 | 4.1e-05 | 1 |  | -0.0002 | 179 |  | 6.98e-05 | 3.8
[8 empty] | 0.0025 | 2.5 | 4.04e-05 | 0.4 |  | -0.000199 | 179 |  | 8.53e-05 | 19.3