## Slide 1
Zack Wolf
3/22/2016
CMM Hall Probe Measurements

## Slide 2: Quadrant Tuning Overview
Tune one quadrant.
Remove.
Tune the other quadrant.
Reinstall the first quadrant.
Franz Peters
Center slides remain fixed.
Lay E flat on CMM.
Should give repeatable position to first quadrant after reinstallation.

## Slide 3: Assembled Measurements Overview
Measure/Tune each half.
Measure assembled undulator.

## Slide 4: Quadrant Tuning

## Slide 5: Fiducialize Strongbacks

## Slide 6: Fitted Line To The Magnet Positions
Use the CMM to find the center of each pole.
Fit a line to the mechanical centers.

## Slide 7: Adjust The Mechanical Axis
Move the blocks in order to move the magnet mechanical axis
to the fiducialized geometric axis of the strongback.

## Slide 8: Put Pointed Magnets On The Mechanical Axis
Use the tooling balls on the pointed
magnets to move the magnetic center of the pointed magnets to the mechanical center line.
The pointed magnets must
be rotated 45 degrees.

## Slide 9: Align Hall Probe

## Slide 10: Find Pointed Magnet Center At Each End
The CMM must follow an algorithm
to find the magnetic center.
Find the magnetic center at each end.
Determine the CMM coordinates of the
magnetic center at each end.

## Slide 11: Measure On Line Between Pointed Magnet Centers
Line radial taper less than 8 microns.
Line radial bow less than 18 microns.
Move blocks to tune quadrant.

## Slide 12: Adjust The Second Quadrant’s Mechanical Axis
Move the blocks in order to move the magnet mechanical axis
to the fiducialized geometric axis of the strongback.

## Slide 13: Put Pointed Magnets On The Mechanical Axis
Use the tooling balls on the pointed
magnets to move the magnetic center
to the mechanical center line.
The pointed magnets must
be rotated 45 degrees.

## Slide 14: Align Hall Probe For The Second Quadrant

## Slide 15: Find Pointed Magnet Center At Each End
The CMM must follow an algorithm
to find the magnetic center.
Find the magnetic center at each end.
Determine the CMM coordinates of the
magnetic center at each end.

## Slide 16: Measure On Line Between Pointed Magnet Centers
Line radial taper less than 8 microns.
Line radial bow less than 18 microns.
Move blocks to tune quadrant.

## Slide 17: Tune Quadrants With Same Hall Probe
Use same Hall element to tune each quadrant.

## Slide 18: Assemble Halves, Measure

## Slide 19: Assemble Half, Perform Mechanical Measurements
Verify both quadrants have the correct mechanical axis.
What if they don’t?
How do we hold quadrants in z?
Do mechanical/magnetic forces bend E?

## Slide 20: Magnetic Measurements / Tuning On Half
Use rotors for trajectory and phase errors.
Need to study how to use and where to put rotors.

## Slide 21: Assemble Undulator, Measure

## Slide 22: Assembled Undulator
Flats on E set Y and pitch.
Use tooling balls on E to set X and yaw.
Need tooling balls at ends to determine Y after assembly. (Green)
Planning new Hall probe for assembled Delta-II measurements.

## Slide 23: End