## Slide 1: Delta Phase Errors
Zack Wolf
3/8/16

## Slide 2: Slippage
B correct
B too large
vz too small
B too small
vz too large
Z
T1
T2
T3

## Slide 3: Linear Fit To Slippage vs Z
B low
Slippage low
B high
Slippage high
Linear fit
Gives K
Slippage residuals
Give phase errors

## Slide 4: Slippage, Phase, K, Phase Errors

## Slide 5: Example 1: Undulator Not Resonant
Field too high
Slippage too high
K too high
Field to low
Slippage too low
K too low
K correct
Add photons
coherently to
light wave

## Slide 6: Example 2: Linear Taper
Low field
High field
Low dS/dz
High dS/dz
Fitted line
Fit residuals
Proportional to
fit residuals

## Slide 7: Delta Measured Peak Fields, LPVMF mode, Krel = 0.9
By is increasing with Z

## Slide 8: Delta Measured Phase Errors, LPVMF mode, Krel = 0.9

## Slide 9: Compare To LCLS Undulator 12

## Slide 10: Phase Error Effect On Radiation

## Slide 11: Phase Errors Can Come During Tuning Or Assembly

## Slide 12: Delta Phase Errors In Primary Modes

## Slide 13: Simulation Phase Error With Undulator Taper
LCLS-TN-15-2

## Slide 14: Undulator Taper Conclusion
LCLS-TN-15-2

## Slide 15: Quadrant Bow
LCLS-TN-15-1

## Slide 16: Magnet Position Errors From Quadrant Bow

## Slide 17: Simulation Phase Errors From Quadrant Bow

## Slide 18: Quadrant Bow Conclusion
Summary:
Quadrant bow must be limited.
Taper in the undulator is the more problematic phase error source.

## Slide 19: End