## Slide 1
engineering type: 1.182D6.82T
SLAC drawing number: SA-380-300-00
SLAC magnet bar-code: F2-002
vendor serial number: 2
when measured: 15-Mar-2018 11:15:38
when analyzed: 06-Jun-2018
MAD assignment: BX10661

## Slide 2
|b1/b0| ≈ 0.0659 % > 0.06 %
|b2/b0| ≈ 0.1852 % < 2.3 %
R = 20 mm
hardat.ru2

## Slide 3
name: BX10661 Trim
# of main coil turns: 36
# of trim coil turns: 34
ratio of turns (Nmain/Ntrim): 1.0588
ratio of slopes (measured): 1.0931
IMMO (amps): [-6,6]
BMMO (main coil amps): [-5.4891, 5.4891]
Itrim = 0
Imain = 0