## Slide 1
engineering type: 1.69D6.28T
SLAC drawing number: SA-388-320-05
SLAC magnet bar-code: F2-005
vendor serial number: 5
when measured: 20-Sep-2018 17:20:05
when analyzed: 27-Sep-2018
MAD assignment: BCX11338

## Slide 2
Imain = 380 A
Itrim = 0 A

## Slide 3
quadrupole
Imain = 380 A
Itrim = 0 A
sextupole
@ r= 20 mm
|b1/b0| = 0.031 [0.070] %
|b2/b0| = 0.091 [2.000] %

## Slide 4
name: BCX11338 Trim
# of main coil turns: 30
# of trim coil turns: 15
ratio of turns (Nmain/Ntrim): 2.0000
ratio of slopes (measured): 2.1335
IMMO (amps): [-12,12]
BMMO (main coil amps): [-5.6244, 5.6244]
Imain < 200 A
Itrim = 0
Imain = 0