## Slide 1
engineering type: 1.69D6.28T
SLAC drawing number: SA-388-320-05
SLAC magnet bar-code: F2-003
vendor serial number: 7
when measured: 13-Jul-2018 15:27:34
when analyzed: 30-Jul-2018
MAD assignment: BCX11314

## Slide 2
Imain = 380 A
Itrim = 0 A

## Slide 3
quadrupole
Imain = 380 A
Itrim = 0 A

## Slide 4
name: BCX11314 Trim
# of main coil turns: 30
# of trim coil turns: 15
ratio of turns (Nmain/Ntrim): 2.0000
ratio of slopes (measured): 2.1320
IMMO (amps): [-12,12]
BMMO (main coil amps): [-5.6284, 5.6284]
Imain < 200 A
Itrim = 0
Imain = 0