
[image: image1]

SLAC Traveler for HE-SXR Undulator #29A804-006 in MMF
Re-measurement, Dataset 002
This traveler intended to cover preparation, magnetic measurements, and fiducialization of the SXR undulator segments at MMF.   

Preparation:
· Remove all protective covers. Install wooden platform between the undulator and granite. 
· Remove plastic cover. Clean up the granite.

· Attach temperature sensors.

· Check linear potentiometers. Install brackets if necessary.

· Install coil supports.

· Call controls group to hook-up and check the control system. Check completed.

· Call alignment crew to align the undulator to the bench. Alignment done.
· Find the third pole z-position.                                  Z3 =
	Vendor serial number from undulator label:
	

	Technician (initials):
	

	Date/Time:
	


Re-measurement process checklist:

	Engineer (initials):
	

	Started, Date (mm-dd-yyyy):
	

	· Undulator magnetically aligned at tuning Gap = 10mm (adjust encoder offsets if necessary), results recorded into the table below.

	· MA position vs Y checked.

	· Trajectories and phase errors checked and within the tolerances. 

	· Voltmeters checked.
· 

	· Reference magnet measured.

	· Half-gap encoders checked; Gap=10mm

	· Final scan on-axis done, Hall probe.

	· PMs measured for fiducialization, file with results created.

	· Fiducialization done.

	· Controller Configuration saved.


The following information is to be noted by an engineer:

	Average X (m):
	

	Average Y (m):
	

	Final Pitch (µrad):
	

	Final Yaw (µrad):
	

	Magnetic axis position X (m):
	

	Magnetic axis position Y (m):
	

	Reference magnet measurement (T)
	

	Voltmeter X (1V)               1.00002
	

	Voltmeter Y (1V)               1.00002
	

	Voltmeter Y (6V)               6.00005
	

	Voltmeter Y (-6V)             -6.00005
	

	US Half-Gap Encoder
	

	DS Half-Gap Encoder
	


Fiducialization:
	Engineer (Initials):
	

	Upstream PM X offset (m):
	

	Upstream PM Y offset (m):
	

	Downstream PM X offset (m):
	

	Downstream PM Y offset (m):
	


Have an alignment crew to measure offsets between PM and the undulator fiducials. 
	Surveyor (initials):
	

	Date (mm/dd/yyyy):
	


Prepare the undulator for the move into the storage area:

· Power OFF the controller. Disconnect the network cable.

· Remove linear potentiometer brackets, if installed.

· Remove long coil brackets.

· Remove temperature sensors.

· Remove ground wire for capacitive sensors.

· Install all protective covers. Remove wooden platform between the undulator and granite.

· The undulator is ready for move into the storage area.

URL for data:

	V:\MET\MagServe\MagData\LCLS-II\Undulator\SXU_006\DATASET0002\Final Results\


[image: image1][image: image2.png]


