## bscany_positions
SLAC | Magnetic | Measurements
Date: | 2022-08-31
Time: | 11:26
Project: | LCLS-II-HE
Device | Type: | Undulator
Data | Type:
Serial | Number: | HE_SXU_000
DATASET | Number: | 1
Tuning | Stage: | Tuning
Run | Number: | 4
Measurement | Type: | Align | Y | Scan
Operator: | YL
Comment: | Alignment; | probe | moved | down | by | 0.5mm
Pole | number | Z | position | Center | Field |  |  |  | Pole | number | Z | position | Center | Field
| 0 | 1 | 0.8095 | 0.076605 | -0.99895 |  | 3 | 3.6017 |  | 0 | 1 | 0.8095 | 0.07672 | -0.99407 |  | 3 | 18.6017
| 1 | 2 | 0.8375 | 0.076593 | 1.3736 |  | 4 | -8.3983 |  | 1 | 2 | 0.8375 | 0.076695 | 1.3718 |  | 4 | -6.3983
| 2 | 3 | 0.8655 | 0.076645 | -1.3824 |  | 5 | 43.6017 |  | 2 | 3 | 0.8655 | 0.076709 | -1.3818 |  | 5 | 7.6017
| 3 | 4 | 0.8935 | 0.076594 | 1.3767 |  | 6 | -7.3983 |  | 3 | 4 | 0.8935 | 0.076696 | 1.3748 |  | 6 | -5.3983
| 4 | 5 | 0.9215 | 0.076622 | -1.3808 |  | 7 | 20.6017 |  | 4 | 5 | 0.9215 | 0.076745 | -1.3749 |  | 7 | 43.6017
| 5 | 6 | 0.9495 | 0.076613 | 1.3801 |  | 8 | 11.6017 |  | 5 | 6 | 0.9495 | 0.076709 | 1.3789 |  | 8 | 7.6017
| 6 | 7 | 0.9775 | 0.076595 | -1.3805 |  | 9 | -6.3983 |  | 6 | 7 | 0.9775 | 0.076694 | -1.3798 |  | 9 | -7.3983
| 7 | 8 | 1.0055 | 0.076636 | 1.3814 |  | 10 | 34.6017 |  | 7 | 8 | 1.0055 | 0.076744 | 1.3782 |  | 10 | 42.6017
| 8 | 9 | 1.0335 | 0.076637 | -1.3803 |  | 11 | 35.6017 |  | 8 | 9 | 1.0335 | 0.076721 | -1.3759 |  | 11 | 19.6017
| 9 | 10 | 1.0615 | 0.076595 | 1.3782 |  | 12 | -6.3983 |  | 9 | 10 | 1.0615 | 0.076512 | 1.3763 | NQ | 12 | -189.3983
| 10 | 11 | 1.0895 | 0.076637 | -1.3798 |  | 13 | 35.6017 |  | 10 | 11 | 1.0895 | 0.076727 | -1.3797 |  | 13 | 25.6017
| 11 | 12 | 1.1175 | 0.076612 | 1.3807 |  | 14 | 10.6017 |  | 11 | 12 | 1.1175 | 0.076698 | 1.3801 |  | 14 | -3.3983
| 12 | 13 | 1.1455 | 0.076601 | -1.3785 |  | 15 | -0.39831 |  | 12 | 13 | 1.1455 | 0.076709 | -1.3819 |  | 15 | 7.6017
| 13 | 14 | 1.1735 | 0.076614 | 1.3812 |  | 16 | 12.6017 |  | 13 | 14 | 1.1735 | 0.076684 | 1.3809 |  | 16 | -17.3983
| 14 | 15 | 1.2015 | 0.076641 | -1.3794 |  | 17 | 39.6017 |  | 14 | 15 | 1.2015 | 0.076724 | -1.3793 |  | 17 | 22.6017
| 15 | 16 | 1.2295 | 0.076601 | 1.3788 |  | 18 | -0.39831 |  | 15 | 16 | 1.2295 | 0.076693 | 1.378 |  | 18 | -8.3983
| 16 | 17 | 1.2575 | 0.076665 | -1.3774 |  | 19 | 63.6017 |  | 16 | 17 | 1.2575 | 0.076767 | -1.3775 |  | 19 | 65.6017
| 17 | 18 | 1.2855 | 0.076594 | 1.3786 |  | 20 | -7.3983 |  | 17 | 18 | 1.2855 | 0.076386 | 1.3783 | NQ | 20 | -315.3983
| 18 | 19 | 1.3135 | 0.076621 | -1.3766 |  | 21 | 19.6017 |  | 18 | 19 | 1.3135 | 0.076713 | -1.3765 |  | 21 | 11.6017
| 19 | 20 | 1.3415 | 0.07662 | 1.3807 |  | 22 | 18.6017 |  | 19 | 20 | 1.3415 | 0.076649 | 1.3761 |  | 22 | -52.3983
| 20 | 21 | 1.3695 | 0.076655 | -1.3754 |  | 23 | 53.6017 |  | 20 | 21 | 1.3695 | 0.076725 | -1.3795 |  | 23 | 23.6017
| 21 | 22 | 1.3975 | 0.076624 | 1.3778 |  | 24 | 22.6017 |  | 21 | 22 | 1.3975 | 0.076705 | 1.3775 |  | 24 | 3.6017
| 22 | 23 | 1.4255 | 0.076596 | -1.377 |  | 25 | -5.3983 |  | 22 | 23 | 1.4255 | 0.076683 | -1.3776 |  | 25 | -18.3983
| 23 | 24 | 1.4535 | 0.076582 | 1.3791 |  | 26 | -19.3983 |  | 23 | 24 | 1.4535 | 0.076632 | 1.379 |  | 26 | -69.3983
| 24 | 25 | 1.4815 | 0.076644 | -1.378 |  | 27 | 42.6017 |  | 24 | 25 | 1.4815 | 0.076286 | -1.3781 | NQ | 27 | -415.3983
| 25 | 26 | 1.5095 | 0.076624 | 1.3786 |  | 28 | 22.6017 |  | 25 | 26 | 1.5095 | 0.076692 | 1.3798 |  | 28 | -9.3983
| 26 | 27 | 1.5375 | 0.076625 | -1.3773 |  | 29 | 23.6017 |  | 26 | 27 | 1.5375 | 0.076704 | -1.3774 |  | 29 | 2.6017
| 27 | 28 | 1.5655 | 0.076565 | 1.3788 |  | 30 | -36.3983 |  | 27 | 28 | 1.5655 | 0.07664 | 1.3783 |  | 30 | -61.3983
| 28 | 29 | 1.5935 | 0.076648 | -1.3771 |  | 31 | 46.6017 |  | 28 | 29 | 1.5935 | 0.076718 | -1.3777 |  | 31 | 16.6017
| 29 | 30 | 1.6215 | 0.076585 | 1.3784 |  | 32 | -16.3983 |  | 29 | 30 | 1.6215 | 0.076672 | 1.378 |  | 32 | -29.3983
| 30 | 31 | 1.6495 | 0.076617 | -1.3795 |  | 33 | 15.6017 |  | 30 | 31 | 1.6495 | 0.076694 | -1.38 |  | 33 | -7.3983
| 31 | 32 | 1.6775 | 0.076594 | 1.3812 |  | 34 | -7.3983 |  | 31 | 32 | 1.6775 | 0.076656 | 1.3808 |  | 34 | -45.3983
| 32 | 33 | 1.7055 | 0.076623 | -1.3782 |  | 35 | 21.6017 |  | 32 | 33 | 1.7055 | 0.0767 | -1.3787 |  | 35 | -1.3983
| 33 | 34 | 1.7335 | 0.076612 | 1.3825 |  | 36 | 10.6017 |  | 33 | 34 | 1.7335 | 0.076682 | 1.3823 |  | 36 | -19.3983
| 34 | 35 | 1.7615 | 0.076627 | -1.3796 |  | 37 | 25.6017 |  | 34 | 35 | 1.7615 | 0.076702 | -1.3802 |  | 37 | 0.60169
| 35 | 36 | 1.7895 | 0.076611 | 1.3803 |  | 38 | 9.6017 |  | 35 | 36 | 1.7895 | 0.076688 | 1.3801 |  | 38 | -13.3983
| 36 | 37 | 1.8175 | 0.076589 | -1.3777 |  | 39 | -12.3983 |  | 36 | 37 | 1.8175 | 0.076677 | -1.3785 |  | 39 | -24.3983
| 37 | 38 | 1.8455 | 0.076585 | 1.3816 |  | 40 | -16.3983 |  | 37 | 38 | 1.8455 | 0.076662 | 1.3812 |  | 40 | -39.3983
| 38 | 39 | 1.8735 | 0.076606 | -1.3813 |  | 41 | 4.6017 |  | 38 | 39 | 1.8735 | 0.076732 | -1.3778 |  | 41 | 30.6017
| 39 | 40 | 1.9015 | 0.076596 | 1.3794 |  | 42 | -5.3983 |  | 39 | 40 | 1.9015 | 0.076675 | 1.3789 |  | 42 | -26.3983
| 40 | 41 | 1.9295 | 0.076607 | -1.3774 |  | 43 | 5.6017 |  | 40 | 41 | 1.9295 | 0.076672 | -1.3752 |  | 43 | -29.3983
| 41 | 42 | 1.9575 | 0.076579 | 1.3778 |  | 44 | -22.3983 |  | 41 | 42 | 1.9575 | 0.076647 | 1.3796 |  | 44 | -54.3983
| 42 | 43 | 1.9855 | 0.076591 | -1.3803 |  | 45 | -10.3983 |  | 42 | 43 | 1.9855 | 0.076649 | -1.3812 |  | 45 | -52.3983
| 43 | 44 | 2.0135 | 0.076607 | 1.3781 |  | 46 | 5.6017 |  | 43 | 44 | 2.0135 | 0.076672 | 1.3781 |  | 46 | -29.3983
| 44 | 45 | 2.0415 | 0.076615 | -1.3768 |  | 47 | 13.6017 |  | 44 | 45 | 2.0415 | 0.076693 | -1.3779 |  | 47 | -8.3983
| 45 | 46 | 2.0695 | 0.076589 | 1.3783 |  | 48 | -12.3983 |  | 45 | 46 | 2.0695 | 0.076658 | 1.3784 |  | 48 | -43.3983
| 46 | 47 | 2.0975 | 0.076619 | -1.378 |  | 49 | 17.6017 |  | 46 | 47 | 2.0975 | 0.076692 | -1.3792 |  | 49 | -9.3983
| 47 | 48 | 2.1255 | 0.076605 | 1.3801 |  | 50 | 3.6017 |  | 47 | 48 | 2.1255 | 0.076665 | 1.3802 |  | 50 | -36.3983
| 48 | 49 | 2.1535 | 0.076595 | -1.3797 |  | 51 | -6.3983 |  | 48 | 49 | 2.1535 | 0.076658 | -1.3809 |  | 51 | -43.3983
| 49 | 50 | 2.1815 | 0.076614 | 1.3778 |  | 52 | 12.6017 |  | 49 | 50 | 2.1815 | 0.076674 | 1.3781 |  | 52 | -27.3983
| 50 | 51 | 2.2095 | 0.076601 | -1.3786 |  | 53 | -0.39831 |  | 50 | 51 | 2.2095 | 0.07667 | -1.3798 |  | 53 | -31.3983
| 51 | 52 | 2.2375 | 0.076575 | 1.38 |  | 54 | -26.3983 |  | 51 | 52 | 2.2375 | 0.076643 | 1.3803 |  | 54 | -58.3983
| 52 | 53 | 2.2655 | 0.076577 | -1.378 |  | 55 | -24.3983 |  | 52 | 53 | 2.2655 | 0.076646 | -1.3793 |  | 55 | -55.3983
| 53 | 54 | 2.2935 | 0.076581 | 1.3782 |  | 56 | -20.3983 |  | 53 | 54 | 2.2935 | 0.07666 | 1.3785 |  | 56 | -41.3983
| 54 | 55 | 2.3215 | 0.076577 | -1.3785 |  | 57 | -24.3983 |  | 54 | 55 | 2.3215 | 0.076646 | -1.3805 |  | 57 | -55.3983
| 55 | 56 | 2.3495 | 0.076547 | 1.38 |  | 58 | -54.3983 |  | 55 | 56 | 2.3495 | 0.076416 | 1.3795 | NQ | 58 | -285.3983
| 56 | 57 | 2.3775 | 0.076585 | -1.3766 |  | 59 | -16.3983 |  | 56 | 57 | 2.3775 | 0.076535 | -1.3791 | NQ | 59 | -166.3983
| 57 | 58 | 2.4055 | 0.076609 | 1.3782 |  | 60 | 7.6017 |  | 57 | 58 | 2.4055 | 0.0767 | 1.379 |  | 60 | -1.3983
| 58 | 59 | 2.4335 | 0.076605 | -1.3786 |  | 61 | 3.6017 |  | 58 | 59 | 2.4335 | 0.076714 | -1.3798 |  | 61 | 12.6017
| 59 | 60 | 2.4615 | 0.076578 | 1.3785 |  | 62 | -23.3983 |  | 59 | 60 | 2.4615 | 0.076668 | 1.379 |  | 62 | -33.3983
| 60 | 61 | 2.4895 | 0.076632 | -1.3781 |  | 63 | 30.6017 |  | 60 | 61 | 2.4895 | 0.076713 | -1.3798 |  | 63 | 11.6017
| 61 | 62 | 2.5175 | 0.076602 | 1.3789 |  | 64 | 0.60169 |  | 61 | 62 | 2.5175 | 0.076681 | 1.3795 |  | 64 | -20.3983
| 62 | 63 | 2.5455 | 0.076621 | -1.3769 |  | 65 | 19.6017 |  | 62 | 63 | 2.5455 | 0.076698 | -1.3785 |  | 65 | -3.3983
| 63 | 64 | 2.5735 | 0.076562 | 1.3784 |  | 66 | -39.3983 |  | 63 | 64 | 2.5735 | 0.076652 | 1.3793 |  | 66 | -49.3983
| 64 | 65 | 2.6015 | 0.076624 | -1.3763 |  | 67 | 22.6017 |  | 64 | 65 | 2.6015 | 0.07655 | -1.377 | NQ | 67 | -151.3983
| 65 | 66 | 2.6295 | 0.076587 | 1.3788 |  | 68 | -14.3983 |  | 65 | 66 | 2.6295 | 0.076669 | 1.3797 |  | 68 | -32.3983
| 66 | 67 | 2.6575 | 0.076604 | -1.3766 |  | 69 | 2.6017 |  | 66 | 67 | 2.6575 | 0.076682 | -1.3781 |  | 69 | -19.3983
| 67 | 68 | 2.6855 | 0.076578 | 1.3771 |  | 70 | -23.3983 |  | 67 | 68 | 2.6855 | 0.076645 | 1.3786 |  | 70 | -56.3983
| 68 | 69 | 2.7135 | 0.076602 | -1.3761 |  | 71 | 0.60169 |  | 68 | 69 | 2.7135 | 0.076739 | -1.3821 |  | 71 | 37.6017
| 69 | 70 | 2.7415 | 0.076575 | 1.3774 |  | 72 | -26.3983 |  | 69 | 70 | 2.7415 | 0.076645 | 1.3787 |  | 72 | -56.3983
| 70 | 71 | 2.7695 | 0.076596 | -1.3782 |  | 73 | -5.3983 |  | 70 | 71 | 2.7695 | 0.076667 | -1.3804 |  | 73 | -34.3983
| 71 | 72 | 2.7975 | 0.076607 | 1.3762 |  | 74 | 5.6017 |  | 71 | 72 | 2.7975 | 0.076766 | 1.3817 |  | 74 | 64.6017
| 72 | 73 | 2.8255 | 0.076637 | -1.3771 |  | 75 | 35.6017 |  | 72 | 73 | 2.8255 | 0.076695 | -1.3794 |  | 75 | -6.3983
| 73 | 74 | 2.8535 | 0.076575 | 1.3808 |  | 76 | -26.3983 |  | 73 | 74 | 2.8535 | 0.076625 | 1.3817 |  | 76 | -76.3983
| 74 | 75 | 2.8815 | 0.076609 | -1.3774 |  | 77 | 7.6017 |  | 74 | 75 | 2.8815 | 0.076675 | -1.3794 |  | 77 | -26.3983
| 75 | 76 | 2.9095 | 0.07659 | 1.3781 |  | 78 | -11.3983 |  | 75 | 76 | 2.9095 | 0.0767 | 1.3794 |  | 78 | -1.3983
| 76 | 77 | 2.9375 | 0.076594 | -1.3787 |  | 79 | -7.3983 |  | 76 | 77 | 2.9375 | 0.076645 | -1.3807 |  | 79 | -56.3983
| 77 | 78 | 2.9655 | 0.076575 | 1.3777 |  | 80 | -26.3983 |  | 77 | 78 | 2.9655 | 0.076655 | 1.3787 |  | 80 | -46.3983
| 78 | 79 | 2.9935 | 0.076537 | -1.378 |  | 81 | -64.3983 |  | 78 | 79 | 2.9935 | 0.076594 | -1.3819 |  | 81 | -107.3983
| 79 | 80 | 3.0215 | 0.076557 | 1.3805 |  | 82 | -44.3983 |  | 79 | 80 | 3.0215 | 0.07663 | 1.3816 |  | 82 | -71.3983
| 80 | 81 | 3.0495 | 0.076612 | -1.3789 |  | 83 | 10.6017 |  | 80 | 81 | 3.0495 | 0.076683 | -1.3811 |  | 83 | -18.3983
| 81 | 82 | 3.0775 | 0.076595 | 1.3794 |  | 84 | -6.3983 |  | 81 | 82 | 3.0775 | 0.076644 | 1.3807 |  | 84 | -57.3983
| 82 | 83 | 3.1055 | 0.076609 | -1.3799 |  | 85 | 7.6017 |  | 82 | 83 | 3.1055 | 0.076675 | -1.3821 |  | 85 | -26.3983
| 83 | 84 | 3.1335 | 0.076585 | 1.3799 |  | 86 | -16.3983 |  | 83 | 84 | 3.1335 | 0.076654 | 1.3813 |  | 86 | -47.3983
| 84 | 85 | 3.1615 | 0.076604 | -1.3793 |  | 87 | 2.6017 |  | 84 | 85 | 3.1615 | 0.076671 | -1.3816 |  | 87 | -30.3983
| 85 | 86 | 3.1895 | 0.076604 | 1.3803 |  | 88 | 2.6017 |  | 85 | 86 | 3.1895 | 0.07665 | 1.3818 |  | 88 | -51.3983
| 86 | 87 | 3.2175 | 0.076569 | -1.3802 |  | 89 | -32.3983 |  | 86 | 87 | 3.2175 | 0.076632 | -1.3826 |  | 89 | -69.3983
| 87 | 88 | 3.2455 | 0.076588 | 1.3796 |  | 90 | -13.3983 |  | 87 | 88 | 3.2455 | 0.076636 | 1.3809 |  | 90 | -65.3983
| 88 | 89 | 3.2735 | 0.076572 | -1.3773 |  | 91 | -29.3983 |  | 88 | 89 | 3.2735 | 0.076618 | -1.3817 |  | 91 | -83.3983
| 89 | 90 | 3.3015 | 0.076588 | 1.38 |  | 92 | -13.3983 |  | 89 | 90 | 3.3015 | 0.076459 | 1.3816 | TB | 92 | -242.3983
| 90 | 91 | 3.3295 | 0.076599 | -1.3776 |  | 93 | -2.3983 |  | 90 | 91 | 3.3295 | 0.076425 | -1.3852 | MB | 93 | -276.3983
| 91 | 92 | 3.3575 | 0.076583 | 1.3806 |  | 94 | -18.3983 |  | 91 | 92 | 3.3575 | 0.076571 | 1.3775 | MB | 94 | -130.3983
| 92 | 93 | 3.3855 | 0.076608 | -1.3818 |  | 95 | 6.6017 |  | 92 | 93 | 3.3855 | 0.076412 | -1.381 | MB | 95 | -289.3983
| 93 | 94 | 3.4135 | 0.076609 | 1.3801 |  | 96 | 7.6017 |  | 93 | 94 | 3.4135 | 0.07628 | 1.3823 | NQ | 96 | -421.3983
| 94 | 95 | 3.4415 | 0.076605 | -1.3786 |  | 97 | 3.6017 |  | 94 | 95 | 3.4415 | 0.076604 | -1.3856 |  | 97 | -97.3983
| 95 | 96 | 3.4695 | 0.076536 | 1.3788 |  | 98 | -65.3983 |  | 95 | 96 | 3.4695 | 0.076583 | 1.3809 |  | 98 | -118.3983
| 96 | 97 | 3.4975 | 0.076636 | -1.3814 |  | 99 | 34.6017 |  | 96 | 97 | 3.4975 | 0.076746 | -1.3819 |  | 99 | 44.6017
| 97 | 98 | 3.5255 | 0.076613 | 1.3806 |  | 100 | 11.6017 |  | 97 | 98 | 3.5255 | 0.076651 | 1.3825 |  | 100 | -50.3983
| 98 | 99 | 3.5535 | 0.076598 | -1.3789 |  | 101 | -3.3983 |  | 98 | 99 | 3.5535 | 0.076665 | -1.3801 |  | 101 | -36.3983
| 99 | 100 | 3.5815 | 0.076537 | 1.3785 |  | 102 | -64.3983 |  | 99 | 100 | 3.5815 | 0.07662 | 1.3776 |  | 102 | -81.3983
| 100 | 101 | 3.6095 | 0.076589 | -1.3779 |  | 103 | -12.3983 |  | 100 | 101 | 3.6095 | 0.076622 | -1.3816 |  | 103 | -79.3983
| 101 | 102 | 3.6375 | 0.076594 | 1.3792 |  | 104 | -7.3983 |  | 101 | 102 | 3.6375 | 0.076698 | 1.3818 |  | 104 | -3.3983
| 102 | 103 | 3.6655 | 0.076618 | -1.3801 |  | 105 | 16.6017 |  | 102 | 103 | 3.6655 | 0.076665 | -1.3812 |  | 105 | -36.3983
| 103 | 104 | 3.6935 | 0.0766 | 1.3804 |  | 106 | -1.3983 |  | 103 | 104 | 3.6935 | 0.076648 | 1.3827 |  | 106 | -53.3983
| 104 | 105 | 3.7215 | 0.076596 | -1.3803 |  | 107 | -5.3983 |  | 104 | 105 | 3.7215 | 0.076642 | -1.3833 |  | 107 | -59.3983
| 105 | 106 | 3.7495 | 0.076593 | 1.3818 |  | 108 | -8.3983 |  | 105 | 106 | 3.7495 | 0.076632 | 1.3839 |  | 108 | -69.3983
| 106 | 107 | 3.7775 | 0.076624 | -1.3792 |  | 109 | 22.6017 |  | 106 | 107 | 3.7775 | 0.076664 | -1.3822 |  | 109 | -37.3983
| 107 | 108 | 3.8055 | 0.076583 | 1.3797 |  | 110 | -18.3983 |  | 107 | 108 | 3.8055 | 0.076618 | 1.3823 |  | 110 | -83.3983
| 108 | 109 | 3.8335 | 0.076588 | -1.3808 |  | 111 | -13.3983 |  | 108 | 109 | 3.8335 | 0.076625 | -1.3836 |  | 111 | -76.3983
| 109 | 110 | 3.8615 | 0.07657 | 1.3816 |  | 112 | -31.3983 |  | 109 | 110 | 3.8615 | 0.076663 | 1.383 |  | 112 | -38.3983
| 110 | 111 | 3.8895 | 0.076622 | -1.38 |  | 113 | 20.6017 |  | 110 | 111 | 3.8895 | 0.076668 | -1.3859 |  | 113 | -33.3983
| 111 | 112 | 3.9175 | 0.076589 | 1.3811 |  | 114 | -12.3983 |  | 111 | 112 | 3.9175 | 0.076748 | 1.3813 |  | 114 | 46.6017
| 112 | 113 | 3.9455 | 0.076597 | -1.3797 |  | 115 | -4.3983 |  | 112 | 113 | 3.9455 | 0.076759 | -1.3852 |  | 115 | 57.6017
| 113 | 114 | 3.9735 | 0.076621 | 1.3821 |  | 116 | 19.6017 |  | 113 | 114 | 3.9735 | 0.076677 | 1.3852 |  | 116 | -24.3983
| 114 | 115 | 4.0015 | 0.076614 | -1.3775 |  | 117 | 12.6017 |  | 114 | 115 | 4.0015 | 0.076766 | -1.3788 |  | 117 | 64.6017
| 115 | 116 | 4.0295 | 0.076616 | 1.3898 |  | 118 | 14.6017 |  | 115 | 116 | 4.0295 | 0.076646 | 1.387 |  | 118 | -55.3983
| 116 | 117 | 4.0575 | 0.076633 | -1.3744 |  | 119 | 31.6017 |  | 116 | 117 | 4.0575 | 0.076774 | -1.3743 |  | 119 | 72.6017
| 117 | 118 | 4.0855 | 0.076599 | 1.0022 |  | 120 | -2.3983 |  | 117 | 118 | 4.0855 | 0.076775 | 1.0094 |  | 120 | 73.6017
Pitch | = | 0.007695 | Error | = | 0 |  |  |  | Pitch | = | 0.007695 | Error | = | 0
|  |  |  | 0.076601 | [8 empty] | 0.076657
|  |  |  | 2.3603e-05 | [8 empty] | 8.4905e-05