## Slide 1
engineering type: PEPII green-coil
SLAC drawing number: SA-344-115-01
SLAC magnet bar-code: 4774
vendor serial number: N/A
when measured: 21-May-2021 11:39:24
when analyzed: 26-May-2021
MAD assignment: none
http://www-group.slac.stanford.edu/met/MagMeas/MAGDATA/LCLS-II/Corr/4774/wiredat.ru1
IVB = 718.4834 (A/kG-m)

## Slide 2
barcode = 4774
bhvszdat.ru2