## Slide 1
engineering type: 0.79D14.96
SLAC drawing number: SA-375-150-60
SLAC magnet bar-code: 4487
vendor serial number: 2
when measured: 28-Jul-2020 14:37:34
when analyzed: 30-Juln-2020
MAD assignment: SPARE 0.79D14.96

## Slide 2
BLmax = -0.46 kG-m
Emax = 131.7 MeV
Imax = 88.4 A

## Slide 3
wirevsx.ru1
@ r= 20 mm
|b1/b0| = 0.010 [1.000] %
|b2/b0| = 0.117 [100.000] %

## Slide 4
name: SPARE_0.79D14.96_Trim
# of main coil turns: 20
# of trim coil turns: 18
ratio of turns (Nmain/Ntrim): 1.1111
ratio of slopes (measured): 1.1317
IMMO (amps): [-6,6]
BMMO (main coil amps): [-5.3018,+5.3018]
Imain = 0
wiredat.ru3
Itrim = 0