## Slide 1
engineering type: 1D19.7 (Everson Tesla 53033)
SLAC drawing number: SA-380-325-06
SLAC magnet bar-code: 4506
vendor serial number: 2
when measured: 26-Jun-2017 10:43:16
when analyzed: 29-Jun-2017
MAD assignment: BCX23
I = 115 A

## Slide 2
name: BCX23 trim
# of main coil turns: 110
# of trim coil turns: 48
ratio of turns (Nmain/Ntrim): 2.2917
ratio of slopes (measured): 2.3620
IMMO (amps): [-12,12]
BMMO (main coil amps): [-5.0804, 5.0804]
Itrim = -0.594 A
main ramped down from 200 A to 0, then trim sets zero field
Itrim = 0
Imain = 0