## Slide 1
engineering type: 1.06D103.3T
SLAC drawing number: LCL0351-006802
SLAC magnet bar-code: 4509
vendor serial number: 16101
when measured: 18-Sep-2019 11:03:15
when analyzed: 19-Sep-2019
MAD assignment: BX32B

## Slide 3
name: BX32B_Trim
# of main coil turns: 20
# of trim coil turns: 14
ratio of turns (Nmain/Ntrim): 1.4286
ratio of slopes (measured): 1.4613
IMMO (amps): [-6,6]
BMMO (main coil amps): [-4.1059,+4.1059]
Itrim = 0 A
Imain = 0 A