## Slide 1
engineering type: 1.06D103.3T
SLAC drawing number: LCL0351-006802
SLAC magnet bar-code: 4510
vendor serial number: 16102
when measured: 10-Sep-2019 16:01:21
when analyzed: 12-Sep-2019
MAD assignment: BX31B

## Slide 3
name: BX31B_Trim
# of main coil turns: 20
# of trim coil turns: 14
ratio of turns (Nmain/Ntrim): 1.4286
ratio of slopes (measured): 1.4593
IMMO (amps): [-6,6]
BMMO (main coil amps): [-4.1116,+4.1116]
Itrim = 0 A
Imain = 0 A