## Slide 1
engineering type: 1.69D6.28T
SLAC drawing number: SA-388-320-05
SLAC magnet bar-code: 4511
vendor serial number: 3
when measured: 14-Oct-2016 11:15:44
when analyzed: 14-Nov-2016
MAD assignment: BCX11

## Slide 2
name: BCX11 trim
# of main coil turns: 30
# of trim coil turns: 15
ratio of turns (Nmain/Ntrim): 2.0000
ratio of slopes (measured): 2.1564
IMMO (amps): [-12,12]
BMMO (main coil amps): [-5.5647,5.5647]