## Slide 1
engineering type: 0.788D11.5
SLAC drawing number: SA-237-005-02-R2
SLAC magnet bar-code: 4531
vendor serial number: 17
when measured: 30-Aug-2018 17:24:17
when analyzed: 02-Sep-2018
MAD assignment: BCX31B4

## Slide 2
name: BCX31B4 Trim
# of main coil turns: 48
# of trim coil turns: 82
ratio of turns (Nmain/Ntrim): 0.5854
ratio of slopes (measured): 0.5936
IMMO (amps): [-3,+3]
BMMO (main coil amps): [-5.0534,+5.0534]
Itrim = 0
Imain < 180 A
Imain = 0

## Slide 3
linear correlation removed
BCX31B4: ΔBL/BL0 vs X @ 250 A