## Slide 1
engineering type: 0.788D11.5
SLAC drawing number: SA-237-005-02-R2
SLAC magnet bar-code: 4532
vendor serial number: 11
when measured: 04-May-2018 14:22:21
when analyzed: 14-May-2018
MAD assignment: BCXDLD2

## Slide 2
quadrupole component
artificially removed
BCXDLD2: ΔBL/BL0 vs X @ 250 A
Imain | b1/b0 % | b2/b0 %
250.06 | 0.0395 | 0.2577
tolerance | 0.5 | 100
Harmonic content vs Imain @ r = 2 cm
hardat.ru3