## Slide 1
engineering type: 0.788D11.5
SLAC drawing number: SA-237-005-02-R2
SLAC magnet bar-code: 4535
vendor serial number: 24
when measured: 23-Aug-2018 11:33:24
when analyzed: 24-Aug-2018
MAD assignment: BCX31B2

## Slide 2
linear correlation
artificially removed
BCX31B2: ΔBL/BL0 vs X @ 250 A
Imain | b1/b0 % | b2/b0 %
250.06 | 0.0144 | 0.2643
tolerance | 0.5 | 100
Harmonic content vs Imain @ r = 2 cm
hardat.ru3