## Slide 1
engineering type: 0.788D11.5
SLAC drawing number: SA-237-005-02-R2
SLAC magnet bar-code: 4537
vendor serial number: 18
when measured: 20-Aug-2018 10:53:26
when analyzed: 22-Aug-2018
MAD assignment: BCX31B1

## Slide 2
name: BCX31B1 Trim
# of main coil turns: 48
# of trim coil turns: 82
ratio of turns (Nmain/Ntrim): 0.5854
ratio of slopes (measured): 0.5835
IMMO (amps): [-3,+3]
BMMO (main coil amps): [-5.1411,+5. 1411]
Itrim = 0
Imain < 170 A
Imain = 0

## Slide 3
quadrupole component
artificially removed
BCX31B1: ΔBL/BL0 vs X @ 250 A