## Slide 1
engineering type: 0.788D11.5
SLAC drawing number: SA-237-005-02-R2
SLAC magnet bar-code: 4538
vendor serial number: 26
when measured: 17-Jul-2018 11:52:17
when analyzed: 04-Sep-2018
MAD assignment: BCX354

## Slide 2
name: BCX354 Trim
# of main coil turns: 48
# of trim coil turns: 82
ratio of turns (Nmain/Ntrim): 0.5854
ratio of slopes (measured): 0.5800
IMMO (amps): [-3,+3]
BMMO (main coil amps): [-5.1727,+5.1727]
Imain = 0
Itrim = 0
Imain < 200 A

## Slide 3
linear correlation removed
Imain = 250 A
Itrim = 0
Imain = 250 A
Itrim = 3
linear correlation removed