## Slide 1
engineering type: 0.788D11.5
SLAC drawing number: SA-237-005-02-R2
SLAC magnet bar-code: 4540
vendor serial number: 40
when measured: 19-Apr-2018 11:12:24
when analyzed: 23-Apr-2018
MAD assignment: BCX32B3

## Slide 2
name: BCX32B3 Trim
# of main coil turns: 48
# of trim coil turns: 82
ratio of turns (Nmain/Ntrim): 0.5854
ratio of slopes (measured): 0.5809
IMMO (amps): [-3,+3]
BMMO (main coil amps): [-5.1644,+5. 5.1644]
Itrim = 0
Imain = 0

## Slide 3
quadrupole component
artificially removed
BCX32B3: ΔBL/BL0 vs X @ 250 A