## Slide 1
engineering type: 0.788D11.5
SLAC drawing number: SA-237-005-02-R2
SLAC magnet bar-code: 4541
vendor serial number: 22
when measured: 31-Jul-2018 14:07:29
when analyzed: 03-Aug-2018
MAD assignment: BCX321

## Slide 2
name: BCX321 Trim
# of main coil turns: 48
# of trim coil turns: 82
ratio of turns (Nmain/Ntrim): 0.5854
ratio of slopes (measured): 0.5782
IMMO (amps): [-3,+3]
BMMO (main coil amps): [-5.1883,+5.1883]
Itrim = 0
Imain < 200 A
Imain = 0