## Slide 1
engineering type: 0.788D11.5
SLAC drawing number: SA-237-005-02-R2
SLAC magnet bar-code: 4543
vendor serial number: 20
when measured: 27-Jul-2018 15:37:27
when analyzed: 03-Aug-2018
MAD assignment: BCX322

## Slide 2
Imain | b1/b0 % | b2/b0 %
250.08 | 0.0339 | 0.2609
tolerance | 0.2 | 100
Harmonic content vs Imain @ r = 2 cm
hardat.ru3