## Slide 1
engineering type: 0.788D11.5
SLAC drawing number: SA-237-005-02-R2
SLAC magnet bar-code: 4546
vendor serial number: 38
when measured: 02-May-2018 15:56:51
when analyzed: 04-May-2018
MAD assignment: BCXDLD3

## Slide 2
name: BCXDLD3 Trim
# of main coil turns: 48
# of trim coil turns: 82
ratio of turns (Nmain/Ntrim): 0.5793
ratio of slopes (measured): 0.5863
IMMO (amps): [-3,+3]
BMMO (main coil amps): [-5.1788,+5.1788]
Itrim = 0
Imain = 0

## Slide 3
quadrupole component
artificially removed
BCXDLD3: ΔBL/BL0 vs X @ 250 A