## Slide 1
engineering type: 0.788D11.5
SLAC drawing number: SA-237-005-02-R2
SLAC magnet bar-code: 4548
vendor serial number: 2
when measured: 16-Apr-2018 14:17:11
when analyzed: 18-Apr-2018
MAD assignment: BCX32B2

## Slide 2
quadrupole component
artificially removed
BCX32B2: ΔBL/BL0 vs X @ 250 A
Imain | b1/b0 % | b2/b0 %
250.07 | 0.0162 | 0.3213
tolerance | 0.5 | 100
Harmonic content vs Imain @ r = 2 cm
hardat.ru3