## Slide 1
engineering type: 0.788D11.5
SLAC drawing number: SA-237-005-02-R2
SLAC magnet bar-code: 4549
vendor serial number: N/A
when measured: 09-Feb-2018 11:27:47
when analyzed: 13-Feb-2018
MAD assignment: BCXDLU1

## Slide 2
name: BCXDLU1 trim
# of main coil turns: 48
# of trim coil turns: 82
ratio of turns (Nmain/Ntrim): 0.5854
ratio of slopes (measured): 0.5834
IMMO (amps): [-3,+3]
BMMO (main coil amps): [-5.1425,+5.1425]
Itrim = 0
Imain = 0

## Slide 3
quadrupole component
artificially removed
BCXDLU1: ΔBL/BL0 vs X @ 250 A