## Slide 1
engineering type: 1.0D38.37
SLAC drawing number: SA-344-100-01
SLAC magnet bar-code: 4556
vendor serial number: 3
when measured: 24-Oct-2018 17:23:42
when analyzed: 21-Nov-2018
MAD assignment: BXSP1H

## Slide 3
wirevsx.ru1
@ r= 20 mm
|b1/b0| = 0.004 [1] %
|b2/b0| = 0.450 [100] %

## Slide 4
name: BXSP1H Trim
# of main coil turns: 36
# of trim coil turns: 17
ratio of turns (Nmain/Ntrim): 2.1176
ratio of slopes (measured): 2.1948
IMMO (amps): [-6,+6]
BMMO (main coil amps): [-2.7336,+2.7336]
Itrim = 0
Imain < 150 A
Imain = 0
wiredat.ru3

## Slide 5
standardize;
turn off PS;
Itrim= -2.0035 A