## Slide 1
engineering type: 1.0D38.37
SLAC drawing number: SA-344-100-01
SLAC magnet bar-code: 4559
vendor serial number: 1
when measured: 19-Nov-2018 17:22:58
when analyzed: 21-Nov-2018
MAD assignment: BXSP3S

## Slide 3
wirevsx.ru1
@ r= 20 mm
|b1/b0| = 0.019 [0.500] %
|b2/b0| = 0.434 [100.000] %

## Slide 4
name: BXSP3S Trim
# of main coil turns: 36
# of trim coil turns: 17
ratio of turns (Nmain/Ntrim): 2.1176
ratio of slopes (measured): 2.1864
IMMO (amps): [-6,+6]
BMMO (main coil amps): [-2.7442,+2.7442]
Itrim = 0
Imain < 150 A
Imain = 0
wiredat.ru3