## Slide 1
engineering type: 1.0D38.37
SLAC drawing number: SA-344-100-01
SLAC magnet bar-code: 4563
vendor serial number: N/A
when measured: 09-Jan-2019 17:51:55
when analyzed: 14-Jan-2019
MAD assignment: BRCUS1

## Slide 3
wirevsx.ru1
@ r= 20 mm
|b1/b0| = 0.006 [0.200] %
|b2/b0| = 0.474 [10.000] %

## Slide 4
name: BRCUS1 Trim
# of main coil turns: 36
# of trim coil turns: 17
ratio of turns (Nmain/Ntrim): 2.1176
ratio of slopes (measured): 2.1860
IMMO (amps): [-6,+6]
BMMO (main coil amps): [-2.7447,+2.7447]
Itrim = 0
Imain < 185 A
Imain = 0
wiredat.ru3

## Slide 5
standardize;
turn off PS;
Itrim= -1.9476 A