## Slide 1
engineering type: 1.0D22.265
SLAC drawing number: SA-344-100-37
SLAC magnet bar-code: 4569
vendor serial number: N/A
when measured: 17-Sep-2018 13:46:06
when analyzed: 27-Sep-2018
MAD assignment: BYSP1H
BYSP1H: BL vs Y
y (mm)

## Slide 3
@ r= 20 mm
|b1/b0| = 0.009 [0.500] %
|b2/b0| = 0.575 [50.000] %