## Slide 1
engineering type: 1.0D38.37
SLAC drawing number: SA-344-100-01
SLAC magnet bar-code: 4588
vendor serial number: PR10
when measured: 02-Aug-2022 13:12:48
when analyzed: 08-Aug-2022
MAD assignment: BRDAS2

## Slide 3
@ r= 20 mm
|b1/b0| = 0.156 %
|b2/b0| = 0.556 %