{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":35,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["SXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17255019},null,{"$f":"'DF raw data'!G7","v":17234991},null,{"$f":"'DF raw data'!L7","v":17214972},null,{"$f":"'DF raw data'!Q7","v":17174969},null,{"$f":"'DF raw data'!V7","v":16895019},null,null,{"$f":"B4","v":10},{"$f":"B21","v":-3.0497899666666668},{"$f":"C21","v":6.7239433333333336},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":3.9412070699999999},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":8.7495566333333343}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":-6.8975137000000002},{"$f":"E21","v":7.3105199000000001},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":3.9412070699999999},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":8.7495566333333343}]
[-10,{"$f":"'DF raw data'!B9","v":13.29867},{"$f":"'DF raw data'!C9","v":12.221769999999999},{"$f":"'DF raw data'!G9","v":1.92448},{"$f":"'DF raw data'!H9","v":11.27026},{"$f":"'DF raw data'!L9","v":2.6816100999999999},{"$f":"'DF raw data'!M9","v":12.358000000000001},{"$f":"'DF raw data'!Q9","v":7.9983601999999996},{"$f":"'DF raw data'!R9","v":0.90499996999999999},{"$f":"'DF raw data'!V9","v":6.8354201000000003},{"$f":"'DF raw data'!W9","v":1.0423},null,{"$f":"F4","v":20},{"$f":"F21","v":-3.9842866999999997},{"$f":"G21","v":6.6212900333333335}]
[-8,{"$f":"'DF raw data'!B10","v":-6.4936099},{"$f":"'DF raw data'!C10","v":24.47823},{"$f":"'DF raw data'!G10","v":-2.9360198999999998},{"$f":"'DF raw data'!H10","v":18.405760000000001},{"$f":"'DF raw data'!L10","v":-0.95524001000000003},{"$f":"'DF raw data'!M10","v":9.8352603999999992},{"$f":"'DF raw data'!Q10","v":2.5475599999999998},{"$f":"'DF raw data'!R10","v":-1.8746901},{"$f":"'DF raw data'!V10","v":-1.0352600000000001},{"$f":"'DF raw data'!W10","v":0.43391999999999997},null,{"$f":"H4","v":30},{"$f":"H21","v":-2.9563066300000003},{"$f":"I21","v":-1.4390367333333334},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":-1.9555499999999999},{"$f":"'DF raw data'!C11","v":10.660410000000001},{"$f":"'DF raw data'!G11","v":-7.6153002000000001},{"$f":"'DF raw data'!H11","v":19.73086},{"$f":"'DF raw data'!L11","v":-4.0251697999999996},{"$f":"'DF raw data'!M11","v":15.44591},{"$f":"'DF raw data'!Q11","v":9.3060002000000003E-2},{"$f":"'DF raw data'!R11","v":10.850519999999999},{"$f":"'DF raw data'!V11","v":2.0877500000000002},{"$f":"'DF raw data'!W11","v":-7.1430502000000002},null,{"$f":"J4","v":100},{"$f":"J21","v":-5.6969133333333337},{"$f":"K21","v":-1.1501433333333333},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":-5.4289497999999998},{"$f":"'DF raw data'!C12","v":15.37083},{"$f":"'DF raw data'!G12","v":-6.1291298999999997},{"$f":"'DF raw data'!H12","v":14.43235},{"$f":"'DF raw data'!L12","v":-13.45354},{"$f":"'DF raw data'!M12","v":7.8827400000000001},{"$f":"'DF raw data'!Q12","v":-12.910780000000001},{"$f":"'DF raw data'!R12","v":5.5662599000000004},{"$f":"'DF raw data'!V12","v":-8.6621304000000006},{"$f":"'DF raw data'!W12","v":-4.8468900000000001},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":-4.6709699999999996},{"$f":"'DF raw data'!C13","v":2.0477400000000001},{"$f":"'DF raw data'!G13","v":3.1091101000000001},{"$f":"'DF raw data'!H13","v":6.3296399000000001},{"$f":"'DF raw data'!L13","v":-3.5884098999999998},{"$f":"'DF raw data'!M13","v":8.9058598999999994},{"$f":"'DF raw data'!Q13","v":-0.69977999000000002},{"$f":"'DF raw data'!R13","v":-4.3916202000000002},{"$f":"'DF raw data'!V13","v":-1.67475},{"$f":"'DF raw data'!W13","v":3.7219199999999999},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":-2.5787599000000001},{"$f":"'DF raw data'!C14","v":15.011760000000001},{"$f":"'DF raw data'!G14","v":-16.697241000000002},{"$f":"'DF raw data'!H14","v":10.320080000000001},{"$f":"'DF raw data'!L14","v":-2.1806800000000002},{"$f":"'DF raw data'!M14","v":6.3119401999999996},{"$f":"'DF raw data'!Q14","v":-5.3221898000000003},{"$f":"'DF raw data'!R14","v":1.6027100000000001},{"$f":"'DF raw data'!V14","v":-11.58151},{"$f":"'DF raw data'!W14","v":1.0449999999999999},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":-1.89964},{"$f":"'DF raw data'!C15","v":3.11233},{"$f":"'DF raw data'!G15","v":-7.1044102000000002},{"$f":"'DF raw data'!H15","v":5.2818398000000002},{"$f":"'DF raw data'!L15","v":-6.1837701999999997},{"$f":"'DF raw data'!M15","v":4.6460699999999999},{"$f":"'DF raw data'!Q15","v":-2.8469500999999999},{"$f":"'DF raw data'!R15","v":-1.5282},{"$f":"'DF raw data'!V15","v":-3.8344800000000001},{"$f":"'DF raw data'!W15","v":-8.2173499999999997},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":-2.3715301000000002},{"$f":"'DF raw data'!C16","v":9.1865100999999996},{"$f":"'DF raw data'!G16","v":-1.4859998999999999},{"$f":"'DF raw data'!H16","v":14.468999999999999},{"$f":"'DF raw data'!L16","v":-4.5517602000000004},{"$f":"'DF raw data'!M16","v":7.4119600999999999},{"$f":"'DF raw data'!Q16","v":-3.1020601000000001},{"$f":"'DF raw data'!R16","v":7.2704401000000001},{"$f":"'DF raw data'!V16","v":0.49856001},{"$f":"'DF raw data'!W16","v":-5.2157602000000001}]
[6,{"$f":"'DF raw data'!B17","v":-7.2626800999999999},{"$f":"'DF raw data'!C17","v":-0.30192000000000002},{"$f":"'DF raw data'!G17","v":-6.6472001000000001},{"$f":"'DF raw data'!H17","v":1.1850700000000001},{"$f":"'DF raw data'!L17","v":-11.58954},{"$f":"'DF raw data'!M17","v":3.5606898999999999},{"$f":"'DF raw data'!Q17","v":-18.196159000000002},{"$f":"'DF raw data'!R17","v":-3.7928600000000001},{"$f":"'DF raw data'!V17","v":-9.5531796999999994},{"$f":"'DF raw data'!W17","v":3.6471300000000002}]
[8,{"$f":"'DF raw data'!B18","v":-9.7979002000000008},{"$f":"'DF raw data'!C18","v":2.8116500000000002},{"$f":"'DF raw data'!G18","v":-4.6259398000000003},{"$f":"'DF raw data'!H18","v":3.7651300000000001},{"$f":"'DF raw data'!L18","v":-15.264329999999999},{"$f":"'DF raw data'!M18","v":7.0760698},{"$f":"'DF raw data'!Q18","v":-24.592179999999999},{"$f":"'DF raw data'!R18","v":13.477639999999999},{"$f":"'DF raw data'!V18","v":-5.7074999999999996},{"$f":"'DF raw data'!W18","v":3.8000500000000001}]
[10,{"$f":"'DF raw data'!B19","v":-7.8430299999999997},{"$f":"'DF raw data'!C19","v":-0.37802999999999998},{"$f":"'DF raw data'!G19","v":-9.76511},{"$f":"'DF raw data'!H19","v":0.96583003000000001},{"$f":"'DF raw data'!L19","v":-6.3111800999999996},{"$f":"'DF raw data'!M19","v":10.69232},{"$f":"'DF raw data'!Q19","v":20.023199000000002},{"$f":"'DF raw data'!R19","v":5.5008602},{"$f":"'DF raw data'!V19","v":6.8749799999999999},{"$f":"'DF raw data'!W19","v":7.2075399999999998}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":213},null,{"$f":"'DF raw data'!G4","v":214},null,{"$f":"'DF raw data'!L4","v":215},null,{"$f":"'DF raw data'!Q4","v":217},null,{"$f":"'DF raw data'!V4","v":218}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":-3.0497899666666668},{"$f":"AVERAGE(C11:C13)","v":6.7239433333333336},-6.8975137000000002,7.3105199000000001,-3.9842866999999997,6.6212900333333335,-2.9563066300000003,-1.4390367333333334,-5.6969133333333337,-1.1501433333333333]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["SXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17255019},null,{"$f":"'DF raw data'!G7","v":17234991},null,{"$f":"'DF raw data'!L7","v":17214972},null,{"$f":"'DF raw data'!Q7","v":17174969},null,{"$f":"'DF raw data'!V7","v":16895019},null,null,{"$f":"B4","v":10},{"$f":"B21","v":-9.5300659999999997},{"$f":"C21","v":7.7213801999999996},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":8.9208965666666664},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":15.734251166666667}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":-7.0334010000000005},{"$f":"E21","v":6.9576105663333339},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":16.527494833333332},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":19.1573894}]
[-10,{"$f":"'DF raw data'!D9/100","v":9.1227520999999996},{"$f":"'DF raw data'!E9/100","v":11.677949000000002},{"$f":"'DF raw data'!I9/100","v":-3.7933843999999999},{"$f":"'DF raw data'!J9/100","v":28.273593999999999},{"$f":"'DF raw data'!N9/100","v":-3.9867944},{"$f":"'DF raw data'!O9/100","v":19.416172},{"$f":"'DF raw data'!S9/100","v":6.6763518999999993},{"$f":"'DF raw data'!T9/100","v":5.1974413999999998},{"$f":"'DF raw data'!X9/100","v":-0.80045646999999998},{"$f":"'DF raw data'!Y9/100","v":-3.2309082},null,{"$f":"F4","v":20},{"$f":"F21","v":-12.193469},{"$f":"G21","v":8.0020278666666673}]
[-8,{"$f":"'DF raw data'!D10/100","v":-33.933660000000003},{"$f":"'DF raw data'!E10/100","v":43.075663999999996},{"$f":"'DF raw data'!I10/100","v":-5.7593902999999997},{"$f":"'DF raw data'!J10/100","v":18.856884999999998},{"$f":"'DF raw data'!N10/100","v":-14.666672},{"$f":"'DF raw data'!O10/100","v":10.586689},{"$f":"'DF raw data'!S10/100","v":-9.833040200000001},{"$f":"'DF raw data'!T10/100","v":3.4596582000000002},{"$f":"'DF raw data'!X10/100","v":-4.0766302000000003},{"$f":"'DF raw data'!Y10/100","v":-36.912939000000001},null,{"$f":"H4","v":30},{"$f":"H21","v":-3.2725724333333335},{"$f":"I21","v":-7.7322233000000002}]
[-6,{"$f":"'DF raw data'!D11/100","v":0.91161186000000005},{"$f":"'DF raw data'!E11/100","v":20.269931999999997},{"$f":"'DF raw data'!I11/100","v":-25.612803},{"$f":"'DF raw data'!J11/100","v":21.985985999999997},{"$f":"'DF raw data'!N11/100","v":-6.1743664999999996},{"$f":"'DF raw data'!O11/100","v":29.625927999999998},{"$f":"'DF raw data'!S11/100","v":2.9398547000000002},{"$f":"'DF raw data'!T11/100","v":16.721377},{"$f":"'DF raw data'!X11/100","v":6.3683411000000003},{"$f":"'DF raw data'!Y11/100","v":-18.098759999999999},null,{"$f":"J4","v":100},{"$f":"J21","v":4.3340258333333326},{"$f":"K21","v":11.4251661}]
[-4,{"$f":"'DF raw data'!D12/100","v":4.0724365000000002},{"$f":"'DF raw data'!E12/100","v":29.968516000000001},{"$f":"'DF raw data'!I12/100","v":-1.8922399999999999},{"$f":"'DF raw data'!J12/100","v":23.861221},{"$f":"'DF raw data'!N12/100","v":-15.878926},{"$f":"'DF raw data'!O12/100","v":24.331122999999998},{"$f":"'DF raw data'!S12/100","v":-15.629751000000001},{"$f":"'DF raw data'!T12/100","v":8.7787987999999988},{"$f":"'DF raw data'!X12/100","v":-12.400559000000001},{"$f":"'DF raw data'!Y12/100","v":-11.389395}]
[-2,{"$f":"'DF raw data'!D13/100","v":-4.4191089000000003},{"$f":"'DF raw data'!E13/100","v":-9.7102734000000002},{"$f":"'DF raw data'!I13/100","v":13.986685},{"$f":"'DF raw data'!J13/100","v":15.930156},{"$f":"'DF raw data'!N13/100","v":-14.00494},{"$f":"'DF raw data'!O13/100","v":12.652695000000001},{"$f":"'DF raw data'!S13/100","v":5.2501233000000003},{"$f":"'DF raw data'!T13/100","v":7.9063477000000004},{"$f":"'DF raw data'!X13/100","v":4.5978705},{"$f":"'DF raw data'!Y13/100","v":11.168203},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":-16.670175999999998},{"$f":"'DF raw data'!E14/100","v":18.326650000000001},{"$f":"'DF raw data'!I14/100","v":-21.799704999999999},{"$f":"'DF raw data'!J14/100","v":9.3398398999999993E-2},{"$f":"'DF raw data'!N14/100","v":-11.037825},{"$f":"'DF raw data'!O14/100","v":1.777998},{"$f":"'DF raw data'!S14/100","v":-15.272869},{"$f":"'DF raw data'!T14/100","v":6.0824414000000004},{"$f":"'DF raw data'!X14/100","v":-17.554836000000002},{"$f":"'DF raw data'!Y14/100","v":26.041934000000001},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":-7.5009131},{"$f":"'DF raw data'!E15/100","v":14.547763999999999},{"$f":"'DF raw data'!I15/100","v":-13.287183000000001},{"$f":"'DF raw data'!J15/100","v":4.8492772999999998},{"$f":"'DF raw data'!N15/100","v":-11.537642},{"$f":"'DF raw data'!O15/100","v":9.5753905999999986},{"$f":"'DF raw data'!S15/100","v":0.2050284},{"$f":"'DF raw data'!T15/100","v":-37.185459000000002},{"$f":"'DF raw data'!X15/100","v":25.959043000000001},{"$f":"'DF raw data'!Y15/100","v":-2.9346386999999998},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":-2.2247399999999997},{"$f":"'DF raw data'!E16/100","v":23.679697000000001},{"$f":"'DF raw data'!I16/100","v":-5.8803650000000003},{"$f":"'DF raw data'!J16/100","v":15.437373000000001},{"$f":"'DF raw data'!N16/100","v":-12.675245},{"$f":"'DF raw data'!O16/100","v":4.0779003999999999},{"$f":"'DF raw data'!S16/100","v":8.4617462000000003},{"$f":"'DF raw data'!T16/100","v":12.712324000000001},{"$f":"'DF raw data'!X16/100","v":3.5605164},{"$f":"'DF raw data'!Y16/100","v":-13.906669999999998}]
[6,{"$f":"'DF raw data'!D17/100","v":-12.053922999999999},{"$f":"'DF raw data'!E17/100","v":-0.58113281000000006},{"$f":"'DF raw data'!I17/100","v":-21.697952000000001},{"$f":"'DF raw data'!J17/100","v":-10.053642999999999},{"$f":"'DF raw data'!N17/100","v":-23.245868999999999},{"$f":"'DF raw data'!O17/100","v":-19.357002000000001},{"$f":"'DF raw data'!S17/100","v":-43.464545999999999},{"$f":"'DF raw data'!T17/100","v":-5.8365917999999999},{"$f":"'DF raw data'!X17/100","v":-11.946804},{"$f":"'DF raw data'!Y17/100","v":17.738301}]
[8,{"$f":"'DF raw data'!D18/100","v":-8.6074328999999992},{"$f":"'DF raw data'!E18/100","v":-11.196064},{"$f":"'DF raw data'!I18/100","v":-38.014819000000003},{"$f":"'DF raw data'!J18/100","v":-0.98643546999999998},{"$f":"'DF raw data'!N18/100","v":-34.193389000000003},{"$f":"'DF raw data'!O18/100","v":4.8727343999999997},{"$f":"'DF raw data'!S18/100","v":-41.630561999999998},{"$f":"'DF raw data'!T18/100","v":46.369453},{"$f":"'DF raw data'!X18/100","v":14.301981000000001},{"$f":"'DF raw data'!Y18/100","v":-19.053027}]
[10,{"$f":"'DF raw data'!D19/100","v":-17.678875000000001},{"$f":"'DF raw data'!E19/100","v":-4.1584180000000002},{"$f":"'DF raw data'!I19/100","v":-11.049831999999999},{"$f":"'DF raw data'!J19/100","v":-1.2606835999999999},{"$f":"'DF raw data'!N19/100","v":-10.819905},{"$f":"'DF raw data'!O19/100","v":14.459766},{"$f":"'DF raw data'!S19/100","v":54.910106999999996},{"$f":"'DF raw data'!T19/100","v":-45.949375000000003},{"$f":"'DF raw data'!X19/100","v":6.0696770999999998},{"$f":"'DF raw data'!Y19/100","v":-0.3533984}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":213},null,{"$f":"'DF raw data'!G4","v":214},null,{"$f":"'DF raw data'!L4","v":215},null,{"$f":"'DF raw data'!Q4","v":217},null,{"$f":"'DF raw data'!V4","v":218}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":-9.5300659999999997},{"$f":"AVERAGE(C11:C13)","v":7.7213801999999996},-7.0334010000000005,6.9576105663333339,-12.193469,8.0020278666666673,-3.2725724333333335,-7.7322233000000002,4.3340258333333326,11.4251661]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16303 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16303 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16303 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16303 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16303 100 mm gap"]
["Date:","3. mar 2017","10:00:39",null,null,"Date:","3. mar 2017","10:17:04",null,null,"Date:","3. mar 2017","10:34:37",null,null,"Date:","3. mar 2017","11:05:57",null,null,"Date:","3. mar 2017","11:23:58"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",213,null,null,null,"Indice:",214,null,null,null,"Indice:",215,null,null,null,"Indice:",217,null,null,null,"Indice:",218]
["Background Indice:",213,null,null,null,"Background Indice:",214,null,null,null,"Background Indice:",215,null,null,null,"Background Indice:",217,null,null,null,"Background Indice:",218]
["Temperature:",21.26,null,null,null,"Temperature:",21.25,null,null,null,"Temperature:",21.25,null,null,null,"Temperature:",21.19,null,null,null,"Temperature:",21.33]
["Encoder:",17255019,null,null,null,"Encoder:",17234991,null,null,null,"Encoder:",17214972,null,null,null,"Encoder:",17174969,null,null,null,"Encoder:",16895019]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,13.29867,12.221769999999999,912.27521000000002,1167.7949000000001,-1,1.92448,11.27026,-379.33843999999999,2827.3593999999998,-1,2.6816100999999999,12.358000000000001,-398.67944,1941.6171999999999,-1,7.9983601999999996,0.90499996999999999,667.63518999999997,519.74414000000002,-1,6.8354201000000003,1.0423,-80.045647000000002,-323.09082000000001]
[-0.80000000999999998,-6.4936099,24.47823,-3393.366,4307.5663999999997,-0.80000000999999998,-2.9360198999999998,18.405760000000001,-575.93903,1885.6885,-0.80000000999999998,-0.95524001000000003,9.8352603999999992,-1466.6672000000001,1058.6688999999999,-0.80000000999999998,2.5475599999999998,-1.8746901,-983.30402000000004,345.96582000000001,-0.80000000999999998,-1.0352600000000001,0.43391999999999997,-407.66302000000002,-3691.2939000000001]
[-0.60000001999999997,-1.9555499999999999,10.660410000000001,91.161186000000001,2026.9931999999999,-0.60000001999999997,-7.6153002000000001,19.73086,-2561.2802999999999,2198.5985999999998,-0.60000001999999997,-4.0251697999999996,15.44591,-617.43664999999999,2962.5927999999999,-0.60000001999999997,9.3060002000000003E-2,10.850519999999999,293.98547000000002,1672.1377,-0.60000001999999997,2.0877500000000002,-7.1430502000000002,636.83411000000001,-1809.876]
[-0.40000001000000002,-5.4289497999999998,15.37083,407.24365,2996.8516,-0.40000001000000002,-6.1291298999999997,14.43235,-189.22399999999999,2386.1221,-0.40000001000000002,-13.45354,7.8827400000000001,-1587.8925999999999,2433.1122999999998,-0.40000001000000002,-12.910780000000001,5.5662599000000004,-1562.9751000000001,877.87987999999996,-0.40000001000000002,-8.6621304000000006,-4.8468900000000001,-1240.0559000000001,-1138.9395]
[-0.2,-4.6709699999999996,2.0477400000000001,-441.91088999999999,-971.02733999999998,-0.2,3.1091101000000001,6.3296399000000001,1398.6685,1593.0155999999999,-0.2,-3.5884098999999998,8.9058598999999994,-1400.4939999999999,1265.2695000000001,-0.2,-0.69977999000000002,-4.3916202000000002,525.01233000000002,790.63477,-0.2,-1.67475,3.7219199999999999,459.78705000000002,1116.8203000000001]
[0,-2.5787599000000001,15.011760000000001,-1667.0175999999999,1832.665,0,-16.697241000000002,10.320080000000001,-2179.9704999999999,9.3398398999999994,0,-2.1806800000000002,6.3119401999999996,-1103.7825,177.7998,0,-5.3221898000000003,1.6027100000000001,-1527.2869000000001,608.24414000000002,0,-11.58151,1.0449999999999999,-1755.4836,2604.1934000000001]
[0.2,-1.89964,3.11233,-750.09131000000002,1454.7764,0.2,-7.1044102000000002,5.2818398000000002,-1328.7183,484.92773,0.2,-6.1837701999999997,4.6460699999999999,-1153.7642000000001,957.53905999999995,0.2,-2.8469500999999999,-1.5282,20.502839999999999,-3718.5459000000001,0.2,-3.8344800000000001,-8.2173499999999997,2595.9043000000001,-293.46386999999999]
[0.40000001000000002,-2.3715301000000002,9.1865100999999996,-222.47399999999999,2367.9697000000001,0.40000001000000002,-1.4859998999999999,14.468999999999999,-588.03650000000005,1543.7373,0.40000001000000002,-4.5517602000000004,7.4119600999999999,-1267.5245,407.79003999999998,0.40000001000000002,-3.1020601000000001,7.2704401000000001,846.17462,1271.2324000000001,0.40000001000000002,0.49856001,-5.2157602000000001,356.05164000000002,-1390.6669999999999]
[0.60000001999999997,-7.2626800999999999,-0.30192000000000002,-1205.3923,-58.113281000000001,0.60000001999999997,-6.6472001000000001,1.1850700000000001,-2169.7952,-1005.3643,0.60000001999999997,-11.58954,3.5606898999999999,-2324.5868999999998,-1935.7002,0.60000001999999997,-18.196159000000002,-3.7928600000000001,-4346.4546,-583.65917999999999,0.60000001999999997,-9.5531796999999994,3.6471300000000002,-1194.6804,1773.8300999999999]
[0.80000000999999998,-9.7979002000000008,2.8116500000000002,-860.74329,-1119.6063999999999,0.80000000999999998,-4.6259398000000003,3.7651300000000001,-3801.4819000000002,-98.643546999999998,0.80000000999999998,-15.264329999999999,7.0760698,-3419.3389000000002,487.27343999999999,0.80000000999999998,-24.592179999999999,13.477639999999999,-4163.0562,4636.9453000000003,0.80000000999999998,-5.7074999999999996,3.8000500000000001,1430.1981000000001,-1905.3027]
[1,-7.8430299999999997,-0.37802999999999998,-1767.8875,-415.84179999999998,1,-9.76511,0.96583003000000001,-1104.9831999999999,-126.06836,1,-6.3111800999999996,10.69232,-1081.9905000000001,1445.9766,1,20.023199000000002,5.5008602,5491.0106999999998,-4594.9375,1,6.8749799999999999,7.2075399999999998,606.96771000000001,-35.339840000000002]