{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":40,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["SXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":15632212},null,{"$f":"'DF raw data'!G7","v":15612166},null,{"$f":"'DF raw data'!L7","v":15592150},null,{"$f":"'DF raw data'!Q7","v":15552130},null,{"$f":"'DF raw data'!V7","v":15272164},null,null,{"$f":"B4","v":10},{"$f":"B21","v":0.11042999999999974},{"$f":"C21","v":9.3768500666666679},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":9.0475896966666678},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":4.0199466333333325}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":-1.9042766933333333},{"$f":"E21","v":9.6677599666666669},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":9.0475896966666678},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":14.165323433333334}]
[-10,{"$f":"'DF raw data'!B9","v":0.57481998000000001},{"$f":"'DF raw data'!C9","v":24.454630000000002},{"$f":"'DF raw data'!G9","v":3.3009700999999998},{"$f":"'DF raw data'!H9","v":24.151509999999998},{"$f":"'DF raw data'!L9","v":4.5348801999999999},{"$f":"'DF raw data'!M9","v":15.062849999999999},{"$f":"'DF raw data'!Q9","v":-0.63053000000000003},{"$f":"'DF raw data'!R9","v":14.017530000000001},{"$f":"'DF raw data'!V9","v":-2.5845001000000001},{"$f":"'DF raw data'!W9","v":1.4638},null,{"$f":"F4","v":20},{"$f":"F21","v":6.2709063633333342},{"$f":"G21","v":5.6653833330000003}]
[-8,{"$f":"'DF raw data'!B10","v":5.7930298000000002},{"$f":"'DF raw data'!C10","v":22.049628999999999},{"$f":"'DF raw data'!G10","v":1.8693398999999999},{"$f":"'DF raw data'!H10","v":8.0629301000000009},{"$f":"'DF raw data'!L10","v":4.5718497999999999},{"$f":"'DF raw data'!M10","v":17.574421000000001},{"$f":"'DF raw data'!Q10","v":7.4431099999999999},{"$f":"'DF raw data'!R10","v":4.4172400999999999},{"$f":"'DF raw data'!V10","v":-3.8267601},{"$f":"'DF raw data'!W10","v":2.0783600999999998},null,{"$f":"H4","v":30},{"$f":"H21","v":-2.7766833333333332},{"$f":"I21","v":5.6478133333333345},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":0.67431003},{"$f":"'DF raw data'!C11","v":16.015511},{"$f":"'DF raw data'!G11","v":-0.61333000999999998},{"$f":"'DF raw data'!H11","v":16.588899999999999},{"$f":"'DF raw data'!L11","v":0.41441},{"$f":"'DF raw data'!M11","v":14.26357},{"$f":"'DF raw data'!Q11","v":1.8545700000000001},{"$f":"'DF raw data'!R11","v":8.1690597999999994},{"$f":"'DF raw data'!V11","v":5.20085},{"$f":"'DF raw data'!W11","v":2.3552998999999999},null,{"$f":"J4","v":100},{"$f":"J21","v":-0.14178009999999999},{"$f":"K21","v":-4.4975634666666666},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":2.3418701},{"$f":"'DF raw data'!C12","v":16.577159999999999},{"$f":"'DF raw data'!G12","v":0.24608999000000001},{"$f":"'DF raw data'!H12","v":13.097340000000001},{"$f":"'DF raw data'!L12","v":2.0211401000000002},{"$f":"'DF raw data'!M12","v":-1.40177},{"$f":"'DF raw data'!Q12","v":7.0752500999999999},{"$f":"'DF raw data'!R12","v":14.91442},{"$f":"'DF raw data'!V12","v":-5.1950000000000003E-2},{"$f":"'DF raw data'!W12","v":-6.9044099000000001},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":3.4323299},{"$f":"'DF raw data'!C13","v":6.5907401999999999},{"$f":"'DF raw data'!G13","v":0.87589002000000005},{"$f":"'DF raw data'!H13","v":9.5245999999999995},{"$f":"'DF raw data'!L13","v":2.2135201000000002},{"$f":"'DF raw data'!M13","v":-7.2140000999999995E-2},{"$f":"'DF raw data'!Q13","v":-2.9065398999999998},{"$f":"'DF raw data'!R13","v":1.03616},{"$f":"'DF raw data'!V13","v":3.8280799000000001},{"$f":"'DF raw data'!W13","v":-7.7708702000000001},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":3.2061199999999999},{"$f":"'DF raw data'!C14","v":15.62654},{"$f":"'DF raw data'!G14","v":-2.6076600999999999},{"$f":"'DF raw data'!H14","v":15.761240000000001},{"$f":"'DF raw data'!L14","v":-0.45640001000000002},{"$f":"'DF raw data'!M14","v":13.228719999999999},{"$f":"'DF raw data'!Q14","v":-3.4228999999999998},{"$f":"'DF raw data'!R14","v":12.43342},{"$f":"'DF raw data'!V14","v":-2.3348401000000001},{"$f":"'DF raw data'!W14","v":-0.19077},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":-6.3071599000000003},{"$f":"'DF raw data'!C15","v":5.9132699999999998},{"$f":"'DF raw data'!G15","v":-3.9810599999999998},{"$f":"'DF raw data'!H15","v":3.7174399},{"$f":"'DF raw data'!L15","v":17.055599000000001},{"$f":"'DF raw data'!M15","v":3.8395700000000001},{"$f":"'DF raw data'!Q15","v":-2.0006100999999998},{"$f":"'DF raw data'!R15","v":3.4738600000000002},{"$f":"'DF raw data'!V15","v":-1.9185801},{"$f":"'DF raw data'!W15","v":-5.5310502000000001},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":3.5639601000000001},{"$f":"'DF raw data'!C16","v":5.6247601999999999},{"$f":"'DF raw data'!G16","v":-5.5411200999999997},{"$f":"'DF raw data'!H16","v":10.250080000000001},{"$f":"'DF raw data'!L16","v":-10.005280000000001},{"$f":"'DF raw data'!M16","v":7.5535497999999999},{"$f":"'DF raw data'!Q16","v":-1.6207499999999999},{"$f":"'DF raw data'!R16","v":12.676780000000001},{"$f":"'DF raw data'!V16","v":-2.7335899000000001},{"$f":"'DF raw data'!W16","v":1.5035099999999999}]
[6,{"$f":"'DF raw data'!B17","v":-8.7483196000000003},{"$f":"'DF raw data'!C17","v":1.0172498999999999},{"$f":"'DF raw data'!G17","v":-4.7925300999999996},{"$f":"'DF raw data'!H17","v":8.8299503000000001},{"$f":"'DF raw data'!L17","v":-17.03322},{"$f":"'DF raw data'!M17","v":9.1564999},{"$f":"'DF raw data'!Q17","v":-5.9945002000000001},{"$f":"'DF raw data'!R17","v":11.588010000000001},{"$f":"'DF raw data'!V17","v":-3.8605299},{"$f":"'DF raw data'!W17","v":1.9809000000000001}]
[8,{"$f":"'DF raw data'!B18","v":-9.4421396000000009},{"$f":"'DF raw data'!C18","v":-2.7534299},{"$f":"'DF raw data'!G18","v":-5.0211100999999996},{"$f":"'DF raw data'!H18","v":6.6949100000000001},{"$f":"'DF raw data'!L18","v":-11.497070000000001},{"$f":"'DF raw data'!M18","v":2.5495901000000001},{"$f":"'DF raw data'!Q18","v":-2.7860501000000002},{"$f":"'DF raw data'!R18","v":5.3502998000000002},{"$f":"'DF raw data'!V18","v":-5.0622702000000004},{"$f":"'DF raw data'!W18","v":0.93645}]
[10,{"$f":"'DF raw data'!B19","v":-3.7361700999999998},{"$f":"'DF raw data'!C19","v":3.6212900000000001},{"$f":"'DF raw data'!G19","v":-5.2706799999999996},{"$f":"'DF raw data'!H19","v":6.6186198999999997},{"$f":"'DF raw data'!L19","v":-4.9141598000000002},{"$f":"'DF raw data'!M19","v":7.2073397999999997},{"$f":"'DF raw data'!Q19","v":-2.93594},{"$f":"'DF raw data'!R19","v":9.3912001000000007},{"$f":"'DF raw data'!V19","v":-4.0677700000000003},{"$f":"'DF raw data'!W19","v":6.4585299000000003}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":955},null,{"$f":"'DF raw data'!G4","v":956},null,{"$f":"'DF raw data'!L4","v":957},null,{"$f":"'DF raw data'!Q4","v":958},null,{"$f":"'DF raw data'!V4","v":959}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":0.11042999999999974},{"$f":"AVERAGE(C11:C13)","v":9.3768500666666679},-1.9042766933333333,9.6677599666666669,6.2709063633333342,5.6653833330000003,-2.7766833333333332,5.6478133333333345,-0.14178009999999999,-4.4975634666666666]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["SXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":15632212},null,{"$f":"'DF raw data'!G7","v":15612166},null,{"$f":"'DF raw data'!L7","v":15592150},null,{"$f":"'DF raw data'!Q7","v":15552130},null,{"$f":"'DF raw data'!V7","v":15272164},null,null,{"$f":"B4","v":10},{"$f":"B21","v":2.5450033000000007},{"$f":"C21","v":13.842450900000001},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":25.366232866666664},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":16.039426800000001}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":6.1164652666666663},{"$f":"E21","v":17.396484133333335},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":25.732081433333331},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":24.922789600000002}]
[-10,{"$f":"'DF raw data'!D9/100","v":8.895195300000001},{"$f":"'DF raw data'!E9/100","v":44.232548999999999},{"$f":"'DF raw data'!I9/100","v":22.515219999999999},{"$f":"'DF raw data'!J9/100","v":37.724639000000003},{"$f":"'DF raw data'!N9/100","v":44.928275999999997},{"$f":"'DF raw data'!O9/100","v":25.326143000000002},{"$f":"'DF raw data'!S9/100","v":8.9326117000000007},{"$f":"'DF raw data'!T9/100","v":19.806542999999998},{"$f":"'DF raw data'!X9/100","v":1.4099994},{"$f":"'DF raw data'!Y9/100","v":4.7476269999999996},null,{"$f":"F4","v":20},{"$f":"F21","v":27.78089533333333},{"$f":"G21","v":1.3570573333333336}]
[-8,{"$f":"'DF raw data'!D10/100","v":7.0492431999999994},{"$f":"'DF raw data'!E10/100","v":24.864335999999998},{"$f":"'DF raw data'!I10/100","v":1.6662679},{"$f":"'DF raw data'!J10/100","v":25.385214999999999},{"$f":"'DF raw data'!N10/100","v":17.599163000000001},{"$f":"'DF raw data'!O10/100","v":34.704473},{"$f":"'DF raw data'!S10/100","v":-8.3399152000000001},{"$f":"'DF raw data'!T10/100","v":14.847929999999998},{"$f":"'DF raw data'!X10/100","v":6.712345},{"$f":"'DF raw data'!Y10/100","v":12.719609},null,{"$f":"H4","v":30},{"$f":"H21","v":2.4146624666666665},{"$f":"I21","v":10.669023333333334}]
[-6,{"$f":"'DF raw data'!D11/100","v":-14.104695},{"$f":"'DF raw data'!E11/100","v":16.086758},{"$f":"'DF raw data'!I11/100","v":-11.417572},{"$f":"'DF raw data'!J11/100","v":17.252167999999998},{"$f":"'DF raw data'!N11/100","v":0.56097529999999995},{"$f":"'DF raw data'!O11/100","v":7.9628516000000005},{"$f":"'DF raw data'!S11/100","v":5.0399462999999995},{"$f":"'DF raw data'!T11/100","v":5.5484081999999999},{"$f":"'DF raw data'!X11/100","v":-6.6217620999999998},{"$f":"'DF raw data'!Y11/100","v":-6.3317578000000001},null,{"$f":"J4","v":100},{"$f":"J21","v":2.0488139000000003},{"$f":"K21","v":-7.5263054666666669}]
[-4,{"$f":"'DF raw data'!D12/100","v":-0.53225341999999998},{"$f":"'DF raw data'!E12/100","v":32.934491999999999},{"$f":"'DF raw data'!I12/100","v":-10.154949999999999},{"$f":"'DF raw data'!J12/100","v":21.218281000000001},{"$f":"'DF raw data'!N12/100","v":-9.3505511000000006},{"$f":"'DF raw data'!O12/100","v":10.128594},{"$f":"'DF raw data'!S12/100","v":-0.12230769999999999},{"$f":"'DF raw data'!T12/100","v":24.326210999999997},{"$f":"'DF raw data'!X12/100","v":-12.920432},{"$f":"'DF raw data'!Y12/100","v":4.2337695000000002}]
[-2,{"$f":"'DF raw data'!D13/100","v":11.238452000000001},{"$f":"'DF raw data'!E13/100","v":4.6360546999999999},{"$f":"'DF raw data'!I13/100","v":17.294484000000001},{"$f":"'DF raw data'!J13/100","v":17.304774999999999},{"$f":"'DF raw data'!N13/100","v":16.042623000000003},{"$f":"'DF raw data'!O13/100","v":10.053213},{"$f":"'DF raw data'!S13/100","v":7.9585949999999999},{"$f":"'DF raw data'!T13/100","v":8.4730371000000009},{"$f":"'DF raw data'!X13/100","v":1.0538422000000001},{"$f":"'DF raw data'!Y13/100","v":-17.885352000000001},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":4.0314810000000003},{"$f":"'DF raw data'!E14/100","v":13.226777},{"$f":"'DF raw data'!I14/100","v":1.0898293999999999},{"$f":"'DF raw data'!J14/100","v":25.163944999999998},{"$f":"'DF raw data'!N14/100","v":24.869457999999998},{"$f":"'DF raw data'!O14/100","v":6.3636230000000005},{"$f":"'DF raw data'!S14/100","v":-5.0700922000000004},{"$f":"'DF raw data'!T14/100","v":9.2591698999999998},{"$f":"'DF raw data'!X14/100","v":1.5729559},{"$f":"'DF raw data'!Y14/100","v":1.5852344},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":-7.6349231},{"$f":"'DF raw data'!E15/100","v":23.664521000000001},{"$f":"'DF raw data'!I15/100","v":-3.49176E-2},{"$f":"'DF raw data'!J15/100","v":9.720732400000001},{"$f":"'DF raw data'!N15/100","v":42.430604999999993},{"$f":"'DF raw data'!O15/100","v":-12.345663999999999},{"$f":"'DF raw data'!S15/100","v":4.3554845999999996},{"$f":"'DF raw data'!T15/100","v":14.274863},{"$f":"'DF raw data'!X15/100","v":3.5196436000000002},{"$f":"'DF raw data'!Y15/100","v":-6.2787987999999997},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":6.7658092999999999},{"$f":"'DF raw data'!E16/100","v":17.023095999999999},{"$f":"'DF raw data'!I16/100","v":-7.9972400000000006},{"$f":"'DF raw data'!J16/100","v":2.8514257999999999},{"$f":"'DF raw data'!N16/100","v":-14.633408999999999},{"$f":"'DF raw data'!O16/100","v":25.613652000000002},{"$f":"'DF raw data'!S16/100","v":8.8736969000000006},{"$f":"'DF raw data'!T16/100","v":16.359355000000001},{"$f":"'DF raw data'!X16/100","v":1.3609325999999999},{"$f":"'DF raw data'!Y16/100","v":-0.8209863300000001}]
[6,{"$f":"'DF raw data'!D17/100","v":-5.0123169000000001},{"$f":"'DF raw data'!E17/100","v":8.7993262000000012},{"$f":"'DF raw data'!I17/100","v":-19.146167999999999},{"$f":"'DF raw data'!J17/100","v":2.7563477000000001},{"$f":"'DF raw data'!N17/100","v":-15.114097999999998},{"$f":"'DF raw data'!O17/100","v":53.174404000000003},{"$f":"'DF raw data'!S17/100","v":-12.627028000000001},{"$f":"'DF raw data'!T17/100","v":24.479658000000001},{"$f":"'DF raw data'!X17/100","v":-3.8204358000000003},{"$f":"'DF raw data'!Y17/100","v":-3.7869727000000002}]
[8,{"$f":"'DF raw data'!D18/100","v":-15.124052999999998},{"$f":"'DF raw data'!E18/100","v":-4.9931836000000001},{"$f":"'DF raw data'!I18/100","v":-4.5149016999999994},{"$f":"'DF raw data'!J18/100","v":12.738184},{"$f":"'DF raw data'!N18/100","v":-13.362169},{"$f":"'DF raw data'!O18/100","v":-6.0983496000000006},{"$f":"'DF raw data'!S18/100","v":-11.449299000000002},{"$f":"'DF raw data'!T18/100","v":-1.7766602},{"$f":"'DF raw data'!X18/100","v":-13.475833999999999},{"$f":"'DF raw data'!Y18/100","v":-8.5338379}]
[10,{"$f":"'DF raw data'!D19/100","v":-17.671028},{"$f":"'DF raw data'!E19/100","v":4.0224804999999995},{"$f":"'DF raw data'!I19/100","v":-3.3666924999999996},{"$f":"'DF raw data'!J19/100","v":7.0335058999999998},{"$f":"'DF raw data'!N19/100","v":-13.003003000000001},{"$f":"'DF raw data'!O19/100","v":4.6562695000000005},{"$f":"'DF raw data'!S19/100","v":-3.5147253000000003},{"$f":"'DF raw data'!T19/100","v":17.952354},{"$f":"'DF raw data'!X19/100","v":-8.0040277},{"$f":"'DF raw data'!Y19/100","v":12.735117000000001}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":955},null,{"$f":"'DF raw data'!G4","v":956},null,{"$f":"'DF raw data'!L4","v":957},null,{"$f":"'DF raw data'!Q4","v":958},null,{"$f":"'DF raw data'!V4","v":959}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":2.5450033000000007},{"$f":"AVERAGE(C11:C13)","v":13.842450900000001},6.1164652666666663,17.396484133333335,27.78089533333333,1.3570573333333336,2.4146624666666665,10.669023333333334,2.0488139000000003,-7.5263054666666669]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16303, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16303, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16303, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16303, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16303, 100 mm gap"]
["Date:","10. dec 2017","21:48:18",null,null,"Date:","10. dec 2017","21:01:43",null,null,"Date:","10. dec 2017","21:15:51",null,null,"Date:","10. dec 2017","21:31:25",null,null,"Date:","10. dec 2017","21:48:18"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",955,null,null,null,"Indice:",956,null,null,null,"Indice:",957,null,null,null,"Indice:",958,null,null,null,"Indice:",959]
["Background Indice:",955,null,null,null,"Background Indice:",956,null,null,null,"Background Indice:",957,null,null,null,"Background Indice:",958,null,null,null,"Background Indice:",959]
["Temperature:",21.64,null,null,null,"Temperature:",21.53,null,null,null,"Temperature:",20.9,null,null,null,"Temperature:",20.9,null,null,null,"Temperature:",20.86]
["Encoder:",15632212,null,null,null,"Encoder:",15612166,null,null,null,"Encoder:",15592150,null,null,null,"Encoder:",15552130,null,null,null,"Encoder:",15272164]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,0.57481998000000001,24.454630000000002,889.51953000000003,4423.2548999999999,-1,3.3009700999999998,24.151509999999998,2251.5219999999999,3772.4639000000002,-1,4.5348801999999999,15.062849999999999,4492.8275999999996,2532.6143000000002,-1,-0.63053000000000003,14.017530000000001,893.26116999999999,1980.6542999999999,-1,-2.5845001000000001,1.4638,140.99994000000001,474.7627]
[-0.80000000999999998,5.7930298000000002,22.049628999999999,704.92431999999997,2486.4335999999998,-0.80000000999999998,1.8693398999999999,8.0629301000000009,166.62679,2538.5214999999998,-0.80000000999999998,4.5718497999999999,17.574421000000001,1759.9163000000001,3470.4472999999998,-0.80000000999999998,7.4431099999999999,4.4172400999999999,-833.99152000000004,1484.7929999999999,-0.80000000999999998,-3.8267601,2.0783600999999998,671.23450000000003,1271.9609]
[-0.60000001999999997,0.67431003,16.015511,-1410.4694999999999,1608.6758,-0.60000001999999997,-0.61333000999999998,16.588899999999999,-1141.7572,1725.2167999999999,-0.60000001999999997,0.41441,14.26357,56.097529999999999,796.28516000000002,-0.60000001999999997,1.8545700000000001,8.1690597999999994,503.99462999999997,554.84082000000001,-0.60000001999999997,5.20085,2.3552998999999999,-662.17620999999997,-633.17578000000003]
[-0.40000001000000002,2.3418701,16.577159999999999,-53.225341999999998,3293.4492,-0.40000001000000002,0.24608999000000001,13.097340000000001,-1015.495,2121.8281000000002,-0.40000001000000002,2.0211401000000002,-1.40177,-935.05511000000001,1012.8594000000001,-0.40000001000000002,7.0752500999999999,14.91442,-12.23077,2432.6210999999998,-0.40000001000000002,-5.1950000000000003E-2,-6.9044099000000001,-1292.0432000000001,423.37695000000002]
[-0.2,3.4323299,6.5907401999999999,1123.8452,463.60547000000003,-0.2,0.87589002000000005,9.5245999999999995,1729.4484,1730.4775,-0.2,2.2135201000000002,-7.2140000999999995E-2,1604.2623000000001,1005.3213,-0.2,-2.9065398999999998,1.03616,795.85950000000003,847.30371000000002,-0.2,3.8280799000000001,-7.7708702000000001,105.38422,-1788.5352]
[0,3.2061199999999999,15.62654,403.1481,1322.6777,0,-2.6076600999999999,15.761240000000001,108.98294,2516.3944999999999,0,-0.45640001000000002,13.228719999999999,2486.9458,636.3623,0,-3.4228999999999998,12.43342,-507.00922000000003,925.91699000000006,0,-2.3348401000000001,-0.19077,157.29559,158.52343999999999]
[0.2,-6.3071599000000003,5.9132699999999998,-763.49230999999997,2366.4521,0.2,-3.9810599999999998,3.7174399,-3.4917600000000002,972.07324000000006,0.2,17.055599000000001,3.8395700000000001,4243.0604999999996,-1234.5663999999999,0.2,-2.0006100999999998,3.4738600000000002,435.54845999999998,1427.4863,0.2,-1.9185801,-5.5310502000000001,351.96436,-627.87987999999996]
[0.40000001000000002,3.5639601000000001,5.6247601999999999,676.58092999999997,1702.3096,0.40000001000000002,-5.5411200999999997,10.250080000000001,-799.72400000000005,285.14258000000001,0.40000001000000002,-10.005280000000001,7.5535497999999999,-1463.3408999999999,2561.3652000000002,0.40000001000000002,-1.6207499999999999,12.676780000000001,887.36968999999999,1635.9355,0.40000001000000002,-2.7335899000000001,1.5035099999999999,136.09325999999999,-82.098633000000007]
[0.60000001999999997,-8.7483196000000003,1.0172498999999999,-501.23169000000001,879.93262000000004,0.60000001999999997,-4.7925300999999996,8.8299503000000001,-1914.6168,275.63477,0.60000001999999997,-17.03322,9.1564999,-1511.4097999999999,5317.4404000000004,0.60000001999999997,-5.9945002000000001,11.588010000000001,-1262.7028,2447.9657999999999,0.60000001999999997,-3.8605299,1.9809000000000001,-382.04358000000002,-378.69727]
[0.80000000999999998,-9.4421396000000009,-2.7534299,-1512.4052999999999,-499.31835999999998,0.80000000999999998,-5.0211100999999996,6.6949100000000001,-451.49016999999998,1273.8184000000001,0.80000000999999998,-11.497070000000001,2.5495901000000001,-1336.2168999999999,-609.83496000000002,0.80000000999999998,-2.7860501000000002,5.3502998000000002,-1144.9299000000001,-177.66602,0.80000000999999998,-5.0622702000000004,0.93645,-1347.5834,-853.38378999999998]
[1,-3.7361700999999998,3.6212900000000001,-1767.1027999999999,402.24804999999998,1,-5.2706799999999996,6.6186198999999997,-336.66924999999998,703.35059000000001,1,-4.9141598000000002,7.2073397999999997,-1300.3003000000001,465.62695000000002,1,-2.93594,9.3912001000000007,-351.47253000000001,1795.2354,1,-4.0677700000000003,6.4585299000000003,-800.40277000000003,1273.5117]