{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":503,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":30,"n_cols":19,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
["HXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17050941},null,{"$f":"'DF raw data'!G7","v":17030926},null,{"$f":"'DF raw data'!L7","v":17010808},null,{"$f":"'DF raw data'!Q7","v":16970833},null,{"$f":"'DF raw data'!V7","v":16690874},null,null,{"$f":"B4","v":10},{"$f":"B21","v":-3.9626665999999999},{"$f":"C21","v":5.3312900666666669},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":2.7385465930000006},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":3.9144801000000014}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":-2.6160334066666668},{"$f":"E21","v":8.5474298999999991},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":4.803143299666667},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":3.9144801000000014}]
[-10,{"$f":"'DF raw data'!B9","v":9.1992396999999997},{"$f":"'DF raw data'!C9","v":-2.9682499999999998},{"$f":"'DF raw data'!G9","v":7.6917499999999999},{"$f":"'DF raw data'!H9","v":3.66486},{"$f":"'DF raw data'!L9","v":8.7882996000000002},{"$f":"'DF raw data'!M9","v":6.7009601999999999},{"$f":"'DF raw data'!Q9","v":2.9220600000000001},{"$f":"'DF raw data'!R9","v":5.2739501000000004},{"$f":"'DF raw data'!V9","v":-6.019E-2},{"$f":"'DF raw data'!W9","v":11.290459999999999},null,{"$f":"F4","v":20},{"$f":"F21","v":-4.2747866330000006},{"$f":"G21","v":9.2457701666666683}]
[-8,{"$f":"'DF raw data'!B10","v":5.4579801999999997},{"$f":"'DF raw data'!C10","v":0.64539999000000003},{"$f":"'DF raw data'!G10","v":8.6269302000000003},{"$f":"'DF raw data'!H10","v":4.1659497999999999},{"$f":"'DF raw data'!L10","v":9.6208896999999993},{"$f":"'DF raw data'!M10","v":7.2194700000000003},{"$f":"'DF raw data'!Q10","v":6.6922002000000003},{"$f":"'DF raw data'!R10","v":9.9302396999999996},{"$f":"'DF raw data'!V10","v":-0.38361001},{"$f":"'DF raw data'!W10","v":17.134649},null,{"$f":"H4","v":30},{"$f":"H21","v":-1.53624004},{"$f":"I21","v":9.0267302333333337},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":3.0528499999999998},{"$f":"'DF raw data'!C11","v":-2.4478599999999999},{"$f":"'DF raw data'!G11","v":4.0539497999999998},{"$f":"'DF raw data'!H11","v":2.6077001000000002},{"$f":"'DF raw data'!L11","v":5.7961402},{"$f":"'DF raw data'!M11","v":1.94363},{"$f":"'DF raw data'!Q11","v":-2.8730600000000002},{"$f":"'DF raw data'!R11","v":7.8344402000000004},{"$f":"'DF raw data'!V11","v":0.84771001000000001},{"$f":"'DF raw data'!W11","v":9.2141999999999999},null,{"$f":"J4","v":100},{"$f":"J21","v":0.5283566666666667},{"$f":"K21","v":7.0455433333333337},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":1.1662300000000001},{"$f":"'DF raw data'!C12","v":-1.1039999999999999E-2},{"$f":"'DF raw data'!G12","v":2.6019000999999999},{"$f":"'DF raw data'!H12","v":-1.4063801},{"$f":"'DF raw data'!L12","v":3.5947399},{"$f":"'DF raw data'!M12","v":4.3341098000000002},{"$f":"'DF raw data'!Q12","v":2.3874900000000001},{"$f":"'DF raw data'!R12","v":8.1189003},{"$f":"'DF raw data'!V12","v":4.1496902000000002},{"$f":"'DF raw data'!W12","v":9.6198300999999997},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":-1.5125099},{"$f":"'DF raw data'!C13","v":4.3422197999999996},{"$f":"'DF raw data'!G13","v":0.90693997999999998},{"$f":"'DF raw data'!H13","v":12.01854},{"$f":"'DF raw data'!L13","v":-3.5969999000000002E-2},{"$f":"'DF raw data'!M13","v":13.653370000000001},{"$f":"'DF raw data'!Q13","v":-0.74975002000000002},{"$f":"'DF raw data'!R13","v":9.5870999999999995},{"$f":"'DF raw data'!V13","v":1.6743300000000001},{"$f":"'DF raw data'!W13","v":5.9724798000000003},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":-2.7438799999999999},{"$f":"'DF raw data'!C14","v":6.8235602000000002},{"$f":"'DF raw data'!G14","v":-4.3205400000000003},{"$f":"'DF raw data'!H14","v":8.1930598999999997},{"$f":"'DF raw data'!L14","v":-3.11042},{"$f":"'DF raw data'!M14","v":8.8594302999999996},{"$f":"'DF raw data'!Q14","v":-2.0521801000000002},{"$f":"'DF raw data'!R14","v":9.8493604999999995},{"$f":"'DF raw data'!V14","v":0.1192},{"$f":"'DF raw data'!W14","v":8.3314103999999993},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":-7.6316098999999999},{"$f":"'DF raw data'!C15","v":4.8280902000000001},{"$f":"'DF raw data'!G15","v":-4.4345001999999996},{"$f":"'DF raw data'!H15","v":5.4306897999999997},{"$f":"'DF raw data'!L15","v":-9.6779699000000008},{"$f":"'DF raw data'!M15","v":5.2245102000000001},{"$f":"'DF raw data'!Q15","v":-1.8067899999999999},{"$f":"'DF raw data'!R15","v":7.6437302000000003},{"$f":"'DF raw data'!V15","v":-0.20846000000000001},{"$f":"'DF raw data'!W15","v":6.8327397999999997},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":0.53476000000000001},{"$f":"'DF raw data'!C16","v":10.628550000000001},{"$f":"'DF raw data'!G16","v":-2.2888099999999998},{"$f":"'DF raw data'!H16","v":9.7775201999999997},{"$f":"'DF raw data'!L16","v":-13.360469999999999},{"$f":"'DF raw data'!M16","v":6.8918099000000002},{"$f":"'DF raw data'!Q16","v":-1.99115},{"$f":"'DF raw data'!R16","v":10.826549999999999},{"$f":"'DF raw data'!V16","v":0.39886000999999999},{"$f":"'DF raw data'!W16","v":13.657590000000001}]
[6,{"$f":"'DF raw data'!B17","v":-3.8130901000000001},{"$f":"'DF raw data'!C17","v":1.34527},{"$f":"'DF raw data'!G17","v":-5.6710400999999999},{"$f":"'DF raw data'!H17","v":7.4775801},{"$f":"'DF raw data'!L17","v":-2.7644701},{"$f":"'DF raw data'!M17","v":3.6040599000000002},{"$f":"'DF raw data'!Q17","v":-1.8499999999999999E-2},{"$f":"'DF raw data'!R17","v":-1.0105299999999999},{"$f":"'DF raw data'!V17","v":2.3942399000000001},{"$f":"'DF raw data'!W17","v":6.28409}]
[8,{"$f":"'DF raw data'!B18","v":-1.7305699999999999},{"$f":"'DF raw data'!C18","v":12.116429999999999},{"$f":"'DF raw data'!G18","v":-6.9981698999999997},{"$f":"'DF raw data'!H18","v":12.408910000000001},{"$f":"'DF raw data'!L18","v":-2.8880799000000001},{"$f":"'DF raw data'!M18","v":11.861140000000001},{"$f":"'DF raw data'!Q18","v":-2.9641199},{"$f":"'DF raw data'!R18","v":5.2024397999999996},{"$f":"'DF raw data'!V18","v":-1.7282599999999999},{"$f":"'DF raw data'!W18","v":10.36928}]
[10,{"$f":"'DF raw data'!B19","v":-9.2414398000000002},{"$f":"'DF raw data'!C19","v":8.6269998999999995},{"$f":"'DF raw data'!G19","v":-9.6710595999999995},{"$f":"'DF raw data'!H19","v":9.1309699999999996},{"$f":"'DF raw data'!L19","v":-2.4373300000000002},{"$f":"'DF raw data'!M19","v":9.8044395000000009},{"$f":"'DF raw data'!Q19","v":-1.976},{"$f":"'DF raw data'!R19","v":4.9851799000000003},{"$f":"'DF raw data'!V19","v":7.3536099999999998},{"$f":"'DF raw data'!W19","v":16.21191}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":638},null,{"$f":"'DF raw data'!G4","v":639},null,{"$f":"'DF raw data'!L4","v":640},null,{"$f":"'DF raw data'!Q4","v":641},null,{"$f":"'DF raw data'!V4","v":642}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":-3.9626665999999999},{"$f":"AVERAGE(C11:C13)","v":5.3312900666666669},-2.6160334066666668,8.5474298999999991,-4.2747866330000006,9.2457701666666683,-1.53624004,9.0267302333333337,0.5283566666666667,7.0455433333333337]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null," "]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["HXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17050941},null,{"$f":"'DF raw data'!G7","v":17030926},null,{"$f":"'DF raw data'!L7","v":17010808},null,{"$f":"'DF raw data'!Q7","v":16970833},null,{"$f":"'DF raw data'!V7","v":16690874},null,null,{"$f":"B4","v":10},{"$f":"B21","v":1.4344537333333331},{"$f":"C21","v":9.8134441333333342},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":7.2384060333333329},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":11.997024533333331}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":-5.8039522999999997},{"$f":"E21","v":16.030032333333335},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":7.4500022299999999},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":11.997024533333331}]
[-10,{"$f":"'DF raw data'!D9/100","v":25.120688000000001},{"$f":"'DF raw data'!E9/100","v":8.0387304999999998},{"$f":"'DF raw data'!I9/100","v":26.647563000000002},{"$f":"'DF raw data'!J9/100","v":16.478184000000002},{"$f":"'DF raw data'!N9/100","v":30.600117000000001},{"$f":"'DF raw data'!O9/100","v":20.388828},{"$f":"'DF raw data'!S9/100","v":16.717869},{"$f":"'DF raw data'!T9/100","v":13.538594},{"$f":"'DF raw data'!X9/100","v":13.389429},{"$f":"'DF raw data'!Y9/100","v":33.447051000000002},null,{"$f":"F4","v":20},{"$f":"F21","v":-4.9184984333333333},{"$f":"G21","v":20.233762933333335}]
[-8,{"$f":"'DF raw data'!D10/100","v":3.4035635000000002},{"$f":"'DF raw data'!E10/100","v":-4.1598047000000005},{"$f":"'DF raw data'!I10/100","v":13.459235000000001},{"$f":"'DF raw data'!J10/100","v":3.4795312000000003},{"$f":"'DF raw data'!N10/100","v":16.638705000000002},{"$f":"'DF raw data'!O10/100","v":17.811084000000001},{"$f":"'DF raw data'!S10/100","v":15.086467000000001},{"$f":"'DF raw data'!T10/100","v":21.935019999999998},{"$f":"'DF raw data'!X10/100","v":-5.9280016999999994},{"$f":"'DF raw data'!Y10/100","v":23.363652000000002},null,{"$f":"H4","v":30},{"$f":"H21","v":-1.3624951133333332},{"$f":"I21","v":21.810468666666665}]
[-6,{"$f":"'DF raw data'!D11/100","v":5.8916669000000006},{"$f":"'DF raw data'!E11/100","v":4.1210741999999998},{"$f":"'DF raw data'!I11/100","v":4.2062219000000001},{"$f":"'DF raw data'!J11/100","v":11.800977},{"$f":"'DF raw data'!N11/100","v":3.9992248999999997},{"$f":"'DF raw data'!O11/100","v":2.6642383000000001},{"$f":"'DF raw data'!S11/100","v":-8.1574194000000002},{"$f":"'DF raw data'!T11/100","v":16.028516},{"$f":"'DF raw data'!X11/100","v":4.5746532999999996},{"$f":"'DF raw data'!Y11/100","v":25.970479000000001},null,{"$f":"J4","v":100},{"$f":"J21","v":1.64604993},{"$f":"K21","v":14.342119333333331}]
[-4,{"$f":"'DF raw data'!D12/100","v":-2.3679519999999998},{"$f":"'DF raw data'!E12/100","v":12.347538999999999},{"$f":"'DF raw data'!I12/100","v":8.5597607},{"$f":"'DF raw data'!J12/100","v":2.5274805000000002},{"$f":"'DF raw data'!N12/100","v":12.278001999999999},{"$f":"'DF raw data'!O12/100","v":15.120576000000002},{"$f":"'DF raw data'!S12/100","v":1.6416037000000001},{"$f":"'DF raw data'!T12/100","v":24.071172000000001},{"$f":"'DF raw data'!X12/100","v":13.16281},{"$f":"'DF raw data'!Y12/100","v":24.647811999999998}]
[-2,{"$f":"'DF raw data'!D13/100","v":-1.1526552999999999},{"$f":"'DF raw data'!E13/100","v":16.83043},{"$f":"'DF raw data'!I13/100","v":-2.2056729000000002},{"$f":"'DF raw data'!J13/100","v":23.36957},{"$f":"'DF raw data'!N13/100","v":-9.1587335000000003},{"$f":"'DF raw data'!O13/100","v":33.5},{"$f":"'DF raw data'!S13/100","v":-0.72309334000000003},{"$f":"'DF raw data'!T13/100","v":20.800311999999998},{"$f":"'DF raw data'!X13/100","v":-0.97876801000000002},{"$f":"'DF raw data'!Y13/100","v":15.604785},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":8.0703961},{"$f":"'DF raw data'!E14/100","v":7.7556836000000002},{"$f":"'DF raw data'!I14/100","v":-3.9274209999999998},{"$f":"'DF raw data'!J14/100","v":12.910879},{"$f":"'DF raw data'!N14/100","v":6.6572522000000003},{"$f":"'DF raw data'!O14/100","v":22.240781000000002},{"$f":"'DF raw data'!S14/100","v":3.3116132},{"$f":"'DF raw data'!T14/100","v":21.864960999999997},{"$f":"'DF raw data'!X14/100","v":3.0709235000000001},{"$f":"'DF raw data'!Y14/100","v":11.541641},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":-2.6143795999999999},{"$f":"'DF raw data'!E15/100","v":4.8542187999999999},{"$f":"'DF raw data'!I15/100","v":-11.278763},{"$f":"'DF raw data'!J15/100","v":11.809647999999999},{"$f":"'DF raw data'!N15/100","v":-12.254014},{"$f":"'DF raw data'!O15/100","v":4.9605077999999994},{"$f":"'DF raw data'!S15/100","v":-6.6760051999999996},{"$f":"'DF raw data'!T15/100","v":22.766133},{"$f":"'DF raw data'!X15/100","v":2.8459942999999996},{"$f":"'DF raw data'!Y15/100","v":15.879931999999998},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":0.77382568000000007},{"$f":"'DF raw data'!E16/100","v":17.269473000000001},{"$f":"'DF raw data'!I16/100","v":-11.978898999999998},{"$f":"'DF raw data'!J16/100","v":29.137676000000003},{"$f":"'DF raw data'!N16/100","v":-28.588699000000002},{"$f":"'DF raw data'!O16/100","v":12.869258},{"$f":"'DF raw data'!S16/100","v":-8.5676781999999996},{"$f":"'DF raw data'!T16/100","v":22.528701000000002},{"$f":"'DF raw data'!X16/100","v":0.43704590000000004},{"$f":"'DF raw data'!Y16/100","v":21.882714999999997}]
[6,{"$f":"'DF raw data'!D17/100","v":1.4538507000000001},{"$f":"'DF raw data'!E17/100","v":6.0785352000000001},{"$f":"'DF raw data'!I17/100","v":1.3412877000000001},{"$f":"'DF raw data'!J17/100","v":15.046748000000001},{"$f":"'DF raw data'!N17/100","v":13.164291},{"$f":"'DF raw data'!O17/100","v":4.4608008000000003},{"$f":"'DF raw data'!S17/100","v":5.0640264999999998},{"$f":"'DF raw data'!T17/100","v":-10.705390999999999},{"$f":"'DF raw data'!X17/100","v":33.594023},{"$f":"'DF raw data'!Y17/100","v":12.551689}]
[8,{"$f":"'DF raw data'!D18/100","v":-1.4826539999999999},{"$f":"'DF raw data'!E18/100","v":21.211464999999997},{"$f":"'DF raw data'!I18/100","v":-8.5571190999999995},{"$f":"'DF raw data'!J18/100","v":14.266748},{"$f":"'DF raw data'!N18/100","v":-13.322339999999999},{"$f":"'DF raw data'!O18/100","v":5.9731641},{"$f":"'DF raw data'!S18/100","v":-6.8161414000000002},{"$f":"'DF raw data'!T18/100","v":10.686016},{"$f":"'DF raw data'!X18/100","v":2.3598172000000002},{"$f":"'DF raw data'!Y18/100","v":23.251445}]
[10,{"$f":"'DF raw data'!D19/100","v":4.4816491999999997},{"$f":"'DF raw data'!E19/100","v":1.9182031000000002},{"$f":"'DF raw data'!I19/100","v":-13.530596000000001},{"$f":"'DF raw data'!J19/100","v":15.941884999999999},{"$f":"'DF raw data'!N19/100","v":0.89049149000000005},{"$f":"'DF raw data'!O19/100","v":7.0964941000000001},{"$f":"'DF raw data'!S19/100","v":2.7005626999999999},{"$f":"'DF raw data'!T19/100","v":-2.0896484000000002},{"$f":"'DF raw data'!X19/100","v":13.335494000000001},{"$f":"'DF raw data'!Y19/100","v":17.805664}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":638},null,{"$f":"'DF raw data'!G4","v":639},null,{"$f":"'DF raw data'!L4","v":640},null,{"$f":"'DF raw data'!Q4","v":641},null,{"$f":"'DF raw data'!V4","v":642}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":1.4344537333333331},{"$f":"AVERAGE(C11:C13)","v":9.8134441333333342},-5.8039522999999997,16.030032333333335,-4.9184984333333333,20.233762933333335,-1.3624951133333332,21.810468666666665,1.64604993,14.342119333333331]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16307, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16307, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16307, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16307, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16307, 100 mm gap"]
["Date:","8. aug 2017","16:42:31",null,null,"Date:","8. aug 2017","16:42:37",null,null,"Date:","8. aug 2017","16:42:42",null,null,"Date:","8. aug 2017","16:42:46",null,null,"Date:","8. aug 2017","16:42:51"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",638,null,null,null,"Indice:",639,null,null,null,"Indice:",640,null,null,null,"Indice:",641,null,null,null,"Indice:",642]
["Background Indice:",638,null,null,null,"Background Indice:",639,null,null,null,"Background Indice:",640,null,null,null,"Background Indice:",641,null,null,null,"Background Indice:",642]
["Temperature:",22.13,null,null,null,"Temperature:",22.03,null,null,null,"Temperature:",22.08,null,null,null,"Temperature:",21.99,null,null,null,"Temperature:",22.02]
["Encoder:",17050941,null,null,null,"Encoder:",17030926,null,null,null,"Encoder:",17010808,null,null,null,"Encoder:",16970833,null,null,null,"Encoder:",16690874]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,9.1992396999999997,-2.9682499999999998,2512.0688,803.87305000000003,-1,7.6917499999999999,3.66486,2664.7563,1647.8184000000001,-1,8.7882996000000002,6.7009601999999999,3060.0117,2038.8828000000001,-1,2.9220600000000001,5.2739501000000004,1671.7869000000001,1353.8594000000001,-1,-6.019E-2,11.290459999999999,1338.9429,3344.7051000000001]
[-0.80000000999999998,5.4579801999999997,0.64539999000000003,340.35635000000002,-415.98047000000003,-0.80000000999999998,8.6269302000000003,4.1659497999999999,1345.9235000000001,347.95312000000001,-0.80000000999999998,9.6208896999999993,7.2194700000000003,1663.8705,1781.1084000000001,-0.80000000999999998,6.6922002000000003,9.9302396999999996,1508.6467,2193.502,-0.80000000999999998,-0.38361001,17.134649,-592.80016999999998,2336.3652000000002]
[-0.60000001999999997,3.0528499999999998,-2.4478599999999999,589.16669000000002,412.10741999999999,-0.60000001999999997,4.0539497999999998,2.6077001000000002,420.62218999999999,1180.0977,-0.60000001999999997,5.7961402,1.94363,399.92248999999998,266.42383000000001,-0.60000001999999997,-2.8730600000000002,7.8344402000000004,-815.74194,1602.8516,-0.60000001999999997,0.84771001000000001,9.2141999999999999,457.46532999999999,2597.0479]
[-0.40000001000000002,1.1662300000000001,-1.1039999999999999E-2,-236.79519999999999,1234.7538999999999,-0.40000001000000002,2.6019000999999999,-1.4063801,855.97607000000005,252.74805000000001,-0.40000001000000002,3.5947399,4.3341098000000002,1227.8001999999999,1512.0576000000001,-0.40000001000000002,2.3874900000000001,8.1189003,164.16037,2407.1172000000001,-0.40000001000000002,4.1496902000000002,9.6198300999999997,1316.2809999999999,2464.7811999999999]
[-0.2,-1.5125099,4.3422197999999996,-115.26553,1683.0429999999999,-0.2,0.90693997999999998,12.01854,-220.56729000000001,2336.9569999999999,-0.2,-3.5969999000000002E-2,13.653370000000001,-915.87334999999996,3350,-0.2,-0.74975002000000002,9.5870999999999995,-72.309334000000007,2080.0311999999999,-0.2,1.6743300000000001,5.9724798000000003,-97.876801,1560.4784999999999]
[0,-2.7438799999999999,6.8235602000000002,807.03961000000004,775.56835999999998,0,-4.3205400000000003,8.1930598999999997,-392.74209999999999,1291.0879,0,-3.11042,8.8594302999999996,665.72522000000004,2224.0781000000002,0,-2.0521801000000002,9.8493604999999995,331.16131999999999,2186.4960999999998,0,0.1192,8.3314103999999993,307.09235000000001,1154.1641]
[0.2,-7.6316098999999999,4.8280902000000001,-261.43795999999998,485.42187999999999,0.2,-4.4345001999999996,5.4306897999999997,-1127.8762999999999,1180.9648,0.2,-9.6779699000000008,5.2245102000000001,-1225.4014,496.05077999999997,0.2,-1.8067899999999999,7.6437302000000003,-667.60051999999996,2276.6133,0.2,-0.20846000000000001,6.8327397999999997,284.59942999999998,1587.9931999999999]
[0.40000001000000002,0.53476000000000001,10.628550000000001,77.382568000000006,1726.9473,0.40000001000000002,-2.2888099999999998,9.7775201999999997,-1197.8898999999999,2913.7676000000001,0.40000001000000002,-13.360469999999999,6.8918099000000002,-2858.8699000000001,1286.9258,0.40000001000000002,-1.99115,10.826549999999999,-856.76782000000003,2252.8701000000001,0.40000001000000002,0.39886000999999999,13.657590000000001,43.704590000000003,2188.2714999999998]
[0.60000001999999997,-3.8130901000000001,1.34527,145.38507000000001,607.85352,0.60000001999999997,-5.6710400999999999,7.4775801,134.12877,1504.6748,0.60000001999999997,-2.7644701,3.6040599000000002,1316.4291000000001,446.08008000000001,0.60000001999999997,-1.8499999999999999E-2,-1.0105299999999999,506.40264999999999,-1070.5391,0.60000001999999997,2.3942399000000001,6.28409,3359.4023000000002,1255.1688999999999]
[0.80000000999999998,-1.7305699999999999,12.116429999999999,-148.2654,2121.1464999999998,0.80000000999999998,-6.9981698999999997,12.408910000000001,-855.71190999999999,1426.6748,0.80000000999999998,-2.8880799000000001,11.861140000000001,-1332.2339999999999,597.31641000000002,0.80000000999999998,-2.9641199,5.2024397999999996,-681.61414000000002,1068.6016,0.80000000999999998,-1.7282599999999999,10.36928,235.98172,2325.1444999999999]
[1,-9.2414398000000002,8.6269998999999995,448.16492,191.82031000000001,1,-9.6710595999999995,9.1309699999999996,-1353.0596,1594.1885,1,-2.4373300000000002,9.8044395000000009,89.049149,709.64940999999999,1,-1.976,4.9851799000000003,270.05626999999998,-208.96484000000001,1,7.3536099999999998,16.21191,1333.5494000000001,1780.5663999999999]