{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":518,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":30,"n_cols":19,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
["HXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":3133009},null,{"$f":"'DF raw data'!G7","v":3112951},null,{"$f":"'DF raw data'!L7","v":3092926},null,{"$f":"'DF raw data'!Q7","v":3052910},null,{"$f":"'DF raw data'!V7","v":2772971},null,null,{"$f":"B4","v":10},{"$f":"B21","v":-9.3107632333333328},{"$f":"C21","v":3.8469567999999996},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":6.231026533333333},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":4.8054398333333346}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":-3.0797366999999998},{"$f":"E21","v":5.8222633333333329},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":8.1258398666666665},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":4.8550565333333324}]
[-10,{"$f":"'DF raw data'!B9","v":3.8037399999999999},{"$f":"'DF raw data'!C9","v":2.7309101},{"$f":"'DF raw data'!G9","v":4.8350201000000004},{"$f":"'DF raw data'!H9","v":-2.1980800999999999},{"$f":"'DF raw data'!L9","v":5.0593700000000004},{"$f":"'DF raw data'!M9","v":2.2853601000000001},{"$f":"'DF raw data'!Q9","v":7.7445598000000002},{"$f":"'DF raw data'!R9","v":8.3613701000000002},{"$f":"'DF raw data'!V9","v":1.50271},{"$f":"'DF raw data'!W9","v":7.4549699},null,{"$f":"F4","v":20},{"$f":"F21","v":-5.6401301333333329},{"$f":"G21","v":8.6523966333333338}]
[-8,{"$f":"'DF raw data'!B10","v":3.8677700000000002},{"$f":"'DF raw data'!C10","v":1.392E-2},{"$f":"'DF raw data'!G10","v":-2.6159998999999998},{"$f":"'DF raw data'!H10","v":19.491949000000002},{"$f":"'DF raw data'!L10","v":1.7462899999999999},{"$f":"'DF raw data'!M10","v":5.3312602},{"$f":"'DF raw data'!Q10","v":-3.2584300000000002},{"$f":"'DF raw data'!R10","v":9.4483004000000008},{"$f":"'DF raw data'!V10","v":2.4457099000000002},{"$f":"'DF raw data'!W10","v":3.4474599000000001},null,{"$f":"H4","v":30},{"$f":"H21","v":-4.8330332666666669},{"$f":"I21","v":7.8143230033333317},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":2.5633199000000002},{"$f":"'DF raw data'!C11","v":9.9239397},{"$f":"'DF raw data'!G11","v":3.1102099000000001},{"$f":"'DF raw data'!H11","v":3.3404601},{"$f":"'DF raw data'!L11","v":-0.65132999000000003},{"$f":"'DF raw data'!M11","v":8.8783703000000003},{"$f":"'DF raw data'!Q11","v":2.8679299},{"$f":"'DF raw data'!R11","v":5.3537102000000001},{"$f":"'DF raw data'!V11","v":-2.6411901000000002},{"$f":"'DF raw data'!W11","v":6.2119097999999999},null,{"$f":"J4","v":100},{"$f":"J21","v":-1.1849233666666665},{"$f":"K21","v":8.7020133333333316},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":-11.946120000000001},{"$f":"'DF raw data'!C12","v":4.7380699999999996},{"$f":"'DF raw data'!G12","v":-6.9796500000000004},{"$f":"'DF raw data'!H12","v":8.1813897999999998},{"$f":"'DF raw data'!L12","v":-11.058490000000001},{"$f":"'DF raw data'!M12","v":2.9310700999999999},{"$f":"'DF raw data'!Q12","v":-5.1054801999999997},{"$f":"'DF raw data'!R12","v":0.82020998000000001},{"$f":"'DF raw data'!V12","v":-10.02126},{"$f":"'DF raw data'!W12","v":5.3393698000000001},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":-15.50553},{"$f":"'DF raw data'!C13","v":4.9317001999999999},{"$f":"'DF raw data'!G13","v":-5.5788001999999999},{"$f":"'DF raw data'!H13","v":11.668229999999999},{"$f":"'DF raw data'!L13","v":-9.6233702000000001},{"$f":"'DF raw data'!M13","v":4.2852100999999996},{"$f":"'DF raw data'!Q13","v":-10.762700000000001},{"$f":"'DF raw data'!R13","v":17.869088999999999},{"$f":"'DF raw data'!V13","v":-0.4481},{"$f":"'DF raw data'!W13","v":9.0281600999999991},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":-5.7828898000000004},{"$f":"'DF raw data'!C14","v":1.88849},{"$f":"'DF raw data'!G14","v":-2.6097100000000002},{"$f":"'DF raw data'!H14","v":1.93726},{"$f":"'DF raw data'!L14","v":-8.8137101999999992},{"$f":"'DF raw data'!M14","v":14.59872},{"$f":"'DF raw data'!Q14","v":-1.5707099},{"$f":"'DF raw data'!R14","v":5.2289399999999997},{"$f":"'DF raw data'!V14","v":-1.80765},{"$f":"'DF raw data'!W14","v":10.98282},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":-6.6438699000000003},{"$f":"'DF raw data'!C15","v":4.7206802000000003},{"$f":"'DF raw data'!G15","v":-1.0506998999999999},{"$f":"'DF raw data'!H15","v":3.8613},{"$f":"'DF raw data'!L15","v":1.5166900000000001},{"$f":"'DF raw data'!M15","v":7.0732597999999998},{"$f":"'DF raw data'!Q15","v":-2.1656898999999998},{"$f":"'DF raw data'!R15","v":0.34494001000000002},{"$f":"'DF raw data'!V15","v":-1.2990200999999999},{"$f":"'DF raw data'!W15","v":6.0950598999999999},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":-6.0338801999999996},{"$f":"'DF raw data'!C16","v":10.31358},{"$f":"'DF raw data'!G16","v":-11.45195},{"$f":"'DF raw data'!H16","v":10.996729999999999},{"$f":"'DF raw data'!L16","v":-4.2601399000000004},{"$f":"'DF raw data'!M16","v":19.877040999999998},{"$f":"'DF raw data'!Q16","v":-15.17136},{"$f":"'DF raw data'!R16","v":8.9999904999999991},{"$f":"'DF raw data'!V16","v":-6.0184597999999996},{"$f":"'DF raw data'!W16","v":18.203130999999999}]
[6,{"$f":"'DF raw data'!B17","v":2.3347299000000001},{"$f":"'DF raw data'!C17","v":13.77441},{"$f":"'DF raw data'!G17","v":0.93638997999999996},{"$f":"'DF raw data'!H17","v":13.25196},{"$f":"'DF raw data'!L17","v":0.36843999999999999},{"$f":"'DF raw data'!M17","v":5.4525299},{"$f":"'DF raw data'!Q17","v":-2.0901599000000002},{"$f":"'DF raw data'!R17","v":9.4623898999999998},{"$f":"'DF raw data'!V17","v":-2.7530899},{"$f":"'DF raw data'!W17","v":11.618819999999999}]
[8,{"$f":"'DF raw data'!B18","v":-2.8963499000000001},{"$f":"'DF raw data'!C18","v":3.1797399999999998},{"$f":"'DF raw data'!G18","v":-5.5980300999999999},{"$f":"'DF raw data'!H18","v":6.5441899000000001},{"$f":"'DF raw data'!L18","v":-4.6340199000000002},{"$f":"'DF raw data'!M18","v":3.5427898999999998},{"$f":"'DF raw data'!Q18","v":-6.3086801000000001},{"$f":"'DF raw data'!R18","v":11.725709999999999},{"$f":"'DF raw data'!V18","v":-0.69616001999999999},{"$f":"'DF raw data'!W18","v":12.33619}]
[10,{"$f":"'DF raw data'!B19","v":-1.04403},{"$f":"'DF raw data'!C19","v":9.4058303999999993},{"$f":"'DF raw data'!G19","v":-3.4816999000000002},{"$f":"'DF raw data'!H19","v":10.54125},{"$f":"'DF raw data'!L19","v":-4.6362500000000004},{"$f":"'DF raw data'!M19","v":3.8158400000000001},{"$f":"'DF raw data'!Q19","v":1.0218799999999999},{"$f":"'DF raw data'!R19","v":10.35317},{"$f":"'DF raw data'!V19","v":-4.4346499000000001},{"$f":"'DF raw data'!W19","v":7.7462001000000003}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":673},null,{"$f":"'DF raw data'!G4","v":674},null,{"$f":"'DF raw data'!L4","v":675},null,{"$f":"'DF raw data'!Q4","v":676},null,{"$f":"'DF raw data'!V4","v":677}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":-9.3107632333333328},{"$f":"AVERAGE(C11:C13)","v":3.8469567999999996},-3.0797366999999998,5.8222633333333329,-5.6401301333333329,8.6523966333333338,-4.8330332666666669,7.8143230033333317,-1.1849233666666665,8.7020133333333316]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null," "]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["HXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":3133009},null,{"$f":"'DF raw data'!G7","v":3112951},null,{"$f":"'DF raw data'!L7","v":3092926},null,{"$f":"'DF raw data'!Q7","v":3052910},null,{"$f":"'DF raw data'!V7","v":2772971},null,null,{"$f":"B4","v":10},{"$f":"B21","v":-12.997405933333333},{"$f":"C21","v":4.5517057233333338},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":16.680858233333332},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":12.50114584333333}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":3.6834523000000003},{"$f":"E21","v":17.052851566666664},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":22.8387256},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":12.50114584333333}]
[-10,{"$f":"'DF raw data'!D9/100","v":10.672881},{"$f":"'DF raw data'!E9/100","v":9.935136700000001},{"$f":"'DF raw data'!I9/100","v":7.9501928999999993},{"$f":"'DF raw data'!J9/100","v":5.6133007999999993},{"$f":"'DF raw data'!N9/100","v":12.448665},{"$f":"'DF raw data'!O9/100","v":0.24019528999999998},{"$f":"'DF raw data'!S9/100","v":9.0823865000000001},{"$f":"'DF raw data'!T9/100","v":21.514403999999999},{"$f":"'DF raw data'!X9/100","v":12.767235000000001},{"$f":"'DF raw data'!Y9/100","v":23.325039},null,{"$f":"F4","v":20},{"$f":"F21","v":-7.3825495666666656},{"$f":"G21","v":15.528385500000001}]
[-8,{"$f":"'DF raw data'!D10/100","v":21.525216999999998},{"$f":"'DF raw data'!E10/100","v":10.858994000000001},{"$f":"'DF raw data'!I10/100","v":7.1225116000000002},{"$f":"'DF raw data'!J10/100","v":28.717402000000003},{"$f":"'DF raw data'!N10/100","v":45.607714999999999},{"$f":"'DF raw data'!O10/100","v":5.3714062},{"$f":"'DF raw data'!S10/100","v":-13.380757000000001},{"$f":"'DF raw data'!T10/100","v":22.542939000000001},{"$f":"'DF raw data'!X10/100","v":-3.8864233000000001},{"$f":"'DF raw data'!Y10/100","v":6.3638769999999996},null,{"$f":"H4","v":30},{"$f":"H21","v":-0.56184204333333254},{"$f":"I21","v":13.404042966666667}]
[-6,{"$f":"'DF raw data'!D11/100","v":9.9318158000000007},{"$f":"'DF raw data'!E11/100","v":19.956719},{"$f":"'DF raw data'!I11/100","v":-5.9640021000000001},{"$f":"'DF raw data'!J11/100","v":1.7700586},{"$f":"'DF raw data'!N11/100","v":-11.246133},{"$f":"'DF raw data'!O11/100","v":17.208290999999999},{"$f":"'DF raw data'!S11/100","v":12.722722000000001},{"$f":"'DF raw data'!T11/100","v":9.1680370999999994},{"$f":"'DF raw data'!X11/100","v":-0.95046097000000007},{"$f":"'DF raw data'!Y11/100","v":6.4655762000000001},null,{"$f":"J4","v":100},{"$f":"J21","v":9.8413196666666671},{"$f":"K21","v":12.820179099999999}]
[-4,{"$f":"'DF raw data'!D12/100","v":-20.890819999999998},{"$f":"'DF raw data'!E12/100","v":6.4979687999999998},{"$f":"'DF raw data'!I12/100","v":-6.0136639000000001},{"$f":"'DF raw data'!J12/100","v":3.9602733999999997},{"$f":"'DF raw data'!N12/100","v":-22.961299},{"$f":"'DF raw data'!O12/100","v":-6.5677539000000005},{"$f":"'DF raw data'!S12/100","v":-2.7974878000000003},{"$f":"'DF raw data'!T12/100","v":-12.523438000000001},{"$f":"'DF raw data'!X12/100","v":-25.337393000000002},{"$f":"'DF raw data'!Y12/100","v":21.265868999999999}]
[-2,{"$f":"'DF raw data'!D13/100","v":-22.441417999999999},{"$f":"'DF raw data'!E13/100","v":5.8154492000000007},{"$f":"'DF raw data'!I13/100","v":-5.8813800000000001},{"$f":"'DF raw data'!J13/100","v":24.090077999999998},{"$f":"'DF raw data'!N13/100","v":-13.051670999999999},{"$f":"'DF raw data'!O13/100","v":23.236464999999999},{"$f":"'DF raw data'!S13/100","v":0.99001587000000002},{"$f":"'DF raw data'!T13/100","v":22.596309000000002},{"$f":"'DF raw data'!X13/100","v":-4.0766730000000004},{"$f":"'DF raw data'!Y13/100","v":10.266416},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":-10.060823000000001},{"$f":"'DF raw data'!E14/100","v":0.73620116999999996},{"$f":"'DF raw data'!I14/100","v":10.716068},{"$f":"'DF raw data'!J14/100","v":5.8783887000000004},{"$f":"'DF raw data'!N14/100","v":-17.436913999999998},{"$f":"'DF raw data'!O14/100","v":20.163710999999999},{"$f":"'DF raw data'!S14/100","v":-13.502594999999999},{"$f":"'DF raw data'!T14/100","v":13.605566},{"$f":"'DF raw data'!X14/100","v":16.202256999999999},{"$f":"'DF raw data'!Y14/100","v":8.3267382999999988},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":-6.4899767999999991},{"$f":"'DF raw data'!E15/100","v":7.1034667999999996},{"$f":"'DF raw data'!I15/100","v":6.2156688999999998},{"$f":"'DF raw data'!J15/100","v":21.190087999999999},{"$f":"'DF raw data'!N15/100","v":8.3409362999999992},{"$f":"'DF raw data'!O15/100","v":3.1849805},{"$f":"'DF raw data'!S15/100","v":10.827053000000001},{"$f":"'DF raw data'!T15/100","v":4.0102539000000004},{"$f":"'DF raw data'!X15/100","v":17.398375000000001},{"$f":"'DF raw data'!Y15/100","v":19.867383},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":7.6029040999999999},{"$f":"'DF raw data'!E16/100","v":21.379364999999996},{"$f":"'DF raw data'!I16/100","v":-2.6021170000000002},{"$f":"'DF raw data'!J16/100","v":14.680381000000001},{"$f":"'DF raw data'!N16/100","v":3.3356177000000002},{"$f":"'DF raw data'!O16/100","v":46.608505999999998},{"$f":"'DF raw data'!S16/100","v":-20.828831000000001},{"$f":"'DF raw data'!T16/100","v":18.503563999999997},{"$f":"'DF raw data'!X16/100","v":-3.6285601999999999},{"$f":"'DF raw data'!Y16/100","v":25.182676000000001}]
[6,{"$f":"'DF raw data'!D17/100","v":-10.617505000000001},{"$f":"'DF raw data'!E17/100","v":22.255322},{"$f":"'DF raw data'!I17/100","v":4.9728631999999999},{"$f":"'DF raw data'!J17/100","v":21.845459000000002},{"$f":"'DF raw data'!N17/100","v":-3.9501401},{"$f":"'DF raw data'!O17/100","v":12.352811999999998},{"$f":"'DF raw data'!S17/100","v":0.81434021000000001},{"$f":"'DF raw data'!T17/100","v":17.679883},{"$f":"'DF raw data'!X17/100","v":-7.0466265999999997},{"$f":"'DF raw data'!Y17/100","v":25.474277000000001}]
[8,{"$f":"'DF raw data'!D18/100","v":15.950507999999999},{"$f":"'DF raw data'!E18/100","v":5.8616992000000003},{"$f":"'DF raw data'!I18/100","v":-27.007222000000002},{"$f":"'DF raw data'!J18/100","v":7.5220019999999996},{"$f":"'DF raw data'!N18/100","v":-8.4032343000000012},{"$f":"'DF raw data'!O18/100","v":19.975985999999999},{"$f":"'DF raw data'!S18/100","v":4.1925445999999997},{"$f":"'DF raw data'!T18/100","v":29.434481999999999},{"$f":"'DF raw data'!X18/100","v":7.3036835},{"$f":"'DF raw data'!Y18/100","v":16.542451}]
[10,{"$f":"'DF raw data'!D19/100","v":2.1829553000000002},{"$f":"'DF raw data'!E19/100","v":30.902226999999996},{"$f":"'DF raw data'!I19/100","v":-25.343323000000002},{"$f":"'DF raw data'!J19/100","v":27.148135000000003},{"$f":"'DF raw data'!N19/100","v":-21.476113000000002},{"$f":"'DF raw data'!O19/100","v":6.4594434000000005},{"$f":"'DF raw data'!S19/100","v":15.497285},{"$f":"'DF raw data'!T19/100","v":35.100225000000002},{"$f":"'DF raw data'!X19/100","v":-8.8566528000000009},{"$f":"'DF raw data'!Y19/100","v":18.358643000000001}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":673},null,{"$f":"'DF raw data'!G4","v":674},null,{"$f":"'DF raw data'!L4","v":675},null,{"$f":"'DF raw data'!Q4","v":676},null,{"$f":"'DF raw data'!V4","v":677}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":-12.997405933333333},{"$f":"AVERAGE(C11:C13)","v":4.5517057233333338},3.6834523000000003,17.052851566666664,-7.3825495666666656,15.528385500000001,-0.56184204333333254,13.404042966666667,9.8413196666666671,12.820179099999999]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16309, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16309, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16309, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16309, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16309, 100 mm gap"]
["Date:","15. aug 2017","15:14:38",null,null,"Date:","15. aug 2017","15:14:42",null,null,"Date:","15. aug 2017","15:14:46",null,null,"Date:","15. aug 2017","15:14:50",null,null,"Date:","15. aug 2017","15:14:53"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",673,null,null,null,"Indice:",674,null,null,null,"Indice:",675,null,null,null,"Indice:",676,null,null,null,"Indice:",677]
["Background Indice:",673,null,null,null,"Background Indice:",674,null,null,null,"Background Indice:",675,null,null,null,"Background Indice:",676,null,null,null,"Background Indice:",677]
["Temperature:",21.96,null,null,null,"Temperature:",21.89,null,null,null,"Temperature:",22.04,null,null,null,"Temperature:",22.04,null,null,null,"Temperature:",22.01]
["Encoder:",3133009,null,null,null,"Encoder:",3112951,null,null,null,"Encoder:",3092926,null,null,null,"Encoder:",3052910,null,null,null,"Encoder:",2772971]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,3.8037399999999999,2.7309101,1067.2881,993.51367000000005,-1,4.8350201000000004,-2.1980800999999999,795.01928999999996,561.33007999999995,-1,5.0593700000000004,2.2853601000000001,1244.8665000000001,24.019528999999999,-1,7.7445598000000002,8.3613701000000002,908.23865000000001,2151.4404,-1,1.50271,7.4549699,1276.7235000000001,2332.5039000000002]
[-0.80000000999999998,3.8677700000000002,1.392E-2,2152.5216999999998,1085.8994,-0.80000000999999998,-2.6159998999999998,19.491949000000002,712.25116000000003,2871.7402000000002,-0.80000000999999998,1.7462899999999999,5.3312602,4560.7714999999998,537.14062000000001,-0.80000000999999998,-3.2584300000000002,9.4483004000000008,-1338.0757000000001,2254.2939000000001,-0.80000000999999998,2.4457099000000002,3.4474599000000001,-388.64233000000002,636.3877]
[-0.60000001999999997,2.5633199000000002,9.9239397,993.18158000000005,1995.6719000000001,-0.60000001999999997,3.1102099000000001,3.3404601,-596.40021000000002,177.00586000000001,-0.60000001999999997,-0.65132999000000003,8.8783703000000003,-1124.6133,1720.8290999999999,-0.60000001999999997,2.8679299,5.3537102000000001,1272.2722000000001,916.80371000000002,-0.60000001999999997,-2.6411901000000002,6.2119097999999999,-95.046097000000003,646.55762000000004]
[-0.40000001000000002,-11.946120000000001,4.7380699999999996,-2089.0819999999999,649.79687999999999,-0.40000001000000002,-6.9796500000000004,8.1813897999999998,-601.36639000000002,396.02733999999998,-0.40000001000000002,-11.058490000000001,2.9310700999999999,-2296.1298999999999,-656.77539000000002,-0.40000001000000002,-5.1054801999999997,0.82020998000000001,-279.74878000000001,-1252.3438000000001,-0.40000001000000002,-10.02126,5.3393698000000001,-2533.7393000000002,2126.5868999999998]
[-0.2,-15.50553,4.9317001999999999,-2244.1417999999999,581.54492000000005,-0.2,-5.5788001999999999,11.668229999999999,-588.13800000000003,2409.0077999999999,-0.2,-9.6233702000000001,4.2852100999999996,-1305.1670999999999,2323.6464999999998,-0.2,-10.762700000000001,17.869088999999999,99.001587000000001,2259.6309000000001,-0.2,-0.4481,9.0281600999999991,-407.66730000000001,1026.6415999999999]
[0,-5.7828898000000004,1.88849,-1006.0823,73.620116999999993,0,-2.6097100000000002,1.93726,1071.6068,587.83887000000004,0,-8.8137101999999992,14.59872,-1743.6913999999999,2016.3711000000001,0,-1.5707099,5.2289399999999997,-1350.2594999999999,1360.5565999999999,0,-1.80765,10.98282,1620.2257,832.67382999999995]
[0.2,-6.6438699000000003,4.7206802000000003,-648.99767999999995,710.34667999999999,0.2,-1.0506998999999999,3.8613,621.56688999999994,2119.0088000000001,0.2,1.5166900000000001,7.0732597999999998,834.09362999999996,318.49804999999998,0.2,-2.1656898999999998,0.34494001000000002,1082.7053000000001,401.02539000000002,0.2,-1.2990200999999999,6.0950598999999999,1739.8375000000001,1986.7383]
[0.40000001000000002,-6.0338801999999996,10.31358,760.29040999999995,2137.9364999999998,0.40000001000000002,-11.45195,10.996729999999999,-260.21170000000001,1468.0381,0.40000001000000002,-4.2601399000000004,19.877040999999998,333.56177000000002,4660.8505999999998,0.40000001000000002,-15.17136,8.9999904999999991,-2082.8831,1850.3563999999999,0.40000001000000002,-6.0184597999999996,18.203130999999999,-362.85602,2518.2676000000001]
[0.60000001999999997,2.3347299000000001,13.77441,-1061.7505000000001,2225.5322000000001,0.60000001999999997,0.93638997999999996,13.25196,497.28631999999999,2184.5459000000001,0.60000001999999997,0.36843999999999999,5.4525299,-395.01400999999998,1235.2811999999999,0.60000001999999997,-2.0901599000000002,9.4623898999999998,81.434021000000001,1767.9883,0.60000001999999997,-2.7530899,11.618819999999999,-704.66265999999996,2547.4277000000002]
[0.80000000999999998,-2.8963499000000001,3.1797399999999998,1595.0508,586.16992000000005,0.80000000999999998,-5.5980300999999999,6.5441899000000001,-2700.7222000000002,752.2002,0.80000000999999998,-4.6340199000000002,3.5427898999999998,-840.32343000000003,1997.5986,0.80000000999999998,-6.3086801000000001,11.725709999999999,419.25445999999999,2943.4481999999998,0.80000000999999998,-0.69616001999999999,12.33619,730.36834999999996,1654.2451000000001]
[1,-1.04403,9.4058303999999993,218.29553000000001,3090.2226999999998,1,-3.4816999000000002,10.54125,-2534.3323,2714.8135000000002,1,-4.6362500000000004,3.8158400000000001,-2147.6113,645.94434000000001,1,1.0218799999999999,10.35317,1549.7284999999999,3510.0225,1,-4.4346499000000001,7.7462001000000003,-885.66528000000005,1835.8643]