{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":533,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":30,"n_cols":19,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
["HXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17895611},null,{"$f":"'DF raw data'!G7","v":17875548},null,{"$f":"'DF raw data'!L7","v":17855537},null,{"$f":"'DF raw data'!Q7","v":17815515},null,{"$f":"'DF raw data'!V7","v":17535554},null,null,{"$f":"B4","v":10},{"$f":"B21","v":3.4322566333333335},{"$f":"C21","v":-2.9632566333333337},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":12.389636466666667},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":6.3392700333333343}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":-8.9573798333333343},{"$f":"E21","v":0.86489676666666659},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":12.389636466666667},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":6.3392700333333343}]
[-10,{"$f":"'DF raw data'!B9","v":-8.5697699000000007},{"$f":"'DF raw data'!C9","v":-7.4205499000000001},{"$f":"'DF raw data'!G9","v":-4.6937198999999996},{"$f":"'DF raw data'!H9","v":-3.9666199999999998},{"$f":"'DF raw data'!L9","v":-11.024990000000001},{"$f":"'DF raw data'!M9","v":-8.0544995999999998},{"$f":"'DF raw data'!Q9","v":-8.2471399000000005},{"$f":"'DF raw data'!R9","v":-8.9127797999999991},{"$f":"'DF raw data'!V9","v":-0.1946},{"$f":"'DF raw data'!W9","v":-3.1791600999999998},null,{"$f":"F4","v":20},{"$f":"F21","v":-7.7911865333333337},{"$f":"G21","v":-5.4743732666666673}]
[-8,{"$f":"'DF raw data'!B10","v":-10.375690000000001},{"$f":"'DF raw data'!C10","v":-9.7713202999999993},{"$f":"'DF raw data'!G10","v":-15.08277},{"$f":"'DF raw data'!H10","v":-3.3391299000000001},{"$f":"'DF raw data'!L10","v":-14.33887},{"$f":"'DF raw data'!M10","v":-3.5729301000000002},{"$f":"'DF raw data'!Q10","v":-10.685739999999999},{"$f":"'DF raw data'!R10","v":4.9390001000000003},{"$f":"'DF raw data'!V10","v":-4.1149601999999996},{"$f":"'DF raw data'!W10","v":-6.7089996999999998E-2},null,{"$f":"H4","v":30},{"$f":"H21","v":-4.4946533666666673},{"$f":"I21","v":-1.7845567000000002},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":-4.6328601999999997},{"$f":"'DF raw data'!C11","v":-4.7388601000000001},{"$f":"'DF raw data'!G11","v":-6.1773600999999996},{"$f":"'DF raw data'!H11","v":-8.0341702000000002},{"$f":"'DF raw data'!L11","v":-12.614179999999999},{"$f":"'DF raw data'!M11","v":1.4391499999999999},{"$f":"'DF raw data'!Q11","v":-10.24248},{"$f":"'DF raw data'!R11","v":1.2676898999999999},{"$f":"'DF raw data'!V11","v":-3.2202698999999999},{"$f":"'DF raw data'!W11","v":-14.255000000000001},null,{"$f":"J4","v":100},{"$f":"J21","v":-3.5901699333333332},{"$f":"K21","v":-5.2580967000000003},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":-0.62186003000000001},{"$f":"'DF raw data'!C12","v":-7.0373802000000003},{"$f":"'DF raw data'!G12","v":-18.668908999999999},{"$f":"'DF raw data'!H12","v":-6.5672797999999997},{"$f":"'DF raw data'!L12","v":4.2711701},{"$f":"'DF raw data'!M12","v":-4.5729598999999999},{"$f":"'DF raw data'!Q12","v":-3.4367499000000001},{"$f":"'DF raw data'!R12","v":-7.7009201000000003},{"$f":"'DF raw data'!V12","v":-3.8900101},{"$f":"'DF raw data'!W12","v":-5.8667597999999996},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":2.0737199999999998},{"$f":"'DF raw data'!C13","v":-4.9778700000000002},{"$f":"'DF raw data'!G13","v":-15.136850000000001},{"$f":"'DF raw data'!H13","v":-6.7166100000000002},{"$f":"'DF raw data'!L13","v":-11.792759999999999},{"$f":"'DF raw data'!M13","v":-1.7627900000000001},{"$f":"'DF raw data'!Q13","v":-7.0987802000000002},{"$f":"'DF raw data'!R13","v":-3.5556901000000001},{"$f":"'DF raw data'!V13","v":-4.2622299000000003},{"$f":"'DF raw data'!W13","v":0.19821},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":5.9357300000000004},{"$f":"'DF raw data'!C14","v":-2.6259999000000001},{"$f":"'DF raw data'!G14","v":-3.0541},{"$f":"'DF raw data'!H14","v":4.3083800999999999},{"$f":"'DF raw data'!L14","v":-3.3539701000000002},{"$f":"'DF raw data'!M14","v":-7.2019000000000002},{"$f":"'DF raw data'!Q14","v":-0.21285999999999999},{"$f":"'DF raw data'!R14","v":-0.13955999999999999},{"$f":"'DF raw data'!V14","v":-1.73902},{"$f":"'DF raw data'!W14","v":-10.738569999999999},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":2.2873199},{"$f":"'DF raw data'!C15","v":-1.2859},{"$f":"'DF raw data'!G15","v":-8.6811895000000003},{"$f":"'DF raw data'!H15","v":5.0029202000000002},{"$f":"'DF raw data'!L15","v":-8.2268294999999991},{"$f":"'DF raw data'!M15","v":-7.4584298000000002},{"$f":"'DF raw data'!Q15","v":-6.1723198999999997},{"$f":"'DF raw data'!R15","v":-1.65842},{"$f":"'DF raw data'!V15","v":-4.7692598999999998},{"$f":"'DF raw data'!W15","v":-5.2339301000000003},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":5.5711398000000001},{"$f":"'DF raw data'!C16","v":6.3550002999999994E-2},{"$f":"'DF raw data'!G16","v":-0.40712999999999999},{"$f":"'DF raw data'!H16","v":4.2266202000000002},{"$f":"'DF raw data'!L16","v":-8.9523802000000003},{"$f":"'DF raw data'!M16","v":-0.29591000000000001},{"$f":"'DF raw data'!Q16","v":-2.6796199999999999},{"$f":"'DF raw data'!R16","v":2.6040201000000001},{"$f":"'DF raw data'!V16","v":-3.5663299999999998},{"$f":"'DF raw data'!W16","v":-3.0785898999999999}]
[6,{"$f":"'DF raw data'!B17","v":12.972099999999999},{"$f":"'DF raw data'!C17","v":3.4540400999999998},{"$f":"'DF raw data'!G17","v":6.4042101000000002},{"$f":"'DF raw data'!H17","v":0.48096000999999999},{"$f":"'DF raw data'!L17","v":-0.59758001999999999},{"$f":"'DF raw data'!M17","v":-5.6144400000000001},{"$f":"'DF raw data'!Q17","v":0.45067998999999997},{"$f":"'DF raw data'!R17","v":-6.5649800000000003},{"$f":"'DF raw data'!V17","v":0.40654001000000001},{"$f":"'DF raw data'!W17","v":-6.5399498999999999}]
[8,{"$f":"'DF raw data'!B18","v":-4.1965899000000002},{"$f":"'DF raw data'!C18","v":12.49258},{"$f":"'DF raw data'!G18","v":0.95454000999999999},{"$f":"'DF raw data'!H18","v":7.8511199999999999},{"$f":"'DF raw data'!L18","v":-6.3517698999999999},{"$f":"'DF raw data'!M18","v":-4.6058697999999998},{"$f":"'DF raw data'!Q18","v":-9.5027199000000007},{"$f":"'DF raw data'!R18","v":2.8018200000000002},{"$f":"'DF raw data'!V18","v":-5.0434498999999997},{"$f":"'DF raw data'!W18","v":6.4370298000000004}]
[10,{"$f":"'DF raw data'!B19","v":3.0908598999999999},{"$f":"'DF raw data'!C19","v":-1.39781},{"$f":"'DF raw data'!G19","v":-1.88228},{"$f":"'DF raw data'!H19","v":-1.6926300999999999},{"$f":"'DF raw data'!L19","v":6.04176},{"$f":"'DF raw data'!M19","v":0.69270003000000002},{"$f":"'DF raw data'!Q19","v":-3.2855401},{"$f":"'DF raw data'!R19","v":-10.07915},{"$f":"'DF raw data'!V19","v":-1.18977},{"$f":"'DF raw data'!W19","v":-9.9427900000000005}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":745},null,{"$f":"'DF raw data'!G4","v":746},null,{"$f":"'DF raw data'!L4","v":747},null,{"$f":"'DF raw data'!Q4","v":748},null,{"$f":"'DF raw data'!V4","v":749}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":3.4322566333333335},{"$f":"AVERAGE(C11:C13)","v":-2.9632566333333337},-8.9573798333333343,0.86489676666666659,-7.7911865333333337,-5.4743732666666673,-4.4946533666666673,-1.7845567000000002,-3.5901699333333332,-5.2580967000000003]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null," "]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["HXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17895611},null,{"$f":"'DF raw data'!G7","v":17875548},null,{"$f":"'DF raw data'!L7","v":17855537},null,{"$f":"'DF raw data'!Q7","v":17815515},null,{"$f":"'DF raw data'!V7","v":17535554},null,null,{"$f":"B4","v":10},{"$f":"B21","v":0.14213293333333313},{"$f":"C21","v":0.84097963333333448},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":23.065685266666666},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":16.810146566666667}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":-22.923552333333333},{"$f":"E21","v":9.8033985999999995},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":23.065685266666666},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":16.810146566666667}]
[-10,{"$f":"'DF raw data'!D9/100","v":-6.3179993000000003},{"$f":"'DF raw data'!E9/100","v":1.2443652000000001},{"$f":"'DF raw data'!I9/100","v":-13.653047999999998},{"$f":"'DF raw data'!J9/100","v":-12.392256},{"$f":"'DF raw data'!N9/100","v":-18.992592999999999},{"$f":"'DF raw data'!O9/100","v":-4.6873633000000003},{"$f":"'DF raw data'!S9/100","v":-10.173132000000001},{"$f":"'DF raw data'!T9/100","v":-27.544307},{"$f":"'DF raw data'!X9/100","v":6.7571898999999993},{"$f":"'DF raw data'!Y9/100","v":-5.9972266000000003},null,{"$f":"F4","v":20},{"$f":"F21","v":-8.8495189333333339},{"$f":"G21","v":-7.0067479666666683}]
[-8,{"$f":"'DF raw data'!D10/100","v":-23.382559000000001},{"$f":"'DF raw data'!E10/100","v":2.4920116999999999},{"$f":"'DF raw data'!I10/100","v":-13.612231},{"$f":"'DF raw data'!J10/100","v":3.3895898},{"$f":"'DF raw data'!N10/100","v":-18.973054000000001},{"$f":"'DF raw data'!O10/100","v":3.1080468999999997},{"$f":"'DF raw data'!S10/100","v":-1.9423212000000001},{"$f":"'DF raw data'!T10/100","v":10.427959000000001},{"$f":"'DF raw data'!X10/100","v":-14.016840999999999},{"$f":"'DF raw data'!Y10/100","v":32.103203000000001},null,{"$f":"H4","v":30},{"$f":"H21","v":-20.085971666666666},{"$f":"I21","v":-0.26583980000000079}]
[-6,{"$f":"'DF raw data'!D11/100","v":0.47549529999999995},{"$f":"'DF raw data'!E11/100","v":-1.8407519999999999},{"$f":"'DF raw data'!I11/100","v":-15.204236000000002},{"$f":"'DF raw data'!J11/100","v":-31.459502000000001},{"$f":"'DF raw data'!N11/100","v":-22.990207999999999},{"$f":"'DF raw data'!O11/100","v":-2.6057519999999998},{"$f":"'DF raw data'!S11/100","v":-7.2943877999999991},{"$f":"'DF raw data'!T11/100","v":13.931455000000001},{"$f":"'DF raw data'!X11/100","v":-13.341068999999999},{"$f":"'DF raw data'!Y11/100","v":-4.3440624999999997},null,{"$f":"J4","v":100},{"$f":"J21","v":-8.5545901666666655},{"$f":"K21","v":-4.0676300666666663}]
[-4,{"$f":"'DF raw data'!D12/100","v":1.0922783},{"$f":"'DF raw data'!E12/100","v":-13.177284999999999},{"$f":"'DF raw data'!I12/100","v":-23.461791999999999},{"$f":"'DF raw data'!J12/100","v":-10.979149999999999},{"$f":"'DF raw data'!N12/100","v":1.2192157000000001},{"$f":"'DF raw data'!O12/100","v":-3.1826659999999998},{"$f":"'DF raw data'!S12/100","v":-21.452815000000001},{"$f":"'DF raw data'!T12/100","v":-9.6481054999999998},{"$f":"'DF raw data'!X12/100","v":-1.5235745000000001},{"$f":"'DF raw data'!Y12/100","v":-5.9336328000000007}]
[-2,{"$f":"'DF raw data'!D13/100","v":3.3039062000000001},{"$f":"'DF raw data'!E13/100","v":-15.450381},{"$f":"'DF raw data'!I13/100","v":-19.641392},{"$f":"'DF raw data'!J13/100","v":-15.455165999999998},{"$f":"'DF raw data'!N13/100","v":2.4533141999999999},{"$f":"'DF raw data'!O13/100","v":7.3612694999999997},{"$f":"'DF raw data'!S13/100","v":-27.869479999999999},{"$f":"'DF raw data'!T13/100","v":-6.2470996000000003},{"$f":"'DF raw data'!X13/100","v":-1.0564422999999998},{"$f":"'DF raw data'!Y13/100","v":3.3389159999999998},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":3.2461815999999999},{"$f":"'DF raw data'!E14/100","v":-9.8263280999999996},{"$f":"'DF raw data'!I14/100","v":-16.265651999999999},{"$f":"'DF raw data'!J14/100","v":-3.3518261999999996},{"$f":"'DF raw data'!N14/100","v":-11.540255999999999},{"$f":"'DF raw data'!O14/100","v":-19.525322000000003},{"$f":"'DF raw data'!S14/100","v":-9.5929369999999992},{"$f":"'DF raw data'!T14/100","v":-5.8934667999999997},{"$f":"'DF raw data'!X14/100","v":-8.3585522000000001},{"$f":"'DF raw data'!Y14/100","v":-20.550439000000001},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":-6.1236890000000006},{"$f":"'DF raw data'!E15/100","v":27.799648000000001},{"$f":"'DF raw data'!I15/100","v":-32.863613000000001},{"$f":"'DF raw data'!J15/100","v":48.217187999999993},{"$f":"'DF raw data'!N15/100","v":-17.461614999999998},{"$f":"'DF raw data'!O15/100","v":-8.8561914000000002},{"$f":"'DF raw data'!S15/100","v":-22.795497999999998},{"$f":"'DF raw data'!T15/100","v":11.343046999999999},{"$f":"'DF raw data'!X15/100","v":-16.248775999999999},{"$f":"'DF raw data'!Y15/100","v":5.0086328},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":5.8707983000000006},{"$f":"'DF raw data'!E16/100","v":4.6472559000000002},{"$f":"'DF raw data'!I16/100","v":2.6522307999999999},{"$f":"'DF raw data'!J16/100","v":-30.381210999999997},{"$f":"'DF raw data'!N16/100","v":-8.2182159000000006},{"$f":"'DF raw data'!O16/100","v":-2.1304102},{"$f":"'DF raw data'!S16/100","v":5.0762597999999999},{"$f":"'DF raw data'!T16/100","v":-8.7027245999999998},{"$f":"'DF raw data'!X16/100","v":1.0427892999999999},{"$f":"'DF raw data'!Y16/100","v":20.863955000000001}]
[6,{"$f":"'DF raw data'!D17/100","v":17.426387999999999},{"$f":"'DF raw data'!E17/100","v":13.869883},{"$f":"'DF raw data'!I17/100","v":-1.6882211},{"$f":"'DF raw data'!J17/100","v":-1.7440819999999999},{"$f":"'DF raw data'!N17/100","v":-3.7534399000000001},{"$f":"'DF raw data'!O17/100","v":-22.949883},{"$f":"'DF raw data'!S17/100","v":-5.6270971999999997},{"$f":"'DF raw data'!T17/100","v":-10.360742},{"$f":"'DF raw data'!X17/100","v":0.14422879999999999},{"$f":"'DF raw data'!Y17/100","v":-16.785556999999997}]
[8,{"$f":"'DF raw data'!D18/100","v":-17.922429999999999},{"$f":"'DF raw data'!E18/100","v":11.019600000000001},{"$f":"'DF raw data'!I18/100","v":-10.839658999999999},{"$f":"'DF raw data'!J18/100","v":5.5830858999999995},{"$f":"'DF raw data'!N18/100","v":3.5966198999999999},{"$f":"'DF raw data'!O18/100","v":-3.8517676000000001},{"$f":"'DF raw data'!S18/100","v":-35.680893999999995},{"$f":"'DF raw data'!T18/100","v":4.9331054999999999},{"$f":"'DF raw data'!X18/100","v":-16.811464000000001},{"$f":"'DF raw data'!Y18/100","v":-2.6294238000000001}]
[10,{"$f":"'DF raw data'!D19/100","v":2.9865900000000001},{"$f":"'DF raw data'!E19/100","v":-4.6402929999999998},{"$f":"'DF raw data'!I19/100","v":6.1308844000000002},{"$f":"'DF raw data'!J19/100","v":-6.2850976999999997},{"$f":"'DF raw data'!N19/100","v":-19.357976000000001},{"$f":"'DF raw data'!O19/100","v":3.1644434000000001},{"$f":"'DF raw data'!S19/100","v":-6.2663580000000003},{"$f":"'DF raw data'!T19/100","v":-13.810479000000001},{"$f":"'DF raw data'!X19/100","v":-8.5135167999999997},{"$f":"'DF raw data'!Y19/100","v":-5.1970020000000003}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":745},null,{"$f":"'DF raw data'!G4","v":746},null,{"$f":"'DF raw data'!L4","v":747},null,{"$f":"'DF raw data'!Q4","v":748},null,{"$f":"'DF raw data'!V4","v":749}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":0.14213293333333313},{"$f":"AVERAGE(C11:C13)","v":0.84097963333333448},-22.923552333333333,9.8033985999999995,-8.8495189333333339,-7.0067479666666683,-20.085971666666666,-0.26583980000000079,-8.5545901666666655,-4.0676300666666663]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16314, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16314, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16314, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16314, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16314, 100 mm gap"]
["Date:","1. sep 2017","13:53:17",null,null,"Date:","1. sep 2017","13:53:31",null,null,"Date:","1. sep 2017","13:53:35",null,null,"Date:","1. sep 2017","13:53:39",null,null,"Date:","1. sep 2017","13:53:43"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",745,null,null,null,"Indice:",746,null,null,null,"Indice:",747,null,null,null,"Indice:",748,null,null,null,"Indice:",749]
["Background Indice:",745,null,null,null,"Background Indice:",746,null,null,null,"Background Indice:",747,null,null,null,"Background Indice:",748,null,null,null,"Background Indice:",749]
["Temperature:",21.9,null,null,null,"Temperature:",21.92,null,null,null,"Temperature:",21.92,null,null,null,"Temperature:",21.9,null,null,null,"Temperature:",21.93]
["Encoder:",17895611,null,null,null,"Encoder:",17875548,null,null,null,"Encoder:",17855537,null,null,null,"Encoder:",17815515,null,null,null,"Encoder:",17535554]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,-8.5697699000000007,-7.4205499000000001,-631.79993000000002,124.43652,-1,-4.6937198999999996,-3.9666199999999998,-1365.3047999999999,-1239.2256,-1,-11.024990000000001,-8.0544995999999998,-1899.2592999999999,-468.73633000000001,-1,-8.2471399000000005,-8.9127797999999991,-1017.3132000000001,-2754.4306999999999,-1,-0.1946,-3.1791600999999998,675.71898999999996,-599.72266000000002]
[-0.80000000999999998,-10.375690000000001,-9.7713202999999993,-2338.2559000000001,249.20116999999999,-0.80000000999999998,-15.08277,-3.3391299000000001,-1361.2230999999999,338.95898,-0.80000000999999998,-14.33887,-3.5729301000000002,-1897.3054,310.80468999999999,-0.80000000999999998,-10.685739999999999,4.9390001000000003,-194.23212000000001,1042.7959000000001,-0.80000000999999998,-4.1149601999999996,-6.7089996999999998E-2,-1401.6840999999999,3210.3202999999999]
[-0.60000001999999997,-4.6328601999999997,-4.7388601000000001,47.549529999999997,-184.0752,-0.60000001999999997,-6.1773600999999996,-8.0341702000000002,-1520.4236000000001,-3145.9502000000002,-0.60000001999999997,-12.614179999999999,1.4391499999999999,-2299.0207999999998,-260.5752,-0.60000001999999997,-10.24248,1.2676898999999999,-729.43877999999995,1393.1455000000001,-0.60000001999999997,-3.2202698999999999,-14.255000000000001,-1334.1069,-434.40625]
[-0.40000001000000002,-0.62186003000000001,-7.0373802000000003,109.22783,-1317.7284999999999,-0.40000001000000002,-18.668908999999999,-6.5672797999999997,-2346.1792,-1097.915,-0.40000001000000002,4.2711701,-4.5729598999999999,121.92157,-318.26659999999998,-0.40000001000000002,-3.4367499000000001,-7.7009201000000003,-2145.2815000000001,-964.81055000000003,-0.40000001000000002,-3.8900101,-5.8667597999999996,-152.35745,-593.36328000000003]
[-0.2,2.0737199999999998,-4.9778700000000002,330.39062000000001,-1545.0381,-0.2,-15.136850000000001,-6.7166100000000002,-1964.1392000000001,-1545.5165999999999,-0.2,-11.792759999999999,-1.7627900000000001,245.33142000000001,736.12694999999997,-0.2,-7.0987802000000002,-3.5556901000000001,-2786.9479999999999,-624.70996000000002,-0.2,-4.2622299000000003,0.19821,-105.64422999999999,333.89159999999998]
[0,5.9357300000000004,-2.6259999000000001,324.61815999999999,-982.63280999999995,0,-3.0541,4.3083800999999999,-1626.5652,-335.18261999999999,0,-3.3539701000000002,-7.2019000000000002,-1154.0255999999999,-1952.5322000000001,0,-0.21285999999999999,-0.13955999999999999,-959.29369999999994,-589.34667999999999,0,-1.73902,-10.738569999999999,-835.85522000000003,-2055.0439000000001]
[0.2,2.2873199,-1.2859,-612.36890000000005,2779.9648000000002,0.2,-8.6811895000000003,5.0029202000000002,-3286.3613,4821.7187999999996,0.2,-8.2268294999999991,-7.4584298000000002,-1746.1614999999999,-885.61914000000002,0.2,-6.1723198999999997,-1.65842,-2279.5497999999998,1134.3046999999999,0.2,-4.7692598999999998,-5.2339301000000003,-1624.8776,500.86327999999997]
[0.40000001000000002,5.5711398000000001,6.3550002999999994E-2,587.07983000000002,464.72559000000001,0.40000001000000002,-0.40712999999999999,4.2266202000000002,265.22307999999998,-3038.1210999999998,0.40000001000000002,-8.9523802000000003,-0.29591000000000001,-821.82159000000001,-213.04102,0.40000001000000002,-2.6796199999999999,2.6040201000000001,507.62598000000003,-870.27246000000002,0.40000001000000002,-3.5663299999999998,-3.0785898999999999,104.27893,2086.3955000000001]
[0.60000001999999997,12.972099999999999,3.4540400999999998,1742.6387999999999,1386.9883,0.60000001999999997,6.4042101000000002,0.48096000999999999,-168.82211000000001,-174.40819999999999,0.60000001999999997,-0.59758001999999999,-5.6144400000000001,-375.34399000000002,-2294.9883,0.60000001999999997,0.45067998999999997,-6.5649800000000003,-562.70971999999995,-1036.0742,0.60000001999999997,0.40654001000000001,-6.5399498999999999,14.422879999999999,-1678.5556999999999]
[0.80000000999999998,-4.1965899000000002,12.49258,-1792.2429999999999,1101.96,0.80000000999999998,0.95454000999999999,7.8511199999999999,-1083.9658999999999,558.30858999999998,0.80000000999999998,-6.3517698999999999,-4.6058697999999998,359.66199,-385.17676,0.80000000999999998,-9.5027199000000007,2.8018200000000002,-3568.0893999999998,493.31054999999998,0.80000000999999998,-5.0434498999999997,6.4370298000000004,-1681.1464000000001,-262.94238000000001]
[1,3.0908598999999999,-1.39781,298.65899999999999,-464.02929999999998,1,-1.88228,-1.6926300999999999,613.08843999999999,-628.50977,1,6.04176,0.69270003000000002,-1935.7976000000001,316.44434000000001,1,-3.2855401,-10.07915,-626.63580000000002,-1381.0479,1,-1.18977,-9.9427900000000005,-851.35167999999999,-519.7002]