{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":554,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":30,"n_cols":19,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
["HXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17715511},null,{"$f":"'DF raw data'!G7","v":17695460},null,{"$f":"'DF raw data'!L7","v":17675442},null,{"$f":"'DF raw data'!Q7","v":17635438},null,{"$f":"'DF raw data'!V7","v":17355456},null,null,{"$f":"B4","v":10},{"$f":"B21","v":-0.65918666666666681},{"$f":"C21","v":12.104939966666668},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":4.6474167333333334},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":8.7167999000000016}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":-5.3066034000000002},{"$f":"E21","v":5.2973667000000004},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":4.6474167333333334},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":8.7167999000000016}]
[-10,{"$f":"'DF raw data'!B9","v":4.9680600000000004},{"$f":"'DF raw data'!C9","v":-16.000789999999999},{"$f":"'DF raw data'!G9","v":-2.2692698999999998},{"$f":"'DF raw data'!H9","v":-7.7419399999999996},{"$f":"'DF raw data'!L9","v":-4.5225600999999997},{"$f":"'DF raw data'!M9","v":-9.3608302999999999},{"$f":"'DF raw data'!Q9","v":-0.79625999999999997},{"$f":"'DF raw data'!R9","v":-3.9781100999999999},{"$f":"'DF raw data'!V9","v":4.6193099000000002},{"$f":"'DF raw data'!W9","v":1.98238},null,{"$f":"F4","v":20},{"$f":"F21","v":-4.9656833666666662},{"$f":"G21","v":3.3881400666666668}]
[-8,{"$f":"'DF raw data'!B10","v":-13.45135},{"$f":"'DF raw data'!C10","v":-0.17066999999999999},{"$f":"'DF raw data'!G10","v":-2.6329601},{"$f":"'DF raw data'!H10","v":-1.9069199999999999},{"$f":"'DF raw data'!L10","v":-3.6974900000000002},{"$f":"'DF raw data'!M10","v":-1.2314099999999999},{"$f":"'DF raw data'!Q10","v":-3.1086800000000001},{"$f":"'DF raw data'!R10","v":-1.12029},{"$f":"'DF raw data'!V10","v":-5.2441601999999996},{"$f":"'DF raw data'!W10","v":1.47366},null,{"$f":"H4","v":30},{"$f":"H21","v":-3.8832032999999999},{"$f":"I21","v":10.861790133333335},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":-5.2795601000000003},{"$f":"'DF raw data'!C11","v":3.9129600999999998},{"$f":"'DF raw data'!G11","v":-3.3016000000000001},{"$f":"'DF raw data'!H11","v":-3.4672599000000002},{"$f":"'DF raw data'!L11","v":-0.63445001999999995},{"$f":"'DF raw data'!M11","v":-4.1077098999999997},{"$f":"'DF raw data'!Q11","v":2.5678798999999999},{"$f":"'DF raw data'!R11","v":-1.0191399999999999},{"$f":"'DF raw data'!V11","v":0.75329000000000002},{"$f":"'DF raw data'!W11","v":0.32030001000000002},null,{"$f":"J4","v":100},{"$f":"J21","v":-1.1362065996666666},{"$f":"K21","v":8.0780000666666663},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":-5.2576498999999997},{"$f":"'DF raw data'!C12","v":-2.78403},{"$f":"'DF raw data'!G12","v":-1.4862500000000001},{"$f":"'DF raw data'!H12","v":0.64626002000000005},{"$f":"'DF raw data'!L12","v":-2.9354800999999999},{"$f":"'DF raw data'!M12","v":-2.24159},{"$f":"'DF raw data'!Q12","v":-6.1645699},{"$f":"'DF raw data'!R12","v":-4.9499997999999996},{"$f":"'DF raw data'!V12","v":-5.5307101999999997},{"$f":"'DF raw data'!W12","v":5.8308802000000002},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":-1.87314},{"$f":"'DF raw data'!C13","v":6.1273698999999997},{"$f":"'DF raw data'!G13","v":-10.25118},{"$f":"'DF raw data'!H13","v":3.0303198999999998},{"$f":"'DF raw data'!L13","v":-8.8413199999999996},{"$f":"'DF raw data'!M13","v":2.6345401000000002},{"$f":"'DF raw data'!Q13","v":-0.59558999999999995},{"$f":"'DF raw data'!R13","v":9.6347503999999997},{"$f":"'DF raw data'!V13","v":-4.0199999E-2},{"$f":"'DF raw data'!W13","v":6.5818801000000002},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":-1.4733700000000001},{"$f":"'DF raw data'!C14","v":17.154019999999999},{"$f":"'DF raw data'!G14","v":-3.6571701000000001},{"$f":"'DF raw data'!H14","v":5.8645902000000003},{"$f":"'DF raw data'!L14","v":-3.2588401},{"$f":"'DF raw data'!M14","v":6.2908001000000002},{"$f":"'DF raw data'!Q14","v":-3.0375700000000001},{"$f":"'DF raw data'!R14","v":11.425240000000001},{"$f":"'DF raw data'!V14","v":0.94571000000000005},{"$f":"'DF raw data'!W14","v":12.756360000000001},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":1.3689499999999999},{"$f":"'DF raw data'!C15","v":13.033429999999999},{"$f":"'DF raw data'!G15","v":-2.0114600999999999},{"$f":"'DF raw data'!H15","v":6.9971899999999998},{"$f":"'DF raw data'!L15","v":-2.7968899999999999},{"$f":"'DF raw data'!M15","v":1.23908},{"$f":"'DF raw data'!Q15","v":-8.0164498999999996},{"$f":"'DF raw data'!R15","v":11.52538},{"$f":"'DF raw data'!V15","v":-4.3141297999999999},{"$f":"'DF raw data'!W15","v":4.8957601000000004},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":6.0315098999999996},{"$f":"'DF raw data'!C16","v":12.765930000000001},{"$f":"'DF raw data'!G16","v":-6.9852499999999997},{"$f":"'DF raw data'!H16","v":19.347771000000002},{"$f":"'DF raw data'!L16","v":-0.39443001},{"$f":"'DF raw data'!M16","v":16.438510999999998},{"$f":"'DF raw data'!Q16","v":-0.54988002999999996},{"$f":"'DF raw data'!R16","v":17.981719999999999},{"$f":"'DF raw data'!V16","v":-6.1639400000000002},{"$f":"'DF raw data'!W16","v":7.4407300999999997}]
[6,{"$f":"'DF raw data'!B17","v":11.695270000000001},{"$f":"'DF raw data'!C17","v":14.75379},{"$f":"'DF raw data'!G17","v":2.0973301000000002},{"$f":"'DF raw data'!H17","v":15.494059999999999},{"$f":"'DF raw data'!L17","v":4.26647},{"$f":"'DF raw data'!M17","v":15.95434},{"$f":"'DF raw data'!Q17","v":0.71754003},{"$f":"'DF raw data'!R17","v":11.732390000000001},{"$f":"'DF raw data'!V17","v":-1.9479899000000001},{"$f":"'DF raw data'!W17","v":-3.4038301}]
[8,{"$f":"'DF raw data'!B18","v":5.0942302000000002},{"$f":"'DF raw data'!C18","v":25.217279000000001},{"$f":"'DF raw data'!G18","v":-0.82147002000000002},{"$f":"'DF raw data'!H18","v":21.318939},{"$f":"'DF raw data'!L18","v":8.4041405000000005},{"$f":"'DF raw data'!M18","v":23.578710999999998},{"$f":"'DF raw data'!Q18","v":-6.1971201999999996},{"$f":"'DF raw data'!R18","v":15.086690000000001},{"$f":"'DF raw data'!V18","v":-5.4504900000000003},{"$f":"'DF raw data'!W18","v":9.8966904000000007}]
[10,{"$f":"'DF raw data'!B19","v":10.736649999999999},{"$f":"'DF raw data'!C19","v":15.278840000000001},{"$f":"'DF raw data'!G19","v":1.8508199000000001},{"$f":"'DF raw data'!H19","v":24.136600000000001},{"$f":"'DF raw data'!L19","v":1.5168299999999999},{"$f":"'DF raw data'!M19","v":22.120199},{"$f":"'DF raw data'!Q19","v":-1.9047499999999999},{"$f":"'DF raw data'!R19","v":14.05048},{"$f":"'DF raw data'!V19","v":-4.9397897999999998},{"$f":"'DF raw data'!W19","v":3.1196101000000001}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":763},null,{"$f":"'DF raw data'!G4","v":764},null,{"$f":"'DF raw data'!L4","v":765},null,{"$f":"'DF raw data'!Q4","v":766},null,{"$f":"'DF raw data'!V4","v":767}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":-0.65918666666666681},{"$f":"AVERAGE(C11:C13)","v":12.104939966666668},-5.3066034000000002,5.2973667000000004,-4.9656833666666662,3.3881400666666668,-3.8832032999999999,10.861790133333335,-1.1362065996666666,8.0780000666666663]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null," "]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["HXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17715511},null,{"$f":"'DF raw data'!G7","v":17695460},null,{"$f":"'DF raw data'!L7","v":17675442},null,{"$f":"'DF raw data'!Q7","v":17635438},null,{"$f":"'DF raw data'!V7","v":17355456},null,null,{"$f":"B4","v":10},{"$f":"B21","v":-22.361412999999999},{"$f":"C21","v":33.162522666666668},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":4.4196046666666682},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":7.6126986666666667}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":-26.781017666666667},{"$f":"E21","v":25.549824000000001},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":5.0262600000000006},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":15.596208000000001}]
[-10,{"$f":"'DF raw data'!D9/100","v":-7.6713269000000004},{"$f":"'DF raw data'!E9/100","v":-5.0274901999999999},{"$f":"'DF raw data'!I9/100","v":-18.377424000000001},{"$f":"'DF raw data'!J9/100","v":-9.4967089999999992},{"$f":"'DF raw data'!N9/100","v":-23.003964999999997},{"$f":"'DF raw data'!O9/100","v":-6.581709},{"$f":"'DF raw data'!S9/100","v":3.9813010000000002},{"$f":"'DF raw data'!T9/100","v":3.7523925999999999},{"$f":"'DF raw data'!X9/100","v":-3.0900024000000004},{"$f":"'DF raw data'!Y9/100","v":-20.099657999999998},null,{"$f":"F4","v":20},{"$f":"F21","v":-25.311064999999999},{"$f":"G21","v":29.618024000000002}]
[-8,{"$f":"'DF raw data'!D10/100","v":-19.400471},{"$f":"'DF raw data'!E10/100","v":18.986688999999998},{"$f":"'DF raw data'!I10/100","v":-0.91104370000000001},{"$f":"'DF raw data'!J10/100","v":10.241250000000001},{"$f":"'DF raw data'!N10/100","v":-10.204561999999999},{"$f":"'DF raw data'!O10/100","v":12.331045},{"$f":"'DF raw data'!S10/100","v":-19.261144999999999},{"$f":"'DF raw data'!T10/100","v":18.570596000000002},{"$f":"'DF raw data'!X10/100","v":-14.645524999999999},{"$f":"'DF raw data'!Y10/100","v":14.674238000000001},null,{"$f":"H4","v":30},{"$f":"H21","v":-22.499700499999999},{"$f":"I21","v":28.285625}]
[-6,{"$f":"'DF raw data'!D11/100","v":-8.1286908000000011},{"$f":"'DF raw data'!E11/100","v":-0.59087891000000003},{"$f":"'DF raw data'!I11/100","v":-18.265044},{"$f":"'DF raw data'!J11/100","v":-1.0379882999999999},{"$f":"'DF raw data'!N11/100","v":-8.1677191000000011},{"$f":"'DF raw data'!O11/100","v":0.56057621000000002},{"$f":"'DF raw data'!S11/100","v":-13.418562},{"$f":"'DF raw data'!T11/100","v":-4.2036815999999995},{"$f":"'DF raw data'!X11/100","v":-12.654464000000001},{"$f":"'DF raw data'!Y11/100","v":-6.7213770000000004},null,{"$f":"J4","v":100},{"$f":"J21","v":-21.754757666666666},{"$f":"K21","v":17.566314666666667}]
[-4,{"$f":"'DF raw data'!D12/100","v":-13.548427999999999},{"$f":"'DF raw data'!E12/100","v":-3.0370702999999999},{"$f":"'DF raw data'!I12/100","v":-11.779318},{"$f":"'DF raw data'!J12/100","v":14.951768},{"$f":"'DF raw data'!N12/100","v":-16.438706},{"$f":"'DF raw data'!O12/100","v":9.8528710999999998},{"$f":"'DF raw data'!S12/100","v":-2.1055914000000002},{"$f":"'DF raw data'!T12/100","v":21.494940999999997},{"$f":"'DF raw data'!X12/100","v":-15.645848000000001},{"$f":"'DF raw data'!Y12/100","v":13.128408}]
[-2,{"$f":"'DF raw data'!D13/100","v":-16.116633},{"$f":"'DF raw data'!E13/100","v":18.114473},{"$f":"'DF raw data'!I13/100","v":-20.064112999999999},{"$f":"'DF raw data'!J13/100","v":22.658622999999999},{"$f":"'DF raw data'!N13/100","v":-30.190984},{"$f":"'DF raw data'!O13/100","v":48.663076000000004},{"$f":"'DF raw data'!S13/100","v":-6.0472704999999998},{"$f":"'DF raw data'!T13/100","v":21.194823999999997},{"$f":"'DF raw data'!X13/100","v":-20.654800000000002},{"$f":"'DF raw data'!Y13/100","v":16.780771000000001},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":-31.431562},{"$f":"'DF raw data'!E14/100","v":31.939032999999998},{"$f":"'DF raw data'!I14/100","v":-33.646791999999998},{"$f":"'DF raw data'!J14/100","v":19.044326000000002},{"$f":"'DF raw data'!N14/100","v":-29.027537000000002},{"$f":"'DF raw data'!O14/100","v":17.053818},{"$f":"'DF raw data'!S14/100","v":-31.409976},{"$f":"'DF raw data'!T14/100","v":28.043184},{"$f":"'DF raw data'!X14/100","v":-20.534834},{"$f":"'DF raw data'!Y14/100","v":12.873857000000001},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":-19.536044},{"$f":"'DF raw data'!E15/100","v":49.434062000000004},{"$f":"'DF raw data'!I15/100","v":-26.632148000000001},{"$f":"'DF raw data'!J15/100","v":34.946522999999999},{"$f":"'DF raw data'!N15/100","v":-16.714673999999999},{"$f":"'DF raw data'!O15/100","v":23.137177999999999},{"$f":"'DF raw data'!S15/100","v":-30.041855000000002},{"$f":"'DF raw data'!T15/100","v":35.618867000000002},{"$f":"'DF raw data'!X15/100","v":-24.074639000000001},{"$f":"'DF raw data'!Y15/100","v":23.044315999999998},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":0.68409850999999999},{"$f":"'DF raw data'!E16/100","v":29.331894999999999},{"$f":"'DF raw data'!I16/100","v":-23.851572000000001},{"$f":"'DF raw data'!J16/100","v":36.964345999999999},{"$f":"'DF raw data'!N16/100","v":-18.859508000000002},{"$f":"'DF raw data'!O16/100","v":34.513516000000003},{"$f":"'DF raw data'!S16/100","v":-8.8222272000000004},{"$f":"'DF raw data'!T16/100","v":41.210625},{"$f":"'DF raw data'!X16/100","v":-22.010659},{"$f":"'DF raw data'!Y16/100","v":14.165215}]
[6,{"$f":"'DF raw data'!D17/100","v":12.266084000000001},{"$f":"'DF raw data'!E17/100","v":44.522393000000001},{"$f":"'DF raw data'!I17/100","v":-13.892954999999999},{"$f":"'DF raw data'!J17/100","v":51.165292999999998},{"$f":"'DF raw data'!N17/100","v":-14.560299000000001},{"$f":"'DF raw data'!O17/100","v":36.724795},{"$f":"'DF raw data'!S17/100","v":-18.58494},{"$f":"'DF raw data'!T17/100","v":31.582606999999999},{"$f":"'DF raw data'!X17/100","v":-39.158850000000001},{"$f":"'DF raw data'!Y17/100","v":12.828544999999998}]
[8,{"$f":"'DF raw data'!D18/100","v":-15.211364000000001},{"$f":"'DF raw data'!E18/100","v":52.919247999999996},{"$f":"'DF raw data'!I18/100","v":-26.487705000000002},{"$f":"'DF raw data'!J18/100","v":39.42},{"$f":"'DF raw data'!N18/100","v":1.073623},{"$f":"'DF raw data'!O18/100","v":35.119990000000001},{"$f":"'DF raw data'!S18/100","v":-33.659940999999996},{"$f":"'DF raw data'!T18/100","v":15.644834000000001},{"$f":"'DF raw data'!X18/100","v":-18.324947999999999},{"$f":"'DF raw data'!Y18/100","v":18.166475000000002}]
[10,{"$f":"'DF raw data'!D19/100","v":1.0540814000000001},{"$f":"'DF raw data'!E19/100","v":38.410907999999999},{"$f":"'DF raw data'!I19/100","v":-11.924024999999999},{"$f":"'DF raw data'!J19/100","v":72.462642000000002},{"$f":"'DF raw data'!N19/100","v":-18.227094999999998},{"$f":"'DF raw data'!O19/100","v":48.156279000000005},{"$f":"'DF raw data'!S19/100","v":-14.004386999999999},{"$f":"'DF raw data'!T19/100","v":29.893789000000002},{"$f":"'DF raw data'!X19/100","v":-33.317751000000001},{"$f":"'DF raw data'!Y19/100","v":5.0076758000000003}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":763},null,{"$f":"'DF raw data'!G4","v":764},null,{"$f":"'DF raw data'!L4","v":765},null,{"$f":"'DF raw data'!Q4","v":766},null,{"$f":"'DF raw data'!V4","v":767}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":-22.361412999999999},{"$f":"AVERAGE(C11:C13)","v":33.162522666666668},-26.781017666666667,25.549824000000001,-25.311064999999999,29.618024000000002,-22.499700499999999,28.285625,-21.754757666666666,17.566314666666667]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16316, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16316, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16316, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16316, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16316, 100 mm gap"]
["Date:","5. sep 2017","18:08:27",null,null,"Date:","5. sep 2017","18:08:35",null,null,"Date:","5. sep 2017","18:08:40",null,null,"Date:","5. sep 2017","18:08:45",null,null,"Date:","5. sep 2017","18:09:06"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",763,null,null,null,"Indice:",764,null,null,null,"Indice:",765,null,null,null,"Indice:",766,null,null,null,"Indice:",767]
["Background Indice:",763,null,null,null,"Background Indice:",764,null,null,null,"Background Indice:",765,null,null,null,"Background Indice:",766,null,null,null,"Background Indice:",767]
["Temperature:",21.88,null,null,null,"Temperature:",21.89,null,null,null,"Temperature:",21.9,null,null,null,"Temperature:",21.84,null,null,null,"Temperature:",21.87]
["Encoder:",17715511,null,null,null,"Encoder:",17695460,null,null,null,"Encoder:",17675442,null,null,null,"Encoder:",17635438,null,null,null,"Encoder:",17355456]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,4.9680600000000004,-16.000789999999999,-767.13269000000003,-502.74901999999997,-1,-2.2692698999999998,-7.7419399999999996,-1837.7424000000001,-949.67089999999996,-1,-4.5225600999999997,-9.3608302999999999,-2300.3964999999998,-658.17089999999996,-1,-0.79625999999999997,-3.9781100999999999,398.13010000000003,375.23926,-1,4.6193099000000002,1.98238,-309.00024000000002,-2009.9657999999999]
[-0.80000000999999998,-13.45135,-0.17066999999999999,-1940.0471,1898.6688999999999,-0.80000000999999998,-2.6329601,-1.9069199999999999,-91.104370000000003,1024.125,-0.80000000999999998,-3.6974900000000002,-1.2314099999999999,-1020.4562,1233.1044999999999,-0.80000000999999998,-3.1086800000000001,-1.12029,-1926.1144999999999,1857.0596,-0.80000000999999998,-5.2441601999999996,1.47366,-1464.5525,1467.4238]
[-0.60000001999999997,-5.2795601000000003,3.9129600999999998,-812.86908000000005,-59.087890999999999,-0.60000001999999997,-3.3016000000000001,-3.4672599000000002,-1826.5044,-103.79883,-0.60000001999999997,-0.63445001999999995,-4.1077098999999997,-816.77191000000005,56.057620999999997,-0.60000001999999997,2.5678798999999999,-1.0191399999999999,-1341.8561999999999,-420.36815999999999,-0.60000001999999997,0.75329000000000002,0.32030001000000002,-1265.4464,-672.1377]
[-0.40000001000000002,-5.2576498999999997,-2.78403,-1354.8427999999999,-303.70702999999997,-0.40000001000000002,-1.4862500000000001,0.64626002000000005,-1177.9318000000001,1495.1768,-0.40000001000000002,-2.9354800999999999,-2.24159,-1643.8706,985.28710999999998,-0.40000001000000002,-6.1645699,-4.9499997999999996,-210.55914000000001,2149.4940999999999,-0.40000001000000002,-5.5307101999999997,5.8308802000000002,-1564.5848000000001,1312.8407999999999]
[-0.2,-1.87314,6.1273698999999997,-1611.6632999999999,1811.4473,-0.2,-10.25118,3.0303198999999998,-2006.4113,2265.8622999999998,-0.2,-8.8413199999999996,2.6345401000000002,-3019.0983999999999,4866.3076000000001,-0.2,-0.59558999999999995,9.6347503999999997,-604.72704999999996,2119.4823999999999,-0.2,-4.0199999E-2,6.5818801000000002,-2065.48,1678.0771]
[0,-1.4733700000000001,17.154019999999999,-3143.1561999999999,3193.9032999999999,0,-3.6571701000000001,5.8645902000000003,-3364.6792,1904.4326000000001,0,-3.2588401,6.2908001000000002,-2902.7537000000002,1705.3818000000001,0,-3.0375700000000001,11.425240000000001,-3140.9976000000001,2804.3184000000001,0,0.94571000000000005,12.756360000000001,-2053.4834000000001,1287.3857]
[0.2,1.3689499999999999,13.033429999999999,-1953.6043999999999,4943.4062000000004,0.2,-2.0114600999999999,6.9971899999999998,-2663.2148000000002,3494.6523000000002,0.2,-2.7968899999999999,1.23908,-1671.4674,2313.7177999999999,0.2,-8.0164498999999996,11.52538,-3004.1855,3561.8867,0.2,-4.3141297999999999,4.8957601000000004,-2407.4639000000002,2304.4315999999999]
[0.40000001000000002,6.0315098999999996,12.765930000000001,68.409851000000003,2933.1895,0.40000001000000002,-6.9852499999999997,19.347771000000002,-2385.1572000000001,3696.4346,0.40000001000000002,-0.39443001,16.438510999999998,-1885.9508000000001,3451.3516,0.40000001000000002,-0.54988002999999996,17.981719999999999,-882.22271999999998,4121.0625,0.40000001000000002,-6.1639400000000002,7.4407300999999997,-2201.0659000000001,1416.5215000000001]
[0.60000001999999997,11.695270000000001,14.75379,1226.6084000000001,4452.2393000000002,0.60000001999999997,2.0973301000000002,15.494059999999999,-1389.2954999999999,5116.5293000000001,0.60000001999999997,4.26647,15.95434,-1456.0299,3672.4794999999999,0.60000001999999997,0.71754003,11.732390000000001,-1858.4939999999999,3158.2606999999998,0.60000001999999997,-1.9479899000000001,-3.4038301,-3915.8850000000002,1282.8544999999999]
[0.80000000999999998,5.0942302000000002,25.217279000000001,-1521.1364000000001,5291.9247999999998,0.80000000999999998,-0.82147002000000002,21.318939,-2648.7705000000001,3942,0.80000000999999998,8.4041405000000005,23.578710999999998,107.3623,3511.9989999999998,0.80000000999999998,-6.1971201999999996,15.086690000000001,-3365.9940999999999,1564.4834000000001,0.80000000999999998,-5.4504900000000003,9.8966904000000007,-1832.4947999999999,1816.6475]
[1,10.736649999999999,15.278840000000001,105.40814,3841.0907999999999,1,1.8508199000000001,24.136600000000001,-1192.4024999999999,7246.2641999999996,1,1.5168299999999999,22.120199,-1822.7094999999999,4815.6279000000004,1,-1.9047499999999999,14.05048,-1400.4386999999999,2989.3789000000002,1,-4.9397897999999998,3.1196101000000001,-3331.7750999999998,500.76758000000001]