{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":594,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":30,"n_cols":19,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
["HXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17263798},null,{"$f":"'DF raw data'!G7","v":17243741},null,{"$f":"'DF raw data'!L7","v":17223723},null,{"$f":"'DF raw data'!Q7","v":0},null,{"$f":"'DF raw data'!V7","v":16903749},null,null,{"$f":"B4","v":10},{"$f":"B21","v":5.5585099000000007},{"$f":"C21","v":-2.4469234000000002},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":6.0716101666666642},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":7.500020000000001}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":9.2797966333333335},{"$f":"E21","v":2.7297033399999999},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":9.5181933999999977},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":7.6838832666666672}]
[-10,{"$f":"'DF raw data'!B9","v":14.6105},{"$f":"'DF raw data'!C9","v":19.901330999999999},{"$f":"'DF raw data'!G9","v":5.7654300000000003},{"$f":"'DF raw data'!H9","v":23.535060999999999},{"$f":"'DF raw data'!L9","v":14.766909999999999},{"$f":"'DF raw data'!M9","v":26.221648999999999},{"$f":"'DF raw data'!Q9","v":9.8338003},{"$f":"'DF raw data'!R9","v":14.55729},{"$f":"'DF raw data'!V9","v":9.0572900999999995},{"$f":"'DF raw data'!W9","v":-11.422510000000001},null,{"$f":"F4","v":20},{"$f":"F21","v":11.630120066666665},{"$f":"G21","v":5.0530966000000008}]
[-8,{"$f":"'DF raw data'!B10","v":20.451639},{"$f":"'DF raw data'!C10","v":13.15513},{"$f":"'DF raw data'!G10","v":15.347160000000001},{"$f":"'DF raw data'!H10","v":25.692810000000001},{"$f":"'DF raw data'!L10","v":11.59872},{"$f":"'DF raw data'!M10","v":15.22067},{"$f":"'DF raw data'!Q10","v":5.0182098999999996},{"$f":"'DF raw data'!R10","v":8.6440000999999995},{"$f":"'DF raw data'!V10","v":-3.9438300000000002},{"$f":"'DF raw data'!W10","v":3.8540101},null,{"$f":"H4","v":30},{"$f":"H21","v":9.6084565333333334},{"$f":"I21","v":3.6316533},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":17.971219999999999},{"$f":"'DF raw data'!C11","v":19.82967},{"$f":"'DF raw data'!G11","v":8.4617596000000006},{"$f":"'DF raw data'!H11","v":12.191330000000001},{"$f":"'DF raw data'!L11","v":10.004440000000001},{"$f":"'DF raw data'!M11","v":14.34498},{"$f":"'DF raw data'!Q11","v":8.5030698999999998},{"$f":"'DF raw data'!R11","v":10.247389999999999},{"$f":"'DF raw data'!V11","v":2.49207},{"$f":"'DF raw data'!W11","v":-5.1136898999999998},null,{"$f":"J4","v":100},{"$f":"J21","v":2.1119266666666667},{"$f":"K21","v":-2.6307866666666668},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":9.5062102999999993},{"$f":"'DF raw data'!C12","v":22.448170000000001},{"$f":"'DF raw data'!G12","v":18.236098999999999},{"$f":"'DF raw data'!H12","v":15.042210000000001},{"$f":"'DF raw data'!L12","v":11.16081},{"$f":"'DF raw data'!M12","v":2.4636499999999999},{"$f":"'DF raw data'!Q12","v":13.52969},{"$f":"'DF raw data'!R12","v":3.9012799},{"$f":"'DF raw data'!V12","v":9.2960901000000007},{"$f":"'DF raw data'!W12","v":-1.1672400000000001},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":9.6637897000000006},{"$f":"'DF raw data'!C13","v":-0.65103},{"$f":"'DF raw data'!G13","v":6.2634300999999999},{"$f":"'DF raw data'!H13","v":4.1363000999999997},{"$f":"'DF raw data'!L13","v":9.6549701999999993},{"$f":"'DF raw data'!M13","v":9.2438698000000006},{"$f":"'DF raw data'!Q13","v":3.2967200000000001},{"$f":"'DF raw data'!R13","v":8.2252302000000004},{"$f":"'DF raw data'!V13","v":0.10488},{"$f":"'DF raw data'!W13","v":-2.5262101000000001},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":11.542960000000001},{"$f":"'DF raw data'!C14","v":-0.31986999999999999},{"$f":"'DF raw data'!G14","v":11.613300000000001},{"$f":"'DF raw data'!H14","v":3.1612898999999999},{"$f":"'DF raw data'!L14","v":21.18693},{"$f":"'DF raw data'!M14","v":5.9090600000000002},{"$f":"'DF raw data'!Q14","v":15.62832},{"$f":"'DF raw data'!R14","v":7.3952898999999999},{"$f":"'DF raw data'!V14","v":2.4298099999999998},{"$f":"'DF raw data'!W14","v":-4.0231298999999998},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":-4.5312200000000002},{"$f":"'DF raw data'!C15","v":-6.3698702000000003},{"$f":"'DF raw data'!G15","v":9.9626598000000008},{"$f":"'DF raw data'!H15","v":0.89152001999999997},{"$f":"'DF raw data'!L15","v":4.0484600000000004},{"$f":"'DF raw data'!M15","v":6.3600000000000002E-3},{"$f":"'DF raw data'!Q15","v":9.9003295999999992},{"$f":"'DF raw data'!R15","v":-4.7255602000000003},{"$f":"'DF raw data'!V15","v":3.8010899999999999},{"$f":"'DF raw data'!W15","v":-1.3430200000000001},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":-5.0604199999999997},{"$f":"'DF raw data'!C16","v":-5.5009798999999999},{"$f":"'DF raw data'!G16","v":-3.8687},{"$f":"'DF raw data'!H16","v":6.8047098999999998},{"$f":"'DF raw data'!L16","v":-7.0429601999999996},{"$f":"'DF raw data'!M16","v":12.35453},{"$f":"'DF raw data'!Q16","v":-8.2103394999999999},{"$f":"'DF raw data'!R16","v":8.4576197000000004},{"$f":"'DF raw data'!V16","v":-4.0543399000000004},{"$f":"'DF raw data'!W16","v":5.0860399999999997}]
[6,{"$f":"'DF raw data'!B17","v":-6.7982798000000004},{"$f":"'DF raw data'!C17","v":-9.6290703000000004},{"$f":"'DF raw data'!G17","v":-0.34777998999999998},{"$f":"'DF raw data'!H17","v":2.1377201000000001},{"$f":"'DF raw data'!L17","v":1.2559298999999999},{"$f":"'DF raw data'!M17","v":5.5310702000000003},{"$f":"'DF raw data'!Q17","v":4.1380800999999998},{"$f":"'DF raw data'!R17","v":8.7012300000000007},{"$f":"'DF raw data'!V17","v":-0.96661001000000002},{"$f":"'DF raw data'!W17","v":6.0316200000000002}]
[8,{"$f":"'DF raw data'!B18","v":5.2730598000000004},{"$f":"'DF raw data'!C18","v":-7.7849301999999998},{"$f":"'DF raw data'!G18","v":5.1784800999999998},{"$f":"'DF raw data'!H18","v":-7.3884100999999998},{"$f":"'DF raw data'!L18","v":5.7188100999999998},{"$f":"'DF raw data'!M18","v":-1.48173},{"$f":"'DF raw data'!Q18","v":0.66259003000000005},{"$f":"'DF raw data'!R18","v":10.08606},{"$f":"'DF raw data'!V18","v":5.5018802000000004},{"$f":"'DF raw data'!W18","v":-4.5655298000000002}]
[10,{"$f":"'DF raw data'!B19","v":0.64824998},{"$f":"'DF raw data'!C19","v":6.8909101000000001},{"$f":"'DF raw data'!G19","v":-4.7096499999999999},{"$f":"'DF raw data'!H19","v":6.5881400000000001},{"$f":"'DF raw data'!L19","v":3.9739999999999998E-2},{"$f":"'DF raw data'!M19","v":8.8525801000000008},{"$f":"'DF raw data'!Q19","v":-3.7191898999999999},{"$f":"'DF raw data'!R19","v":10.19861},{"$f":"'DF raw data'!V19","v":3.4905400000000002},{"$f":"'DF raw data'!W19","v":5.2824001000000003}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":839},null,{"$f":"'DF raw data'!G4","v":840},null,{"$f":"'DF raw data'!L4","v":841},null,{"$f":"'DF raw data'!Q4","v":842},null,{"$f":"'DF raw data'!V4","v":843}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":5.5585099000000007},{"$f":"AVERAGE(C11:C13)","v":-2.4469234000000002},9.2797966333333335,2.7297033399999999,11.630120066666665,5.0530966000000008,9.6084565333333334,3.6316533,2.1119266666666667,-2.6307866666666668]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null," "]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["HXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17263798},null,{"$f":"'DF raw data'!G7","v":17243741},null,{"$f":"'DF raw data'!L7","v":17223723},null,{"$f":"'DF raw data'!Q7","v":0},null,{"$f":"'DF raw data'!V7","v":16903749},null,null,{"$f":"B4","v":10},{"$f":"B21","v":4.0935014333333344},{"$f":"C21","v":-3.9380468999999998},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":17.023316233333333},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":26.889745900000001}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":14.062273933333332},{"$f":"E21","v":-3.2744759666666661},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":19.2791912},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":26.889745900000001}]
[-10,{"$f":"'DF raw data'!D9/100","v":15.704177},{"$f":"'DF raw data'!E9/100","v":18.694209000000001},{"$f":"'DF raw data'!I9/100","v":28.812546000000001},{"$f":"'DF raw data'!J9/100","v":13.48292},{"$f":"'DF raw data'!N9/100","v":10.65413},{"$f":"'DF raw data'!O9/100","v":21.825693000000001},{"$f":"'DF raw data'!S9/100","v":16.382441},{"$f":"'DF raw data'!T9/100","v":1.9153809000000002},{"$f":"'DF raw data'!X9/100","v":3.9015258999999998},{"$f":"'DF raw data'!Y9/100","v":-34.652616999999999},null,{"$f":"F4","v":20},{"$f":"F21","v":21.116817666666666},{"$f":"G21","v":8.3844238666666673}]
[-8,{"$f":"'DF raw data'!D10/100","v":31.785796000000001},{"$f":"'DF raw data'!E10/100","v":19.063231999999999},{"$f":"'DF raw data'!I10/100","v":28.395385999999998},{"$f":"'DF raw data'!J10/100","v":37.496289000000004},{"$f":"'DF raw data'!N10/100","v":34.730488000000001},{"$f":"'DF raw data'!O10/100","v":22.945225000000001},{"$f":"'DF raw data'!S10/100","v":18.077445999999998},{"$f":"'DF raw data'!T10/100","v":11.910907999999999},{"$f":"'DF raw data'!X10/100","v":27.242699999999999},{"$f":"'DF raw data'!Y10/100","v":-23.330117000000001},null,{"$f":"H4","v":30},{"$f":"H21","v":12.870489399999999},{"$f":"I21","v":22.951699000000001}]
[-6,{"$f":"'DF raw data'!D11/100","v":42.586234999999995},{"$f":"'DF raw data'!E11/100","v":15.042138999999999},{"$f":"'DF raw data'!I11/100","v":7.5998779000000001},{"$f":"'DF raw data'!J11/100","v":3.5524608999999998},{"$f":"'DF raw data'!N11/100","v":9.5717272999999992},{"$f":"'DF raw data'!O11/100","v":17.272832000000001},{"$f":"'DF raw data'!S11/100","v":26.476194},{"$f":"'DF raw data'!T11/100","v":19.817177999999998},{"$f":"'DF raw data'!X11/100","v":10.721185},{"$f":"'DF raw data'!Y11/100","v":-23.114785000000001},null,{"$f":"J4","v":100},{"$f":"J21","v":1.8376264666666671},{"$f":"K21","v":3.2993749999999999}]
[-4,{"$f":"'DF raw data'!D12/100","v":17.672974},{"$f":"'DF raw data'!E12/100","v":39.291592000000001},{"$f":"'DF raw data'!I12/100","v":35.704297000000004},{"$f":"'DF raw data'!J12/100","v":18.56249},{"$f":"'DF raw data'!N12/100","v":16.248415999999999},{"$f":"'DF raw data'!O12/100","v":-5.2967382999999995},{"$f":"'DF raw data'!S12/100","v":19.914631},{"$f":"'DF raw data'!T12/100","v":-8.2890136999999999},{"$f":"'DF raw data'!X12/100","v":16.784047999999999},{"$f":"'DF raw data'!Y12/100","v":-11.733153999999999}]
[-2,{"$f":"'DF raw data'!D13/100","v":1.0322441},{"$f":"'DF raw data'!E13/100","v":10.585908},{"$f":"'DF raw data'!I13/100","v":1.2564088},{"$f":"'DF raw data'!J13/100","v":12.353418},{"$f":"'DF raw data'!N13/100","v":10.581559},{"$f":"'DF raw data'!O13/100","v":7.5417187999999999},{"$f":"'DF raw data'!S13/100","v":-5.7973828000000003},{"$f":"'DF raw data'!T13/100","v":17.586161999999998},{"$f":"'DF raw data'!X13/100","v":1.574055},{"$f":"'DF raw data'!Y13/100","v":6.9547851999999999},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":15.320134000000001},{"$f":"'DF raw data'!E14/100","v":1.1239452999999999},{"$f":"'DF raw data'!I14/100","v":12.996924},{"$f":"'DF raw data'!J14/100","v":-5.4293358999999999},{"$f":"'DF raw data'!N14/100","v":25.377654000000003},{"$f":"'DF raw data'!O14/100","v":14.499629000000001},{"$f":"'DF raw data'!S14/100","v":16.312943000000001},{"$f":"'DF raw data'!T14/100","v":23.248818},{"$f":"'DF raw data'!X14/100","v":-4.5879401},{"$f":"'DF raw data'!Y14/100","v":7.4286327999999999},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":-4.0718738000000005},{"$f":"'DF raw data'!E15/100","v":-23.523993999999998},{"$f":"'DF raw data'!I15/100","v":27.933488999999998},{"$f":"'DF raw data'!J15/100","v":-16.747509999999998},{"$f":"'DF raw data'!N15/100","v":27.391239999999996},{"$f":"'DF raw data'!O15/100","v":3.1119238},{"$f":"'DF raw data'!S15/100","v":28.095907999999998},{"$f":"'DF raw data'!T15/100","v":28.020116999999999},{"$f":"'DF raw data'!X15/100","v":8.5267645000000005},{"$f":"'DF raw data'!Y15/100","v":-4.4852929999999995},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":-49.980741999999999},{"$f":"'DF raw data'!E16/100","v":-39.775194999999997},{"$f":"'DF raw data'!I16/100","v":9.0250385000000009},{"$f":"'DF raw data'!J16/100","v":-5.6549805000000006},{"$f":"'DF raw data'!N16/100","v":-20.117283},{"$f":"'DF raw data'!O16/100","v":8.4713671999999995},{"$f":"'DF raw data'!S16/100","v":8.9352910999999988},{"$f":"'DF raw data'!T16/100","v":8.9260839999999995},{"$f":"'DF raw data'!X16/100","v":16.616620999999999},{"$f":"'DF raw data'!Y16/100","v":6.9667187999999998}]
[6,{"$f":"'DF raw data'!D17/100","v":-0.97336853000000001},{"$f":"'DF raw data'!E17/100","v":-15.445136999999999},{"$f":"'DF raw data'!I17/100","v":13.325485},{"$f":"'DF raw data'!J17/100","v":3.2355957000000002},{"$f":"'DF raw data'!N17/100","v":0.59246768999999999},{"$f":"'DF raw data'!O17/100","v":25.402411999999998},{"$f":"'DF raw data'!S17/100","v":11.611820999999999},{"$f":"'DF raw data'!T17/100","v":21.655117000000001},{"$f":"'DF raw data'!X17/100","v":11.901042},{"$f":"'DF raw data'!Y17/100","v":11.730098}]
[8,{"$f":"'DF raw data'!D18/100","v":12.449208},{"$f":"'DF raw data'!E18/100","v":-8.8509668000000001},{"$f":"'DF raw data'!I18/100","v":48.718135000000004},{"$f":"'DF raw data'!J18/100","v":-17.271699000000002},{"$f":"'DF raw data'!N18/100","v":15.780934999999999},{"$f":"'DF raw data'!O18/100","v":10.946289},{"$f":"'DF raw data'!S18/100","v":4.7669983},{"$f":"'DF raw data'!T18/100","v":14.717207},{"$f":"'DF raw data'!X18/100","v":18.980608},{"$f":"'DF raw data'!Y18/100","v":-5.9941699000000002}]
[10,{"$f":"'DF raw data'!D19/100","v":-14.531238},{"$f":"'DF raw data'!E19/100","v":18.460576},{"$f":"'DF raw data'!I19/100","v":-22.241311},{"$f":"'DF raw data'!J19/100","v":12.377979},{"$f":"'DF raw data'!N19/100","v":-43.020258999999996},{"$f":"'DF raw data'!O19/100","v":14.587988000000001},{"$f":"'DF raw data'!S19/100","v":7.4695141999999999},{"$f":"'DF raw data'!T19/100","v":14.840068},{"$f":"'DF raw data'!X19/100","v":-17.798562},{"$f":"'DF raw data'!Y19/100","v":-1.3397363000000002}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":839},null,{"$f":"'DF raw data'!G4","v":840},null,{"$f":"'DF raw data'!L4","v":841},null,{"$f":"'DF raw data'!Q4","v":842},null,{"$f":"'DF raw data'!V4","v":843}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":4.0935014333333344},{"$f":"AVERAGE(C11:C13)","v":-3.9380468999999998},14.062273933333332,-3.2744759666666661,21.116817666666666,8.3844238666666673,12.870489399999999,22.951699000000001,1.8376264666666671,3.2993749999999999]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16323, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16323, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16323, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16323, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16323, 100 mm gap"]
["Date:","20. sep 2017","15:23:27",null,null,"Date:","20. sep 2017","15:23:35",null,null,"Date:","20. sep 2017","15:23:43",null,null,"Date:","20. sep 2017","15:23:50",null,null,"Date:","20. sep 2017","15:23:58"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",839,null,null,null,"Indice:",840,null,null,null,"Indice:",841,null,null,null,"Indice:",842,null,null,null,"Indice:",843]
["Background Indice:",839,null,null,null,"Background Indice:",840,null,null,null,"Background Indice:",841,null,null,null,"Background Indice:",842,null,null,null,"Background Indice:",843]
["Temperature:",21.72,null,null,null,"Temperature:",21.59,null,null,null,"Temperature:",21.58,null,null,null,"Temperature:",21.62,null,null,null,"Temperature:",21.58]
["Encoder:",17263798,null,null,null,"Encoder:",17243741,null,null,null,"Encoder:",17223723,null,null,null,"Encoder:",0,null,null,null,"Encoder:",16903749]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,14.6105,19.901330999999999,1570.4177,1869.4209000000001,-1,5.7654300000000003,23.535060999999999,2881.2546000000002,1348.2919999999999,-1,14.766909999999999,26.221648999999999,1065.413,2182.5693000000001,-1,9.8338003,14.55729,1638.2440999999999,191.53809000000001,-1,9.0572900999999995,-11.422510000000001,390.15258999999998,-3465.2617]
[-0.80000000999999998,20.451639,13.15513,3178.5796,1906.3232,-0.80000000999999998,15.347160000000001,25.692810000000001,2839.5385999999999,3749.6289000000002,-0.80000000999999998,11.59872,15.22067,3473.0488,2294.5225,-0.80000000999999998,5.0182098999999996,8.6440000999999995,1807.7446,1191.0907999999999,-0.80000000999999998,-3.9438300000000002,3.8540101,2724.27,-2333.0117]
[-0.60000001999999997,17.971219999999999,19.82967,4258.6234999999997,1504.2139,-0.60000001999999997,8.4617596000000006,12.191330000000001,759.98779000000002,355.24608999999998,-0.60000001999999997,10.004440000000001,14.34498,957.17273,1727.2832000000001,-0.60000001999999997,8.5030698999999998,10.247389999999999,2647.6194,1981.7177999999999,-0.60000001999999997,2.49207,-5.1136898999999998,1072.1185,-2311.4785000000002]
[-0.40000001000000002,9.5062102999999993,22.448170000000001,1767.2973999999999,3929.1592000000001,-0.40000001000000002,18.236098999999999,15.042210000000001,3570.4297000000001,1856.249,-0.40000001000000002,11.16081,2.4636499999999999,1624.8416,-529.67382999999995,-0.40000001000000002,13.52969,3.9012799,1991.4630999999999,-828.90137000000004,-0.40000001000000002,9.2960901000000007,-1.1672400000000001,1678.4048,-1173.3154]
[-0.2,9.6637897000000006,-0.65103,103.22441000000001,1058.5907999999999,-0.2,6.2634300999999999,4.1363000999999997,125.64088,1235.3417999999999,-0.2,9.6549701999999993,9.2438698000000006,1058.1559,754.17187999999999,-0.2,3.2967200000000001,8.2252302000000004,-579.73828000000003,1758.6161999999999,-0.2,0.10488,-2.5262101000000001,157.40549999999999,695.47852]
[0,11.542960000000001,-0.31986999999999999,1532.0134,112.39453,0,11.613300000000001,3.1612898999999999,1299.6923999999999,-542.93358999999998,0,21.18693,5.9090600000000002,2537.7654000000002,1449.9629,0,15.62832,7.3952898999999999,1631.2943,2324.8818000000001,0,2.4298099999999998,-4.0231298999999998,-458.79401000000001,742.86328000000003]
[0.2,-4.5312200000000002,-6.3698702000000003,-407.18738000000002,-2352.3993999999998,0.2,9.9626598000000008,0.89152001999999997,2793.3489,-1674.751,0.2,4.0484600000000004,6.3600000000000002E-3,2739.1239999999998,311.19238000000001,0.2,9.9003295999999992,-4.7255602000000003,2809.5907999999999,2802.0117,0.2,3.8010899999999999,-1.3430200000000001,852.67645000000005,-448.52929999999998]
[0.40000001000000002,-5.0604199999999997,-5.5009798999999999,-4998.0742,-3977.5194999999999,0.40000001000000002,-3.8687,6.8047098999999998,902.50385000000006,-565.49805000000003,0.40000001000000002,-7.0429601999999996,12.35453,-2011.7283,847.13671999999997,0.40000001000000002,-8.2103394999999999,8.4576197000000004,893.52910999999995,892.60839999999996,0.40000001000000002,-4.0543399000000004,5.0860399999999997,1661.6621,696.67187999999999]
[0.60000001999999997,-6.7982798000000004,-9.6290703000000004,-97.336853000000005,-1544.5137,0.60000001999999997,-0.34777998999999998,2.1377201000000001,1332.5485000000001,323.55957000000001,0.60000001999999997,1.2559298999999999,5.5310702000000003,59.246769,2540.2411999999999,0.60000001999999997,4.1380800999999998,8.7012300000000007,1161.1821,2165.5117,0.60000001999999997,-0.96661001000000002,6.0316200000000002,1190.1042,1173.0098]
[0.80000000999999998,5.2730598000000004,-7.7849301999999998,1244.9208000000001,-885.09667999999999,0.80000000999999998,5.1784800999999998,-7.3884100999999998,4871.8135000000002,-1727.1699000000001,0.80000000999999998,5.7188100999999998,-1.48173,1578.0934999999999,1094.6288999999999,0.80000000999999998,0.66259003000000005,10.08606,476.69983000000002,1471.7207000000001,0.80000000999999998,5.5018802000000004,-4.5655298000000002,1898.0608,-599.41699000000006]
[1,0.64824998,6.8909101000000001,-1453.1238000000001,1846.0576000000001,1,-4.7096499999999999,6.5881400000000001,-2224.1311000000001,1237.7979,1,3.9739999999999998E-2,8.8525801000000008,-4302.0258999999996,1458.7988,1,-3.7191898999999999,10.19861,746.95141999999998,1484.0068000000001,1,3.4905400000000002,5.2824001000000003,-1779.8561999999999,-133.97363000000001]