{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":584,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":30,"n_cols":19,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
["HXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":5134430},null,{"$f":"'DF raw data'!G7","v":5114370},null,{"$f":"'DF raw data'!L7","v":5094354},null,{"$f":"'DF raw data'!Q7","v":5054352},null,{"$f":"'DF raw data'!V7","v":4774384},null,null,{"$f":"B4","v":10},{"$f":"B21","v":12.854196733333334},{"$f":"C21","v":-5.3665899999999995},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":4.6889602666666672},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":5.6578332000000007}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":9.2724830666666662},{"$f":"E21","v":-8.8637999666666669},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":10.51338},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":14.413096633333334}]
[-10,{"$f":"'DF raw data'!B9","v":-5.9877099999999999},{"$f":"'DF raw data'!C9","v":11.20519},{"$f":"'DF raw data'!G9","v":15.67422},{"$f":"'DF raw data'!H9","v":-4.0389299000000003},{"$f":"'DF raw data'!L9","v":14.52744},{"$f":"'DF raw data'!M9","v":4.1146598000000001},{"$f":"'DF raw data'!Q9","v":10.186070000000001},{"$f":"'DF raw data'!R9","v":6.1709199000000003},{"$f":"'DF raw data'!V9","v":-5.7404799000000004},{"$f":"'DF raw data'!W9","v":11.07146},null,{"$f":"F4","v":20},{"$f":"F21","v":13.3034763},{"$f":"G21","v":-5.5873732663333335}]
[-8,{"$f":"'DF raw data'!B10","v":11.236660000000001},{"$f":"'DF raw data'!C10","v":-7.4087399999999999},{"$f":"'DF raw data'!G10","v":19.3323},{"$f":"'DF raw data'!H10","v":-11.13189},{"$f":"'DF raw data'!L10","v":11.41766},{"$f":"'DF raw data'!M10","v":-1.5158799999999999},{"$f":"'DF raw data'!Q10","v":7.7234901999999996},{"$f":"'DF raw data'!R10","v":0.31606999000000002},{"$f":"'DF raw data'!V10","v":-2.6619698999999999},{"$f":"'DF raw data'!W10","v":1.1872},null,{"$f":"H4","v":30},{"$f":"H21","v":13.961443333333333},{"$f":"I21","v":-3.2059667666666662},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":18.602288999999999},{"$f":"'DF raw data'!C11","v":-5.2765002000000001},{"$f":"'DF raw data'!G11","v":9.9281396999999991},{"$f":"'DF raw data'!H11","v":0.32199000999999999},{"$f":"'DF raw data'!L11","v":8.1931200000000004},{"$f":"'DF raw data'!M11","v":-1.8408099},{"$f":"'DF raw data'!Q11","v":9.8988504000000006},{"$f":"'DF raw data'!R11","v":4.7498598000000003},{"$f":"'DF raw data'!V11","v":-5.1340399000000003},{"$f":"'DF raw data'!W11","v":5.1812201},null,{"$f":"J4","v":100},{"$f":"J21","v":3.4480633333333333},{"$f":"K21","v":5.5492966666666668},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":8.9069204000000006},{"$f":"'DF raw data'!C12","v":-14.836029999999999},{"$f":"'DF raw data'!G12","v":5.7050001000000003E-2},{"$f":"'DF raw data'!H12","v":-5.2602200999999997},{"$f":"'DF raw data'!L12","v":17.018881},{"$f":"'DF raw data'!M12","v":-4.3336601000000003},{"$f":"'DF raw data'!Q12","v":12.67074},{"$f":"'DF raw data'!R12","v":1.3039000000000001},{"$f":"'DF raw data'!V12","v":6.9760799000000002},{"$f":"'DF raw data'!W12","v":1.36446},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":6.9777002000000001},{"$f":"'DF raw data'!C13","v":-3.8704700000000001},{"$f":"'DF raw data'!G13","v":8.0650996999999993},{"$f":"'DF raw data'!H13","v":-11.059430000000001},{"$f":"'DF raw data'!L13","v":7.1042299},{"$f":"'DF raw data'!M13","v":-10.442600000000001},{"$f":"'DF raw data'!Q13","v":11.135910000000001},{"$f":"'DF raw data'!R13","v":-8.3520602999999998},{"$f":"'DF raw data'!V13","v":-3.551E-2},{"$f":"'DF raw data'!W13","v":3.8758599999999999},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":13.87006},{"$f":"'DF raw data'!C14","v":-7.7792902000000002},{"$f":"'DF raw data'!G14","v":11.07081},{"$f":"'DF raw data'!H14","v":-5.2011399000000003},{"$f":"'DF raw data'!L14","v":22.244658999999999},{"$f":"'DF raw data'!M14","v":-2.2609998999999999E-2},{"$f":"'DF raw data'!Q14","v":20.133120000000002},{"$f":"'DF raw data'!R14","v":0.96782999999999997},{"$f":"'DF raw data'!V14","v":11.90592},{"$f":"'DF raw data'!W14","v":11.363379999999999},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":17.714829999999999},{"$f":"'DF raw data'!C15","v":-4.4500098000000001},{"$f":"'DF raw data'!G15","v":8.6815394999999995},{"$f":"'DF raw data'!H15","v":-10.330830000000001},{"$f":"'DF raw data'!L15","v":10.561540000000001},{"$f":"'DF raw data'!M15","v":-6.2969097999999999},{"$f":"'DF raw data'!Q15","v":10.6153},{"$f":"'DF raw data'!R15","v":-2.23367},{"$f":"'DF raw data'!V15","v":-1.5262199999999999},{"$f":"'DF raw data'!W15","v":1.40865},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":0.96004999000000002},{"$f":"'DF raw data'!C16","v":4.6081700000000003},{"$f":"'DF raw data'!G16","v":6.55091},{"$f":"'DF raw data'!H16","v":3.0562100000000001},{"$f":"'DF raw data'!L16","v":5.2716599000000004},{"$f":"'DF raw data'!M16","v":-1.2787900000000001},{"$f":"'DF raw data'!Q16","v":3.1551198999999999},{"$f":"'DF raw data'!R16","v":-4.7442197999999998},{"$f":"'DF raw data'!V16","v":-7.0029602000000004},{"$f":"'DF raw data'!W16","v":7.6204099999999997}]
[6,{"$f":"'DF raw data'!B17","v":8.0029296999999993},{"$f":"'DF raw data'!C17","v":-6.2943001000000001},{"$f":"'DF raw data'!G17","v":12.91478},{"$f":"'DF raw data'!H17","v":-2.3647201},{"$f":"'DF raw data'!L17","v":14.998139999999999},{"$f":"'DF raw data'!M17","v":-7.3017301999999997},{"$f":"'DF raw data'!Q17","v":11.22077},{"$f":"'DF raw data'!R17","v":-3.5883999000000002},{"$f":"'DF raw data'!V17","v":-5.9646802000000001},{"$f":"'DF raw data'!W17","v":4.1752900999999998}]
[8,{"$f":"'DF raw data'!B18","v":8.1270503999999999},{"$f":"'DF raw data'!C18","v":-15.80977},{"$f":"'DF raw data'!G18","v":18.397499},{"$f":"'DF raw data'!H18","v":-9.7639703999999998},{"$f":"'DF raw data'!L18","v":21.509519999999998},{"$f":"'DF raw data'!M18","v":-4.59795},{"$f":"'DF raw data'!Q18","v":15.668139999999999},{"$f":"'DF raw data'!R18","v":-8.4636697999999999},{"$f":"'DF raw data'!V18","v":0.97688001000000002},{"$f":"'DF raw data'!W18","v":-3.2197900000000002}]
[10,{"$f":"'DF raw data'!B19","v":2.4601600000000001},{"$f":"'DF raw data'!C19","v":0.12478},{"$f":"'DF raw data'!G19","v":14.78834},{"$f":"'DF raw data'!H19","v":-0.25674998999999998},{"$f":"'DF raw data'!L19","v":20.237960999999999},{"$f":"'DF raw data'!M19","v":-1.0196700000000001},{"$f":"'DF raw data'!Q19","v":18.985661},{"$f":"'DF raw data'!R19","v":5.5280398999999996},{"$f":"'DF raw data'!V19","v":-1.59314},{"$f":"'DF raw data'!W19","v":5.4710102000000003}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":831},null,{"$f":"'DF raw data'!G4","v":832},null,{"$f":"'DF raw data'!L4","v":833},null,{"$f":"'DF raw data'!Q4","v":834},null,{"$f":"'DF raw data'!V4","v":835}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":12.854196733333334},{"$f":"AVERAGE(C11:C13)","v":-5.3665899999999995},9.2724830666666662,-8.8637999666666669,13.3034763,-5.5873732663333335,13.961443333333333,-3.2059667666666662,3.4480633333333333,5.5492966666666668]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null," "]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["HXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":5134430},null,{"$f":"'DF raw data'!G7","v":5114370},null,{"$f":"'DF raw data'!L7","v":5094354},null,{"$f":"'DF raw data'!Q7","v":5054352},null,{"$f":"'DF raw data'!V7","v":4774384},null,null,{"$f":"B4","v":10},{"$f":"B21","v":22.938203333333334},{"$f":"C21","v":-9.7159863333333334},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":17.668277700000001},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":16.571295366666664}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":5.2699256333333331},{"$f":"E21","v":-8.1906542333333334},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":24.996904133333334},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":17.503206200000001}]
[-10,{"$f":"'DF raw data'!D9/100","v":-11.38167},{"$f":"'DF raw data'!E9/100","v":-2.7449707000000001},{"$f":"'DF raw data'!I9/100","v":45.126356999999999},{"$f":"'DF raw data'!J9/100","v":-33.016914},{"$f":"'DF raw data'!N9/100","v":20.677168000000002},{"$f":"'DF raw data'!O9/100","v":-12.399980000000001},{"$f":"'DF raw data'!S9/100","v":21.663601},{"$f":"'DF raw data'!T9/100","v":-7.9070410000000004},{"$f":"'DF raw data'!X9/100","v":-12.309917},{"$f":"'DF raw data'!Y9/100","v":-4.9182421999999999},null,{"$f":"F4","v":20},{"$f":"F21","v":13.811273333333332},{"$f":"G21","v":-14.988987399999999}]
[-8,{"$f":"'DF raw data'!D10/100","v":41.966757999999999},{"$f":"'DF raw data'!E10/100","v":5.9118164000000002},{"$f":"'DF raw data'!I10/100","v":32.694082000000002},{"$f":"'DF raw data'!J10/100","v":-25.626367000000002},{"$f":"'DF raw data'!N10/100","v":18.471543},{"$f":"'DF raw data'!O10/100","v":-12.06958},{"$f":"'DF raw data'!S10/100","v":15.851737},{"$f":"'DF raw data'!T10/100","v":-8.0499219000000011},{"$f":"'DF raw data'!X10/100","v":-2.5923752000000002},{"$f":"'DF raw data'!Y10/100","v":-2.9525585999999997},null,{"$f":"H4","v":30},{"$f":"H21","v":9.7484929666666655},{"$f":"I21","v":1.5823079666666662}]
[-6,{"$f":"'DF raw data'!D11/100","v":17.164490000000001},{"$f":"'DF raw data'!E11/100","v":-29.615068000000001},{"$f":"'DF raw data'!I11/100","v":-6.6629040999999996},{"$f":"'DF raw data'!J11/100","v":-22.630713},{"$f":"'DF raw data'!N11/100","v":10.011112000000001},{"$f":"'DF raw data'!O11/100","v":-18.792802999999999},{"$f":"'DF raw data'!S11/100","v":8.9520134999999996},{"$f":"'DF raw data'!T11/100","v":-7.0861425999999996},{"$f":"'DF raw data'!X11/100","v":-17.955687000000001},{"$f":"'DF raw data'!Y11/100","v":-4.5384473000000005},null,{"$f":"J4","v":100},{"$f":"J21","v":-2.0587008},{"$f":"K21","v":2.5142188000000001}]
[-4,{"$f":"'DF raw data'!D12/100","v":9.1501836999999995},{"$f":"'DF raw data'!E12/100","v":-32.932793000000004},{"$f":"'DF raw data'!I12/100","v":2.7028799000000003E-2},{"$f":"'DF raw data'!J12/100","v":-30.803319999999999},{"$f":"'DF raw data'!N12/100","v":31.4696},{"$f":"'DF raw data'!O12/100","v":-32.748164000000003},{"$f":"'DF raw data'!S12/100","v":-2.6795874},{"$f":"'DF raw data'!T12/100","v":-7.6945410000000001},{"$f":"'DF raw data'!X12/100","v":4.5247582999999993},{"$f":"'DF raw data'!Y12/100","v":-14.468672}]
[-2,{"$f":"'DF raw data'!D13/100","v":7.4657689999999999},{"$f":"'DF raw data'!E13/100","v":6.7224805000000005},{"$f":"'DF raw data'!I13/100","v":-4.8282445999999997},{"$f":"'DF raw data'!J13/100","v":2.8270508000000003},{"$f":"'DF raw data'!N13/100","v":-9.0121349999999989},{"$f":"'DF raw data'!O13/100","v":-15.556816},{"$f":"'DF raw data'!S13/100","v":-5.1091430999999998},{"$f":"'DF raw data'!T13/100","v":-14.711973},{"$f":"'DF raw data'!X13/100","v":-11.609269999999999},{"$f":"'DF raw data'!Y13/100","v":-3.4292676000000002},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":19.586911999999998},{"$f":"'DF raw data'!E14/100","v":-2.7326465},{"$f":"'DF raw data'!I14/100","v":7.5988055000000001},{"$f":"'DF raw data'!J14/100","v":0.80281250000000004},{"$f":"'DF raw data'!N14/100","v":32.862200000000001},{"$f":"'DF raw data'!O14/100","v":-4.6707422000000003},{"$f":"'DF raw data'!S14/100","v":16.086040000000001},{"$f":"'DF raw data'!T14/100","v":1.9546288999999999},{"$f":"'DF raw data'!X14/100","v":10.605818999999999},{"$f":"'DF raw data'!Y14/100","v":20.998486},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":41.761929000000002},{"$f":"'DF raw data'!E15/100","v":-33.137793000000002},{"$f":"'DF raw data'!I15/100","v":13.039216},{"$f":"'DF raw data'!J15/100","v":-28.201826000000001},{"$f":"'DF raw data'!N15/100","v":17.583755},{"$f":"'DF raw data'!O15/100","v":-24.739404},{"$f":"'DF raw data'!S15/100","v":18.268581999999999},{"$f":"'DF raw data'!T15/100","v":17.504268},{"$f":"'DF raw data'!X15/100","v":-5.1726513999999995},{"$f":"'DF raw data'!Y15/100","v":-10.026562},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":18.361139999999999},{"$f":"'DF raw data'!E16/100","v":-3.0536816},{"$f":"'DF raw data'!I16/100","v":16.593056999999998},{"$f":"'DF raw data'!J16/100","v":-4.4721582},{"$f":"'DF raw data'!N16/100","v":17.833174},{"$f":"'DF raw data'!O16/100","v":-12.175165999999999},{"$f":"'DF raw data'!S16/100","v":4.6836652000000001},{"$f":"'DF raw data'!T16/100","v":-25.915781000000003},{"$f":"'DF raw data'!X16/100","v":-13.262029},{"$f":"'DF raw data'!Y16/100","v":-12.110771}]
[6,{"$f":"'DF raw data'!D17/100","v":23.546793999999998},{"$f":"'DF raw data'!E17/100","v":-5.0565332000000005},{"$f":"'DF raw data'!I17/100","v":26.218169},{"$f":"'DF raw data'!J17/100","v":10.512646},{"$f":"'DF raw data'!N17/100","v":31.473930999999997},{"$f":"'DF raw data'!O17/100","v":-14.69252},{"$f":"'DF raw data'!S17/100","v":14.088115},{"$f":"'DF raw data'!T17/100","v":3.3350098000000004},{"$f":"'DF raw data'!X17/100","v":2.0863024999999999},{"$f":"'DF raw data'!Y17/100","v":19.576309000000002}]
[8,{"$f":"'DF raw data'!D18/100","v":25.522292000000004},{"$f":"'DF raw data'!E18/100","v":-33.987294999999996},{"$f":"'DF raw data'!I18/100","v":34.300956999999997},{"$f":"'DF raw data'!J18/100","v":-22.414531},{"$f":"'DF raw data'!N18/100","v":58.604979999999998},{"$f":"'DF raw data'!O18/100","v":-0.15714839999999999},{"$f":"'DF raw data'!S18/100","v":36.775808000000005},{"$f":"'DF raw data'!T18/100","v":-23.550214999999998},{"$f":"'DF raw data'!X18/100","v":12.437869000000001},{"$f":"'DF raw data'!Y18/100","v":-9.3578612999999997}]
[10,{"$f":"'DF raw data'!D19/100","v":-24.464481999999997},{"$f":"'DF raw data'!E19/100","v":3.7871289000000004},{"$f":"'DF raw data'!I19/100","v":10.170388000000001},{"$f":"'DF raw data'!J19/100","v":-2.7424901999999998},{"$f":"'DF raw data'!N19/100","v":28.889194000000003},{"$f":"'DF raw data'!O19/100","v":5.4757324000000009},{"$f":"'DF raw data'!S19/100","v":16.231815999999998},{"$f":"'DF raw data'!T19/100","v":10.569463000000001},{"$f":"'DF raw data'!X19/100","v":-26.378413000000002},{"$f":"'DF raw data'!Y19/100","v":-4.9105957}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":831},null,{"$f":"'DF raw data'!G4","v":832},null,{"$f":"'DF raw data'!L4","v":833},null,{"$f":"'DF raw data'!Q4","v":834},null,{"$f":"'DF raw data'!V4","v":835}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":22.938203333333334},{"$f":"AVERAGE(C11:C13)","v":-9.7159863333333334},5.2699256333333331,-8.1906542333333334,13.811273333333332,-14.988987399999999,9.7484929666666655,1.5823079666666662,-2.0587008,2.5142188000000001]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16324, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16324, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16324, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16324, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16324, 100 mm gap"]
["Date:","19. sep 2017","17:59:46",null,null,"Date:","19. sep 2017","17:59:29",null,null,"Date:","19. sep 2017","17:59:38",null,null,"Date:","19. sep 2017","17:59:06",null,null,"Date:","19. sep 2017","17:59:46"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",831,null,null,null,"Indice:",832,null,null,null,"Indice:",833,null,null,null,"Indice:",834,null,null,null,"Indice:",835]
["Background Indice:",831,null,null,null,"Background Indice:",832,null,null,null,"Background Indice:",833,null,null,null,"Background Indice:",834,null,null,null,"Background Indice:",835]
["Temperature:",21.7,null,null,null,"Temperature:",21.72,null,null,null,"Temperature:",21.69,null,null,null,"Temperature:",21.69,null,null,null,"Temperature:",21.74]
["Encoder:",5134430,null,null,null,"Encoder:",5114370,null,null,null,"Encoder:",5094354,null,null,null,"Encoder:",5054352,null,null,null,"Encoder:",4774384]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,-5.9877099999999999,11.20519,-1138.1669999999999,-274.49707000000001,-1,15.67422,-4.0389299000000003,4512.6356999999998,-3301.6914000000002,-1,14.52744,4.1146598000000001,2067.7168000000001,-1239.998,-1,10.186070000000001,6.1709199000000003,2166.3600999999999,-790.70410000000004,-1,-5.7404799000000004,11.07146,-1230.9917,-491.82422000000003]
[-0.80000000999999998,11.236660000000001,-7.4087399999999999,4196.6758,591.18164000000002,-0.80000000999999998,19.3323,-11.13189,3269.4081999999999,-2562.6367,-0.80000000999999998,11.41766,-1.5158799999999999,1847.1542999999999,-1206.9580000000001,-0.80000000999999998,7.7234901999999996,0.31606999000000002,1585.1737000000001,-804.99219000000005,-0.80000000999999998,-2.6619698999999999,1.1872,-259.23752000000002,-295.25585999999998]
[-0.60000001999999997,18.602288999999999,-5.2765002000000001,1716.4490000000001,-2961.5068000000001,-0.60000001999999997,9.9281396999999991,0.32199000999999999,-666.29040999999995,-2263.0713000000001,-0.60000001999999997,8.1931200000000004,-1.8408099,1001.1112000000001,-1879.2802999999999,-0.60000001999999997,9.8988504000000006,4.7498598000000003,895.20135000000005,-708.61425999999994,-0.60000001999999997,-5.1340399000000003,5.1812201,-1795.5687,-453.84473000000003]
[-0.40000001000000002,8.9069204000000006,-14.836029999999999,915.01837,-3293.2793000000001,-0.40000001000000002,5.7050001000000003E-2,-5.2602200999999997,2.7028799000000001,-3080.3319999999999,-0.40000001000000002,17.018881,-4.3336601000000003,3146.96,-3274.8164000000002,-0.40000001000000002,12.67074,1.3039000000000001,-267.95873999999998,-769.45410000000004,-0.40000001000000002,6.9760799000000002,1.36446,452.47582999999997,-1446.8671999999999]
[-0.2,6.9777002000000001,-3.8704700000000001,746.57690000000002,672.24805000000003,-0.2,8.0650996999999993,-11.059430000000001,-482.82445999999999,282.70508000000001,-0.2,7.1042299,-10.442600000000001,-901.21349999999995,-1555.6815999999999,-0.2,11.135910000000001,-8.3520602999999998,-510.91431,-1471.1973,-0.2,-3.551E-2,3.8758599999999999,-1160.9269999999999,-342.92676]
[0,13.87006,-7.7792902000000002,1958.6912,-273.26465000000002,0,11.07081,-5.2011399000000003,759.88054999999997,80.28125,0,22.244658999999999,-2.2609998999999999E-2,3286.22,-467.07422000000003,0,20.133120000000002,0.96782999999999997,1608.604,195.46288999999999,0,11.90592,11.363379999999999,1060.5818999999999,2099.8485999999998]
[0.2,17.714829999999999,-4.4500098000000001,4176.1929,-3313.7793000000001,0.2,8.6815394999999995,-10.330830000000001,1303.9215999999999,-2820.1826000000001,0.2,10.561540000000001,-6.2969097999999999,1758.3755000000001,-2473.9404,0.2,10.6153,-2.23367,1826.8581999999999,1750.4268,0.2,-1.5262199999999999,1.40865,-517.26513999999997,-1002.6562]
[0.40000001000000002,0.96004999000000002,4.6081700000000003,1836.114,-305.36815999999999,0.40000001000000002,6.55091,3.0562100000000001,1659.3056999999999,-447.21582000000001,0.40000001000000002,5.2716599000000004,-1.2787900000000001,1783.3173999999999,-1217.5165999999999,0.40000001000000002,3.1551198999999999,-4.7442197999999998,468.36651999999998,-2591.5781000000002,0.40000001000000002,-7.0029602000000004,7.6204099999999997,-1326.2029,-1211.0771]
[0.60000001999999997,8.0029296999999993,-6.2943001000000001,2354.6794,-505.65332000000001,0.60000001999999997,12.91478,-2.3647201,2621.8168999999998,1051.2646,0.60000001999999997,14.998139999999999,-7.3017301999999997,3147.3930999999998,-1469.252,0.60000001999999997,11.22077,-3.5883999000000002,1408.8115,333.50098000000003,0.60000001999999997,-5.9646802000000001,4.1752900999999998,208.63024999999999,1957.6309000000001]
[0.80000000999999998,8.1270503999999999,-15.80977,2552.2292000000002,-3398.7294999999999,0.80000000999999998,18.397499,-9.7639703999999998,3430.0956999999999,-2241.4531000000002,0.80000000999999998,21.509519999999998,-4.59795,5860.4979999999996,-15.714840000000001,0.80000000999999998,15.668139999999999,-8.4636697999999999,3677.5808000000002,-2355.0214999999998,0.80000000999999998,0.97688001000000002,-3.2197900000000002,1243.7869000000001,-935.78612999999996]
[1,2.4601600000000001,0.12478,-2446.4481999999998,378.71289000000002,1,14.78834,-0.25674998999999998,1017.0388,-274.24901999999997,1,20.237960999999999,-1.0196700000000001,2888.9194000000002,547.57324000000006,1,18.985661,5.5280398999999996,1623.1815999999999,1056.9463000000001,1,-1.59314,5.4710102000000003,-2637.8413,-491.05957000000001]