{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":579,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":30,"n_cols":19,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
["HXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17222959},null,{"$f":"'DF raw data'!G7","v":17202902},null,{"$f":"'DF raw data'!L7","v":17182867},null,{"$f":"'DF raw data'!Q7","v":17142865},null,{"$f":"'DF raw data'!V7","v":16862877},null,null,{"$f":"B4","v":10},{"$f":"B21","v":0.33887319999999982},{"$f":"C21","v":6.8140866999999998},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":11.176673866666665},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":12.269383266666665}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":11.515547066666665},{"$f":"E21","v":1.4643932666666668},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":11.176673866666665},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":12.269383266666665}]
[-10,{"$f":"'DF raw data'!B9","v":31.352730000000001},{"$f":"'DF raw data'!C9","v":3.81671},{"$f":"'DF raw data'!G9","v":20.152370000000001},{"$f":"'DF raw data'!H9","v":4.3708},{"$f":"'DF raw data'!L9","v":29.650369999999999},{"$f":"'DF raw data'!M9","v":-0.65606998999999999},{"$f":"'DF raw data'!Q9","v":12.58699},{"$f":"'DF raw data'!R9","v":-3.4835999000000002},{"$f":"'DF raw data'!V9","v":13.52651},{"$f":"'DF raw data'!W9","v":-8.3995303999999997},null,{"$f":"F4","v":20},{"$f":"F21","v":11.052783333333332},{"$f":"G21","v":-5.4552965666666653}]
[-8,{"$f":"'DF raw data'!B10","v":14.413639999999999},{"$f":"'DF raw data'!C10","v":-2.0367701},{"$f":"'DF raw data'!G10","v":12.286530000000001},{"$f":"'DF raw data'!H10","v":-7.4228500999999998},{"$f":"'DF raw data'!L10","v":14.66872},{"$f":"'DF raw data'!M10","v":-2.5457698999999998},{"$f":"'DF raw data'!Q10","v":25.605619000000001},{"$f":"'DF raw data'!R10","v":9.2627801999999999},{"$f":"'DF raw data'!V10","v":9.1411505000000002},{"$f":"'DF raw data'!W10","v":2.0407801000000001},null,{"$f":"H4","v":30},{"$f":"H21","v":9.5740930333333321},{"$f":"I21","v":-2.2937234333333332},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":11.888109999999999},{"$f":"'DF raw data'!C11","v":5.5430697999999996},{"$f":"'DF raw data'!G11","v":10.761950000000001},{"$f":"'DF raw data'!H11","v":2.8271500999999999},{"$f":"'DF raw data'!L11","v":20.878519000000001},{"$f":"'DF raw data'!M11","v":2.5511898999999998},{"$f":"'DF raw data'!Q11","v":25.502238999999999},{"$f":"'DF raw data'!R11","v":-1.07894},{"$f":"'DF raw data'!V11","v":16.114650999999999},{"$f":"'DF raw data'!W11","v":-3.3267500000000001},null,{"$f":"J4","v":100},{"$f":"J21","v":3.7509865999999996},{"$f":"K21","v":1.3040033066666663},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":10.637359999999999},{"$f":"'DF raw data'!C12","v":-0.49013999000000003},{"$f":"'DF raw data'!G12","v":17.703469999999999},{"$f":"'DF raw data'!H12","v":0.69173998000000003},{"$f":"'DF raw data'!L12","v":12.97565},{"$f":"'DF raw data'!M12","v":-1.7098100000000001},{"$f":"'DF raw data'!Q12","v":9.9962996999999998},{"$f":"'DF raw data'!R12","v":-2.7664499},{"$f":"'DF raw data'!V12","v":7.8252001},{"$f":"'DF raw data'!W12","v":-7.6013698999999999},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":-3.3891000999999998},{"$f":"'DF raw data'!C13","v":14.62121},{"$f":"'DF raw data'!G13","v":4.8684902000000001},{"$f":"'DF raw data'!H13","v":4.4475698000000001},{"$f":"'DF raw data'!L13","v":9.3393803000000002},{"$f":"'DF raw data'!M13","v":-5.0300798000000002},{"$f":"'DF raw data'!Q13","v":-6.7660799000000003},{"$f":"'DF raw data'!R13","v":-7.2725901999999998},{"$f":"'DF raw data'!V13","v":4.0051497999999999},{"$f":"'DF raw data'!W13","v":0.90539002000000002},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":9.7226295},{"$f":"'DF raw data'!C14","v":1.01478},{"$f":"'DF raw data'!G14","v":17.260850999999999},{"$f":"'DF raw data'!H14","v":2.9011800000000001},{"$f":"'DF raw data'!L14","v":14.488099999999999},{"$f":"'DF raw data'!M14","v":-8.8425797999999993},{"$f":"'DF raw data'!Q14","v":18.00844},{"$f":"'DF raw data'!R14","v":-2.7165200999999999},{"$f":"'DF raw data'!V14","v":7.5231599999999998},{"$f":"'DF raw data'!W14","v":-6.7770000000000001},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":-5.3169098000000004},{"$f":"'DF raw data'!C15","v":4.8062700999999999},{"$f":"'DF raw data'!G15","v":12.417299999999999},{"$f":"'DF raw data'!H15","v":-2.9555699999999998},{"$f":"'DF raw data'!L15","v":9.3308696999999992},{"$f":"'DF raw data'!M15","v":-2.4932300999999999},{"$f":"'DF raw data'!Q15","v":17.479918999999999},{"$f":"'DF raw data'!R15","v":3.1079400000000001},{"$f":"'DF raw data'!V15","v":-0.27534999999999998},{"$f":"'DF raw data'!W15","v":9.7836198999999997},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":-6.0658598000000001},{"$f":"'DF raw data'!C16","v":-5.4452901000000002},{"$f":"'DF raw data'!G16","v":-3.0212500000000002},{"$f":"'DF raw data'!H16","v":5.1874498999999998},{"$f":"'DF raw data'!L16","v":-3.6407001000000001},{"$f":"'DF raw data'!M16","v":1.6409499999999999},{"$f":"'DF raw data'!Q16","v":-2.93397},{"$f":"'DF raw data'!R16","v":3.5891799999999998},{"$f":"'DF raw data'!V16","v":-18.822451000000001},{"$f":"'DF raw data'!W16","v":-4.8090700999999996}]
[6,{"$f":"'DF raw data'!B17","v":-8.6896094999999995},{"$f":"'DF raw data'!C17","v":1.6855201},{"$f":"'DF raw data'!G17","v":-1.2936399999999999},{"$f":"'DF raw data'!H17","v":-17.731059999999999},{"$f":"'DF raw data'!L17","v":-2.4739798999999998},{"$f":"'DF raw data'!M17","v":-12.75057},{"$f":"'DF raw data'!Q17","v":3.3184900000000002},{"$f":"'DF raw data'!R17","v":1.17645},{"$f":"'DF raw data'!V17","v":3.81393},{"$f":"'DF raw data'!W17","v":-7.9844097999999999}]
[8,{"$f":"'DF raw data'!B18","v":7.9489698000000004},{"$f":"'DF raw data'!C18","v":-4.8711099999999998},{"$f":"'DF raw data'!G18","v":5.06107},{"$f":"'DF raw data'!H18","v":-8.2464704999999991},{"$f":"'DF raw data'!L18","v":10.05884},{"$f":"'DF raw data'!M18","v":-4.7796202000000001},{"$f":"'DF raw data'!Q18","v":8.4207602000000001},{"$f":"'DF raw data'!R18","v":-7.5732298},{"$f":"'DF raw data'!V18","v":10.007239999999999},{"$f":"'DF raw data'!W18","v":-6.5535401999999996}]
[10,{"$f":"'DF raw data'!B19","v":4.9534501999999998},{"$f":"'DF raw data'!C19","v":1.9579901},{"$f":"'DF raw data'!G19","v":2.7528299999999999},{"$f":"'DF raw data'!H19","v":0.75884001999999995},{"$f":"'DF raw data'!L19","v":4.4430499000000001},{"$f":"'DF raw data'!M19","v":-3.2054999},{"$f":"'DF raw data'!Q19","v":-2.5192599000000002},{"$f":"'DF raw data'!R19","v":-6.2861599999999997},{"$f":"'DF raw data'!V19","v":4.5855097999999996},{"$f":"'DF raw data'!W19","v":-9.0320101000000008}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":823},null,{"$f":"'DF raw data'!G4","v":824},null,{"$f":"'DF raw data'!L4","v":825},null,{"$f":"'DF raw data'!Q4","v":826},null,{"$f":"'DF raw data'!V4","v":827}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":0.33887319999999982},{"$f":"AVERAGE(C11:C13)","v":6.8140866999999998},11.515547066666665,1.4643932666666668,11.052783333333332,-5.4552965666666653,9.5740930333333321,-2.2937234333333332,3.7509865999999996,1.3040033066666663]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null," "]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["HXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17222959},null,{"$f":"'DF raw data'!G7","v":17202902},null,{"$f":"'DF raw data'!L7","v":17182867},null,{"$f":"'DF raw data'!Q7","v":17142865},null,{"$f":"'DF raw data'!V7","v":16862877},null,null,{"$f":"B4","v":10},{"$f":"B21","v":-6.8888888333333327},{"$f":"C21","v":11.617096500000001},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":22.377930166666665},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":20.973584133333333}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":6.0058191333333335},{"$f":"E21","v":12.939046333333332},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":22.377930166666665},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":20.973584133333333}]
[-10,{"$f":"'DF raw data'!D9/100","v":59.205487999999995},{"$f":"'DF raw data'!E9/100","v":-15.704276999999999},{"$f":"'DF raw data'!I9/100","v":47.164174999999993},{"$f":"'DF raw data'!J9/100","v":-13.575225},{"$f":"'DF raw data'!N9/100","v":43.773257000000001},{"$f":"'DF raw data'!O9/100","v":-10.996924},{"$f":"'DF raw data'!S9/100","v":28.128339999999998},{"$f":"'DF raw data'!T9/100","v":-28.112851999999997},{"$f":"'DF raw data'!X9/100","v":51.235122000000004},{"$f":"'DF raw data'!Y9/100","v":-24.175977},null,{"$f":"F4","v":20},{"$f":"F21","v":-1.6966395033333332},{"$f":"G21","v":-8.034537799999999}]
[-8,{"$f":"'DF raw data'!D10/100","v":27.382045999999999},{"$f":"'DF raw data'!E10/100","v":-4.4184668},{"$f":"'DF raw data'!I10/100","v":-0.84018157999999998},{"$f":"'DF raw data'!J10/100","v":11.791895},{"$f":"'DF raw data'!N10/100","v":-12.528141},{"$f":"'DF raw data'!O10/100","v":-2.6159179999999997},{"$f":"'DF raw data'!S10/100","v":-5.3651604999999991},{"$f":"'DF raw data'!T10/100","v":21.413428},{"$f":"'DF raw data'!X10/100","v":7.8992542000000006},{"$f":"'DF raw data'!Y10/100","v":14.361044999999999},null,{"$f":"H4","v":30},{"$f":"H21","v":15.489041333333333},{"$f":"I21","v":-7.1565753999999986}]
[-6,{"$f":"'DF raw data'!D11/100","v":14.070717999999999},{"$f":"'DF raw data'!E11/100","v":1.8454785},{"$f":"'DF raw data'!I11/100","v":32.348438000000002},{"$f":"'DF raw data'!J11/100","v":-4.3568651999999997},{"$f":"'DF raw data'!N11/100","v":43.124766000000001},{"$f":"'DF raw data'!O11/100","v":-4.3914062000000005},{"$f":"'DF raw data'!S11/100","v":10.358635},{"$f":"'DF raw data'!T11/100","v":-10.138202999999999},{"$f":"'DF raw data'!X11/100","v":31.895154000000002},{"$f":"'DF raw data'!Y11/100","v":-23.522002000000001},null,{"$f":"J4","v":100},{"$f":"J21","v":3.8110046333333334},{"$f":"K21","v":11.392633666666667}]
[-4,{"$f":"'DF raw data'!D12/100","v":9.9358471999999995},{"$f":"'DF raw data'!E12/100","v":-8.3021972999999996},{"$f":"'DF raw data'!I12/100","v":15.520315},{"$f":"'DF raw data'!J12/100","v":-18.174911999999999},{"$f":"'DF raw data'!N12/100","v":26.952354},{"$f":"'DF raw data'!O12/100","v":-4.8760253999999996},{"$f":"'DF raw data'!S12/100","v":18.427312000000001},{"$f":"'DF raw data'!T12/100","v":-15.934561},{"$f":"'DF raw data'!X12/100","v":-12.64941},{"$f":"'DF raw data'!Y12/100","v":-23.098154000000001}]
[-2,{"$f":"'DF raw data'!D13/100","v":-13.045406},{"$f":"'DF raw data'!E13/100","v":24.589140999999998},{"$f":"'DF raw data'!I13/100","v":1.0878627000000001},{"$f":"'DF raw data'!J13/100","v":19.122852000000002},{"$f":"'DF raw data'!N13/100","v":-0.70978851000000009},{"$f":"'DF raw data'!O13/100","v":1.6075586000000002},{"$f":"'DF raw data'!S13/100","v":32.922728999999997},{"$f":"'DF raw data'!T13/100","v":5.8958203000000005},{"$f":"'DF raw data'!X13/100","v":21.519009},{"$f":"'DF raw data'!Y13/100","v":38.590556999999997},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":3.7328194999999997},{"$f":"'DF raw data'!E14/100","v":7.7205469000000004},{"$f":"'DF raw data'!I14/100","v":9.7553350999999999},{"$f":"'DF raw data'!J14/100","v":36.658270999999999},{"$f":"'DF raw data'!N14/100","v":0.24124999999999999},{"$f":"'DF raw data'!O14/100","v":-10.629989999999999},{"$f":"'DF raw data'!S14/100","v":-21.425981},{"$f":"'DF raw data'!T14/100","v":-23.919940999999998},{"$f":"'DF raw data'!X14/100","v":-9.9775787000000005},{"$f":"'DF raw data'!Y14/100","v":-20.386288999999998},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":-11.35408},{"$f":"'DF raw data'!E15/100","v":2.5416015999999999},{"$f":"'DF raw data'!I15/100","v":7.1742596000000001},{"$f":"'DF raw data'!J15/100","v":-16.963984},{"$f":"'DF raw data'!N15/100","v":-4.6213799999999994},{"$f":"'DF raw data'!O15/100","v":-15.081181999999998},{"$f":"'DF raw data'!S15/100","v":34.970376000000002},{"$f":"'DF raw data'!T15/100","v":-3.4456054999999997},{"$f":"'DF raw data'!X15/100","v":-0.1084164},{"$f":"'DF raw data'!Y15/100","v":15.973633},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":-9.7820055999999997},{"$f":"'DF raw data'!E16/100","v":-5.0234961},{"$f":"'DF raw data'!I16/100","v":-13.754712},{"$f":"'DF raw data'!J16/100","v":8.9277295999999992E-2},{"$f":"'DF raw data'!N16/100","v":8.9561870999999993},{"$f":"'DF raw data'!O16/100","v":-9.8474512000000001},{"$f":"'DF raw data'!S16/100","v":1.2006207},{"$f":"'DF raw data'!T16/100","v":-9.3198925999999993},{"$f":"'DF raw data'!X16/100","v":-34.406831000000004},{"$f":"'DF raw data'!Y16/100","v":-21.070879000000001}]
[6,{"$f":"'DF raw data'!D17/100","v":-7.3268944999999999},{"$f":"'DF raw data'!E17/100","v":-2.0372754},{"$f":"'DF raw data'!I17/100","v":-6.6795910999999997},{"$f":"'DF raw data'!J17/100","v":-3.2212304999999999},{"$f":"'DF raw data'!N17/100","v":-2.9492615},{"$f":"'DF raw data'!O17/100","v":-16.279453},{"$f":"'DF raw data'!S17/100","v":43.452183000000005},{"$f":"'DF raw data'!T17/100","v":22.483926},{"$f":"'DF raw data'!X17/100","v":6.4309595000000002},{"$f":"'DF raw data'!Y17/100","v":1.4084668}]
[8,{"$f":"'DF raw data'!D18/100","v":-18.775890999999998},{"$f":"'DF raw data'!E18/100","v":-6.6933598999999996E-2},{"$f":"'DF raw data'!I18/100","v":6.4526757999999997},{"$f":"'DF raw data'!J18/100","v":-2.1581934},{"$f":"'DF raw data'!N18/100","v":3.1695886},{"$f":"'DF raw data'!O18/100","v":2.9946386999999999},{"$f":"'DF raw data'!S18/100","v":21.57281},{"$f":"'DF raw data'!T18/100","v":-6.5991309000000005},{"$f":"'DF raw data'!X18/100","v":31.327406999999997},{"$f":"'DF raw data'!Y18/100","v":-15.766806999999998}]
[10,{"$f":"'DF raw data'!D19/100","v":-24.800435000000004},{"$f":"'DF raw data'!E19/100","v":5.2565526999999994},{"$f":"'DF raw data'!I19/100","v":-14.879912999999998},{"$f":"'DF raw data'!J19/100","v":-12.336318},{"$f":"'DF raw data'!N19/100","v":11.632200000000001},{"$f":"'DF raw data'!O19/100","v":3.627373},{"$f":"'DF raw data'!S19/100","v":-45.588671999999995},{"$f":"'DF raw data'!T19/100","v":33.105829999999997},{"$f":"'DF raw data'!X19/100","v":-8.9413122999999999},{"$f":"'DF raw data'!Y19/100","v":-22.567089999999997}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":823},null,{"$f":"'DF raw data'!G4","v":824},null,{"$f":"'DF raw data'!L4","v":825},null,{"$f":"'DF raw data'!Q4","v":826},null,{"$f":"'DF raw data'!V4","v":827}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":-6.8888888333333327},{"$f":"AVERAGE(C11:C13)","v":11.617096500000001},6.0058191333333335,12.939046333333332,-1.6966395033333332,-8.034537799999999,15.489041333333333,-7.1565753999999986,3.8110046333333334,11.392633666666667]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16325, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16325, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16325, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16325, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16325, 100 mm gap"]
["Date:","19. sep 2017","12:54:42",null,null,"Date:","19. sep 2017","12:54:47",null,null,"Date:","19. sep 2017","12:54:50",null,null,"Date:","19. sep 2017","12:54:55",null,null,"Date:","19. sep 2017","12:55:19"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",823,null,null,null,"Indice:",824,null,null,null,"Indice:",825,null,null,null,"Indice:",826,null,null,null,"Indice:",827]
["Background Indice:",823,null,null,null,"Background Indice:",824,null,null,null,"Background Indice:",825,null,null,null,"Background Indice:",826,null,null,null,"Background Indice:",827]
["Temperature:",21.78,null,null,null,"Temperature:",21.76,null,null,null,"Temperature:",21.73,null,null,null,"Temperature:",21.72,null,null,null,"Temperature:",21.72]
["Encoder:",17222959,null,null,null,"Encoder:",17202902,null,null,null,"Encoder:",17182867,null,null,null,"Encoder:",17142865,null,null,null,"Encoder:",16862877]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,31.352730000000001,3.81671,5920.5487999999996,-1570.4277,-1,20.152370000000001,4.3708,4716.4174999999996,-1357.5225,-1,29.650369999999999,-0.65606998999999999,4377.3257000000003,-1099.6923999999999,-1,12.58699,-3.4835999000000002,2812.8339999999998,-2811.2851999999998,-1,13.52651,-8.3995303999999997,5123.5122000000001,-2417.5976999999998]
[-0.80000000999999998,14.413639999999999,-2.0367701,2738.2046,-441.84667999999999,-0.80000000999999998,12.286530000000001,-7.4228500999999998,-84.018158,1179.1895,-0.80000000999999998,14.66872,-2.5457698999999998,-1252.8141000000001,-261.59179999999998,-0.80000000999999998,25.605619000000001,9.2627801999999999,-536.51604999999995,2141.3427999999999,-0.80000000999999998,9.1411505000000002,2.0407801000000001,789.92542000000003,1436.1044999999999]
[-0.60000001999999997,11.888109999999999,5.5430697999999996,1407.0717999999999,184.54785000000001,-0.60000001999999997,10.761950000000001,2.8271500999999999,3234.8438000000001,-435.68651999999997,-0.60000001999999997,20.878519000000001,2.5511898999999998,4312.4766,-439.14062000000001,-0.60000001999999997,25.502238999999999,-1.07894,1035.8634999999999,-1013.8203,-0.60000001999999997,16.114650999999999,-3.3267500000000001,3189.5154000000002,-2352.2002000000002]
[-0.40000001000000002,10.637359999999999,-0.49013999000000003,993.58471999999995,-830.21973000000003,-0.40000001000000002,17.703469999999999,0.69173998000000003,1552.0315000000001,-1817.4911999999999,-0.40000001000000002,12.97565,-1.7098100000000001,2695.2354,-487.60253999999998,-0.40000001000000002,9.9962996999999998,-2.7664499,1842.7311999999999,-1593.4561000000001,-0.40000001000000002,7.8252001,-7.6013698999999999,-1264.941,-2309.8154]
[-0.2,-3.3891000999999998,14.62121,-1304.5406,2458.9141,-0.2,4.8684902000000001,4.4475698000000001,108.78627,1912.2852,-0.2,9.3393803000000002,-5.0300798000000002,-70.978851000000006,160.75586000000001,-0.2,-6.7660799000000003,-7.2725901999999998,3292.2728999999999,589.58203000000003,-0.2,4.0051497999999999,0.90539002000000002,2151.9009000000001,3859.0556999999999]
[0,9.7226295,1.01478,373.28194999999999,772.05469000000005,0,17.260850999999999,2.9011800000000001,975.53350999999998,3665.8271,0,14.488099999999999,-8.8425797999999993,24.125,-1062.999,0,18.00844,-2.7165200999999999,-2142.5981000000002,-2391.9940999999999,0,7.5231599999999998,-6.7770000000000001,-997.75787000000003,-2038.6288999999999]
[0.2,-5.3169098000000004,4.8062700999999999,-1135.4079999999999,254.16015999999999,0.2,12.417299999999999,-2.9555699999999998,717.42596000000003,-1696.3984,0.2,9.3308696999999992,-2.4932300999999999,-462.13799999999998,-1508.1181999999999,0.2,17.479918999999999,3.1079400000000001,3497.0376000000001,-344.56054999999998,0.2,-0.27534999999999998,9.7836198999999997,-10.84164,1597.3633]
[0.40000001000000002,-6.0658598000000001,-5.4452901000000002,-978.20056,-502.34960999999998,0.40000001000000002,-3.0212500000000002,5.1874498999999998,-1375.4712,8.9277295999999993,0.40000001000000002,-3.6407001000000001,1.6409499999999999,895.61870999999996,-984.74512000000004,0.40000001000000002,-2.93397,3.5891799999999998,120.06207000000001,-931.98925999999994,0.40000001000000002,-18.822451000000001,-4.8090700999999996,-3440.6831000000002,-2107.0879]
[0.60000001999999997,-8.6896094999999995,1.6855201,-732.68944999999997,-203.72754,0.60000001999999997,-1.2936399999999999,-17.731059999999999,-667.95911000000001,-322.12304999999998,0.60000001999999997,-2.4739798999999998,-12.75057,-294.92615000000001,-1627.9453000000001,0.60000001999999997,3.3184900000000002,1.17645,4345.2183000000005,2248.3926000000001,0.60000001999999997,3.81393,-7.9844097999999999,643.09595000000002,140.84667999999999]
[0.80000000999999998,7.9489698000000004,-4.8711099999999998,-1877.5890999999999,-6.6933598999999999,0.80000000999999998,5.06107,-8.2464704999999991,645.26757999999995,-215.81934000000001,0.80000000999999998,10.05884,-4.7796202000000001,316.95886000000002,299.46386999999999,0.80000000999999998,8.4207602000000001,-7.5732298,2157.2809999999999,-659.91309000000001,0.80000000999999998,10.007239999999999,-6.5535401999999996,3132.7406999999998,-1576.6806999999999]
[1,4.9534501999999998,1.9579901,-2480.0435000000002,525.65526999999997,1,2.7528299999999999,0.75884001999999995,-1487.9912999999999,-1233.6318000000001,1,4.4430499000000001,-3.2054999,1163.22,362.7373,1,-2.5192599000000002,-6.2861599999999997,-4558.8671999999997,3310.5830000000001,1,4.5855097999999996,-9.0320101000000008,-894.13122999999996,-2256.7089999999998]