{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":624,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":30,"n_cols":19,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
["HXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17828732},null,{"$f":"'DF raw data'!G7","v":17908800},null,{"$f":"'DF raw data'!L7","v":17888754},null,{"$f":"'DF raw data'!Q7","v":17868745},null,{"$f":"'DF raw data'!V7","v":17828726},null,null,{"$f":"B4","v":10},{"$f":"B21","v":6.7760233666666663},{"$f":"C21","v":-12.393159966666667},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":3.708349806666666},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":3.6128900333333309}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":7.6834166666666661},{"$f":"E21","v":-16.006049999999998},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":4.6862932399999995},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":3.6128900333333309}]
[-10,{"$f":"'DF raw data'!B9","v":10.672090000000001},{"$f":"'DF raw data'!C9","v":-10.64846},{"$f":"'DF raw data'!G9","v":-6.3735499000000004},{"$f":"'DF raw data'!H9","v":-15.001060000000001},{"$f":"'DF raw data'!L9","v":-5.9219999000000003},{"$f":"'DF raw data'!M9","v":-8.5484399999999994},{"$f":"'DF raw data'!Q9","v":-2.4145800999999998},{"$f":"'DF raw data'!R9","v":-20.339451},{"$f":"'DF raw data'!V9","v":-2.0254099000000001},{"$f":"'DF raw data'!W9","v":-10.33418},null,{"$f":"F4","v":20},{"$f":"F21","v":4.1172835333333335},{"$f":"G21","v":-14.845939899999999}]
[-8,{"$f":"'DF raw data'!B10","v":-0.17319999999999999},{"$f":"'DF raw data'!C10","v":-14.24615},{"$f":"'DF raw data'!G10","v":-0.42489000999999998},{"$f":"'DF raw data'!H10","v":-21.730149999999998},{"$f":"'DF raw data'!L10","v":-1.3694500000000001},{"$f":"'DF raw data'!M10","v":-14.5899},{"$f":"'DF raw data'!Q10","v":7.5446501000000001},{"$f":"'DF raw data'!R10","v":-16.780608999999998},{"$f":"'DF raw data'!V10","v":3.0661499999999999},{"$f":"'DF raw data'!W10","v":-7.7806401000000003},null,{"$f":"H4","v":30},{"$f":"H21","v":7.8256333399999995},{"$f":"I21","v":-14.5910504},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":0.85231000000000001},{"$f":"'DF raw data'!C11","v":-13.42352},{"$f":"'DF raw data'!G11","v":-1.42384},{"$f":"'DF raw data'!H11","v":-16.857161000000001},{"$f":"'DF raw data'!L11","v":2.8804400000000001},{"$f":"'DF raw data'!M11","v":-17.787849000000001},{"$f":"'DF raw data'!Q11","v":7.6254400999999996},{"$f":"'DF raw data'!R11","v":-16.791329999999999},{"$f":"'DF raw data'!V11","v":7.8979001000000002},{"$f":"'DF raw data'!W11","v":-5.5577401999999996},null,{"$f":"J4","v":100},{"$f":"J21","v":3.1393401000000001},{"$f":"K21","v":-14.3970833},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":15.53565},{"$f":"'DF raw data'!C12","v":-5.8080100999999997},{"$f":"'DF raw data'!G12","v":-0.76100999000000003},{"$f":"'DF raw data'!H12","v":-18.64526},{"$f":"'DF raw data'!L12","v":7.6370401000000001},{"$f":"'DF raw data'!M12","v":-16.777180000000001},{"$f":"'DF raw data'!Q12","v":-5.2986002000000001},{"$f":"'DF raw data'!R12","v":-12.16886},{"$f":"'DF raw data'!V12","v":6.6009202},{"$f":"'DF raw data'!W12","v":-15.44936},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":5.8643498000000003},{"$f":"'DF raw data'!C13","v":-17.13578},{"$f":"'DF raw data'!G13","v":1.68608},{"$f":"'DF raw data'!H13","v":-22.484020000000001},{"$f":"'DF raw data'!L13","v":1.8652101000000001},{"$f":"'DF raw data'!M13","v":-23.578389999999999},{"$f":"'DF raw data'!Q13","v":8.6074599999999997},{"$f":"'DF raw data'!R13","v":-19.68338},{"$f":"'DF raw data'!V13","v":-1.4705299999999999},{"$f":"'DF raw data'!W13","v":-25.858070000000001},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":9.7848500999999999},{"$f":"'DF raw data'!C14","v":-5.3959899},{"$f":"'DF raw data'!G14","v":10.18549},{"$f":"'DF raw data'!H14","v":-14.223710000000001},{"$f":"'DF raw data'!L14","v":1.6499200000000001},{"$f":"'DF raw data'!M14","v":-8.7424297000000006},{"$f":"'DF raw data'!Q14","v":0.79970001999999996},{"$f":"'DF raw data'!R14","v":-5.7385802000000004},{"$f":"'DF raw data'!V14","v":4.0001502000000002},{"$f":"'DF raw data'!W14","v":-4.0255698999999998},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":4.6788702000000004},{"$f":"'DF raw data'!C15","v":-14.64771},{"$f":"'DF raw data'!G15","v":11.17868},{"$f":"'DF raw data'!H15","v":-11.310420000000001},{"$f":"'DF raw data'!L15","v":8.8367205000000002},{"$f":"'DF raw data'!M15","v":-12.217000000000001},{"$f":"'DF raw data'!Q15","v":14.069739999999999},{"$f":"'DF raw data'!R15","v":-18.351191},{"$f":"'DF raw data'!V15","v":6.8884001000000001},{"$f":"'DF raw data'!W15","v":-13.30761},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":6.9422797999999997},{"$f":"'DF raw data'!C16","v":-8.4984303000000008},{"$f":"'DF raw data'!G16","v":19.11591},{"$f":"'DF raw data'!H16","v":-7.3854097999999997},{"$f":"'DF raw data'!L16","v":30.798580000000001},{"$f":"'DF raw data'!M16","v":-12.51384},{"$f":"'DF raw data'!Q16","v":23.65296},{"$f":"'DF raw data'!R16","v":-9.7527799999999996},{"$f":"'DF raw data'!V16","v":10.057309999999999},{"$f":"'DF raw data'!W16","v":-9.3741798000000003}]
[6,{"$f":"'DF raw data'!B17","v":11.641120000000001},{"$f":"'DF raw data'!C17","v":-8.0826396999999996},{"$f":"'DF raw data'!G17","v":12.991960000000001},{"$f":"'DF raw data'!H17","v":-4.5961299000000002},{"$f":"'DF raw data'!L17","v":8.6306601000000001},{"$f":"'DF raw data'!M17","v":2.2464398999999999},{"$f":"'DF raw data'!Q17","v":11.043839999999999},{"$f":"'DF raw data'!R17","v":-6.8538899000000004},{"$f":"'DF raw data'!V17","v":3.5887400999999999},{"$f":"'DF raw data'!W17","v":-4.4550400000000003}]
[8,{"$f":"'DF raw data'!B18","v":4.5043001},{"$f":"'DF raw data'!C18","v":-2.6403601000000001},{"$f":"'DF raw data'!G18","v":20.603081},{"$f":"'DF raw data'!H18","v":-5.2864798999999998},{"$f":"'DF raw data'!L18","v":11.36495},{"$f":"'DF raw data'!M18","v":-6.0194701999999998},{"$f":"'DF raw data'!Q18","v":16.143149999999999},{"$f":"'DF raw data'!R18","v":-9.6238203000000002},{"$f":"'DF raw data'!V18","v":8.7440795999999992},{"$f":"'DF raw data'!W18","v":-11.485910000000001}]
[10,{"$f":"'DF raw data'!B19","v":8.1034898999999996},{"$f":"'DF raw data'!C19","v":-11.03684},{"$f":"'DF raw data'!G19","v":14.320399999999999},{"$f":"'DF raw data'!H19","v":-8.7470502999999997},{"$f":"'DF raw data'!L19","v":16.868509},{"$f":"'DF raw data'!M19","v":-5.7412600999999999},{"$f":"'DF raw data'!Q19","v":14.042199999999999},{"$f":"'DF raw data'!R19","v":-4.5947199000000003},{"$f":"'DF raw data'!V19","v":6.3382801999999998},{"$f":"'DF raw data'!W19","v":-10.0358}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":871},null,{"$f":"'DF raw data'!G4","v":872},null,{"$f":"'DF raw data'!L4","v":873},null,{"$f":"'DF raw data'!Q4","v":874},null,{"$f":"'DF raw data'!V4","v":875}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":6.7760233666666663},{"$f":"AVERAGE(C11:C13)","v":-12.393159966666667},7.6834166666666661,-16.006049999999998,4.1172835333333335,-14.845939899999999,7.8256333399999995,-14.5910504,3.1393401000000001,-14.3970833]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null," "]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["HXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17828732},null,{"$f":"'DF raw data'!G7","v":17908800},null,{"$f":"'DF raw data'!L7","v":17888754},null,{"$f":"'DF raw data'!Q7","v":17868745},null,{"$f":"'DF raw data'!V7","v":17828726},null,null,{"$f":"B4","v":10},{"$f":"B21","v":0},{"$f":"C21","v":0},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":20.262087399999999},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":33.051119833333331}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":5.9721423666666666},{"$f":"E21","v":-25.484772000000003},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":20.262087399999999},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":33.051119833333331}]
[-10,{"$f":"'DF raw data'!D9/100","v":0},{"$f":"'DF raw data'!E9/100","v":0},{"$f":"'DF raw data'!I9/100","v":-4.7745239000000002},{"$f":"'DF raw data'!J9/100","v":-19.807461},{"$f":"'DF raw data'!N9/100","v":-1.8512603999999999},{"$f":"'DF raw data'!O9/100","v":-11.655615000000001},{"$f":"'DF raw data'!S9/100","v":-6.0809198000000002},{"$f":"'DF raw data'!T9/100","v":-56.593495999999995},{"$f":"'DF raw data'!X9/100","v":9.0124323000000004},{"$f":"'DF raw data'!Y9/100","v":-20.796641000000001},null,{"$f":"F4","v":20},{"$f":"F21","v":3.6939820999999999},{"$f":"G21","v":-22.013603533333335}]
[-8,{"$f":"'DF raw data'!D10/100","v":0},{"$f":"'DF raw data'!E10/100","v":0},{"$f":"'DF raw data'!I10/100","v":-9.8092126000000004},{"$f":"'DF raw data'!J10/100","v":-31.538643},{"$f":"'DF raw data'!N10/100","v":-8.5949779999999993},{"$f":"'DF raw data'!O10/100","v":-29.595282999999998},{"$f":"'DF raw data'!S10/100","v":8.2313048999999996},{"$f":"'DF raw data'!T10/100","v":-25.804834},{"$f":"'DF raw data'!X10/100","v":6.7509167000000003},{"$f":"'DF raw data'!Y10/100","v":-19.329961000000001},null,{"$f":"H4","v":30},{"$f":"H21","v":-14.289945033333332},{"$f":"I21","v":-33.051119833333331}]
[-6,{"$f":"'DF raw data'!D11/100","v":0},{"$f":"'DF raw data'!E11/100","v":0},{"$f":"'DF raw data'!I11/100","v":-5.6601171999999993},{"$f":"'DF raw data'!J11/100","v":-39.225684000000001},{"$f":"'DF raw data'!N11/100","v":-7.5598108000000002},{"$f":"'DF raw data'!O11/100","v":-14.153163999999999},{"$f":"'DF raw data'!S11/100","v":0.71759697},{"$f":"'DF raw data'!T11/100","v":-33.502694999999996},{"$f":"'DF raw data'!X11/100","v":18.703827},{"$f":"'DF raw data'!Y11/100","v":4.2069824000000002},null,{"$f":"J4","v":100},{"$f":"J21","v":3.2802759666666659},{"$f":"K21","v":-19.786468066666668}]
[-4,{"$f":"'DF raw data'!D12/100","v":0},{"$f":"'DF raw data'!E12/100","v":0},{"$f":"'DF raw data'!I12/100","v":1.0146001},{"$f":"'DF raw data'!J12/100","v":-35.962548999999996},{"$f":"'DF raw data'!N12/100","v":7.1121533000000001},{"$f":"'DF raw data'!O12/100","v":-36.372177999999998},{"$f":"'DF raw data'!S12/100","v":1.5647057000000002},{"$f":"'DF raw data'!T12/100","v":-16.592119},{"$f":"'DF raw data'!X12/100","v":12.415676000000001},{"$f":"'DF raw data'!Y12/100","v":-18.658837999999999}]
[-2,{"$f":"'DF raw data'!D13/100","v":0},{"$f":"'DF raw data'!E13/100","v":0},{"$f":"'DF raw data'!I13/100","v":-8.4505480999999989},{"$f":"'DF raw data'!J13/100","v":-29.688690999999999},{"$f":"'DF raw data'!N13/100","v":-2.9542559999999995},{"$f":"'DF raw data'!O13/100","v":-30.417422000000002},{"$f":"'DF raw data'!S13/100","v":-47.591015999999996},{"$f":"'DF raw data'!T13/100","v":-42.779247999999995},{"$f":"'DF raw data'!X13/100","v":-10.772356},{"$f":"'DF raw data'!Y13/100","v":-42.545400000000001},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":0},{"$f":"'DF raw data'!E14/100","v":0},{"$f":"'DF raw data'!I14/100","v":3.2785671999999999},{"$f":"'DF raw data'!J14/100","v":-23.162948999999998},{"$f":"'DF raw data'!N14/100","v":1.4394833},{"$f":"'DF raw data'!O14/100","v":-3.1530565999999998},{"$f":"'DF raw data'!S14/100","v":-6.8901611000000003},{"$f":"'DF raw data'!T14/100","v":-2.8245215000000004},{"$f":"'DF raw data'!X14/100","v":1.9527469},{"$f":"'DF raw data'!Y14/100","v":3.0330077999999996},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":0},{"$f":"'DF raw data'!E15/100","v":0},{"$f":"'DF raw data'!I15/100","v":23.088408000000001},{"$f":"'DF raw data'!J15/100","v":-23.602676000000002},{"$f":"'DF raw data'!N15/100","v":12.596719},{"$f":"'DF raw data'!O15/100","v":-32.470331999999999},{"$f":"'DF raw data'!S15/100","v":11.611342},{"$f":"'DF raw data'!T15/100","v":-53.549589999999995},{"$f":"'DF raw data'!X15/100","v":18.660436999999998},{"$f":"'DF raw data'!Y15/100","v":-19.847011999999999},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":0},{"$f":"'DF raw data'!E16/100","v":0},{"$f":"'DF raw data'!I16/100","v":29.428966999999997},{"$f":"'DF raw data'!J16/100","v":-0.63427730999999998},{"$f":"'DF raw data'!N16/100","v":60.258749999999999},{"$f":"'DF raw data'!O16/100","v":-4.7274804999999995},{"$f":"'DF raw data'!S16/100","v":33.353901},{"$f":"'DF raw data'!T16/100","v":-25.432637},{"$f":"'DF raw data'!X16/100","v":15.865117},{"$f":"'DF raw data'!Y16/100","v":-2.3530370999999999}]
[6,{"$f":"'DF raw data'!D17/100","v":0},{"$f":"'DF raw data'!E17/100","v":0},{"$f":"'DF raw data'!I17/100","v":28.927129000000001},{"$f":"'DF raw data'!J17/100","v":-6.7449608999999997},{"$f":"'DF raw data'!N17/100","v":5.1461206000000006},{"$f":"'DF raw data'!O17/100","v":-9.1847753999999995},{"$f":"'DF raw data'!S17/100","v":32.021514000000003},{"$f":"'DF raw data'!T17/100","v":3.370752},{"$f":"'DF raw data'!X17/100","v":4.0533823},{"$f":"'DF raw data'!Y17/100","v":-13.892461000000001}]
[8,{"$f":"'DF raw data'!D18/100","v":0},{"$f":"'DF raw data'!E18/100","v":0},{"$f":"'DF raw data'!I18/100","v":49.536265},{"$f":"'DF raw data'!J18/100","v":0.77176758000000012},{"$f":"'DF raw data'!N18/100","v":17.930664},{"$f":"'DF raw data'!O18/100","v":-23.674385000000001},{"$f":"'DF raw data'!S18/100","v":42.599350999999999},{"$f":"'DF raw data'!T18/100","v":-30.419560999999998},{"$f":"'DF raw data'!X18/100","v":7.9549597000000007},{"$f":"'DF raw data'!Y18/100","v":-8.5703125}]
[10,{"$f":"'DF raw data'!D19/100","v":0},{"$f":"'DF raw data'!E19/100","v":0},{"$f":"'DF raw data'!I19/100","v":0.75629272000000003},{"$f":"'DF raw data'!J19/100","v":-10.406309},{"$f":"'DF raw data'!N19/100","v":39.261682},{"$f":"'DF raw data'!O19/100","v":-15.334403999999999},{"$f":"'DF raw data'!S19/100","v":-22.937622000000001},{"$f":"'DF raw data'!T19/100","v":-5.4735645000000002},{"$f":"'DF raw data'!X19/100","v":-2.2540349000000002},{"$f":"'DF raw data'!Y19/100","v":-20.354102000000001}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":871},null,{"$f":"'DF raw data'!G4","v":872},null,{"$f":"'DF raw data'!L4","v":873},null,{"$f":"'DF raw data'!Q4","v":874},null,{"$f":"'DF raw data'!V4","v":875}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":0},{"$f":"AVERAGE(C11:C13)","v":0},5.9721423666666666,-25.484772000000003,3.6939820999999999,-22.013603533333335,-14.289945033333332,-33.051119833333331,3.2802759666666659,-19.786468066666668]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","1st Int scan, PS 16327, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16327, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16327, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16327, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16327, 30 mm gap"]
["Date:","29. sep 2017","14:01:12",null,null,"Date:","2. okt 2017","08:53:31",null,null,"Date:","2. okt 2017","08:22:25",null,null,"Date:","2. okt 2017","08:41:15",null,null,"Date:","2. okt 2017","08:53:32"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",871,null,null,null,"Indice:",872,null,null,null,"Indice:",873,null,null,null,"Indice:",874,null,null,null,"Indice:",875]
["Background Indice:",871,null,null,null,"Background Indice:",872,null,null,null,"Background Indice:",873,null,null,null,"Background Indice:",874,null,null,null,"Background Indice:",875]
["Temperature:",21.38,null,null,null,"Temperature:",21.33,null,null,null,"Temperature:",21.34,null,null,null,"Temperature:",21.34,null,null,null,"Temperature:",21.36]
["Encoder:",17828732,null,null,null,"Encoder:",17908800,null,null,null,"Encoder:",17888754,null,null,null,"Encoder:",17868745,null,null,null,"Encoder:",17828726]
["X","IXb","IZb",null,null,"X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1.03,10.672090000000001,-10.64846,null,null,-1,-6.3735499000000004,-15.001060000000001,-477.45238999999998,-1980.7461000000001,-1,-5.9219999000000003,-8.5484399999999994,-185.12603999999999,-1165.5615,-1,-2.4145800999999998,-20.339451,-608.09198000000004,-5659.3495999999996,-1,-2.0254099000000001,-10.33418,901.24323000000004,-2079.6641]
[-0.82999997999999997,-0.17319999999999999,-14.24615,null,null,-0.80000000999999998,-0.42489000999999998,-21.730149999999998,-980.92125999999996,-3153.8643000000002,-0.80000000999999998,-1.3694500000000001,-14.5899,-859.49779999999998,-2959.5282999999999,-0.80000000999999998,7.5446501000000001,-16.780608999999998,823.13049000000001,-2580.4834000000001,-0.80000000999999998,3.0661499999999999,-7.7806401000000003,675.09167000000002,-1932.9961000000001]
[-0.63,0.85231000000000001,-13.42352,null,null,-0.60000001999999997,-1.42384,-16.857161000000001,-566.01171999999997,-3922.5684000000001,-0.60000001999999997,2.8804400000000001,-17.787849000000001,-755.98108000000002,-1415.3163999999999,-0.60000001999999997,7.6254400999999996,-16.791329999999999,71.759697000000003,-3350.2694999999999,-0.60000001999999997,7.8979001000000002,-5.5577401999999996,1870.3827000000001,420.69824]
[-0.43000000999999999,15.53565,-5.8080100999999997,null,null,-0.40000001000000002,-0.76100999000000003,-18.64526,101.46001,-3596.2548999999999,-0.40000001000000002,7.6370401000000001,-16.777180000000001,711.21532999999999,-3637.2177999999999,-0.40000001000000002,-5.2986002000000001,-12.16886,156.47057000000001,-1659.2119,-0.40000001000000002,6.6009202,-15.44936,1241.5676000000001,-1865.8838000000001]
[-0.23,5.8643498000000003,-17.13578,null,null,-0.2,1.68608,-22.484020000000001,-845.05480999999997,-2968.8690999999999,-0.2,1.8652101000000001,-23.578389999999999,-295.42559999999997,-3041.7422000000001,-0.2,8.6074599999999997,-19.68338,-4759.1016,-4277.9247999999998,-0.2,-1.4705299999999999,-25.858070000000001,-1077.2356,-4254.54]
[-2.9999998999999999E-2,9.7848500999999999,-5.3959899,null,null,0,10.18549,-14.223710000000001,327.85672,-2316.2948999999999,0,1.6499200000000001,-8.7424297000000006,143.94833,-315.30565999999999,0,0.79970001999999996,-5.7385802000000004,-689.01611000000003,-282.45215000000002,0,4.0001502000000002,-4.0255698999999998,195.27468999999999,303.30077999999997]
[0.17,4.6788702000000004,-14.64771,null,null,0.2,11.17868,-11.310420000000001,2308.8407999999999,-2360.2676000000001,0.2,8.8367205000000002,-12.217000000000001,1259.6719000000001,-3247.0331999999999,0.2,14.069739999999999,-18.351191,1161.1342,-5354.9589999999998,0.2,6.8884001000000001,-13.30761,1866.0436999999999,-1984.7012]
[0.37,6.9422797999999997,-8.4984303000000008,null,null,0.40000001000000002,19.11591,-7.3854097999999997,2942.8966999999998,-63.427731000000001,0.40000001000000002,30.798580000000001,-12.51384,6025.875,-472.74804999999998,0.40000001000000002,23.65296,-9.7527799999999996,3335.3901000000001,-2543.2637,0.40000001000000002,10.057309999999999,-9.3741798000000003,1586.5117,-235.30371]
[0.56999999000000001,11.641120000000001,-8.0826396999999996,null,null,0.60000001999999997,12.991960000000001,-4.5961299000000002,2892.7129,-674.49608999999998,0.60000001999999997,8.6306601000000001,2.2464398999999999,514.61206000000004,-918.47753999999998,0.60000001999999997,11.043839999999999,-6.8538899000000004,3202.1514000000002,337.0752,0.60000001999999997,3.5887400999999999,-4.4550400000000003,405.33823000000001,-1389.2461000000001]
[0.76999998000000003,4.5043001,-2.6403601000000001,null,null,0.80000000999999998,20.603081,-5.2864798999999998,4953.6265000000003,77.176758000000007,0.80000000999999998,11.36495,-6.0194701999999998,1793.0663999999999,-2367.4385000000002,0.80000000999999998,16.143149999999999,-9.6238203000000002,4259.9350999999997,-3041.9560999999999,0.80000000999999998,8.7440795999999992,-11.485910000000001,795.49597000000006,-857.03125]
[0.97000003000000001,8.1034898999999996,-11.03684,null,null,1,14.320399999999999,-8.7470502999999997,75.629272,-1040.6309000000001,1,16.868509,-5.7412600999999999,3926.1682000000001,-1533.4404,1,14.042199999999999,-4.5947199000000003,-2293.7622000000001,-547.35645,1,6.3382801999999998,-10.0358,-225.40349000000001,-2035.4102]