{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":629,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":30,"n_cols":19,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
["HXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":7530737},null,{"$f":"'DF raw data'!G7","v":7510734},null,{"$f":"'DF raw data'!L7","v":7490705},null,{"$f":"'DF raw data'!Q7","v":7450697},null,{"$f":"'DF raw data'!V7","v":7170699},null,null,{"$f":"B4","v":10},{"$f":"B21","v":2.746320166666667},{"$f":"C21","v":-3.0238166999999998},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":7.4433600066666656},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":10.805153300000001}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":2.5653332933333335},{"$f":"E21","v":7.7813366000000004},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":8.1512498966666662},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":12.962460133333334}]
[-10,{"$f":"'DF raw data'!B9","v":17.224730000000001},{"$f":"'DF raw data'!C9","v":27.453769999999999},{"$f":"'DF raw data'!G9","v":16.890149999999998},{"$f":"'DF raw data'!H9","v":21.28867},{"$f":"'DF raw data'!L9","v":19.737570000000002},{"$f":"'DF raw data'!M9","v":27.417899999999999},{"$f":"'DF raw data'!Q9","v":14.24982},{"$f":"'DF raw data'!R9","v":17.276609000000001},{"$f":"'DF raw data'!V9","v":-3.65659},{"$f":"'DF raw data'!W9","v":-0.85848999000000004},null,{"$f":"F4","v":20},{"$f":"F21","v":5.9108067333333336},{"$f":"G21","v":4.3609099333333328}]
[-8,{"$f":"'DF raw data'!B10","v":8.7457399000000002},{"$f":"'DF raw data'!C10","v":23.173441},{"$f":"'DF raw data'!G10","v":12.25196},{"$f":"'DF raw data'!H10","v":18.755091},{"$f":"'DF raw data'!L10","v":4.4780201999999996},{"$f":"'DF raw data'!M10","v":14.385960000000001},{"$f":"'DF raw data'!Q10","v":7.5413198000000001},{"$f":"'DF raw data'!R10","v":6.2119698999999997},{"$f":"'DF raw data'!V10","v":-2.5203600000000002},{"$f":"'DF raw data'!W10","v":-8.6823195999999996},null,{"$f":"H4","v":30},{"$f":"H21","v":10.008693299999999},{"$f":"I21","v":3.99526987},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":5.1467700000000001},{"$f":"'DF raw data'!C11","v":21.127800000000001},{"$f":"'DF raw data'!G11","v":14.40619},{"$f":"'DF raw data'!H11","v":12.35934},{"$f":"'DF raw data'!L11","v":15.988479999999999},{"$f":"'DF raw data'!M11","v":15.197570000000001},{"$f":"'DF raw data'!Q11","v":14.17858},{"$f":"'DF raw data'!R11","v":18.397079000000002},{"$f":"'DF raw data'!V11","v":0.88405001000000005},{"$f":"'DF raw data'!W11","v":-1.05637},null,{"$f":"J4","v":100},{"$f":"J21","v":1.8574434033333336},{"$f":"K21","v":-5.1811235333333334},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":7.7366700000000002},{"$f":"'DF raw data'!C12","v":1.7100599999999999},{"$f":"'DF raw data'!G12","v":7.0103998000000001},{"$f":"'DF raw data'!H12","v":11.287419999999999},{"$f":"'DF raw data'!L12","v":8.9864397},{"$f":"'DF raw data'!M12","v":12.06555},{"$f":"'DF raw data'!Q12","v":5.8554200999999999},{"$f":"'DF raw data'!R12","v":9.3682098000000007},{"$f":"'DF raw data'!V12","v":-3.7918601000000001},{"$f":"'DF raw data'!W12","v":-6.5916399999999999},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":8.2600803000000003},{"$f":"'DF raw data'!C13","v":-2.9972300999999999},{"$f":"'DF raw data'!G13","v":8.0901098000000005},{"$f":"'DF raw data'!H13","v":15.26632},{"$f":"'DF raw data'!L13","v":5.0234899999999998},{"$f":"'DF raw data'!M13","v":2.8636601000000002},{"$f":"'DF raw data'!Q13","v":11.718629999999999},{"$f":"'DF raw data'!R13","v":4.3514299000000003},{"$f":"'DF raw data'!V13","v":-0.91150998999999999},{"$f":"'DF raw data'!W13","v":-9.3910903999999995},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":-2.4734099000000001},{"$f":"'DF raw data'!C14","v":4.3816899999999999},{"$f":"'DF raw data'!G14","v":-1.1159199},{"$f":"'DF raw data'!H14","v":2.9351799000000001},{"$f":"'DF raw data'!L14","v":3.1540501000000001},{"$f":"'DF raw data'!M14","v":6.5813297999999998},{"$f":"'DF raw data'!Q14","v":10.428280000000001},{"$f":"'DF raw data'!R14","v":8.0253896999999998},{"$f":"'DF raw data'!V14","v":2.0480000999999999},{"$f":"'DF raw data'!W14","v":-0.18268000000000001},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":2.4522900999999999},{"$f":"'DF raw data'!C15","v":-10.455909999999999},{"$f":"'DF raw data'!G15","v":0.72180997999999996},{"$f":"'DF raw data'!H15","v":5.1425099000000003},{"$f":"'DF raw data'!L15","v":9.5548801000000001},{"$f":"'DF raw data'!M15","v":3.6377399000000001},{"$f":"'DF raw data'!Q15","v":7.8791698999999999},{"$f":"'DF raw data'!R15","v":-0.39100998999999997},{"$f":"'DF raw data'!V15","v":4.4358401000000001},{"$f":"'DF raw data'!W15","v":-5.9696002000000004},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":5.0155801999999996},{"$f":"'DF raw data'!C16","v":-5.2289500000000002},{"$f":"'DF raw data'!G16","v":-20.474299999999999},{"$f":"'DF raw data'!H16","v":9.5325097999999997},{"$f":"'DF raw data'!L16","v":12.834},{"$f":"'DF raw data'!M16","v":2.95316},{"$f":"'DF raw data'!Q16","v":0.56641001000000002},{"$f":"'DF raw data'!R16","v":5.0631199000000002},{"$f":"'DF raw data'!V16","v":-1.31273},{"$f":"'DF raw data'!W16","v":-3.6168100999999999}]
[6,{"$f":"'DF raw data'!B17","v":3.0731001},{"$f":"'DF raw data'!C17","v":-4.3353000000000002},{"$f":"'DF raw data'!G17","v":-4.28512},{"$f":"'DF raw data'!H17","v":-9.0951500000000003},{"$f":"'DF raw data'!L17","v":-2.8071400999999998},{"$f":"'DF raw data'!M17","v":16.280090000000001},{"$f":"'DF raw data'!Q17","v":4.9805498000000004},{"$f":"'DF raw data'!R17","v":11.75189},{"$f":"'DF raw data'!V17","v":0.95384997000000005},{"$f":"'DF raw data'!W17","v":-6.0383801000000004}]
[8,{"$f":"'DF raw data'!B18","v":-3.4956901},{"$f":"'DF raw data'!C18","v":4.1323699999999999},{"$f":"'DF raw data'!G18","v":-9.9009998000000002E-2},{"$f":"'DF raw data'!H18","v":-6.99125},{"$f":"'DF raw data'!L18","v":-0.59439998999999999},{"$f":"'DF raw data'!M18","v":5.6730498999999996},{"$f":"'DF raw data'!Q18","v":3.9522699999999999},{"$f":"'DF raw data'!R18","v":16.594391000000002},{"$f":"'DF raw data'!V18","v":2.1193398999999999},{"$f":"'DF raw data'!W18","v":-4.8232298}]
[10,{"$f":"'DF raw data'!B19","v":-6.7442498000000004},{"$f":"'DF raw data'!C19","v":12.22255},{"$f":"'DF raw data'!G19","v":-1.72715},{"$f":"'DF raw data'!H19","v":1.9279799},{"$f":"'DF raw data'!L19","v":3.9271400000000001},{"$f":"'DF raw data'!M19","v":9.8113603999999999},{"$f":"'DF raw data'!Q19","v":2.8541900999999998},{"$f":"'DF raw data'!R19","v":8.9651299000000009},{"$f":"'DF raw data'!V19","v":-6.0316000000000001},{"$f":"'DF raw data'!W19","v":-5.1931200000000004}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":880},null,{"$f":"'DF raw data'!G4","v":881},null,{"$f":"'DF raw data'!L4","v":882},null,{"$f":"'DF raw data'!Q4","v":883},null,{"$f":"'DF raw data'!V4","v":884}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":2.746320166666667},{"$f":"AVERAGE(C11:C13)","v":-3.0238166999999998},2.5653332933333335,7.7813366000000004,5.9108067333333336,4.3609099333333328,10.008693299999999,3.99526987,1.8574434033333336,-5.1811235333333334]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null," "]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["HXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":7530737},null,{"$f":"'DF raw data'!G7","v":7510734},null,{"$f":"'DF raw data'!L7","v":7490705},null,{"$f":"'DF raw data'!Q7","v":7450697},null,{"$f":"'DF raw data'!V7","v":7170699},null,null,{"$f":"B4","v":10},{"$f":"B21","v":-0.7879728333333329},{"$f":"C21","v":-5.2829526000000007},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":15.511728633333332},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":12.633206666666666}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":14.723755799999999},{"$f":"E21","v":2.5703027666666673},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":20.1450213},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":12.633206666666666}]
[-10,{"$f":"'DF raw data'!D9/100","v":55.148306000000005},{"$f":"'DF raw data'!E9/100","v":43.235595999999994},{"$f":"'DF raw data'!I9/100","v":34.536510999999997},{"$f":"'DF raw data'!J9/100","v":35.564335999999997},{"$f":"'DF raw data'!N9/100","v":39.072609999999997},{"$f":"'DF raw data'!O9/100","v":43.663573999999997},{"$f":"'DF raw data'!S9/100","v":19.484833999999999},{"$f":"'DF raw data'!T9/100","v":22.803643000000001},{"$f":"'DF raw data'!X9/100","v":6.1528301000000001E-2},{"$f":"'DF raw data'!Y9/100","v":-14.698486000000001},null,{"$f":"F4","v":20},{"$f":"F21","v":9.6984814666666654},{"$f":"G21","v":7.3502540666666656}]
[-8,{"$f":"'DF raw data'!D10/100","v":8.2386963000000009},{"$f":"'DF raw data'!E10/100","v":52.597499999999997},{"$f":"'DF raw data'!I10/100","v":5.4089209000000009},{"$f":"'DF raw data'!J10/100","v":27.201914000000002},{"$f":"'DF raw data'!N10/100","v":8.1328075999999996},{"$f":"'DF raw data'!O10/100","v":26.957217},{"$f":"'DF raw data'!S10/100","v":3.3528894000000005},{"$f":"'DF raw data'!T10/100","v":17.203291},{"$f":"'DF raw data'!X10/100","v":-4.6240310999999998},{"$f":"'DF raw data'!Y10/100","v":-6.1506737999999999},null,{"$f":"H4","v":30},{"$f":"H21","v":11.409055733333332},{"$f":"I21","v":6.091702333333334}]
[-6,{"$f":"'DF raw data'!D11/100","v":7.8443420000000001},{"$f":"'DF raw data'!E11/100","v":31.605898000000003},{"$f":"'DF raw data'!I11/100","v":19.549780000000002},{"$f":"'DF raw data'!J11/100","v":29.146239999999999},{"$f":"'DF raw data'!N11/100","v":25.542505000000002},{"$f":"'DF raw data'!O11/100","v":10.853251999999999},{"$f":"'DF raw data'!S11/100","v":23.981375},{"$f":"'DF raw data'!T11/100","v":43.551366999999999},{"$f":"'DF raw data'!X11/100","v":-18.640283},{"$f":"'DF raw data'!Y11/100","v":-9.0405273000000008},null,{"$f":"J4","v":100},{"$f":"J21","v":-5.4212654999999996},{"$f":"K21","v":-2.8789908}]
[-4,{"$f":"'DF raw data'!D12/100","v":1.6126344000000001},{"$f":"'DF raw data'!E12/100","v":10.748037},{"$f":"'DF raw data'!I12/100","v":-0.49663521000000005},{"$f":"'DF raw data'!J12/100","v":23.526201},{"$f":"'DF raw data'!N12/100","v":15.664477999999999},{"$f":"'DF raw data'!O12/100","v":20.682793},{"$f":"'DF raw data'!S12/100","v":10.29781},{"$f":"'DF raw data'!T12/100","v":16.647441000000001},{"$f":"'DF raw data'!X12/100","v":-11.375260000000001},{"$f":"'DF raw data'!Y12/100","v":-6.5363183999999999}]
[-2,{"$f":"'DF raw data'!D13/100","v":6.8887145999999992},{"$f":"'DF raw data'!E13/100","v":1.4216602},{"$f":"'DF raw data'!I13/100","v":57.179975999999996},{"$f":"'DF raw data'!J13/100","v":-4.2255566},{"$f":"'DF raw data'!N13/100","v":-0.12233459999999999},{"$f":"'DF raw data'!O13/100","v":10.838144999999999},{"$f":"'DF raw data'!S13/100","v":8.1201098999999992},{"$f":"'DF raw data'!T13/100","v":1.9112305000000001},{"$f":"'DF raw data'!X13/100","v":-13.871215999999999},{"$f":"'DF raw data'!Y13/100","v":1.0194238},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":-18.448699999999999},{"$f":"'DF raw data'!E14/100","v":10.202920000000001},{"$f":"'DF raw data'!I14/100","v":-1.5076285999999999},{"$f":"'DF raw data'!J14/100","v":8.284130900000001},{"$f":"'DF raw data'!N14/100","v":11.272977000000001},{"$f":"'DF raw data'!O14/100","v":6.5584569999999998},{"$f":"'DF raw data'!S14/100","v":9.8088513000000006},{"$f":"'DF raw data'!T14/100","v":22.681689000000002},{"$f":"'DF raw data'!X14/100","v":-5.3817589999999997},{"$f":"'DF raw data'!Y14/100","v":0.34563479999999996},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":9.1960668999999999},{"$f":"'DF raw data'!E15/100","v":-27.473438000000002},{"$f":"'DF raw data'!I15/100","v":-11.50108},{"$f":"'DF raw data'!J15/100","v":3.6523340000000002},{"$f":"'DF raw data'!N15/100","v":17.944801999999999},{"$f":"'DF raw data'!O15/100","v":4.6541601999999997},{"$f":"'DF raw data'!S15/100","v":16.298206},{"$f":"'DF raw data'!T15/100","v":-6.3178124999999996},{"$f":"'DF raw data'!X15/100","v":2.9891785},{"$f":"'DF raw data'!Y15/100","v":-10.002030999999999},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":8.9772058000000001},{"$f":"'DF raw data'!E16/100","v":-2.0473046999999998},{"$f":"'DF raw data'!I16/100","v":-23.675311999999998},{"$f":"'DF raw data'!J16/100","v":21.751093999999998},{"$f":"'DF raw data'!N16/100","v":20.355316999999999},{"$f":"'DF raw data'!O16/100","v":13.344697000000002},{"$f":"'DF raw data'!S16/100","v":3.5937860000000001},{"$f":"'DF raw data'!T16/100","v":22.122851999999998},{"$f":"'DF raw data'!X16/100","v":-8.8279137999999993},{"$f":"'DF raw data'!Y16/100","v":-6.6271680000000002}]
[6,{"$f":"'DF raw data'!D17/100","v":19.246775},{"$f":"'DF raw data'!E17/100","v":-10.833661999999999},{"$f":"'DF raw data'!I17/100","v":-7.2642125999999996},{"$f":"'DF raw data'!J17/100","v":-18.167451},{"$f":"'DF raw data'!N17/100","v":-11.932304999999999},{"$f":"'DF raw data'!O17/100","v":20.963975000000001},{"$f":"'DF raw data'!S17/100","v":2.7088729999999996},{"$f":"'DF raw data'!T17/100","v":20.523593999999999},{"$f":"'DF raw data'!X17/100","v":-0.59460571000000007},{"$f":"'DF raw data'!Y17/100","v":-19.343700999999999}]
[8,{"$f":"'DF raw data'!D18/100","v":-6.6738757},{"$f":"'DF raw data'!E18/100","v":5.5930175999999996},{"$f":"'DF raw data'!I18/100","v":19.885459000000001},{"$f":"'DF raw data'!J18/100","v":-12.565068000000002},{"$f":"'DF raw data'!N18/100","v":0.47288508999999995},{"$f":"'DF raw data'!O18/100","v":16.453427999999999},{"$f":"'DF raw data'!S18/100","v":-1.5738922},{"$f":"'DF raw data'!T18/100","v":32.198398000000005},{"$f":"'DF raw data'!X18/100","v":-1.4595867999999999},{"$f":"'DF raw data'!Y18/100","v":3.2805762000000001}]
[10,{"$f":"'DF raw data'!D19/100","v":-13.886021000000001},{"$f":"'DF raw data'!E19/100","v":14.471162},{"$f":"'DF raw data'!I19/100","v":3.1080817000000001},{"$f":"'DF raw data'!J19/100","v":2.8684473000000001},{"$f":"'DF raw data'!N19/100","v":-3.6924371000000002},{"$f":"'DF raw data'!O19/100","v":8.1293457},{"$f":"'DF raw data'!S19/100","v":1.7340143000000001},{"$f":"'DF raw data'!T19/100","v":4.9605176000000002},{"$f":"'DF raw data'!X19/100","v":-28.730027},{"$f":"'DF raw data'!Y19/100","v":-5.2510352000000005}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":880},null,{"$f":"'DF raw data'!G4","v":881},null,{"$f":"'DF raw data'!L4","v":882},null,{"$f":"'DF raw data'!Q4","v":883},null,{"$f":"'DF raw data'!V4","v":884}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":-0.7879728333333329},{"$f":"AVERAGE(C11:C13)","v":-5.2829526000000007},14.723755799999999,2.5703027666666673,9.6984814666666654,7.3502540666666656,11.409055733333332,6.091702333333334,-5.4212654999999996,-2.8789908]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16328, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16328, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16328, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16328, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16328, 100 mm gap"]
["Date:","2. okt 2017","15:48:42",null,null,"Date:","2. okt 2017","15:10:26",null,null,"Date:","2. okt 2017","15:36:24",null,null,"Date:","2. okt 2017","15:36:32",null,null,"Date:","2. okt 2017","15:48:44"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",880,null,null,null,"Indice:",881,null,null,null,"Indice:",882,null,null,null,"Indice:",883,null,null,null,"Indice:",884]
["Background Indice:",880,null,null,null,"Background Indice:",881,null,null,null,"Background Indice:",882,null,null,null,"Background Indice:",883,null,null,null,"Background Indice:",884]
["Temperature:",21.54,null,null,null,"Temperature:",21.6,null,null,null,"Temperature:",21.61,null,null,null,"Temperature:",21.63,null,null,null,"Temperature:",21.7]
["Encoder:",7530737,null,null,null,"Encoder:",7510734,null,null,null,"Encoder:",7490705,null,null,null,"Encoder:",7450697,null,null,null,"Encoder:",7170699]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,17.224730000000001,27.453769999999999,5514.8306000000002,4323.5595999999996,-1,16.890149999999998,21.28867,3453.6511,3556.4335999999998,-1,19.737570000000002,27.417899999999999,3907.261,4366.3573999999999,-1,14.24982,17.276609000000001,1948.4834000000001,2280.3643000000002,-1,-3.65659,-0.85848999000000004,6.1528301000000001,-1469.8486]
[-0.80000000999999998,8.7457399000000002,23.173441,823.86963000000003,5259.75,-0.80000000999999998,12.25196,18.755091,540.89209000000005,2720.1914000000002,-0.80000000999999998,4.4780201999999996,14.385960000000001,813.28075999999999,2695.7217000000001,-0.80000000999999998,7.5413198000000001,6.2119698999999997,335.28894000000003,1720.3290999999999,-0.80000000999999998,-2.5203600000000002,-8.6823195999999996,-462.40311000000003,-615.06737999999996]
[-0.60000001999999997,5.1467700000000001,21.127800000000001,784.43420000000003,3160.5898000000002,-0.60000001999999997,14.40619,12.35934,1954.9780000000001,2914.6239999999998,-0.60000001999999997,15.988479999999999,15.197570000000001,2554.2505000000001,1085.3252,-0.60000001999999997,14.17858,18.397079000000002,2398.1374999999998,4355.1367,-0.60000001999999997,0.88405001000000005,-1.05637,-1864.0282999999999,-904.05273]
[-0.40000001000000002,7.7366700000000002,1.7100599999999999,161.26344,1074.8036999999999,-0.40000001000000002,7.0103998000000001,11.287419999999999,-49.663521000000003,2352.6201000000001,-0.40000001000000002,8.9864397,12.06555,1566.4477999999999,2068.2793000000001,-0.40000001000000002,5.8554200999999999,9.3682098000000007,1029.7809999999999,1664.7440999999999,-0.40000001000000002,-3.7918601000000001,-6.5916399999999999,-1137.5260000000001,-653.63184000000001]
[-0.2,8.2600803000000003,-2.9972300999999999,688.87145999999996,142.16602,-0.2,8.0901098000000005,15.26632,5717.9975999999997,-422.55565999999999,-0.2,5.0234899999999998,2.8636601000000002,-12.233459999999999,1083.8145,-0.2,11.718629999999999,4.3514299000000003,812.01098999999999,191.12305000000001,-0.2,-0.91150998999999999,-9.3910903999999995,-1387.1215999999999,101.94238]
[0,-2.4734099000000001,4.3816899999999999,-1844.87,1020.292,0,-1.1159199,2.9351799000000001,-150.76285999999999,828.41309000000001,0,3.1540501000000001,6.5813297999999998,1127.2977000000001,655.84569999999997,0,10.428280000000001,8.0253896999999998,980.88513,2268.1689000000001,0,2.0480000999999999,-0.18268000000000001,-538.17589999999996,34.563479999999998]
[0.2,2.4522900999999999,-10.455909999999999,919.60668999999996,-2747.3438000000001,0.2,0.72180997999999996,5.1425099000000003,-1150.1079999999999,365.23340000000002,0.2,9.5548801000000001,3.6377399000000001,1794.4802,465.41602,0.2,7.8791698999999999,-0.39100998999999997,1629.8206,-631.78125,0.2,4.4358401000000001,-5.9696002000000004,298.91784999999999,-1000.2030999999999]
[0.40000001000000002,5.0155801999999996,-5.2289500000000002,897.72058000000004,-204.73047,0.40000001000000002,-20.474299999999999,9.5325097999999997,-2367.5311999999999,2175.1093999999998,0.40000001000000002,12.834,2.95316,2035.5317,1334.4697000000001,0.40000001000000002,0.56641001000000002,5.0631199000000002,359.37860000000001,2212.2851999999998,0.40000001000000002,-1.31273,-3.6168100999999999,-882.79138,-662.71680000000003]
[0.60000001999999997,3.0731001,-4.3353000000000002,1924.6775,-1083.3661999999999,0.60000001999999997,-4.28512,-9.0951500000000003,-726.42125999999996,-1816.7451000000001,0.60000001999999997,-2.8071400999999998,16.280090000000001,-1193.2304999999999,2096.3975,0.60000001999999997,4.9805498000000004,11.75189,270.88729999999998,2052.3593999999998,0.60000001999999997,0.95384997000000005,-6.0383801000000004,-59.460571000000002,-1934.3701000000001]
[0.80000000999999998,-3.4956901,4.1323699999999999,-667.38756999999998,559.30175999999994,0.80000000999999998,-9.9009998000000002E-2,-6.99125,1988.5459000000001,-1256.5068000000001,0.80000000999999998,-0.59439998999999999,5.6730498999999996,47.288508999999998,1645.3427999999999,0.80000000999999998,3.9522699999999999,16.594391000000002,-157.38921999999999,3219.8398000000002,0.80000000999999998,2.1193398999999999,-4.8232298,-145.95867999999999,328.05761999999999]
[1,-6.7442498000000004,12.22255,-1388.6021000000001,1447.1161999999999,1,-1.72715,1.9279799,310.80817000000002,286.84473000000003,1,3.9271400000000001,9.8113603999999999,-369.24371000000002,812.93457000000001,1,2.8541900999999998,8.9651299000000009,173.40143,496.05176,1,-6.0316000000000001,-5.1931200000000004,-2873.0027,-525.10352]