{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":639,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":30,"n_cols":19,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
["HXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17224150},null,{"$f":"'DF raw data'!G7","v":17204093},null,{"$f":"'DF raw data'!L7","v":17184074},null,{"$f":"'DF raw data'!Q7","v":17144053},null,{"$f":"'DF raw data'!V7","v":16864123},null,null,{"$f":"B4","v":10},{"$f":"B21","v":7.8141032999999993},{"$f":"C21","v":-11.305796666666666},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":4.0880932999999988},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":5.590493333333332}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":6.5830698000000005},{"$f":"E21","v":-10.6366133},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":8.2378265966666664},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":5.6686066666666655}]
[-10,{"$f":"'DF raw data'!B9","v":5.6579598999999998},{"$f":"'DF raw data'!C9","v":13.82804},{"$f":"'DF raw data'!G9","v":2.0375098999999999},{"$f":"'DF raw data'!H9","v":11.291119999999999},{"$f":"'DF raw data'!L9","v":3.0959001000000002},{"$f":"'DF raw data'!M9","v":21.999780999999999},{"$f":"'DF raw data'!Q9","v":1.68251},{"$f":"'DF raw data'!R9","v":9.3210802000000008},{"$f":"'DF raw data'!V9","v":-5.5867700999999999},{"$f":"'DF raw data'!W9","v":3.7236799999999999},null,{"$f":"F4","v":20},{"$f":"F21","v":3.72601},{"$f":"G21","v":-9.776746666666666}]
[-8,{"$f":"'DF raw data'!B10","v":8.8596201000000008},{"$f":"'DF raw data'!C10","v":0.87040001},{"$f":"'DF raw data'!G10","v":2.3882200999999998},{"$f":"'DF raw data'!H10","v":-2.2479898999999999},{"$f":"'DF raw data'!L10","v":10.730499999999999},{"$f":"'DF raw data'!M10","v":3.1714101000000001},{"$f":"'DF raw data'!Q10","v":-6.7392000999999997},{"$f":"'DF raw data'!R10","v":7.4569200999999996},{"$f":"'DF raw data'!V10","v":2.0575098999999999},{"$f":"'DF raw data'!W10","v":-6.6891898999999997},null,{"$f":"H4","v":30},{"$f":"H21","v":7.6571797999999989},{"$f":"I21","v":-5.7153033333333338},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":10.784990000000001},{"$f":"'DF raw data'!C11","v":-2.1799599999999999},{"$f":"'DF raw data'!G11","v":10.65615},{"$f":"'DF raw data'!H11","v":0.95565999000000001},{"$f":"'DF raw data'!L11","v":11.43018},{"$f":"'DF raw data'!M11","v":2.5111799000000001},{"$f":"'DF raw data'!Q11","v":5.0269499},{"$f":"'DF raw data'!R11","v":3.33588},{"$f":"'DF raw data'!V11","v":-0.67370998999999998},{"$f":"'DF raw data'!W11","v":-4.6674699999999998},null,{"$f":"J4","v":100},{"$f":"J21","v":-0.42372329666666647},{"$f":"K21","v":-5.6371900000000004},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":6.6353597999999998},{"$f":"'DF raw data'!C12","v":-5.3675398999999997},{"$f":"'DF raw data'!G12","v":3.3262100000000001},{"$f":"'DF raw data'!H12","v":-2.8942899999999998},{"$f":"'DF raw data'!L12","v":14.54021},{"$f":"'DF raw data'!M12","v":4.8312502000000004},{"$f":"'DF raw data'!Q12","v":3.7313900000000002},{"$f":"'DF raw data'!R12","v":-2.1403099999999999},{"$f":"'DF raw data'!V12","v":-1.81925},{"$f":"'DF raw data'!W12","v":-3.4309498999999999},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":7.2935499999999998},{"$f":"'DF raw data'!C13","v":-17.692309999999999},{"$f":"'DF raw data'!G13","v":8.3797197000000008},{"$f":"'DF raw data'!H13","v":-12.354979999999999},{"$f":"'DF raw data'!L13","v":-1.22963},{"$f":"'DF raw data'!M13","v":-14.654669999999999},{"$f":"'DF raw data'!Q13","v":5.1352700999999996},{"$f":"'DF raw data'!R13","v":-7.9253602000000001},{"$f":"'DF raw data'!V13","v":-3.4511599999999998},{"$f":"'DF raw data'!W13","v":-8.8262300000000007},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":8.2783499000000003},{"$f":"'DF raw data'!C14","v":-5.5769200000000003},{"$f":"'DF raw data'!G14","v":5.8569198},{"$f":"'DF raw data'!H14","v":-11.255409999999999},{"$f":"'DF raw data'!L14","v":5.6734900000000001},{"$f":"'DF raw data'!M14","v":-5.0703300999999996},{"$f":"'DF raw data'!Q14","v":8.9804896999999997},{"$f":"'DF raw data'!R14","v":-6.0728797999999999},{"$f":"'DF raw data'!V14","v":-0.24473998999999999},{"$f":"'DF raw data'!W14","v":2.1230500000000001},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":7.8704099999999997},{"$f":"'DF raw data'!C15","v":-10.648160000000001},{"$f":"'DF raw data'!G15","v":5.5125698999999999},{"$f":"'DF raw data'!H15","v":-8.2994499000000008},{"$f":"'DF raw data'!L15","v":6.7341699999999998},{"$f":"'DF raw data'!M15","v":-9.6052399000000008},{"$f":"'DF raw data'!Q15","v":8.8557796},{"$f":"'DF raw data'!R15","v":-3.1476700000000002},{"$f":"'DF raw data'!V15","v":2.4247301000000001},{"$f":"'DF raw data'!W15","v":-10.20839},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":5.5651202},{"$f":"'DF raw data'!C16","v":-6.0557398999999998},{"$f":"'DF raw data'!G16","v":8.8413295999999999},{"$f":"'DF raw data'!H16","v":-4.5451598000000004},{"$f":"'DF raw data'!L16","v":0.12248000000000001},{"$f":"'DF raw data'!M16","v":-6.7560802000000004},{"$f":"'DF raw data'!Q16","v":2.7345799999999998},{"$f":"'DF raw data'!R16","v":-9.1289396000000007},{"$f":"'DF raw data'!V16","v":-7.3831901999999996},{"$f":"'DF raw data'!W16","v":-3.1585801}]
[6,{"$f":"'DF raw data'!B17","v":8.5117197000000004},{"$f":"'DF raw data'!C17","v":-4.3271598999999998},{"$f":"'DF raw data'!G17","v":11.810449999999999},{"$f":"'DF raw data'!H17","v":-4.5200901},{"$f":"'DF raw data'!L17","v":2.3947999000000002},{"$f":"'DF raw data'!M17","v":-3.2078199000000001},{"$f":"'DF raw data'!Q17","v":0.36081999999999997},{"$f":"'DF raw data'!R17","v":-3.7999401000000002},{"$f":"'DF raw data'!V17","v":0.84592003000000004},{"$f":"'DF raw data'!W17","v":-3.5277699999999999}]
[8,{"$f":"'DF raw data'!B18","v":3.64832},{"$f":"'DF raw data'!C18","v":-12.402760000000001},{"$f":"'DF raw data'!G18","v":14.92759},{"$f":"'DF raw data'!H18","v":-5.6414299000000003},{"$f":"'DF raw data'!L18","v":0.97624999000000001},{"$f":"'DF raw data'!M18","v":2.3734199999999999},{"$f":"'DF raw data'!Q18","v":3.3689599000000001},{"$f":"'DF raw data'!R18","v":-7.4439200999999997},{"$f":"'DF raw data'!V18","v":-6.0647101000000001},{"$f":"'DF raw data'!W18","v":-6.5399498999999999}]
[10,{"$f":"'DF raw data'!B19","v":-0.41016998999999998},{"$f":"'DF raw data'!C19","v":-6.3117799999999997},{"$f":"'DF raw data'!G19","v":4.0237898999999997},{"$f":"'DF raw data'!H19","v":-22.21603},{"$f":"'DF raw data'!L19","v":0.33333998999999997},{"$f":"'DF raw data'!M19","v":-4.2173100000000003},{"$f":"'DF raw data'!Q19","v":-1.0076801},{"$f":"'DF raw data'!R19","v":-3.0196499999999999},{"$f":"'DF raw data'!V19","v":-5.9884700999999998},{"$f":"'DF raw data'!W19","v":-4.3504500000000004}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":895},null,{"$f":"'DF raw data'!G4","v":896},null,{"$f":"'DF raw data'!L4","v":897},null,{"$f":"'DF raw data'!Q4","v":898},null,{"$f":"'DF raw data'!V4","v":899}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":7.8141032999999993},{"$f":"AVERAGE(C11:C13)","v":-11.305796666666666},6.5830698000000005,-10.6366133,3.72601,-9.776746666666666,7.6571797999999989,-5.7153033333333338,-0.42372329666666647,-5.6371900000000004]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null," "]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["HXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17224150},null,{"$f":"'DF raw data'!G7","v":17204093},null,{"$f":"'DF raw data'!L7","v":17184074},null,{"$f":"'DF raw data'!Q7","v":17144053},null,{"$f":"'DF raw data'!V7","v":16864123},null,null,{"$f":"B4","v":10},{"$f":"B21","v":10.750424633333333},{"$f":"C21","v":-12.541819933333334},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":12.5781052},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":10.016624633333334}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":2.9022078666666666},{"$f":"E21","v":-12.001790233333333},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":18.976806733333333},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":10.016624633333334}]
[-10,{"$f":"'DF raw data'!D9/100","v":11.631665},{"$f":"'DF raw data'!E9/100","v":29.255664000000003},{"$f":"'DF raw data'!I9/100","v":7.8031140000000008},{"$f":"'DF raw data'!J9/100","v":4.7466504},{"$f":"'DF raw data'!N9/100","v":12.33686},{"$f":"'DF raw data'!O9/100","v":28.084600000000002},{"$f":"'DF raw data'!S9/100","v":15.228209999999999},{"$f":"'DF raw data'!T9/100","v":23.108368999999996},{"$f":"'DF raw data'!X9/100","v":2.5028104},{"$f":"'DF raw data'!Y9/100","v":16.334102000000001},null,{"$f":"F4","v":20},{"$f":"F21","v":3.4744603666666669},{"$f":"G21","v":-6.3684341666666677}]
[-8,{"$f":"'DF raw data'!D10/100","v":7.715592},{"$f":"'DF raw data'!E10/100","v":8.3958594000000009},{"$f":"'DF raw data'!I10/100","v":5.2965526999999994},{"$f":"'DF raw data'!J10/100","v":4.7900780999999997},{"$f":"'DF raw data'!N10/100","v":-0.79957001000000005},{"$f":"'DF raw data'!O10/100","v":43.880907999999998},{"$f":"'DF raw data'!S10/100","v":-17.956808000000002},{"$f":"'DF raw data'!T10/100","v":29.645116999999999},{"$f":"'DF raw data'!X10/100","v":-1.3843321},{"$f":"'DF raw data'!Y10/100","v":14.106561999999998},null,{"$f":"H4","v":30},{"$f":"H21","v":-1.8276805666666665},{"$f":"I21","v":-2.5251953}]
[-6,{"$f":"'DF raw data'!D11/100","v":9.9234784000000005},{"$f":"'DF raw data'!E11/100","v":3.9305273000000001},{"$f":"'DF raw data'!I11/100","v":45.341425999999998},{"$f":"'DF raw data'!J11/100","v":6.7964453000000002},{"$f":"'DF raw data'!N11/100","v":36.758760000000002},{"$f":"'DF raw data'!O11/100","v":-23.045995999999999},{"$f":"'DF raw data'!S11/100","v":0.2127136},{"$f":"'DF raw data'!T11/100","v":15.742100000000001},{"$f":"'DF raw data'!X11/100","v":6.3964850000000002},{"$f":"'DF raw data'!Y11/100","v":-4.8747167999999999},null,{"$f":"J4","v":100},{"$f":"J21","v":-8.2263821000000004},{"$f":"K21","v":-6.5759862333333343}]
[-4,{"$f":"'DF raw data'!D12/100","v":6.2214526000000001},{"$f":"'DF raw data'!E12/100","v":3.0289452999999997},{"$f":"'DF raw data'!I12/100","v":-6.7392382999999993},{"$f":"'DF raw data'!J12/100","v":3.4474707000000002},{"$f":"'DF raw data'!N12/100","v":26.941016000000001},{"$f":"'DF raw data'!O12/100","v":40.257460999999999},{"$f":"'DF raw data'!S12/100","v":-16.592693999999998},{"$f":"'DF raw data'!T12/100","v":6.7952246000000001},{"$f":"'DF raw data'!X12/100","v":-12.125144000000001},{"$f":"'DF raw data'!Y12/100","v":13.31207}]
[-2,{"$f":"'DF raw data'!D13/100","v":6.3431078999999997},{"$f":"'DF raw data'!E13/100","v":-18.711973},{"$f":"'DF raw data'!I13/100","v":8.5428344999999997},{"$f":"'DF raw data'!J13/100","v":-20.217313999999998},{"$f":"'DF raw data'!N13/100","v":4.4441367000000005},{"$f":"'DF raw data'!O13/100","v":-25.204531000000003},{"$f":"'DF raw data'!S13/100","v":3.6769924999999999},{"$f":"'DF raw data'!T13/100","v":-8.0378515999999998},{"$f":"'DF raw data'!X13/100","v":-22.554045000000002},{"$f":"'DF raw data'!Y13/100","v":-19.016113000000001},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":6.1818530000000003},{"$f":"'DF raw data'!E14/100","v":-8.3300800000000008E-2},{"$f":"'DF raw data'!I14/100","v":-1.7418170000000002},{"$f":"'DF raw data'!J14/100","v":-7.4159180000000005},{"$f":"'DF raw data'!N14/100","v":-9.0570056000000001},{"$f":"'DF raw data'!O14/100","v":2.7217479999999998},{"$f":"'DF raw data'!S14/100","v":-7.1763329999999996},{"$f":"'DF raw data'!T14/100","v":6.7812597999999999},{"$f":"'DF raw data'!X14/100","v":-7.1910449000000005},{"$f":"'DF raw data'!Y14/100","v":9.6156542999999992},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":19.726313000000001},{"$f":"'DF raw data'!E15/100","v":-18.830186000000001},{"$f":"'DF raw data'!I15/100","v":1.9056061},{"$f":"'DF raw data'!J15/100","v":-8.3721387000000007},{"$f":"'DF raw data'!N15/100","v":15.036250000000001},{"$f":"'DF raw data'!O15/100","v":3.3774804999999999},{"$f":"'DF raw data'!S15/100","v":-1.9837011999999998},{"$f":"'DF raw data'!T15/100","v":-6.3189941000000003},{"$f":"'DF raw data'!X15/100","v":5.0659435999999998},{"$f":"'DF raw data'!Y15/100","v":-10.327500000000001},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":9.9905156999999996},{"$f":"'DF raw data'!E16/100","v":6.2285547000000001},{"$f":"'DF raw data'!I16/100","v":11.746597},{"$f":"'DF raw data'!J16/100","v":-7.4435937999999995},{"$f":"'DF raw data'!N16/100","v":-11.025174999999999},{"$f":"'DF raw data'!O16/100","v":-22.301210999999999},{"$f":"'DF raw data'!S16/100","v":-1.5011699999999999},{"$f":"'DF raw data'!T16/100","v":-22.324472999999998},{"$f":"'DF raw data'!X16/100","v":-32.637146000000001},{"$f":"'DF raw data'!Y16/100","v":1.4009082000000002}]
[6,{"$f":"'DF raw data'!D17/100","v":10.183209},{"$f":"'DF raw data'!E17/100","v":2.2850000000000001},{"$f":"'DF raw data'!I17/100","v":26.417847000000002},{"$f":"'DF raw data'!J17/100","v":-12.900136999999999},{"$f":"'DF raw data'!N17/100","v":-0.87893127000000004},{"$f":"'DF raw data'!O17/100","v":-0.1440234},{"$f":"'DF raw data'!S17/100","v":4.3484069999999999},{"$f":"'DF raw data'!T17/100","v":11.289921999999999},{"$f":"'DF raw data'!X17/100","v":-8.1015844999999995},{"$f":"'DF raw data'!Y17/100","v":-4.7352929999999995}]
[8,{"$f":"'DF raw data'!D18/100","v":-4.4376873999999997},{"$f":"'DF raw data'!E18/100","v":-16.378516000000001},{"$f":"'DF raw data'!I18/100","v":9.2916381999999995},{"$f":"'DF raw data'!J18/100","v":-1.5651758},{"$f":"'DF raw data'!N18/100","v":5.1790941999999998},{"$f":"'DF raw data'!O18/100","v":22.801698999999999},{"$f":"'DF raw data'!S18/100","v":0.48229801},{"$f":"'DF raw data'!T18/100","v":-6.1520605000000002},{"$f":"'DF raw data'!X18/100","v":-26.109575},{"$f":"'DF raw data'!Y18/100","v":10.663730000000001}]
[10,{"$f":"'DF raw data'!D19/100","v":-9.7588617000000006},{"$f":"'DF raw data'!E19/100","v":-12.283643},{"$f":"'DF raw data'!I19/100","v":0.39028289999999999},{"$f":"'DF raw data'!J19/100","v":-46.442216999999999},{"$f":"'DF raw data'!N19/100","v":-17.870961999999999},{"$f":"'DF raw data'!O19/100","v":1.7097069999999999},{"$f":"'DF raw data'!S19/100","v":0.78573577999999999},{"$f":"'DF raw data'!T19/100","v":-6.5480762000000006},{"$f":"'DF raw data'!X19/100","v":-16.303505999999999},{"$f":"'DF raw data'!Y19/100","v":-4.5326172000000007}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":895},null,{"$f":"'DF raw data'!G4","v":896},null,{"$f":"'DF raw data'!L4","v":897},null,{"$f":"'DF raw data'!Q4","v":898},null,{"$f":"'DF raw data'!V4","v":899}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":10.750424633333333},{"$f":"AVERAGE(C11:C13)","v":-12.541819933333334},2.9022078666666666,-12.001790233333333,3.4744603666666669,-6.3684341666666677,-1.8276805666666665,-2.5251953,-8.2263821000000004,-6.5759862333333343]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16330, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16330, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16330, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16330, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16330, 100 mm gap"]
["Date:","4. okt 2017","12:13:02",null,null,"Date:","4. okt 2017","11:47:30",null,null,"Date:","4. okt 2017","11:47:23",null,null,"Date:","4. okt 2017","11:47:11",null,null,"Date:","4. okt 2017","12:13:02"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",895,null,null,null,"Indice:",896,null,null,null,"Indice:",897,null,null,null,"Indice:",898,null,null,null,"Indice:",899]
["Background Indice:",895,null,null,null,"Background Indice:",896,null,null,null,"Background Indice:",897,null,null,null,"Background Indice:",898,null,null,null,"Background Indice:",899]
["Temperature:",21.16,null,null,null,"Temperature:",21.24,null,null,null,"Temperature:",21.23,null,null,null,"Temperature:",21.22,null,null,null,"Temperature:",21.3]
["Encoder:",17224150,null,null,null,"Encoder:",17204093,null,null,null,"Encoder:",17184074,null,null,null,"Encoder:",17144053,null,null,null,"Encoder:",16864123]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,5.6579598999999998,13.82804,1163.1665,2925.5664000000002,-1,2.0375098999999999,11.291119999999999,780.31140000000005,474.66503999999998,-1,3.0959001000000002,21.999780999999999,1233.6859999999999,2808.46,-1,1.68251,9.3210802000000008,1522.8209999999999,2310.8368999999998,-1,-5.5867700999999999,3.7236799999999999,250.28103999999999,1633.4102]
[-0.80000000999999998,8.8596201000000008,0.87040001,771.55920000000003,839.58594000000005,-0.80000000999999998,2.3882200999999998,-2.2479898999999999,529.65526999999997,479.00781000000001,-0.80000000999999998,10.730499999999999,3.1714101000000001,-79.957001000000005,4388.0907999999999,-0.80000000999999998,-6.7392000999999997,7.4569200999999996,-1795.6808000000001,2964.5117,-0.80000000999999998,2.0575098999999999,-6.6891898999999997,-138.43321,1410.6561999999999]
[-0.60000001999999997,10.784990000000001,-2.1799599999999999,992.34784000000002,393.05273,-0.60000001999999997,10.65615,0.95565999000000001,4534.1426000000001,679.64453000000003,-0.60000001999999997,11.43018,2.5111799000000001,3675.8760000000002,-2304.5996,-0.60000001999999997,5.0269499,3.33588,21.271360000000001,1574.21,-0.60000001999999997,-0.67370998999999998,-4.6674699999999998,639.64850000000001,-487.47167999999999]
[-0.40000001000000002,6.6353597999999998,-5.3675398999999997,622.14526000000001,302.89452999999997,-0.40000001000000002,3.3262100000000001,-2.8942899999999998,-673.92382999999995,344.74707000000001,-0.40000001000000002,14.54021,4.8312502000000004,2694.1016,4025.7460999999998,-0.40000001000000002,3.7313900000000002,-2.1403099999999999,-1659.2693999999999,679.52246000000002,-0.40000001000000002,-1.81925,-3.4309498999999999,-1212.5144,1331.2070000000001]
[-0.2,7.2935499999999998,-17.692309999999999,634.31079,-1871.1973,-0.2,8.3797197000000008,-12.354979999999999,854.28345000000002,-2021.7313999999999,-0.2,-1.22963,-14.654669999999999,444.41367000000002,-2520.4531000000002,-0.2,5.1352700999999996,-7.9253602000000001,367.69925000000001,-803.78516000000002,-0.2,-3.4511599999999998,-8.8262300000000007,-2255.4045000000001,-1901.6113]
[0,8.2783499000000003,-5.5769200000000003,618.18529999999998,-8.3300800000000006,0,5.8569198,-11.255409999999999,-174.18170000000001,-741.59180000000003,0,5.6734900000000001,-5.0703300999999996,-905.70056,272.1748,0,8.9804896999999997,-6.0728797999999999,-717.63329999999996,678.12598000000003,0,-0.24473998999999999,2.1230500000000001,-719.10449000000006,961.56542999999999]
[0.2,7.8704099999999997,-10.648160000000001,1972.6313,-1883.0186000000001,0.2,5.5125698999999999,-8.2994499000000008,190.56061,-837.21387000000004,0.2,6.7341699999999998,-9.6052399000000008,1503.625,337.74804999999998,0.2,8.8557796,-3.1476700000000002,-198.37011999999999,-631.89940999999999,0.2,2.4247301000000001,-10.20839,506.59435999999999,-1032.75]
[0.40000001000000002,5.5651202,-6.0557398999999998,999.05156999999997,622.85546999999997,0.40000001000000002,8.8413295999999999,-4.5451598000000004,1174.6596999999999,-744.35937999999999,0.40000001000000002,0.12248000000000001,-6.7560802000000004,-1102.5174999999999,-2230.1210999999998,0.40000001000000002,2.7345799999999998,-9.1289396000000007,-150.11699999999999,-2232.4472999999998,0.40000001000000002,-7.3831901999999996,-3.1585801,-3263.7145999999998,140.09082000000001]
[0.60000001999999997,8.5117197000000004,-4.3271598999999998,1018.3209000000001,228.5,0.60000001999999997,11.810449999999999,-4.5200901,2641.7847000000002,-1290.0137,0.60000001999999997,2.3947999000000002,-3.2078199000000001,-87.893127000000007,-14.402340000000001,0.60000001999999997,0.36081999999999997,-3.7999401000000002,434.84070000000003,1128.9921999999999,0.60000001999999997,0.84592003000000004,-3.5277699999999999,-810.15845000000002,-473.52929999999998]
[0.80000000999999998,3.64832,-12.402760000000001,-443.76873999999998,-1637.8516,0.80000000999999998,14.92759,-5.6414299000000003,929.16381999999999,-156.51758000000001,0.80000000999999998,0.97624999000000001,2.3734199999999999,517.90941999999995,2280.1698999999999,0.80000000999999998,3.3689599000000001,-7.4439200999999997,48.229801000000002,-615.20605,0.80000000999999998,-6.0647101000000001,-6.5399498999999999,-2610.9575,1066.373]
[1,-0.41016998999999998,-6.3117799999999997,-975.88616999999999,-1228.3643,1,4.0237898999999997,-22.21603,39.028289999999998,-4644.2217000000001,1,0.33333998999999997,-4.2173100000000003,-1787.0962,170.97069999999999,1,-1.0076801,-3.0196499999999999,78.573577999999998,-654.80762000000004,1,-5.9884700999999998,-4.3504500000000004,-1630.3506,-453.26172000000003]