{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":584,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":30,"n_cols":19,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
["HXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17920420},null,{"$f":"'DF raw data'!G7","v":17900372},null,{"$f":"'DF raw data'!L7","v":17880348},null,{"$f":"'DF raw data'!Q7","v":17840348},null,{"$f":"'DF raw data'!V7","v":17560356},null,null,{"$f":"B4","v":10},{"$f":"B21","v":9.2190329666666671},{"$f":"C21","v":6.7260733666666672},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":12.390352933333334},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":12.525740103333334}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":4.9696299366666663},{"$f":"E21","v":2.0641399666666671},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":12.390352933333334},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":16.481313366666669}]
[-10,{"$f":"'DF raw data'!B9","v":3.3337300000000001},{"$f":"'DF raw data'!C9","v":3.8145001000000001},{"$f":"'DF raw data'!G9","v":-0.31319999999999998},{"$f":"'DF raw data'!H9","v":-15.0379},{"$f":"'DF raw data'!L9","v":-3.7119601000000002},{"$f":"'DF raw data'!M9","v":-5.7989702000000003},{"$f":"'DF raw data'!Q9","v":-10.13105},{"$f":"'DF raw data'!R9","v":-4.9706302000000004},{"$f":"'DF raw data'!V9","v":-2.9124300000000001},{"$f":"'DF raw data'!W9","v":-5.7633099999999997},null,{"$f":"F4","v":20},{"$f":"F21","v":2.6169166666666661},{"$f":"G21","v":-2.8698200566666667}]
[-8,{"$f":"'DF raw data'!B10","v":2.7132000999999999},{"$f":"'DF raw data'!C10","v":-6.5050602},{"$f":"'DF raw data'!G10","v":7.3004999000000002},{"$f":"'DF raw data'!H10","v":3.7442500999999999},{"$f":"'DF raw data'!L10","v":-0.92711997000000002},{"$f":"'DF raw data'!M10","v":-8.8398398999999994},{"$f":"'DF raw data'!Q10","v":-4.9470801},{"$f":"'DF raw data'!R10","v":-18.097989999999999},{"$f":"'DF raw data'!V10","v":3.3175298999999998},{"$f":"'DF raw data'!W10","v":-4.6098299000000003},null,{"$f":"H4","v":30},{"$f":"H21","v":-3.1713199666666667},{"$f":"I21","v":-5.7996667366666665},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":7.8431401000000003},{"$f":"'DF raw data'!C11","v":1.4693799999999999},{"$f":"'DF raw data'!G11","v":6.2214498999999996},{"$f":"'DF raw data'!H11","v":-2.9681498999999998},{"$f":"'DF raw data'!L11","v":1.4260999999999999},{"$f":"'DF raw data'!M11","v":-4.6657200000000003},{"$f":"'DF raw data'!Q11","v":-8.1794595999999995},{"$f":"'DF raw data'!R11","v":-8.0549201999999998},{"$f":"'DF raw data'!V11","v":3.0869901},{"$f":"'DF raw data'!W11","v":-3.3153000000000001},null,{"$f":"J4","v":100},{"$f":"J21","v":-2.3497567399999997},{"$f":"K21","v":-9.7552400000000006},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":9.4720096999999992},{"$f":"'DF raw data'!C12","v":-7.3101702},{"$f":"'DF raw data'!G12","v":0.87407999999999997},{"$f":"'DF raw data'!H12","v":-3.3120999000000002},{"$f":"'DF raw data'!L12","v":0.54518997999999996},{"$f":"'DF raw data'!M12","v":-3.7056998999999999},{"$f":"'DF raw data'!Q12","v":4.6505599000000002},{"$f":"'DF raw data'!R12","v":-7.4156699000000001},{"$f":"'DF raw data'!V12","v":-1.57121},{"$f":"'DF raw data'!W12","v":3.6183100000000001},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":6.4375},{"$f":"'DF raw data'!C13","v":5.5092300999999999},{"$f":"'DF raw data'!G13","v":8.6352796999999999},{"$f":"'DF raw data'!H13","v":-6.8171600999999997},{"$f":"'DF raw data'!L13","v":10.148569999999999},{"$f":"'DF raw data'!M13","v":-4.3604202000000001},{"$f":"'DF raw data'!Q13","v":-1.5072401},{"$f":"'DF raw data'!R13","v":-9.4195899999999995},{"$f":"'DF raw data'!V13","v":0.90399998000000004},{"$f":"'DF raw data'!W13","v":-13.551069999999999},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":20.189619},{"$f":"'DF raw data'!C14","v":16.581469999999999},{"$f":"'DF raw data'!G14","v":5.8343501},{"$f":"'DF raw data'!H14","v":11.240270000000001},{"$f":"'DF raw data'!L14","v":-0.94176000000000004},{"$f":"'DF raw data'!M14","v":-5.1207700000000003},{"$f":"'DF raw data'!Q14","v":-4.2726898000000002},{"$f":"'DF raw data'!R14","v":-0.41115001000000001},{"$f":"'DF raw data'!V14","v":-5.0324701999999997},{"$f":"'DF raw data'!W14","v":-3.9120699999999999},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":1.0299799000000001},{"$f":"'DF raw data'!C15","v":-1.91248},{"$f":"'DF raw data'!G15","v":0.43926000999999998},{"$f":"'DF raw data'!H15","v":1.7693099999999999},{"$f":"'DF raw data'!L15","v":-1.35606},{"$f":"'DF raw data'!M15","v":0.87173003000000004},{"$f":"'DF raw data'!Q15","v":-3.7340300000000002},{"$f":"'DF raw data'!R15","v":-7.5682602000000001},{"$f":"'DF raw data'!V15","v":-2.9207999999999998},{"$f":"'DF raw data'!W15","v":-11.802580000000001},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":4.9238200000000001},{"$f":"'DF raw data'!C16","v":12.850630000000001},{"$f":"'DF raw data'!G16","v":4.5722499000000001},{"$f":"'DF raw data'!H16","v":6.0609598},{"$f":"'DF raw data'!L16","v":-0.94664000999999998},{"$f":"'DF raw data'!M16","v":4.7603502000000004},{"$f":"'DF raw data'!Q16","v":-3.3723900000000002},{"$f":"'DF raw data'!R16","v":-2.06094},{"$f":"'DF raw data'!V16","v":-5.7137298999999997},{"$f":"'DF raw data'!W16","v":-4.7645701999999996}]
[6,{"$f":"'DF raw data'!B17","v":3.2490201000000001},{"$f":"'DF raw data'!C17","v":-2.4354898999999999},{"$f":"'DF raw data'!G17","v":-1.4361900000000001},{"$f":"'DF raw data'!H17","v":11.12711},{"$f":"'DF raw data'!L17","v":-3.8475201000000001},{"$f":"'DF raw data'!M17","v":5.7186399000000003},{"$f":"'DF raw data'!Q17","v":-17.677119999999999},{"$f":"'DF raw data'!R17","v":-4.5579599999999996},{"$f":"'DF raw data'!V17","v":-4.6829700000000001},{"$f":"'DF raw data'!W17","v":-10.439170000000001}]
[8,{"$f":"'DF raw data'!B18","v":-4.6434999000000001},{"$f":"'DF raw data'!C18","v":9.7131595999999991},{"$f":"'DF raw data'!G18","v":2.1810399999999999},{"$f":"'DF raw data'!H18","v":4.4311600000000002},{"$f":"'DF raw data'!L18","v":0.25968998999999998},{"$f":"'DF raw data'!M18","v":1.1495500000000001},{"$f":"'DF raw data'!Q18","v":-10.60717},{"$f":"'DF raw data'!R18","v":-8.8159799999999997},{"$f":"'DF raw data'!V18","v":-1.49326},{"$f":"'DF raw data'!W18","v":-9.8024702000000001}]
[10,{"$f":"'DF raw data'!B19","v":7.0416898999999997},{"$f":"'DF raw data'!C19","v":15.55439},{"$f":"'DF raw data'!G19","v":-4.2859802},{"$f":"'DF raw data'!H19","v":-6.5613197999999997},{"$f":"'DF raw data'!L19","v":-5.4134498000000004},{"$f":"'DF raw data'!M19","v":2.0889598999999999},{"$f":"'DF raw data'!Q19","v":-7.4750699999999997},{"$f":"'DF raw data'!R19","v":-5.5238699999999996},{"$f":"'DF raw data'!V19","v":-7.4725498999999997},{"$f":"'DF raw data'!W19","v":-4.3966197999999999}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":952},null,{"$f":"'DF raw data'!G4","v":948},null,{"$f":"'DF raw data'!L4","v":949},null,{"$f":"'DF raw data'!Q4","v":950},null,{"$f":"'DF raw data'!V4","v":951}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":9.2190329666666671},{"$f":"AVERAGE(C11:C13)","v":6.7260733666666672},4.9696299366666663,2.0641399666666671,2.6169166666666661,-2.8698200566666667,-3.1713199666666667,-5.7996667366666665,-2.3497567399999997,-9.7552400000000006]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null," "]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["HXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17920420},null,{"$f":"'DF raw data'!G7","v":17900372},null,{"$f":"'DF raw data'!L7","v":17880348},null,{"$f":"'DF raw data'!Q7","v":17840348},null,{"$f":"'DF raw data'!V7","v":17560356},null,null,{"$f":"B4","v":10},{"$f":"B21","v":29.963832333333333},{"$f":"C21","v":7.2601725400000001},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":17.929767529999999},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":17.261777373333334}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":12.034064803333331},{"$f":"E21","v":-10.001604833333333},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":17.929767529999999},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":25.397825539999999}]
[-10,{"$f":"'DF raw data'!D9/100","v":22.370916000000001},{"$f":"'DF raw data'!E9/100","v":9.9795800999999997},{"$f":"'DF raw data'!I9/100","v":53.651943000000003},{"$f":"'DF raw data'!J9/100","v":-31.762372999999997},{"$f":"'DF raw data'!N9/100","v":25.503291000000001},{"$f":"'DF raw data'!O9/100","v":8.6919237999999996},{"$f":"'DF raw data'!S9/100","v":2.2236823000000001},{"$f":"'DF raw data'!T9/100","v":-7.4297852000000004},{"$f":"'DF raw data'!X9/100","v":5.7579224},{"$f":"'DF raw data'!Y9/100","v":-11.993008},null,{"$f":"F4","v":20},{"$f":"F21","v":13.660489366666667},{"$f":"G21","v":-5.8106642000000006}]
[-8,{"$f":"'DF raw data'!D10/100","v":9.0642206000000005},{"$f":"'DF raw data'!E10/100","v":11.398965},{"$f":"'DF raw data'!I10/100","v":7.5250298999999998},{"$f":"'DF raw data'!J10/100","v":9.4413964999999997},{"$f":"'DF raw data'!N10/100","v":5.4573041},{"$f":"'DF raw data'!O10/100","v":0.77678711000000011},{"$f":"'DF raw data'!S10/100","v":0.53598720999999994},{"$f":"'DF raw data'!T10/100","v":-22.311934000000001},{"$f":"'DF raw data'!X10/100","v":39.416912000000004},{"$f":"'DF raw data'!Y10/100","v":-0.74583977000000001},null,{"$f":"H4","v":30},{"$f":"H21","v":12.5672493},{"$f":"I21","v":-9.3280565666666675}]
[-6,{"$f":"'DF raw data'!D11/100","v":49.300370999999998},{"$f":"'DF raw data'!E11/100","v":-5.8728809000000002},{"$f":"'DF raw data'!I11/100","v":16.402416000000002},{"$f":"'DF raw data'!J11/100","v":-16.825429999999997},{"$f":"'DF raw data'!N11/100","v":12.509024999999999},{"$f":"'DF raw data'!O11/100","v":-16.705332000000002},{"$f":"'DF raw data'!S11/100","v":25.030439000000001},{"$f":"'DF raw data'!T11/100","v":-36.199131000000001},{"$f":"'DF raw data'!X11/100","v":12.558596},{"$f":"'DF raw data'!Y11/100","v":-27.430868999999998},null,{"$f":"J4","v":100},{"$f":"J21","v":12.598492900000002},{"$f":"K21","v":-18.137653}]
[-4,{"$f":"'DF raw data'!D12/100","v":3.451203},{"$f":"'DF raw data'!E12/100","v":-22.343574},{"$f":"'DF raw data'!I12/100","v":-5.8030211999999999},{"$f":"'DF raw data'!J12/100","v":3.4723926000000001},{"$f":"'DF raw data'!N12/100","v":-7.4239484000000004},{"$f":"'DF raw data'!O12/100","v":4.6902051},{"$f":"'DF raw data'!S12/100","v":-0.26045838999999998},{"$f":"'DF raw data'!T12/100","v":-1.3515625},{"$f":"'DF raw data'!X12/100","v":-3.1795517000000002},{"$f":"'DF raw data'!Y12/100","v":13.994248000000001}]
[-2,{"$f":"'DF raw data'!D13/100","v":25.499364999999997},{"$f":"'DF raw data'!E13/100","v":17.805292999999999},{"$f":"'DF raw data'!I13/100","v":15.919784999999999},{"$f":"'DF raw data'!J13/100","v":-41.334004000000007},{"$f":"'DF raw data'!N13/100","v":34.868755},{"$f":"'DF raw data'!O13/100","v":-4.1734473000000003},{"$f":"'DF raw data'!S13/100","v":15.048003000000001},{"$f":"'DF raw data'!T13/100","v":-11.104258},{"$f":"'DF raw data'!X13/100","v":18.588447000000002},{"$f":"'DF raw data'!Y13/100","v":-19.565293},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":51.145757000000003},{"$f":"'DF raw data'!E14/100","v":-0.74545897999999999},{"$f":"'DF raw data'!I14/100","v":-0.35052059000000002},{"$f":"'DF raw data'!J14/100","v":7.2739844000000007},{"$f":"'DF raw data'!N14/100","v":-5.5691198999999996},{"$f":"'DF raw data'!O14/100","v":-16.438057000000001},{"$f":"'DF raw data'!S14/100","v":6.6073999000000008},{"$f":"'DF raw data'!T14/100","v":-6.0444727},{"$f":"'DF raw data'!X14/100","v":5.2032836999999992},{"$f":"'DF raw data'!Y14/100","v":-12.497559000000001},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":13.246375},{"$f":"'DF raw data'!E15/100","v":4.7206836000000001},{"$f":"'DF raw data'!I15/100","v":20.53293},{"$f":"'DF raw data'!J15/100","v":4.0552051000000002},{"$f":"'DF raw data'!N15/100","v":11.681832999999999},{"$f":"'DF raw data'!O15/100","v":3.1795116999999999},{"$f":"'DF raw data'!S15/100","v":16.046344999999999},{"$f":"'DF raw data'!T15/100","v":-10.835438999999999},{"$f":"'DF raw data'!X15/100","v":14.003748},{"$f":"'DF raw data'!Y15/100","v":-22.350106999999998},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":17.085834999999999},{"$f":"'DF raw data'!E16/100","v":29.446649999999998},{"$f":"'DF raw data'!I16/100","v":16.4129},{"$f":"'DF raw data'!J16/100","v":-10.819872999999999},{"$f":"'DF raw data'!N16/100","v":9.7256432999999998},{"$f":"'DF raw data'!O16/100","v":5.3147069999999994},{"$f":"'DF raw data'!S16/100","v":1.8365277},{"$f":"'DF raw data'!T16/100","v":2.0775586000000001},{"$f":"'DF raw data'!X16/100","v":6.5285449000000009},{"$f":"'DF raw data'!Y16/100","v":-11.205703000000002}]
[6,{"$f":"'DF raw data'!D17/100","v":5.2535388000000003},{"$f":"'DF raw data'!E17/100","v":-17.338711},{"$f":"'DF raw data'!I17/100","v":0.98228271000000011},{"$f":"'DF raw data'!J17/100","v":38.484434},{"$f":"'DF raw data'!N17/100","v":-2.4588923999999999},{"$f":"'DF raw data'!O17/100","v":11.932792999999998},{"$f":"'DF raw data'!S17/100","v":-11.204457},{"$f":"'DF raw data'!T17/100","v":0.15777340000000001},{"$f":"'DF raw data'!X17/100","v":-3.9528802000000001},{"$f":"'DF raw data'!Y17/100","v":-5.0624608999999996}]
[8,{"$f":"'DF raw data'!D18/100","v":8.9927349999999997},{"$f":"'DF raw data'!E18/100","v":10.092666000000001},{"$f":"'DF raw data'!I18/100","v":3.2018142999999997},{"$f":"'DF raw data'!J18/100","v":-0.63759768999999999},{"$f":"'DF raw data'!N18/100","v":-7.0546033000000001},{"$f":"'DF raw data'!O18/100","v":0.34791988000000001},{"$f":"'DF raw data'!S18/100","v":-13.453864000000001},{"$f":"'DF raw data'!T18/100","v":-37.452510000000004},{"$f":"'DF raw data'!X18/100","v":-2.5133376000000003},{"$f":"'DF raw data'!Y18/100","v":-12.976182}]
[10,{"$f":"'DF raw data'!D19/100","v":14.663965000000001},{"$f":"'DF raw data'!E19/100","v":14.633096},{"$f":"'DF raw data'!I19/100","v":-12.794513999999999},{"$f":"'DF raw data'!J19/100","v":-5.4641405999999995},{"$f":"'DF raw data'!N19/100","v":5.7448907},{"$f":"'DF raw data'!O19/100","v":1.6736621},{"$f":"'DF raw data'!S19/100","v":-2.3817963},{"$f":"'DF raw data'!T19/100","v":-5.8253905999999995},{"$f":"'DF raw data'!X19/100","v":-9.5948053000000009},{"$f":"'DF raw data'!Y19/100","v":4.8589647999999999}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":952},null,{"$f":"'DF raw data'!G4","v":948},null,{"$f":"'DF raw data'!L4","v":949},null,{"$f":"'DF raw data'!Q4","v":950},null,{"$f":"'DF raw data'!V4","v":951}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":29.963832333333333},{"$f":"AVERAGE(C11:C13)","v":7.2601725400000001},12.034064803333331,-10.001604833333333,13.660489366666667,-5.8106642000000006,12.5672493,-9.3280565666666675,12.598492900000002,-18.137653]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16482, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16482, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16482, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16482, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16482, 100 mm gap"]
["Date:","6. dec 2017","11:19:51",null,null,"Date:","6. dec 2017","10:23:42",null,null,"Date:","6. dec 2017","10:36:57",null,null,"Date:","6. dec 2017","11:19:52",null,null,"Date:","6. dec 2017","11:33:12"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",952,null,null,null,"Indice:",948,null,null,null,"Indice:",949,null,null,null,"Indice:",950,null,null,null,"Indice:",951]
["Background Indice:",952,null,null,null,"Background Indice:",948,null,null,null,"Background Indice:",949,null,null,null,"Background Indice:",950,null,null,null,"Background Indice:",951]
["Temperature:",23.51,null,null,null,"Temperature:",23.29,null,null,null,"Temperature:",23.36,null,null,null,"Temperature:",23.42,null,null,null,"Temperature:",23.47]
["Encoder:",17920420,null,null,null,"Encoder:",17900372,null,null,null,"Encoder:",17880348,null,null,null,"Encoder:",17840348,null,null,null,"Encoder:",17560356]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,3.3337300000000001,3.8145001000000001,2237.0916000000002,997.95800999999994,-1,-0.31319999999999998,-15.0379,5365.1943000000001,-3176.2372999999998,-1,-3.7119601000000002,-5.7989702000000003,2550.3290999999999,869.19237999999996,-1,-10.13105,-4.9706302000000004,222.36823000000001,-742.97852,-1,-2.9124300000000001,-5.7633099999999997,575.79223999999999,-1199.3008]
[-0.80000000999999998,2.7132000999999999,-6.5050602,906.42205999999999,1139.8965000000001,-0.80000000999999998,7.3004999000000002,3.7442500999999999,752.50298999999995,944.13964999999996,-0.80000000999999998,-0.92711997000000002,-8.8398398999999994,545.73041000000001,77.678711000000007,-0.80000000999999998,-4.9470801,-18.097989999999999,53.598720999999998,-2231.1934000000001,-0.80000000999999998,3.3175298999999998,-4.6098299000000003,3941.6912000000002,-74.583977000000004]
[-0.60000001999999997,7.8431401000000003,1.4693799999999999,4930.0370999999996,-587.28809000000001,-0.60000001999999997,6.2214498999999996,-2.9681498999999998,1640.2416000000001,-1682.5429999999999,-0.60000001999999997,1.4260999999999999,-4.6657200000000003,1250.9024999999999,-1670.5332000000001,-0.60000001999999997,-8.1794595999999995,-8.0549201999999998,2503.0439000000001,-3619.9131000000002,-0.60000001999999997,3.0869901,-3.3153000000000001,1255.8596,-2743.0868999999998]
[-0.40000001000000002,9.4720096999999992,-7.3101702,345.12029999999999,-2234.3573999999999,-0.40000001000000002,0.87407999999999997,-3.3120999000000002,-580.30211999999995,347.23926,-0.40000001000000002,0.54518997999999996,-3.7056998999999999,-742.39484000000004,469.02051,-0.40000001000000002,4.6505599000000002,-7.4156699000000001,-26.045839000000001,-135.15625,-0.40000001000000002,-1.57121,3.6183100000000001,-317.95517000000001,1399.4248]
[-0.2,6.4375,5.5092300999999999,2549.9364999999998,1780.5292999999999,-0.2,8.6352796999999999,-6.8171600999999997,1591.9784999999999,-4133.4004000000004,-0.2,10.148569999999999,-4.3604202000000001,3486.8755000000001,-417.34473000000003,-0.2,-1.5072401,-9.4195899999999995,1504.8003000000001,-1110.4258,-0.2,0.90399998000000004,-13.551069999999999,1858.8447000000001,-1956.5292999999999]
[0,20.189619,16.581469999999999,5114.5757000000003,-74.545897999999994,0,5.8343501,11.240270000000001,-35.052059,727.39844000000005,0,-0.94176000000000004,-5.1207700000000003,-556.91198999999995,-1643.8056999999999,0,-4.2726898000000002,-0.41115001000000001,660.73999000000003,-604.44727,0,-5.0324701999999997,-3.9120699999999999,520.32836999999995,-1249.7559000000001]
[0.2,1.0299799000000001,-1.91248,1324.6375,472.06835999999998,0.2,0.43926000999999998,1.7693099999999999,2053.2930000000001,405.52051,0.2,-1.35606,0.87173003000000004,1168.1832999999999,317.95116999999999,0.2,-3.7340300000000002,-7.5682602000000001,1604.6344999999999,-1083.5438999999999,0.2,-2.9207999999999998,-11.802580000000001,1400.3748000000001,-2235.0106999999998]
[0.40000001000000002,4.9238200000000001,12.850630000000001,1708.5835,2944.665,0.40000001000000002,4.5722499000000001,6.0609598,1641.29,-1081.9873,0.40000001000000002,-0.94664000999999998,4.7603502000000004,972.56433000000004,531.47069999999997,0.40000001000000002,-3.3723900000000002,-2.06094,183.65277,207.75586000000001,0.40000001000000002,-5.7137298999999997,-4.7645701999999996,652.85449000000006,-1120.5703000000001]
[0.60000001999999997,3.2490201000000001,-2.4354898999999999,525.35388,-1733.8711000000001,0.60000001999999997,-1.4361900000000001,11.12711,98.228271000000007,3848.4434000000001,0.60000001999999997,-3.8475201000000001,5.7186399000000003,-245.88924,1193.2792999999999,0.60000001999999997,-17.677119999999999,-4.5579599999999996,-1120.4457,15.777340000000001,0.60000001999999997,-4.6829700000000001,-10.439170000000001,-395.28802000000002,-506.24608999999998]
[0.80000000999999998,-4.6434999000000001,9.7131595999999991,899.27350000000001,1009.2666,0.80000000999999998,2.1810399999999999,4.4311600000000002,320.18142999999998,-63.759768999999999,0.80000000999999998,0.25968998999999998,1.1495500000000001,-705.46033,34.791988000000003,0.80000000999999998,-10.60717,-8.8159799999999997,-1345.3864000000001,-3745.2510000000002,0.80000000999999998,-1.49326,-9.8024702000000001,-251.33376000000001,-1297.6181999999999]
[1,7.0416898999999997,15.55439,1466.3965000000001,1463.3096,1,-4.2859802,-6.5613197999999997,-1279.4513999999999,-546.41405999999995,1,-5.4134498000000004,2.0889598999999999,574.48906999999997,167.36621,1,-7.4750699999999997,-5.5238699999999996,-238.17963,-582.53905999999995,1,-7.4725498999999997,-4.3966197999999999,-959.48053000000004,485.89648]