{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":25,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["SXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":390654},null,{"$f":"'DF raw data'!G7","v":491207},null,{"$f":"'DF raw data'!L7","v":591547},null,{"$f":"'DF raw data'!Q7","v":791798},null,{"$f":"'DF raw data'!V7","v":2191892},null,null,{"$f":"B4","v":10},{"$f":"B21","v":0.3527566333333334},{"$f":"C21","v":-6.3122900333333334},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":5.0966899999999997},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":14.264863466666668}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":-1.5601533633333335},{"$f":"E21","v":4.6046067666666666},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":10.118886669999998},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":21.400350366666665}]
[-10,{"$f":"'DF raw data'!B9","v":3.0710299000000001},{"$f":"'DF raw data'!C9","v":14.1172},{"$f":"'DF raw data'!G9","v":-7.9129901},{"$f":"'DF raw data'!H9","v":15.96238},{"$f":"'DF raw data'!L9","v":-3.7927799000000002},{"$f":"'DF raw data'!M9","v":0.93459999999999999},{"$f":"'DF raw data'!Q9","v":-0.60714000000000001},{"$f":"'DF raw data'!R9","v":12.43126},{"$f":"'DF raw data'!V9","v":-4.3809500000000003},{"$f":"'DF raw data'!W9","v":12.251989999999999},null,{"$f":"F4","v":20},{"$f":"F21","v":-0.90272999999999992},{"$f":"G21","v":2.2807233999999998}]
[-8,{"$f":"'DF raw data'!B10","v":-1.8430901},{"$f":"'DF raw data'!C10","v":15.271369999999999},{"$f":"'DF raw data'!G10","v":-7.5529900000000003},{"$f":"'DF raw data'!H10","v":13.44891},{"$f":"'DF raw data'!L10","v":-6.1509499999999999},{"$f":"'DF raw data'!M10","v":13.3062},{"$f":"'DF raw data'!Q10","v":-8.5331496999999992},{"$f":"'DF raw data'!R10","v":12.64489},{"$f":"'DF raw data'!V10","v":5.4776802},{"$f":"'DF raw data'!W10","v":11.54232},null,{"$f":"H4","v":30},{"$f":"H21","v":-4.7439333666666661},{"$f":"I21","v":7.9525734333333338},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":5.5285602000000003},{"$f":"'DF raw data'!C11","v":12.123279999999999},{"$f":"'DF raw data'!G11","v":1.4496199999999999},{"$f":"'DF raw data'!H11","v":8.8261298999999998},{"$f":"'DF raw data'!L11","v":-5.2717299000000004},{"$f":"'DF raw data'!M11","v":6.6546202000000001},{"$f":"'DF raw data'!Q11","v":-4.8654900000000003},{"$f":"'DF raw data'!R11","v":11.50206},{"$f":"'DF raw data'!V11","v":11.001099999999999},{"$f":"'DF raw data'!W11","v":12.157920000000001},null,{"$f":"J4","v":100},{"$f":"J21","v":5.3749533033333323},{"$f":"K21","v":15.088060333333333},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":-1.2409699999999999},{"$f":"'DF raw data'!C12","v":3.9584000000000001},{"$f":"'DF raw data'!G12","v":-9.7849903000000005},{"$f":"'DF raw data'!H12","v":-7.6770000000000005E-2},{"$f":"'DF raw data'!L12","v":-11.257669999999999},{"$f":"'DF raw data'!M12","v":10.50098},{"$f":"'DF raw data'!Q12","v":-12.66234},{"$f":"'DF raw data'!R12","v":10.7821},{"$f":"'DF raw data'!V12","v":-2.9430000999999999},{"$f":"'DF raw data'!W12","v":11.599679999999999},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":2.7016599000000001},{"$f":"'DF raw data'!C13","v":-8.6813002000000008},{"$f":"'DF raw data'!G13","v":0.26846001000000003},{"$f":"'DF raw data'!H13","v":9.1762599999999992},{"$f":"'DF raw data'!L13","v":1.4227700000000001},{"$f":"'DF raw data'!M13","v":12.06725},{"$f":"'DF raw data'!Q13","v":-11.35689},{"$f":"'DF raw data'!R13","v":8.0131502000000001},{"$f":"'DF raw data'!V13","v":11.04452},{"$f":"'DF raw data'!W13","v":5.3584800000000001},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":-1.8672},{"$f":"'DF raw data'!C14","v":-0.28371000000000002},{"$f":"'DF raw data'!G14","v":-3.26647},{"$f":"'DF raw data'!H14","v":-1.1280299},{"$f":"'DF raw data'!L14","v":0.58923000000000003},{"$f":"'DF raw data'!M14","v":-8.0131998000000006},{"$f":"'DF raw data'!Q14","v":-3.7902901},{"$f":"'DF raw data'!R14","v":4.7419900999999998},{"$f":"'DF raw data'!V14","v":5.2432898999999997},{"$f":"'DF raw data'!W14","v":18.108891},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":0.22381000000000001},{"$f":"'DF raw data'!C15","v":-9.9718599000000001},{"$f":"'DF raw data'!G15","v":-1.6824501000000001},{"$f":"'DF raw data'!H15","v":5.7655902000000001},{"$f":"'DF raw data'!L15","v":-4.7201899999999997},{"$f":"'DF raw data'!M15","v":2.7881200000000002},{"$f":"'DF raw data'!Q15","v":0.91537999999999997},{"$f":"'DF raw data'!R15","v":11.10258},{"$f":"'DF raw data'!V15","v":-0.16294998999999999},{"$f":"'DF raw data'!W15","v":21.796810000000001},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":-4.1837901999999998},{"$f":"'DF raw data'!C16","v":-21.245199},{"$f":"'DF raw data'!G16","v":-6.3588300000000002},{"$f":"'DF raw data'!H16","v":-9.0762701000000003},{"$f":"'DF raw data'!L16","v":-9.1557198},{"$f":"'DF raw data'!M16","v":-0.19299000999999999},{"$f":"'DF raw data'!Q16","v":-4.3074002},{"$f":"'DF raw data'!R16","v":2.8747598999999999},{"$f":"'DF raw data'!V16","v":6.07233},{"$f":"'DF raw data'!W16","v":16.162821000000001}]
[6,{"$f":"'DF raw data'!B17","v":2.6997499},{"$f":"'DF raw data'!C17","v":-22.309629000000001},{"$f":"'DF raw data'!G17","v":1.48552},{"$f":"'DF raw data'!H17","v":-5.0335001999999998},{"$f":"'DF raw data'!L17","v":-2.8437600000000001},{"$f":"'DF raw data'!M17","v":1.9081300000000001},{"$f":"'DF raw data'!Q17","v":-2.9685800000000002},{"$f":"'DF raw data'!R17","v":11.074170000000001},{"$f":"'DF raw data'!V17","v":7.6628999999999996},{"$f":"'DF raw data'!W17","v":17.116479999999999}]
[8,{"$f":"'DF raw data'!B18","v":-8.0163898000000007},{"$f":"'DF raw data'!C18","v":-3.8277700000000001},{"$f":"'DF raw data'!G18","v":-8.0990801000000001},{"$f":"'DF raw data'!H18","v":5.3305601999999999},{"$f":"'DF raw data'!L18","v":-8.2860402999999998},{"$f":"'DF raw data'!M18","v":10.31982},{"$f":"'DF raw data'!Q18","v":-10.4899},{"$f":"'DF raw data'!R18","v":15.161210000000001},{"$f":"'DF raw data'!V18","v":7.5964898999999999},{"$f":"'DF raw data'!W18","v":26.957160999999999}]
[10,{"$f":"'DF raw data'!B19","v":-11.29086},{"$f":"'DF raw data'!C19","v":-9.9318304000000008},{"$f":"'DF raw data'!G19","v":-6.8685001999999997},{"$f":"'DF raw data'!H19","v":0.70161998000000003},{"$f":"'DF raw data'!L19","v":-8.6202001999999993},{"$f":"'DF raw data'!M19","v":5.7571301000000004},{"$f":"'DF raw data'!Q19","v":-4.7760501},{"$f":"'DF raw data'!R19","v":11.88073},{"$f":"'DF raw data'!V19","v":10.7316},{"$f":"'DF raw data'!W19","v":15.50939}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":194},null,{"$f":"'DF raw data'!G4","v":195},null,{"$f":"'DF raw data'!L4","v":196},null,{"$f":"'DF raw data'!Q4","v":197},null,{"$f":"'DF raw data'!V4","v":199}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":0.3527566333333334},{"$f":"AVERAGE(C11:C13)","v":-6.3122900333333334},-1.5601533633333335,4.6046067666666666,-0.90272999999999992,2.2807233999999998,-4.7439333666666661,7.9525734333333338,5.3749533033333323,15.088060333333333]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["SXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":390654},null,{"$f":"'DF raw data'!G7","v":491207},null,{"$f":"'DF raw data'!L7","v":591547},null,{"$f":"'DF raw data'!Q7","v":791798},null,{"$f":"'DF raw data'!V7","v":2191892},null,null,{"$f":"B4","v":10},{"$f":"B21","v":-6.2341763000000006},{"$f":"C21","v":-0.26759773333333331},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":13.066091699999998},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":25.1825714}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":-15.668354433333334},{"$f":"E21","v":24.914973666666668},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":13.066091699999998},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":32.116250166666667}]
[-10,{"$f":"'DF raw data'!D9/100","v":-21.667323999999997},{"$f":"'DF raw data'!E9/100","v":35.016064},{"$f":"'DF raw data'!I9/100","v":-50.208114999999999},{"$f":"'DF raw data'!J9/100","v":62.234530999999997},{"$f":"'DF raw data'!N9/100","v":-30.107485},{"$f":"'DF raw data'!O9/100","v":17.194306999999998},{"$f":"'DF raw data'!S9/100","v":-22.539092},{"$f":"'DF raw data'!T9/100","v":28.502528999999999},{"$f":"'DF raw data'!X9/100","v":-28.046188999999998},{"$f":"'DF raw data'!Y9/100","v":16.833065999999999},null,{"$f":"F4","v":20},{"$f":"F21","v":-19.300267999999999},{"$f":"G21","v":9.2908559999999998}]
[-8,{"$f":"'DF raw data'!D10/100","v":-24.478926000000001},{"$f":"'DF raw data'!E10/100","v":41.194268000000001},{"$f":"'DF raw data'!I10/100","v":-13.916541},{"$f":"'DF raw data'!J10/100","v":40.551758},{"$f":"'DF raw data'!N10/100","v":-28.468281000000001},{"$f":"'DF raw data'!O10/100","v":49.633154000000005},{"$f":"'DF raw data'!S10/100","v":-16.565045999999999},{"$f":"'DF raw data'!T10/100","v":54.219736000000005},{"$f":"'DF raw data'!X10/100","v":5.1390612999999998},{"$f":"'DF raw data'!Y10/100","v":36.009805},null,{"$f":"H4","v":30},{"$f":"H21","v":-17.188941933333332},{"$f":"I21","v":19.189570499999999}]
[-6,{"$f":"'DF raw data'!D11/100","v":-4.0989740000000001},{"$f":"'DF raw data'!E11/100","v":30.024979999999999},{"$f":"'DF raw data'!I11/100","v":1.8087717000000001},{"$f":"'DF raw data'!J11/100","v":28.459101999999998},{"$f":"'DF raw data'!N11/100","v":-29.103445000000001},{"$f":"'DF raw data'!O11/100","v":38.878495999999998},{"$f":"'DF raw data'!S11/100","v":25.784787999999999},{"$f":"'DF raw data'!T11/100","v":36.923144999999998},{"$f":"'DF raw data'!X11/100","v":1.5243857000000001},{"$f":"'DF raw data'!Y11/100","v":27.499180000000003},null,{"$f":"J4","v":100},{"$f":"J21","v":-6.9750416666666668},{"$f":"K21","v":31.848652433333331}]
[-4,{"$f":"'DF raw data'!D12/100","v":-34.082314000000004},{"$f":"'DF raw data'!E12/100","v":28.868838},{"$f":"'DF raw data'!I12/100","v":-41.592686},{"$f":"'DF raw data'!J12/100","v":8.3201855000000009},{"$f":"'DF raw data'!N12/100","v":-33.307727},{"$f":"'DF raw data'!O12/100","v":24.702206999999998},{"$f":"'DF raw data'!S12/100","v":-29.210639999999998},{"$f":"'DF raw data'!T12/100","v":49.937529000000005},{"$f":"'DF raw data'!X12/100","v":-7.6763300000000001},{"$f":"'DF raw data'!Y12/100","v":28.038485999999999}]
[-2,{"$f":"'DF raw data'!D13/100","v":-16.955691999999999},{"$f":"'DF raw data'!E13/100","v":-0.13999020000000001},{"$f":"'DF raw data'!I13/100","v":-13.452806000000001},{"$f":"'DF raw data'!J13/100","v":42.645146000000004},{"$f":"'DF raw data'!N13/100","v":-19.375869999999999},{"$f":"'DF raw data'!O13/100","v":16.122489999999999},{"$f":"'DF raw data'!S13/100","v":-30.716497},{"$f":"'DF raw data'!T13/100","v":28.993183999999999},{"$f":"'DF raw data'!X13/100","v":3.9493007999999996},{"$f":"'DF raw data'!Y13/100","v":8.8555273000000003},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":8.8682140999999994},{"$f":"'DF raw data'!E14/100","v":15.203906},{"$f":"'DF raw data'!I14/100","v":-31.066152000000002},{"$f":"'DF raw data'!J14/100","v":9.2170020000000008},{"$f":"'DF raw data'!N14/100","v":-17.515059000000001},{"$f":"'DF raw data'!O14/100","v":-21.620684000000001},{"$f":"'DF raw data'!S14/100","v":-15.193750999999999},{"$f":"'DF raw data'!T14/100","v":-8.7228124999999999},{"$f":"'DF raw data'!X14/100","v":-2.6139647999999998},{"$f":"'DF raw data'!Y14/100","v":36.520722999999997},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":-10.615051000000001},{"$f":"'DF raw data'!E15/100","v":-15.866709},{"$f":"'DF raw data'!I15/100","v":-2.4861053000000002},{"$f":"'DF raw data'!J15/100","v":22.882773},{"$f":"'DF raw data'!N15/100","v":-21.009875000000001},{"$f":"'DF raw data'!O15/100","v":33.370761999999999},{"$f":"'DF raw data'!S15/100","v":-5.6565778},{"$f":"'DF raw data'!T15/100","v":37.298339999999996},{"$f":"'DF raw data'!X15/100","v":-22.260460999999999},{"$f":"'DF raw data'!Y15/100","v":50.169706999999995},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":-24.838661999999999},{"$f":"'DF raw data'!E16/100","v":-21.577188},{"$f":"'DF raw data'!I16/100","v":-38.730497999999997},{"$f":"'DF raw data'!J16/100","v":15.698056999999999},{"$f":"'DF raw data'!N16/100","v":-28.638579},{"$f":"'DF raw data'!O16/100","v":10.900361},{"$f":"'DF raw data'!S16/100","v":-16.776955999999998},{"$f":"'DF raw data'!T16/100","v":15.501504000000001},{"$f":"'DF raw data'!X16/100","v":-12.419508},{"$f":"'DF raw data'!Y16/100","v":26.051133}]
[6,{"$f":"'DF raw data'!D17/100","v":-13.494464000000001},{"$f":"'DF raw data'!E17/100","v":-2.9466210999999998},{"$f":"'DF raw data'!I17/100","v":-11.502157},{"$f":"'DF raw data'!J17/100","v":2.4614745999999998},{"$f":"'DF raw data'!N17/100","v":-12.889706},{"$f":"'DF raw data'!O17/100","v":25.878281000000001},{"$f":"'DF raw data'!S17/100","v":-20.107028},{"$f":"'DF raw data'!T17/100","v":40.290839999999996},{"$f":"'DF raw data'!X17/100","v":9.1641686999999994},{"$f":"'DF raw data'!Y17/100","v":25.658047}]
[8,{"$f":"'DF raw data'!D18/100","v":-41.742998},{"$f":"'DF raw data'!E18/100","v":18.048662},{"$f":"'DF raw data'!I18/100","v":-27.970291000000003},{"$f":"'DF raw data'!J18/100","v":26.272343999999997},{"$f":"'DF raw data'!N18/100","v":-27.650645000000001},{"$f":"'DF raw data'!O18/100","v":34.758428000000002},{"$f":"'DF raw data'!S18/100","v":-15.609434},{"$f":"'DF raw data'!T18/100","v":32.217910000000003},{"$f":"'DF raw data'!X18/100","v":-2.6896758999999997},{"$f":"'DF raw data'!Y18/100","v":37.215693000000002}]
[10,{"$f":"'DF raw data'!D19/100","v":-9.5279120000000006},{"$f":"'DF raw data'!E19/100","v":8.1192577999999997},{"$f":"'DF raw data'!I19/100","v":-23.783335000000001},{"$f":"'DF raw data'!J19/100","v":8.0764844},{"$f":"'DF raw data'!N19/100","v":-25.653069000000002},{"$f":"'DF raw data'!O19/100","v":14.640409999999999},{"$f":"'DF raw data'!S19/100","v":2.0032519999999998},{"$f":"'DF raw data'!T19/100","v":31.877870999999999},{"$f":"'DF raw data'!X19/100","v":3.7901233000000003},{"$f":"'DF raw data'!Y19/100","v":23.175536999999998}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":194},null,{"$f":"'DF raw data'!G4","v":195},null,{"$f":"'DF raw data'!L4","v":196},null,{"$f":"'DF raw data'!Q4","v":197},null,{"$f":"'DF raw data'!V4","v":199}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":-6.2341763000000006},{"$f":"AVERAGE(C11:C13)","v":-0.26759773333333331},-15.668354433333334,24.914973666666668,-19.300267999999999,9.2908559999999998,-17.188941933333332,19.189570499999999,-6.9750416666666668,31.848652433333331]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16334 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16334 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16334 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16334 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16334 100 mm gap"]
["Date:","28. feb 2017","09:29:33",null,null,"Date:","28. feb 2017","09:43:48",null,null,"Date:","28. feb 2017","09:58:27",null,null,"Date:","28. feb 2017","10:12:51",null,null,"Date:","28. feb 2017","10:47:44"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",194,null,null,null,"Indice:",195,null,null,null,"Indice:",196,null,null,null,"Indice:",197,null,null,null,"Indice:",199]
["Background Indice:",194,null,null,null,"Background Indice:",195,null,null,null,"Background Indice:",196,null,null,null,"Background Indice:",197,null,null,null,"Background Indice:",199]
["Temperature:",21.02,null,null,null,"Temperature:",21.02,null,null,null,"Temperature:",21.02,null,null,null,"Temperature:",21.02,null,null,null,"Temperature:",21.05]
["Encoder:",390654,null,null,null,"Encoder:",491207,null,null,null,"Encoder:",591547,null,null,null,"Encoder:",791798,null,null,null,"Encoder:",2191892]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,3.0710299000000001,14.1172,-2166.7323999999999,3501.6064000000001,-1,-7.9129901,15.96238,-5020.8114999999998,6223.4530999999997,-1,-3.7927799000000002,0.93459999999999999,-3010.7485000000001,1719.4306999999999,-1,-0.60714000000000001,12.43126,-2253.9092000000001,2850.2529,-1,-4.3809500000000003,12.251989999999999,-2804.6188999999999,1683.3065999999999]
[-0.80000000999999998,-1.8430901,15.271369999999999,-2447.8926000000001,4119.4268000000002,-0.80000000999999998,-7.5529900000000003,13.44891,-1391.6541,4055.1758,-0.80000000999999998,-6.1509499999999999,13.3062,-2846.8281000000002,4963.3154000000004,-0.80000000999999998,-8.5331496999999992,12.64489,-1656.5046,5421.9736000000003,-0.80000000999999998,5.4776802,11.54232,513.90612999999996,3600.9805000000001]
[-0.60000001999999997,5.5285602000000003,12.123279999999999,-409.8974,3002.498,-0.60000001999999997,1.4496199999999999,8.8261298999999998,180.87717000000001,2845.9101999999998,-0.60000001999999997,-5.2717299000000004,6.6546202000000001,-2910.3445000000002,3887.8496,-0.60000001999999997,-4.8654900000000003,11.50206,2578.4787999999999,3692.3145,-0.60000001999999997,11.001099999999999,12.157920000000001,152.43857,2749.9180000000001]
[-0.40000001000000002,-1.2409699999999999,3.9584000000000001,-3408.2314000000001,2886.8838000000001,-0.40000001000000002,-9.7849903000000005,-7.6770000000000005E-2,-4159.2686000000003,832.01855,-0.40000001000000002,-11.257669999999999,10.50098,-3330.7727,2470.2206999999999,-0.40000001000000002,-12.66234,10.7821,-2921.0639999999999,4993.7529000000004,-0.40000001000000002,-2.9430000999999999,11.599679999999999,-767.63300000000004,2803.8485999999998]
[-0.2,2.7016599000000001,-8.6813002000000008,-1695.5691999999999,-13.99902,-0.2,0.26846001000000003,9.1762599999999992,-1345.2806,4264.5146000000004,-0.2,1.4227700000000001,12.06725,-1937.587,1612.249,-0.2,-11.35689,8.0131502000000001,-3071.6496999999999,2899.3184000000001,-0.2,11.04452,5.3584800000000001,394.93007999999998,885.55273]
[0,-1.8672,-0.28371000000000002,886.82141000000001,1520.3905999999999,0,-3.26647,-1.1280299,-3106.6152000000002,921.7002,0,0.58923000000000003,-8.0131998000000006,-1751.5059000000001,-2162.0684000000001,0,-3.7902901,4.7419900999999998,-1519.3751,-872.28125,0,5.2432898999999997,18.108891,-261.39648,3652.0722999999998]
[0.2,0.22381000000000001,-9.9718599000000001,-1061.5051000000001,-1586.6709000000001,0.2,-1.6824501000000001,5.7655902000000001,-248.61053000000001,2288.2773000000002,0.2,-4.7201899999999997,2.7881200000000002,-2100.9875000000002,3337.0762,0.2,0.91537999999999997,11.10258,-565.65778,3729.8339999999998,0.2,-0.16294998999999999,21.796810000000001,-2226.0461,5016.9706999999999]
[0.40000001000000002,-4.1837901999999998,-21.245199,-2483.8661999999999,-2157.7188000000001,0.40000001000000002,-6.3588300000000002,-9.0762701000000003,-3873.0497999999998,1569.8056999999999,0.40000001000000002,-9.1557198,-0.19299000999999999,-2863.8579,1090.0361,0.40000001000000002,-4.3074002,2.8747598999999999,-1677.6956,1550.1504,0.40000001000000002,6.07233,16.162821000000001,-1241.9508000000001,2605.1133]
[0.60000001999999997,2.6997499,-22.309629000000001,-1349.4464,-294.66210999999998,0.60000001999999997,1.48552,-5.0335001999999998,-1150.2157,246.14746,0.60000001999999997,-2.8437600000000001,1.9081300000000001,-1288.9706000000001,2587.8281000000002,0.60000001999999997,-2.9685800000000002,11.074170000000001,-2010.7028,4029.0839999999998,0.60000001999999997,7.6628999999999996,17.116479999999999,916.41687000000002,2565.8047000000001]
[0.80000000999999998,-8.0163898000000007,-3.8277700000000001,-4174.2997999999998,1804.8661999999999,0.80000000999999998,-8.0990801000000001,5.3305601999999999,-2797.0291000000002,2627.2343999999998,0.80000000999999998,-8.2860402999999998,10.31982,-2765.0645,3475.8427999999999,0.80000000999999998,-10.4899,15.161210000000001,-1560.9434000000001,3221.7910000000002,0.80000000999999998,7.5964898999999999,26.957160999999999,-268.96758999999997,3721.5693000000001]
[1,-11.29086,-9.9318304000000008,-952.7912,811.92578000000003,1,-6.8685001999999997,0.70161998000000003,-2378.3335000000002,807.64844000000005,1,-8.6202001999999993,5.7571301000000004,-2565.3069,1464.0409999999999,1,-4.7760501,11.88073,200.3252,3187.7871,1,10.7316,15.50939,379.01233000000002,2317.5536999999999]