{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":40,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["SXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":386347},null,{"$f":"'DF raw data'!G7","v":486286},null,{"$f":"'DF raw data'!L7","v":586737},null,{"$f":"'DF raw data'!Q7","v":787648},null,{"$f":"'DF raw data'!V7","v":2186505},null,null,{"$f":"B4","v":10},{"$f":"B21","v":3.8670565333333333},{"$f":"C21","v":-9.8885932666666676},-9.8800000000000008,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":2.5680400966666661},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":13.702419900000001}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":5.1399900999999995},{"$f":"E21","v":-3.5689973333333312E-2},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":6.6188633633333342},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":22.340139866666668}]
[-10,{"$f":"'DF raw data'!B9","v":-10.843970000000001},{"$f":"'DF raw data'!C9","v":10.50412},{"$f":"'DF raw data'!G9","v":-0.83426999999999996},{"$f":"'DF raw data'!H9","v":2.6717998999999999},{"$f":"'DF raw data'!L9","v":-3.8525299999999998},{"$f":"'DF raw data'!M9","v":13.71594},{"$f":"'DF raw data'!Q9","v":6.8492297999999998},{"$f":"'DF raw data'!R9","v":7.5195999000000002},{"$f":"'DF raw data'!V9","v":9.3032198000000008},{"$f":"'DF raw data'!W9","v":16.182600000000001},null,{"$f":"F4","v":20},{"$f":"F21","v":2.6640000666666666},{"$f":"G21","v":1.7541733666666666}]
[-8,{"$f":"'DF raw data'!B10","v":3.1315800999999999},{"$f":"'DF raw data'!C10","v":1.0764800000000001},{"$f":"'DF raw data'!G10","v":8.0662497999999996},{"$f":"'DF raw data'!H10","v":-1.7280899999999999},{"$f":"'DF raw data'!L10","v":4.1595301999999998},{"$f":"'DF raw data'!M10","v":1.9238599999999999},{"$f":"'DF raw data'!Q10","v":1.9164000000000001},{"$f":"'DF raw data'!R10","v":-5.9259300000000001},{"$f":"'DF raw data'!V10","v":7.6140599},{"$f":"'DF raw data'!W10","v":13.408099999999999},null,{"$f":"H4","v":30},{"$f":"H21","v":2.5719500033333333},{"$f":"I21","v":3.8138266333333335},6.03,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":9.9065999999999992},{"$f":"'DF raw data'!C11","v":15.92252},{"$f":"'DF raw data'!G11","v":11.91255},{"$f":"'DF raw data'!H11","v":8.5186396000000002},{"$f":"'DF raw data'!L11","v":8.3625298000000008},{"$f":"'DF raw data'!M11","v":5.4777297999999996},{"$f":"'DF raw data'!Q11","v":3.1336501000000001},{"$f":"'DF raw data'!R11","v":11.54768},{"$f":"'DF raw data'!V11","v":15.543699999999999},{"$f":"'DF raw data'!W11","v":15.1892},null,{"$f":"J4","v":100},{"$f":"J21","v":9.1908133666666672},{"$f":"K21","v":12.4515466},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":8.3494195999999992},{"$f":"'DF raw data'!C12","v":-0.36004998999999999},{"$f":"'DF raw data'!G12","v":0.82999003000000005},{"$f":"'DF raw data'!H12","v":4.7450599999999996},{"$f":"'DF raw data'!L12","v":-4.1432700000000002},{"$f":"'DF raw data'!M12","v":0.69942998999999995},{"$f":"'DF raw data'!Q12","v":3.6166699000000002},{"$f":"'DF raw data'!R12","v":8.1281700000000008},{"$f":"'DF raw data'!V12","v":6.3568300999999998},{"$f":"'DF raw data'!W12","v":14.22498},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":8.6953297000000003},{"$f":"'DF raw data'!C13","v":-8.2330599000000007},{"$f":"'DF raw data'!G13","v":6.0790300000000004},{"$f":"'DF raw data'!H13","v":-1.8653899},{"$f":"'DF raw data'!L13","v":7.3038901999999997},{"$f":"'DF raw data'!M13","v":2.3267901000000002},{"$f":"'DF raw data'!Q13","v":6.1952600000000002},{"$f":"'DF raw data'!R13","v":11.3924},{"$f":"'DF raw data'!V13","v":9.4521303000000003},{"$f":"'DF raw data'!W13","v":8.4250898000000003},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":-3.3415898999999998},{"$f":"'DF raw data'!C14","v":-6.5041498999999998},{"$f":"'DF raw data'!G14","v":8.3408403},{"$f":"'DF raw data'!H14","v":2.4274900000000001},{"$f":"'DF raw data'!L14","v":-1.21078},{"$f":"'DF raw data'!M14","v":0.21998999999999999},{"$f":"'DF raw data'!Q14","v":0.91896999000000001},{"$f":"'DF raw data'!R14","v":-2.0869700999999998},{"$f":"'DF raw data'!V14","v":7.1603298000000004},{"$f":"'DF raw data'!W14","v":18.192160000000001},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":6.2474297999999999},{"$f":"'DF raw data'!C15","v":-14.928570000000001},{"$f":"'DF raw data'!G15","v":1.0001},{"$f":"'DF raw data'!H15","v":-0.66917002000000003},{"$f":"'DF raw data'!L15","v":1.89889},{"$f":"'DF raw data'!M15","v":2.7157399999999998},{"$f":"'DF raw data'!Q15","v":0.60162002000000003},{"$f":"'DF raw data'!R15","v":2.13605},{"$f":"'DF raw data'!V15","v":10.95998},{"$f":"'DF raw data'!W15","v":10.73739},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":6.7646198000000002},{"$f":"'DF raw data'!C16","v":-6.3691000999999998},{"$f":"'DF raw data'!G16","v":6.1968899000000004},{"$f":"'DF raw data'!H16","v":-7.0253901000000001},{"$f":"'DF raw data'!L16","v":1.3072701},{"$f":"'DF raw data'!M16","v":-0.99426000999999997},{"$f":"'DF raw data'!Q16","v":2.5291100000000002},{"$f":"'DF raw data'!R16","v":10.84835},{"$f":"'DF raw data'!V16","v":13.682969999999999},{"$f":"'DF raw data'!W16","v":12.345660000000001}]
[6,{"$f":"'DF raw data'!B17","v":-4.8593202},{"$f":"'DF raw data'!C17","v":-19.324869},{"$f":"'DF raw data'!G17","v":0.84523999999999999},{"$f":"'DF raw data'!H17","v":3.3545001000000001},{"$f":"'DF raw data'!L17","v":-4.7406502000000001},{"$f":"'DF raw data'!M17","v":-13.57626},{"$f":"'DF raw data'!Q17","v":-0.81514001000000003},{"$f":"'DF raw data'!R17","v":10.17239},{"$f":"'DF raw data'!V17","v":9.9936600000000002},{"$f":"'DF raw data'!W17","v":18.286131000000001}]
[8,{"$f":"'DF raw data'!B18","v":9.7804804000000001},{"$f":"'DF raw data'!C18","v":-11.57227},{"$f":"'DF raw data'!G18","v":1.2597700000000001},{"$f":"'DF raw data'!H18","v":-2.0921699999999999},{"$f":"'DF raw data'!L18","v":12.346959999999999},{"$f":"'DF raw data'!M18","v":-2.1180000000000001E-2},{"$f":"'DF raw data'!Q18","v":5.4567800000000002},{"$f":"'DF raw data'!R18","v":6.8021897999999998},{"$f":"'DF raw data'!V18","v":11.364459999999999},{"$f":"'DF raw data'!W18","v":14.86336}]
[10,{"$f":"'DF raw data'!B19","v":3.3565700000000001},{"$f":"'DF raw data'!C19","v":-5.2457799999999999},{"$f":"'DF raw data'!G19","v":1.5059400000000001},{"$f":"'DF raw data'!H19","v":-4.4627499999999998},{"$f":"'DF raw data'!L19","v":0.82612996999999999},{"$f":"'DF raw data'!M19","v":20.056480000000001},{"$f":"'DF raw data'!Q19","v":0.43445},{"$f":"'DF raw data'!R19","v":15.725630000000001},{"$f":"'DF raw data'!V19","v":18.944281},{"$f":"'DF raw data'!W19","v":17.926479}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":962},null,{"$f":"'DF raw data'!G4","v":963},null,{"$f":"'DF raw data'!L4","v":964},null,{"$f":"'DF raw data'!Q4","v":970},null,{"$f":"'DF raw data'!V4","v":966}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":3.8670565333333333},{"$f":"AVERAGE(C11:C13)","v":-9.8885932666666676},5.1399900999999995,-3.5689973333333312E-2,2.6640000666666666,1.7541733666666666,2.5719500033333333,3.8138266333333335,9.1908133666666672,12.4515466]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["SXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":386347},null,{"$f":"'DF raw data'!G7","v":486286},null,{"$f":"'DF raw data'!L7","v":586737},null,{"$f":"'DF raw data'!Q7","v":787648},null,{"$f":"'DF raw data'!V7","v":2186505},null,null,{"$f":"B4","v":10},{"$f":"B21","v":4.976570333333334},{"$f":"C21","v":4.8084894333333343},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":20.410777733333333},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":14.569430599999993}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":8.0265319000000002},{"$f":"E21","v":13.5252312},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":33.571854166666668},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":14.569430599999993}]
[-10,{"$f":"'DF raw data'!D9/100","v":-14.900347},{"$f":"'DF raw data'!E9/100","v":24.873915999999998},{"$f":"'DF raw data'!I9/100","v":17.729879},{"$f":"'DF raw data'!J9/100","v":22.025684000000002},{"$f":"'DF raw data'!N9/100","v":-5.3875732000000003},{"$f":"'DF raw data'!O9/100","v":15.673359},{"$f":"'DF raw data'!S9/100","v":16.79562},{"$f":"'DF raw data'!T9/100","v":17.578330000000001},{"$f":"'DF raw data'!X9/100","v":19.852625},{"$f":"'DF raw data'!Y9/100","v":35.646543000000001},null,{"$f":"F4","v":20},{"$f":"F21","v":-12.384245833333333},{"$f":"G21","v":17.091868466666668}]
[-8,{"$f":"'DF raw data'!D10/100","v":-2.7236664000000004},{"$f":"'DF raw data'!E10/100","v":40.960654000000005},{"$f":"'DF raw data'!I10/100","v":12.576410000000001},{"$f":"'DF raw data'!J10/100","v":1.2712011999999999},{"$f":"'DF raw data'!N10/100","v":-43.245283000000001},{"$f":"'DF raw data'!O10/100","v":23.856532999999999},{"$f":"'DF raw data'!S10/100","v":5.3343604000000004},{"$f":"'DF raw data'!T10/100","v":10.221367000000001},{"$f":"'DF raw data'!X10/100","v":17.836599},{"$f":"'DF raw data'!Y10/100","v":37.292860999999995},null,{"$f":"H4","v":30},{"$f":"H21","v":6.9384426999999995},{"$f":"I21","v":19.377920033333329}]
[-6,{"$f":"'DF raw data'!D11/100","v":4.7126453000000001},{"$f":"'DF raw data'!E11/100","v":28.097285000000003},{"$f":"'DF raw data'!I11/100","v":13.234088999999999},{"$f":"'DF raw data'!J11/100","v":8.7043651999999998},{"$f":"'DF raw data'!N11/100","v":35.898867000000003},{"$f":"'DF raw data'!O11/100","v":2.3544900000000001E-2},{"$f":"'DF raw data'!S11/100","v":-7.7488354000000008},{"$f":"'DF raw data'!T11/100","v":9.5237695000000002},{"$f":"'DF raw data'!X11/100","v":18.991803000000001},{"$f":"'DF raw data'!Y11/100","v":15.707969},null,{"$f":"J4","v":100},{"$f":"J21","v":21.187608333333333},{"$f":"K21","v":18.149970999999997}]
[-4,{"$f":"'DF raw data'!D12/100","v":1.4693457000000001},{"$f":"'DF raw data'!E12/100","v":18.293945000000001},{"$f":"'DF raw data'!I12/100","v":-20.994956000000002},{"$f":"'DF raw data'!J12/100","v":10.239551000000001},{"$f":"'DF raw data'!N12/100","v":10.768903999999999},{"$f":"'DF raw data'!O12/100","v":47.416415999999998},{"$f":"'DF raw data'!S12/100","v":-7.7812725999999994},{"$f":"'DF raw data'!T12/100","v":24.651553},{"$f":"'DF raw data'!X12/100","v":1.3019677999999999},{"$f":"'DF raw data'!Y12/100","v":24.720713}]
[-2,{"$f":"'DF raw data'!D13/100","v":6.2051415999999993},{"$f":"'DF raw data'!E13/100","v":21.71123},{"$f":"'DF raw data'!I13/100","v":13.426924},{"$f":"'DF raw data'!J13/100","v":10.88583},{"$f":"'DF raw data'!N13/100","v":4.6511737000000002},{"$f":"'DF raw data'!O13/100","v":26.292988000000001},{"$f":"'DF raw data'!S13/100","v":12.182528999999999},{"$f":"'DF raw data'!T13/100","v":36.510956999999998},{"$f":"'DF raw data'!X13/100","v":19.322002999999999},{"$f":"'DF raw data'!Y13/100","v":15.368378999999999},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":-2.2577106000000002},{"$f":"'DF raw data'!E14/100","v":-5.4395410000000002},{"$f":"'DF raw data'!I14/100","v":14.195132000000001},{"$f":"'DF raw data'!J14/100","v":2.9147656},{"$f":"'DF raw data'!N14/100","v":-50.411000999999999},{"$f":"'DF raw data'!O14/100","v":19.446094000000002},{"$f":"'DF raw data'!S14/100","v":3.4421105999999999},{"$f":"'DF raw data'!T14/100","v":2.4978711000000002},{"$f":"'DF raw data'!X14/100","v":16.680416999999998},{"$f":"'DF raw data'!Y14/100","v":19.404727000000001},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":10.982280000000001},{"$f":"'DF raw data'!E15/100","v":-1.8462207000000002},{"$f":"'DF raw data'!I15/100","v":-3.5424603000000001},{"$f":"'DF raw data'!J15/100","v":26.775098},{"$f":"'DF raw data'!N15/100","v":8.6070898000000007},{"$f":"'DF raw data'!O15/100","v":5.5365234000000001},{"$f":"'DF raw data'!S15/100","v":5.1906885000000003},{"$f":"'DF raw data'!T15/100","v":19.124931999999998},{"$f":"'DF raw data'!X15/100","v":27.560404999999999},{"$f":"'DF raw data'!Y15/100","v":19.676807},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":14.784496999999998},{"$f":"'DF raw data'!E16/100","v":-4.2116992},{"$f":"'DF raw data'!I16/100","v":14.880903},{"$f":"'DF raw data'!J16/100","v":10.247266},{"$f":"'DF raw data'!N16/100","v":27.886837999999997},{"$f":"'DF raw data'!O16/100","v":-10.654854},{"$f":"'DF raw data'!S16/100","v":8.0062829999999998},{"$f":"'DF raw data'!T16/100","v":25.388935999999998},{"$f":"'DF raw data'!X16/100","v":25.469414},{"$f":"'DF raw data'!Y16/100","v":21.105566}]
[6,{"$f":"'DF raw data'!D17/100","v":-8.0981494000000005},{"$f":"'DF raw data'!E17/100","v":-3.5655371000000002},{"$f":"'DF raw data'!I17/100","v":1.9119942000000001},{"$f":"'DF raw data'!J17/100","v":18.382002},{"$f":"'DF raw data'!N17/100","v":12.509570000000002},{"$f":"'DF raw data'!O17/100","v":2.0737011999999999},{"$f":"'DF raw data'!S17/100","v":-9.5025629000000009},{"$f":"'DF raw data'!T17/100","v":29.98959},{"$f":"'DF raw data'!X17/100","v":19.880906},{"$f":"'DF raw data'!Y17/100","v":34.875059}]
[8,{"$f":"'DF raw data'!D18/100","v":6.1535644999999999},{"$f":"'DF raw data'!E18/100","v":-6.7701074000000006},{"$f":"'DF raw data'!I18/100","v":-18.577428000000001},{"$f":"'DF raw data'!J18/100","v":-5.8235644999999998},{"$f":"'DF raw data'!N18/100","v":29.463573999999998},{"$f":"'DF raw data'!O18/100","v":16.970673999999999},{"$f":"'DF raw data'!S18/100","v":3.7214821999999996},{"$f":"'DF raw data'!T18/100","v":18.012236000000001},{"$f":"'DF raw data'!X18/100","v":20.686377000000004},{"$f":"'DF raw data'!Y18/100","v":22.261161999999999}]
[10,{"$f":"'DF raw data'!D19/100","v":-2.0310180999999998},{"$f":"'DF raw data'!E19/100","v":-12.740078},{"$f":"'DF raw data'!I19/100","v":8.5271436000000005},{"$f":"'DF raw data'!J19/100","v":-28.010293000000001},{"$f":"'DF raw data'!N19/100","v":-16.730947},{"$f":"'DF raw data'!O19/100","v":25.861484000000001},{"$f":"'DF raw data'!S19/100","v":-1.9621198000000002},{"$f":"'DF raw data'!T19/100","v":35.820156000000004},{"$f":"'DF raw data'!X19/100","v":22.275864000000002},{"$f":"'DF raw data'!Y19/100","v":32.683144999999996}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":962},null,{"$f":"'DF raw data'!G4","v":963},null,{"$f":"'DF raw data'!L4","v":964},null,{"$f":"'DF raw data'!Q4","v":970},null,{"$f":"'DF raw data'!V4","v":966}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":4.976570333333334},{"$f":"AVERAGE(C11:C13)","v":4.8084894333333343},8.0265319000000002,13.5252312,-12.384245833333333,17.091868466666668,6.9384426999999995,19.377920033333329,21.187608333333333,18.149970999999997]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16334, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16334, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16334, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16334, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16334, 100 mm gap"]
["Date:","19. dec 2017","19:37:57",null,null,"Date:","19. dec 2017","19:37:27",null,null,"Date:","19. dec 2017","19:37:34",null,null,"Date:","19. dec 2017","19:37:50",null,null,"Date:","19. dec 2017","16:38:02"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",962,null,null,null,"Indice:",963,null,null,null,"Indice:",964,null,null,null,"Indice:",970,null,null,null,"Indice:",966]
["Background Indice:",962,null,null,null,"Background Indice:",963,null,null,null,"Background Indice:",964,null,null,null,"Background Indice:",970,null,null,null,"Background Indice:",966]
["Temperature:",23.19,null,null,null,"Temperature:",23.23,null,null,null,"Temperature:",23.32,null,null,null,"Temperature:",23.29,null,null,null,"Temperature:",23.37]
["Encoder:",386347,null,null,null,"Encoder:",486286,null,null,null,"Encoder:",586737,null,null,null,"Encoder:",787648,null,null,null,"Encoder:",2186505]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,-10.843970000000001,10.50412,-1490.0346999999999,2487.3915999999999,-1,-0.83426999999999996,2.6717998999999999,1772.9879000000001,2202.5684000000001,-1,-3.8525299999999998,13.71594,-538.75732000000005,1567.3359,-1,6.8492297999999998,7.5195999000000002,1679.5619999999999,1757.8330000000001,-1,9.3032198000000008,16.182600000000001,1985.2625,3564.6543000000001]
[-0.80000000999999998,3.1315800999999999,1.0764800000000001,-272.36664000000002,4096.0654000000004,-0.80000000999999998,8.0662497999999996,-1.7280899999999999,1257.6410000000001,127.12012,-0.80000000999999998,4.1595301999999998,1.9238599999999999,-4324.5282999999999,2385.6532999999999,-0.80000000999999998,1.9164000000000001,-5.9259300000000001,533.43604000000005,1022.1367,-0.80000000999999998,7.6140599,13.408099999999999,1783.6599000000001,3729.2860999999998]
[-0.60000001999999997,9.9065999999999992,15.92252,471.26452999999998,2809.7285000000002,-0.60000001999999997,11.91255,8.5186396000000002,1323.4088999999999,870.43651999999997,-0.60000001999999997,8.3625298000000008,5.4777297999999996,3589.8867,2.3544900000000002,-0.60000001999999997,3.1336501000000001,11.54768,-774.88354000000004,952.37694999999997,-0.60000001999999997,15.543699999999999,15.1892,1899.1803,1570.7969000000001]
[-0.40000001000000002,8.3494195999999992,-0.36004998999999999,146.93457000000001,1829.3945000000001,-0.40000001000000002,0.82999003000000005,4.7450599999999996,-2099.4956000000002,1023.9551,-0.40000001000000002,-4.1432700000000002,0.69942998999999995,1076.8904,4741.6415999999999,-0.40000001000000002,3.6166699000000002,8.1281700000000008,-778.12725999999998,2465.1552999999999,-0.40000001000000002,6.3568300999999998,14.22498,130.19677999999999,2472.0713000000001]
[-0.2,8.6953297000000003,-8.2330599000000007,620.51415999999995,2171.123,-0.2,6.0790300000000004,-1.8653899,1342.6923999999999,1088.5830000000001,-0.2,7.3038901999999997,2.3267901000000002,465.11736999999999,2629.2988,-0.2,6.1952600000000002,11.3924,1218.2529,3651.0956999999999,-0.2,9.4521303000000003,8.4250898000000003,1932.2003,1536.8379]
[0,-3.3415898999999998,-6.5041498999999998,-225.77106000000001,-543.95410000000004,0,8.3408403,2.4274900000000001,1419.5132000000001,291.47656000000001,0,-1.21078,0.21998999999999999,-5041.1000999999997,1944.6094000000001,0,0.91896999000000001,-2.0869700999999998,344.21105999999997,249.78711000000001,0,7.1603298000000004,18.192160000000001,1668.0417,1940.4727]
[0.2,6.2474297999999999,-14.928570000000001,1098.2280000000001,-184.62207000000001,0.2,1.0001,-0.66917002000000003,-354.24603000000002,2677.5097999999998,0.2,1.89889,2.7157399999999998,860.70898,553.65233999999998,0.2,0.60162002000000003,2.13605,519.06885,1912.4931999999999,0.2,10.95998,10.73739,2756.0405000000001,1967.6806999999999]
[0.40000001000000002,6.7646198000000002,-6.3691000999999998,1478.4496999999999,-421.16991999999999,0.40000001000000002,6.1968899000000004,-7.0253901000000001,1488.0903000000001,1024.7266,0.40000001000000002,1.3072701,-0.99426000999999997,2788.6837999999998,-1065.4854,0.40000001000000002,2.5291100000000002,10.84835,800.62829999999997,2538.8935999999999,0.40000001000000002,13.682969999999999,12.345660000000001,2546.9414000000002,2110.5565999999999]
[0.60000001999999997,-4.8593202,-19.324869,-809.81493999999998,-356.55371000000002,0.60000001999999997,0.84523999999999999,3.3545001000000001,191.19942,1838.2002,0.60000001999999997,-4.7406502000000001,-13.57626,1250.9570000000001,207.37011999999999,0.60000001999999997,-0.81514001000000003,10.17239,-950.25629000000004,2998.9589999999998,0.60000001999999997,9.9936600000000002,18.286131000000001,1988.0906,3487.5059000000001]
[0.80000000999999998,9.7804804000000001,-11.57227,615.35645,-677.01074000000006,0.80000000999999998,1.2597700000000001,-2.0921699999999999,-1857.7428,-582.35645,0.80000000999999998,12.346959999999999,-2.1180000000000001E-2,2946.3573999999999,1697.0673999999999,0.80000000999999998,5.4567800000000002,6.8021897999999998,372.14821999999998,1801.2236,0.80000000999999998,11.364459999999999,14.86336,2068.6377000000002,2226.1161999999999]
[1,3.3565700000000001,-5.2457799999999999,-203.10181,-1274.0078000000001,1,1.5059400000000001,-4.4627499999999998,852.71436000000006,-2801.0293000000001,1,0.82612996999999999,20.056480000000001,-1673.0947000000001,2586.1484,1,0.43445,15.725630000000001,-196.21198000000001,3582.0156000000002,1,18.944281,17.926479,2227.5864000000001,3268.3145]