{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":56,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["SXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":392699},null,{"$f":"'DF raw data'!G7","v":493269},null,{"$f":"'DF raw data'!L7","v":593569},null,{"$f":"'DF raw data'!Q7","v":793860},null,{"$f":"'DF raw data'!V7","v":2193846},null,null,{"$f":"B4","v":10},{"$f":"B21","v":-2.1308167666666669},{"$f":"C21","v":3.9279067266666665},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":10.267976866666666},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":7.4799800000000003}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":3.3854302000000001},{"$f":"E21","v":5.5717466333333334},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":10.267976866666666},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":7.4799800000000003}]
[-10,{"$f":"'DF raw data'!B9","v":-13.429550000000001},{"$f":"'DF raw data'!C9","v":-15.96589},{"$f":"'DF raw data'!G9","v":-8.6592503000000001},{"$f":"'DF raw data'!H9","v":-11.72193},{"$f":"'DF raw data'!L9","v":-10.905519999999999},{"$f":"'DF raw data'!M9","v":-8.1591702000000002},{"$f":"'DF raw data'!Q9","v":-12.93801},{"$f":"'DF raw data'!R9","v":-19.118970999999998},{"$f":"'DF raw data'!V9","v":-13.305580000000001},{"$f":"'DF raw data'!W9","v":-6.7931398999999999},null,{"$f":"F4","v":20},{"$f":"F21","v":-2.8060499299999999},{"$f":"G21","v":-1.0328667333333337}]
[-8,{"$f":"'DF raw data'!B10","v":16.5716},{"$f":"'DF raw data'!C10","v":0.94046003},{"$f":"'DF raw data'!G10","v":13.943949999999999},{"$f":"'DF raw data'!H10","v":-8.2957201000000005},{"$f":"'DF raw data'!L10","v":-1.9245699999999999},{"$f":"'DF raw data'!M10","v":-27.686399000000002},{"$f":"'DF raw data'!Q10","v":-15.34573},{"$f":"'DF raw data'!R10","v":-6.0336099000000001},{"$f":"'DF raw data'!V10","v":-5.5686698000000003},{"$f":"'DF raw data'!W10","v":-0.38051998999999997},null,{"$f":"H4","v":30},{"$f":"H21","v":-6.8825466666666664},{"$f":"I21","v":-1.9082333666666667},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":3.5978701000000002},{"$f":"'DF raw data'!C11","v":-2.4618799999999998},{"$f":"'DF raw data'!G11","v":-9.5916595000000004},{"$f":"'DF raw data'!H11","v":-4.3930001000000001},{"$f":"'DF raw data'!L11","v":3.1698898999999998},{"$f":"'DF raw data'!M11","v":-15.02299},{"$f":"'DF raw data'!Q11","v":-10.013780000000001},{"$f":"'DF raw data'!R11","v":-18.543590999999999},{"$f":"'DF raw data'!V11","v":2.8023901000000002},{"$f":"'DF raw data'!W11","v":-5.5344300000000004},null,{"$f":"J4","v":100},{"$f":"J21","v":-4.0848766999999997},{"$f":"K21","v":2.2042699999999997},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":2.9857499999999999},{"$f":"'DF raw data'!C12","v":0.46022998999999998},{"$f":"'DF raw data'!G12","v":16.691509},{"$f":"'DF raw data'!H12","v":-2.23576},{"$f":"'DF raw data'!L12","v":-1.46899},{"$f":"'DF raw data'!M12","v":1.7303500000000001},{"$f":"'DF raw data'!Q12","v":-13.08634},{"$f":"'DF raw data'!R12","v":-12.556620000000001},{"$f":"'DF raw data'!V12","v":-5.8987999000000002},{"$f":"'DF raw data'!W12","v":-0.36149000999999997},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":-8.9784403000000008},{"$f":"'DF raw data'!C13","v":0.54062997999999995},{"$f":"'DF raw data'!G13","v":6.4708600000000001},{"$f":"'DF raw data'!H13","v":3.4646398999999999},{"$f":"'DF raw data'!L13","v":-5.4261599},{"$f":"'DF raw data'!M13","v":-10.91855},{"$f":"'DF raw data'!Q13","v":-10.07813},{"$f":"'DF raw data'!R13","v":-4.4045700999999999},{"$f":"'DF raw data'!V13","v":-6.7222799999999996},{"$f":"'DF raw data'!W13","v":1.85545},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":7.3030200000000001},{"$f":"'DF raw data'!C14","v":5.8881202000000004},{"$f":"'DF raw data'!G14","v":8.1157903999999998},{"$f":"'DF raw data'!H14","v":1.1705399999999999},{"$f":"'DF raw data'!L14","v":0.81887001000000004},{"$f":"'DF raw data'!M14","v":13.807829999999999},{"$f":"'DF raw data'!Q14","v":-3.7243499999999998},{"$f":"'DF raw data'!R14","v":-2.2909000000000002},{"$f":"'DF raw data'!V14","v":-0.25527},{"$f":"'DF raw data'!W14","v":2.00088},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":-4.7170300000000003},{"$f":"'DF raw data'!C15","v":5.3549699999999998},{"$f":"'DF raw data'!G15","v":-4.4303597999999997},{"$f":"'DF raw data'!H15","v":12.08006},{"$f":"'DF raw data'!L15","v":-3.8108599000000001},{"$f":"'DF raw data'!M15","v":-5.9878802000000002},{"$f":"'DF raw data'!Q15","v":-6.8451599999999999},{"$f":"'DF raw data'!R15","v":0.97077000000000002},{"$f":"'DF raw data'!V15","v":-5.2770801000000001},{"$f":"'DF raw data'!W15","v":2.7564799999999998},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":0.65795999999999999},{"$f":"'DF raw data'!C16","v":4.8769798},{"$f":"'DF raw data'!G16","v":-7.8910000999999994E-2},{"$f":"'DF raw data'!H16","v":1.8573299999999999},{"$f":"'DF raw data'!L16","v":-2.5508598999999998},{"$f":"'DF raw data'!M16","v":-2.9602699000000001},{"$f":"'DF raw data'!Q16","v":-3.5849299000000001},{"$f":"'DF raw data'!R16","v":5.21035},{"$f":"'DF raw data'!V16","v":-0.72864996999999998},{"$f":"'DF raw data'!W16","v":2.1685699999999999}]
[6,{"$f":"'DF raw data'!B17","v":0.90341002000000004},{"$f":"'DF raw data'!C17","v":8.4394998999999995},{"$f":"'DF raw data'!G17","v":-5.9471797999999998},{"$f":"'DF raw data'!H17","v":4.5139198},{"$f":"'DF raw data'!L17","v":-2.13341},{"$f":"'DF raw data'!M17","v":-5.9400000999999996E-3},{"$f":"'DF raw data'!Q17","v":6.2174801999999998},{"$f":"'DF raw data'!R17","v":4.2057799999999999},{"$f":"'DF raw data'!V17","v":-6.5444697999999999},{"$f":"'DF raw data'!W17","v":4.7220801999999997}]
[8,{"$f":"'DF raw data'!B18","v":11.49141},{"$f":"'DF raw data'!C18","v":-7.0917301000000004},{"$f":"'DF raw data'!G18","v":-14.1884},{"$f":"'DF raw data'!H18","v":17.359760000000001},{"$f":"'DF raw data'!L18","v":-17.364419999999999},{"$f":"'DF raw data'!M18","v":4.1525401999999998},{"$f":"'DF raw data'!Q18","v":-2.4675400000000001},{"$f":"'DF raw data'!R18","v":12.6496},{"$f":"'DF raw data'!V18","v":-7.1159401000000004},{"$f":"'DF raw data'!W18","v":5.2273301999999999}]
[10,{"$f":"'DF raw data'!B19","v":8.7495402999999996},{"$f":"'DF raw data'!C19","v":0.35477998999999999},{"$f":"'DF raw data'!G19","v":-1.5029300000000001},{"$f":"'DF raw data'!H19","v":8.0499697000000001},{"$f":"'DF raw data'!L19","v":3.9354998999999999},{"$f":"'DF raw data'!M19","v":12.270519999999999},{"$f":"'DF raw data'!Q19","v":-7.8793702000000003},{"$f":"'DF raw data'!R19","v":10.33691},{"$f":"'DF raw data'!V19","v":-4.0734900999999999},{"$f":"'DF raw data'!W19","v":-3.1385200000000002}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":291},null,{"$f":"'DF raw data'!G4","v":293},null,{"$f":"'DF raw data'!L4","v":294},null,{"$f":"'DF raw data'!Q4","v":295},null,{"$f":"'DF raw data'!V4","v":296}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":-2.1308167666666669},{"$f":"AVERAGE(C11:C13)","v":3.9279067266666665},3.3854302000000001,5.5717466333333334,-2.8060499299999999,-1.0328667333333337,-6.8825466666666664,-1.9082333666666667,-4.0848766999999997,2.2042699999999997]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["SXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":392699},null,{"$f":"'DF raw data'!G7","v":493269},null,{"$f":"'DF raw data'!L7","v":593569},null,{"$f":"'DF raw data'!Q7","v":793860},null,{"$f":"'DF raw data'!V7","v":2193846},null,null,{"$f":"B4","v":10},{"$f":"B21","v":-3.2357913333333337},{"$f":"C21","v":10.670546933333334},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":24.705534700000001},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":12.760846566666665}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":14.647252666666667},{"$f":"E21","v":6.2317674999999992},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":24.705534700000001},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":15.929996766666665}]
[-10,{"$f":"'DF raw data'!D9/100","v":-38.312519999999999},{"$f":"'DF raw data'!E9/100","v":-1.3974902},{"$f":"'DF raw data'!I9/100","v":-17.403286999999999},{"$f":"'DF raw data'!J9/100","v":-32.181387000000001},{"$f":"'DF raw data'!N9/100","v":0.13259029999999999},{"$f":"'DF raw data'!O9/100","v":-23.044940999999998},{"$f":"'DF raw data'!S9/100","v":-26.004677999999998},{"$f":"'DF raw data'!T9/100","v":-18.926973},{"$f":"'DF raw data'!X9/100","v":-28.010762},{"$f":"'DF raw data'!Y9/100","v":-19.100742},null,{"$f":"F4","v":20},{"$f":"F21","v":5.8657313333333327},{"$f":"G21","v":18.992614066666665}]
[-8,{"$f":"'DF raw data'!D10/100","v":7.1691308999999999},{"$f":"'DF raw data'!E10/100","v":24.189209000000002},{"$f":"'DF raw data'!I10/100","v":-7.3462938999999992},{"$f":"'DF raw data'!J10/100","v":-10.729032999999999},{"$f":"'DF raw data'!N10/100","v":-21.110415},{"$f":"'DF raw data'!O10/100","v":-30.496514000000001},{"$f":"'DF raw data'!S10/100","v":-19.187006},{"$f":"'DF raw data'!T10/100","v":3.5207226999999999},{"$f":"'DF raw data'!X10/100","v":-13.771312},{"$f":"'DF raw data'!Y10/100","v":-3.0578223000000002},null,{"$f":"H4","v":30},{"$f":"H21","v":-10.058282033333333},{"$f":"I21","v":9.6473891666666685}]
[-6,{"$f":"'DF raw data'!D11/100","v":-4.3735448999999997},{"$f":"'DF raw data'!E11/100","v":13.420342},{"$f":"'DF raw data'!I11/100","v":-20.893578999999999},{"$f":"'DF raw data'!J11/100","v":23.821649999999998},{"$f":"'DF raw data'!N11/100","v":7.3334374999999996},{"$f":"'DF raw data'!O11/100","v":-12.37167},{"$f":"'DF raw data'!S11/100","v":-8.6123607999999994},{"$f":"'DF raw data'!T11/100","v":-27.667881000000001},{"$f":"'DF raw data'!X11/100","v":3.6448364},{"$f":"'DF raw data'!Y11/100","v":-1.6980078000000001},null,{"$f":"J4","v":100},{"$f":"J21","v":-5.5185940666666662},{"$f":"K21","v":3.0626172999999999}]
[-4,{"$f":"'DF raw data'!D12/100","v":-11.164337},{"$f":"'DF raw data'!E12/100","v":50.117157999999996},{"$f":"'DF raw data'!I12/100","v":33.917734000000003},{"$f":"'DF raw data'!J12/100","v":11.792959000000002},{"$f":"'DF raw data'!N12/100","v":6.6528375000000004},{"$f":"'DF raw data'!O12/100","v":20.955664000000002},{"$f":"'DF raw data'!S12/100","v":-25.077075000000001},{"$f":"'DF raw data'!T12/100","v":-4.9106249999999996},{"$f":"'DF raw data'!X12/100","v":-7.2771301000000008},{"$f":"'DF raw data'!Y12/100","v":1.5988964999999999}]
[-2,{"$f":"'DF raw data'!D13/100","v":-15.719155000000001},{"$f":"'DF raw data'!E13/100","v":8.0796191000000004},{"$f":"'DF raw data'!I13/100","v":17.209492000000001},{"$f":"'DF raw data'!J13/100","v":-8.2015332000000001},{"$f":"'DF raw data'!N13/100","v":-8.6317560000000011},{"$f":"'DF raw data'!O13/100","v":0.62285159999999995},{"$f":"'DF raw data'!S13/100","v":-21.114946},{"$f":"'DF raw data'!T13/100","v":-1.5342969},{"$f":"'DF raw data'!X13/100","v":-17.137084999999999},{"$f":"'DF raw data'!Y13/100","v":-5.1461719000000006},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":21.621924},{"$f":"'DF raw data'!E14/100","v":2.7340136999999998},{"$f":"'DF raw data'!I14/100","v":7.4640070000000005},{"$f":"'DF raw data'!J14/100","v":-5.1112792999999996},{"$f":"'DF raw data'!N14/100","v":10.140289000000001},{"$f":"'DF raw data'!O14/100","v":49.872763999999997},{"$f":"'DF raw data'!S14/100","v":3.7825769000000005},{"$f":"'DF raw data'!T14/100","v":6.4249413999999998},{"$f":"'DF raw data'!X14/100","v":10.056951},{"$f":"'DF raw data'!Y14/100","v":-0.11982419999999999},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":-15.610143000000001},{"$f":"'DF raw data'!E15/100","v":21.198008000000002},{"$f":"'DF raw data'!I15/100","v":19.268259},{"$f":"'DF raw data'!J15/100","v":32.008114999999997},{"$f":"'DF raw data'!N15/100","v":16.088660999999998},{"$f":"'DF raw data'!O15/100","v":6.4822266000000006},{"$f":"'DF raw data'!S15/100","v":-12.842476999999999},{"$f":"'DF raw data'!T15/100","v":24.051523000000003},{"$f":"'DF raw data'!X15/100","v":-9.4756482000000002},{"$f":"'DF raw data'!Y15/100","v":14.453848000000001},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":-2.4337561000000001},{"$f":"'DF raw data'!E16/100","v":33.400117000000002},{"$f":"'DF raw data'!I16/100","v":-4.8430713000000001},{"$f":"'DF raw data'!J16/100","v":34.460625},{"$f":"'DF raw data'!N16/100","v":-12.817318999999999},{"$f":"'DF raw data'!O16/100","v":8.1624707000000001},{"$f":"'DF raw data'!S16/100","v":-16.616035},{"$f":"'DF raw data'!T16/100","v":1.4552343999999999},{"$f":"'DF raw data'!X16/100","v":-3.4816898999999998E-2},{"$f":"'DF raw data'!Y16/100","v":8.4309472999999997}]
[6,{"$f":"'DF raw data'!D17/100","v":-4.3927942},{"$f":"'DF raw data'!E17/100","v":24.863975},{"$f":"'DF raw data'!I17/100","v":-5.3530164000000005},{"$f":"'DF raw data'!J17/100","v":21.318877000000001},{"$f":"'DF raw data'!N17/100","v":-14.481641},{"$f":"'DF raw data'!O17/100","v":13.540790999999999},{"$f":"'DF raw data'!S17/100","v":21.248818},{"$f":"'DF raw data'!T17/100","v":19.876757999999999},{"$f":"'DF raw data'!X17/100","v":-7.2544592000000003},{"$f":"'DF raw data'!Y17/100","v":24.753926}]
[8,{"$f":"'DF raw data'!D18/100","v":21.257451},{"$f":"'DF raw data'!E18/100","v":-18.167030999999998},{"$f":"'DF raw data'!I18/100","v":-88.848516000000004},{"$f":"'DF raw data'!J18/100","v":26.318643000000002},{"$f":"'DF raw data'!N18/100","v":1.1929272},{"$f":"'DF raw data'!O18/100","v":8.5552246000000007},{"$f":"'DF raw data'!S18/100","v":-4.4049572999999995},{"$f":"'DF raw data'!T18/100","v":29.093799000000001},{"$f":"'DF raw data'!X18/100","v":-0.83372069999999998},{"$f":"'DF raw data'!Y18/100","v":-7.2895117000000003}]
[10,{"$f":"'DF raw data'!D19/100","v":46.029619000000004},{"$f":"'DF raw data'!E19/100","v":12.045038999999999},{"$f":"'DF raw data'!I19/100","v":8.9136547999999998},{"$f":"'DF raw data'!J19/100","v":39.036934000000002},{"$f":"'DF raw data'!N19/100","v":7.2123315000000003},{"$f":"'DF raw data'!O19/100","v":20.472617},{"$f":"'DF raw data'!S19/100","v":0.56635131999999999},{"$f":"'DF raw data'!T19/100","v":43.031337999999998},{"$f":"'DF raw data'!X19/100","v":4.6395907999999997},{"$f":"'DF raw data'!Y19/100","v":1.5300684000000002}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":291},null,{"$f":"'DF raw data'!G4","v":293},null,{"$f":"'DF raw data'!L4","v":294},null,{"$f":"'DF raw data'!Q4","v":295},null,{"$f":"'DF raw data'!V4","v":296}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":-3.2357913333333337},{"$f":"AVERAGE(C11:C13)","v":10.670546933333334},14.647252666666667,6.2317674999999992,5.8657313333333327,18.992614066666665,-10.058282033333333,9.6473891666666685,-5.5185940666666662,3.0626172999999999]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16339, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16339, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16339, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16339, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16339, 100 mm gap"]
["Date:","20. mar 2017","14:20:20",null,null,"Date:","20. mar 2017","14:47:40",null,null,"Date:","20. mar 2017","15:05:42",null,null,"Date:","20. mar 2017","15:20:59",null,null,"Date:","20. mar 2017","15:36:03"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",291,null,null,null,"Indice:",293,null,null,null,"Indice:",294,null,null,null,"Indice:",295,null,null,null,"Indice:",296]
["Background Indice:",291,null,null,null,"Background Indice:",293,null,null,null,"Background Indice:",294,null,null,null,"Background Indice:",295,null,null,null,"Background Indice:",296]
["Temperature:",21.82,null,null,null,"Temperature:",21.86,null,null,null,"Temperature:",21.87,null,null,null,"Temperature:",21.83,null,null,null,"Temperature:",21.82]
["Encoder:",392699,null,null,null,"Encoder:",493269,null,null,null,"Encoder:",593569,null,null,null,"Encoder:",793860,null,null,null,"Encoder:",2193846]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,-13.429550000000001,-15.96589,-3831.252,-139.74902,-1,-8.6592503000000001,-11.72193,-1740.3287,-3218.1387,-1,-10.905519999999999,-8.1591702000000002,13.259029999999999,-2304.4940999999999,-1,-12.93801,-19.118970999999998,-2600.4677999999999,-1892.6973,-1,-13.305580000000001,-6.7931398999999999,-2801.0762,-1910.0742]
[-0.80000000999999998,16.5716,0.94046003,716.91309000000001,2418.9209000000001,-0.80000000999999998,13.943949999999999,-8.2957201000000005,-734.62938999999994,-1072.9032999999999,-0.80000000999999998,-1.9245699999999999,-27.686399000000002,-2111.0414999999998,-3049.6514000000002,-0.80000000999999998,-15.34573,-6.0336099000000001,-1918.7005999999999,352.07227,-0.80000000999999998,-5.5686698000000003,-0.38051998999999997,-1377.1312,-305.78223000000003]
[-0.60000001999999997,3.5978701000000002,-2.4618799999999998,-437.35449,1342.0342000000001,-0.60000001999999997,-9.5916595000000004,-4.3930001000000001,-2089.3579,2382.165,-0.60000001999999997,3.1698898999999998,-15.02299,733.34375,-1237.1669999999999,-0.60000001999999997,-10.013780000000001,-18.543590999999999,-861.23608000000002,-2766.7881000000002,-0.60000001999999997,2.8023901000000002,-5.5344300000000004,364.48363999999998,-169.80078]
[-0.40000001000000002,2.9857499999999999,0.46022998999999998,-1116.4337,5011.7157999999999,-0.40000001000000002,16.691509,-2.23576,3391.7734,1179.2959000000001,-0.40000001000000002,-1.46899,1.7303500000000001,665.28375000000005,2095.5664000000002,-0.40000001000000002,-13.08634,-12.556620000000001,-2507.7075,-491.0625,-0.40000001000000002,-5.8987999000000002,-0.36149000999999997,-727.71301000000005,159.88964999999999]
[-0.2,-8.9784403000000008,0.54062997999999995,-1571.9155000000001,807.96190999999999,-0.2,6.4708600000000001,3.4646398999999999,1720.9492,-820.15332000000001,-0.2,-5.4261599,-10.91855,-863.17560000000003,62.285159999999998,-0.2,-10.07813,-4.4045700999999999,-2111.4946,-153.42968999999999,-0.2,-6.7222799999999996,1.85545,-1713.7085,-514.61719000000005]
[0,7.3030200000000001,5.8881202000000004,2162.1923999999999,273.40136999999999,0,8.1157903999999998,1.1705399999999999,746.40070000000003,-511.12792999999999,0,0.81887001000000004,13.807829999999999,1014.0289,4987.2763999999997,0,-3.7243499999999998,-2.2909000000000002,378.25769000000003,642.49414000000002,0,-0.25527,2.00088,1005.6951,-11.982419999999999]
[0.2,-4.7170300000000003,5.3549699999999998,-1561.0143,2119.8008,0.2,-4.4303597999999997,12.08006,1926.8259,3200.8114999999998,0.2,-3.8108599000000001,-5.9878802000000002,1608.8661,648.22266000000002,0.2,-6.8451599999999999,0.97077000000000002,-1284.2476999999999,2405.1523000000002,0.2,-5.2770801000000001,2.7564799999999998,-947.56482000000005,1445.3848]
[0.40000001000000002,0.65795999999999999,4.8769798,-243.37560999999999,3340.0117,0.40000001000000002,-7.8910000999999994E-2,1.8573299999999999,-484.30712999999997,3446.0625,0.40000001000000002,-2.5508598999999998,-2.9602699000000001,-1281.7319,816.24707000000001,0.40000001000000002,-3.5849299000000001,5.21035,-1661.6034999999999,145.52343999999999,0.40000001000000002,-0.72864996999999998,2.1685699999999999,-3.4816899000000001,843.09473000000003]
[0.60000001999999997,0.90341002000000004,8.4394998999999995,-439.27942000000002,2486.3975,0.60000001999999997,-5.9471797999999998,4.5139198,-535.30164000000002,2131.8877000000002,0.60000001999999997,-2.13341,-5.9400000999999996E-3,-1448.1641,1354.0790999999999,0.60000001999999997,6.2174801999999998,4.2057799999999999,2124.8818000000001,1987.6758,0.60000001999999997,-6.5444697999999999,4.7220801999999997,-725.44592,2475.3926000000001]
[0.80000000999999998,11.49141,-7.0917301000000004,2125.7451000000001,-1816.7030999999999,0.80000000999999998,-14.1884,17.359760000000001,-8884.8516,2631.8643000000002,0.80000000999999998,-17.364419999999999,4.1525401999999998,119.29272,855.52246000000002,0.80000000999999998,-2.4675400000000001,12.6496,-440.49572999999998,2909.3798999999999,0.80000000999999998,-7.1159401000000004,5.2273301999999999,-83.372069999999994,-728.95117000000005]
[1,8.7495402999999996,0.35477998999999999,4602.9619000000002,1204.5038999999999,1,-1.5029300000000001,8.0499697000000001,891.36548000000005,3903.6934000000001,1,3.9354998999999999,12.270519999999999,721.23315000000002,2047.2617,1,-7.8793702000000003,10.33691,56.635131999999999,4303.1337999999996,1,-4.0734900999999999,-3.1385200000000002,463.95907999999997,153.00684000000001]