## Sheet1
Run | PI (T^2 m^3) | Description
2 | 4.5488e-06 | No changes
3 | 4.5488e-06 | No changes
4 | 4.5502e-06 | Meter polarity reversed (calibration now wrong)
5 | 4.5503e-06 | Meter polarity reversed (calibration now wrong)
6 | 4.5487e-06 | Half speed of carriage
7 | 4.5489e-06 | Half speed of carriage
8 | 4.549e-06 | X and Y meters swapped
9 | 4.5491e-06 | X and Y meters swapped
11 | 4.5576e-06 | 20 mrad pitch
12 | 4.5577e-06 | 20 mrad pitch, average 3 measurements